Protein localization using correlative photo-activated localization microscopy and electron microscopy

Shigeki Watanabe1, Gunther Hollopeter1, Robert John Hobson1, Wayne M. Davis1, Jackson Richards1, and Erik M. Jorgensen1
1Howard Hughes Medical Institute

Department of Biology

University of Utah

jorgensen@biology.utah.edu
Corresponding Author: Erik M. Jorgensen

Keywords: Protein localization, super-resolution fluorescence microscopy, electron microscopy

Short abstract (10 words minimum, 50 words maximum)


We describe a method to localize fluorescently tagged proteins in electron micrographs. Fluorescence is first localized using PALM super-resolution microscopy of ultrathin sections.  These images are then aligned to electron micrographs of the same section. 

Long abstract (150 words minimum, 400 words maximum)


Mapping the distribution of proteins is essential for understanding the function of proteins in a cell. Photo-activated localization microscopy (PALM) and its related techniques (fPALM and STORM) localizes fluorophores through stochastic activation of a few molecules in a field at a time and the subsequent mapping of the centroid of each fluorescence signal1–3. However, the subcellular context of the specimen is not present in the PALM images. We have developed a method to correlate super-resolution fluorescence images with electron micrographs that depict sub-cellular structure, thereby localizing the protein precisely4. First, we will show how fluorescence can be preserved during the fixation and embedding steps. Second, specimens embedded in plastic will be sectioned into ultrathin segments (70-80 nm) and mounted on a cover glass. Third, we will image these sections of tissue using the Zeiss PALM microscope. Fourth, these same sections will be imaged using a scanning electron microscope. Finally, we will show how the fluorescence images can be overlaid onto the corresponding electron micrographs using gold particles as fiducial markers. 

Protocol

1) High-pressure freezing

1.1) Prepare the cryo-protectant by adding 0.2 g of BSA into 1 ml of an appropriate medium for your specimen (for example, culture medium for cell cultures, M9 for C. elegans). Incubate the tube in a 37ºC water bath until all BSA is dissolved.

1.2) Prior to freezing, fill the automated freeze-substitution device (Leica AFS) with liquid nitrogen. 

1.3) Set the AFS program: -90ºC for 30-36 hours*, 5ºC/hour to -60ºC, -60ºC for 2 hours (or select “pause” option if you are using Leica AFS 2), 5ºC/hour to -30ºC, -30ºC for 72 hours. If the AFS machine is capable of having more than five steps, the -30ºC step should be replaced with a “pause” option set to 0 hours, and two further steps should be added: 10ºC/hour to -20ºC and 24 hours at -20ºC. If the machine is limited to five steps, set up another program in a different memory slot as follows: 10ºC/hour to -20ºC and 24 hours at -20ºC.

*The time here can be adjusted so that the -60ºC step starts in the early morning. 

1.4) Prepare 1% osmium tetroxide stock solution by mixing 0.1 g osmium tetroxide crystals (EMS, RT19134) with 10 ml of anhydrous acetone (EMS, # RT10016). Prepare the fixatives in a 50 ml conical tube as follows. First, add 1 ml of milliQ water, and then dissolve in it 0.02 g of potassium permanganate (EMS, RT20200). Add 19 ml of acetone and mix it well. Finally, add 20 µl of 1% osmium stock solution into the tube. Acetone is a free-radical scavenger5 and thus prevents polymerization of plastic, but we found that the use of acetone as a freeze-substitution media is necessary for preserving morphology because of its interaction with lipids. Acetone will be substituted with ethanol prior to plastic infiltration. Aliquot 1 ml to each cryovial and keep the fixatives frozen by storing the tubes in liquid nitrogen. 

1.5) Fill a specimen carrier with 20% BSA or bacteria. The choice for the type of the specimen carrier depends on the specimen. For C. elegans, use a 100 µm well. 

1.6) Place the specimen in the carrier and freeze it using a high-pressure freezer.

1.7) After freezing, transfer the specimen into the cryotube containing fixatives under liquid nitrogen. Make sure the specimen stays under the liquid at all times. 

1.8) Repeat 1.5) – 1.7) until all the specimens are frozen. 

1.9) Transfer all the cryotubes into the AFS unit, and resume the program.

2) Freeze-substitution

2.1) When the temperature reaches -60ºC, place vials containing 20ml of 95% acetone into the AFS. 

2.2) When the temperature reaches -50ºC, replace the fixatives with 95% acetone six times over the period of two hours. 

2.3) Place a vial containing 20ml of 0.1% uranyl acetate (Polysciences, #21447-25) in 95% acetone into the chamber and pre-cool it to -50ºC. 

2.4) At the end of the washing step, add ~1ml of uranyl acetate solution to each vial. Unpause the program if necessary.

2.5) When the temperature reaches -30ºC, replace the uranyl acetate with 95% ethanol six times over the period of two hours. 

2.6) In the meantime, make up 97% GMA media (SPI Supplies/Structure Probe, Inc., #02630-AA) by mixing 22.3 ml GMA, 10ml n-Butyl Methacrylate, 1 ml milliQ water, and 0.2 g benzoyl peroxide. Store it in glass vials (EMS, #72632) and prepare 30% GMA by mixing it with 95% ethanol. Do not store GMA media in plastic tubes because the quality of polymerization degrades with the long-term storage in polyethylene-based plastics. Pre-cool the GMA solution to -30ºC. 

3) Infiltration and polymerization

3.1) Prepare infiltration media by mixing the GMA stock solution with 95% ethanol. Incubate specimens in 30% GMA for five hours.

3.2) Incubate specimens in 70% GMA for six hours.

3.3) Incubate specimens in 97% GMA overnight.

3.4) On the next day, make up fresh 97% GMA.

3.5) Transfer the samples to an embedding mold (EBSciences, #TC). Prepare a disc of ACLAR film (EMS, #50425-10) by using a 3/8’’ DISC Punch (Ted Pella Inc.) and place the disc in the bottom of the BEEM capsule. 

3.6) Exchange the 97% GMA three times over six hours.

3.7) After the third exchange, add the catalyst N,N-dimethyl-p-toluidine (Sigma-Aldrich, #D9912) to GMA at a concentration of 1.5µl/1ml GMA, and apply this solution to each specimen mold. If necessary, separate the specimen from the cryoprotectant by tapping on the bacteria part of the specimen. Immediately position the specimen in the embedding mold. 

3.8) Allow the plastic to cure overnight even though it polymerizes within one hour. 

3.9) Store the specimen in a nitrogen gas-filled vacuum bag (Ziploc) in the freezer (-20ºC) until further processing. 

4) Sectioning

4.1) Sectioning of GMA-embedded specimens can be carried out in a manner similar to that for epon-embedded specimens. Extra caution should be taken not to wet the sectioning surface because GMA is very hydrophilic and the ribbons will be driven into the water bath if they are wetted on both sides.

4.2) Collect ribbons of sections (50-80 nm) on a glass coverslip if localization is via a TIRF microscopes. Otherwise, use a grid made for transmission electron microscopy. 

4.3) Store sections at -20ºC if not imaged immediately. Protect the fluorophores from UV light by covering section holders with aluminum foil. 

5) PALM imaging

5.1) Set up the Zeiss PALM microscope according to manufacturer recommendations.

5.2) Apply gold particles (#790122-010 – 2x concentrated, microspheres-nanospheres.com) in solution (approximately 50 μl) to the samples. Allow the solution to sit for 30 seconds on the coverslip while under a black cover case.

5.3) Remove the gold solution by blowing it to the edge of the coverslip and absorbing it with a kimwipe.

5.4) Insert the coverslip into a circular metal holder. If needed, apply more vacuum grease to the rim to keep the coverslip in place. Secure its position using the metal cylinder. 

5.5) Apply immersion oil to the underside of the coverslip, directly below the samples. 

5.6) Insert the sample holder into the slot on the stage of the microscope. Take special care not to touch the objectives.

5.7) Adjust the holder so it is tight and the samples are centered above the objective.

5.8) Bring the microscope illumination system into place and shut all four doors. 

5.9) On the small monitor, select “Microscope”, then “Light Path”. Press the Eyepiece button. Then select Objectives and press the 10x button if the 10x objective is not already in place. Also press the On button for TL Illumination.

5.10) Use the knob on the base of the microscope to increase the light intensity. Bring the sample into focus and find the area of interest.

5.11) Change to the 100x objective lens using the small monitor and press “Done” when the message about changing immersion oil appears. The lens will not rise to the correct position if the button is not pressed.

5.12) Focus on the specimen. 
Note: Steps 5.13) – 5.15) are not necessary if the region of interest can be identified in the bright field by eye.

5.13) In the Andor iXon ZEN window, be sure that the temperature of the camera is at     -70°C. Then select the 488 nm from the drop-down menu at the top of the window and press the Load button.  

5.14) In the Acquisition menu, press the Continuous button. The microscope will then automatically change the light path to the camera. 

5.15) Increase the intensity of the 488 nm laser in the Channels menu to 10%. Focus the image and locate the area of interest based on the strength of the signal. 

5.16) Change the menu in the Andor window to 561 nm and press the Load button. The camera settings will change automatically. 

5.17) Increase the 561 nm laser intensity to 100% and bleach out the background autofluorescence for ~2 min. 

5.18) If the focus changes during bleaching, allow 5 minutes before adjusting the focus and taking pictures. This pause allows the temperature to stabilize. 

5.19) When bleaching is complete (usually a few minutes), check the 405 nm laser box in the Channels menu. Increase the intensity to 1%. 

5.20) Select the Start Experiment button to begin acquiring images.

5.21) If the signals are sparse or faint, slowly increase the 405 nm laser intensity up to 2%.

5.22) During the acquisition process, be sure to keep the samples in focus by carefully adjusting the knob as necessary.

6) SEM imaging

6.1) Prior to the SEM imaging, stain the sections using 2.5% uranyl acetate (in water) for 4 minutes. Wash off the uranyl acetate thoroughly with filtered milliQ water. 

6.2) After the sections are dried, carbon-coat the coverslip using a carbon sputter until the coverslip becomes fairly dark. Apply one end of carbon conductive tape at the edge of the coverslip and the other end on the metal stub so that electrons that accumulate on the surface of the coverslip will run to the ground. 

6.3) Mount the specimen into the SEM chamber. 

6.4) Insert the vCD detector. 

6.5) Close the chamber and pump it to the high vacuum. 

6.6) Once evacuated, open the column valve by clicking on HV. 

6.7) Perform a routine alignment of electron beam.

6.8) Locate the specimen. 

6.9) Once the focus is adjusted, link the specimen stage and bring up the stage to 5mm below the pole piece. 

6.10) Take a low magnification image of the specimen. 

6.11) Zoom into the region of the interest and obtain high magnification images.

6.12) Move to the next section, and repeat step 6.10) and 6.11) until all the sections are imaged.

7) Aligning PALM and EM images 

7.1) Open Photoshop and open acquired SEM images.

7.2) Create a new window with dimensions of 5000 x 5000 pixels and 300 pixels/inch resolution.


7.3) Copy the low magnification SEM image into the new window (Figure 1A). 

7.4) Scale the image so that it fills up the entire window by using transform (Command + T for a Mac). 

7.5) Copy the higher magnification SEM images and scale them as necessary. 

7.6) Flip the sum TIRF image horizontally by selecting image rotation from the image drop-down menu bar.

7.7) Copy and paste the sum TIRF image (from PALM) into a new layer. 

7.8) Scale the image using “transform” and then rotate as necessary to match the fluorescence of the gold particles (white arrows in Figure 1A) with the corresponding structures visualized in SEM (Figure 1B). 

7.9) Copy the PALM image into a new layer and apply the same transformation (Figure 1C). A higher magnification image can be extracted from this image (Figure 2).

7.10) For presentation, copy the transformed PALM image into a new layer. Select the PALM signals but not background by using “color range” in the “select” drop-down menu. Make sure to select a background pixel as a reference pixel and turn on the “invert” option. 

7.11) Cut the desired PALM signals and paste them to a new layer. 

7.12) Apply transparency to the background layer, and set it to 10%. This allows visualization of the PALM signals by making the background transparent without compromising their intensity (Figure 2D). 

Discussion 

Here we describe how to preserve fluorescent proteins in plastic, localize the fluorescent proteins in sections, and image the ultrastructure using electron microscopy.  Proteins were localized below the diffraction limit using PALM microscopy to nanometer resolution. To adapt this protocol to particular specimens, the following parameters should be considered: fluorophore, quantification, and alignment. 


The choice of fluorescent protein or organic fluorophore depends on the application and the model system. We have tested a variety of fluorescent proteins including EGFP, YFP, Citrine, mEosFP, mEos2, tdEos, mOrange, PA-mCherry, and Dendra4. The preservation of fluorescence from each fluorophore was similar, suggesting that all fluorescent proteins can be preserved using the described method. We chose tdEos because it expressed well in C. elegans, proteins remained functional when fused to tdEos, and because its photo-activation characteristics were optimal for PALM microscopy. However, aggregation or failed expression of tdEos has been occasionally observed4. 

Depending on the application, a different fluorophore may be better suited. In many cases, it is not necessary to use a photo-activated fluorescent protein. Simple correlative fluorescence electron microscopy does not require photo-activated fluorescent protein.  GFP or organic dyes can be used to image fluorescence from tagged proteins in sections above the diffraction limit.  For example, one can image an axon in a neuropil using fluorescence microscopy and correlate the fluorescence signal with a particular axon in an electron micrograph by imaging the fluorescence on a fluorescence microscope. Other super-resolution techniques, such as stimulated emission depletion microscopy (STED)4, GSDIM6 and structured illumination microscopy (SIM)7, do not require photo-activated fluors.


In PALM, the number of molecules can be quantified because fluorescence of each molecule is separated spatially and temporally. However, quantification may be misleading for four reasons: oxidation, undercounting, overcounting, and overexpression. First, a fraction of the fluorescent proteins can be denatured or oxidized during sample processing4,8. Although ~90% of the fluorescence signal was preserved through fixation and embedding in our protocol, oxidation of the fluorescent protein may occur after the specimen has been sectioned and the surface exposed to oxygen. Second, the activation of photo-activatable proteins is stochastic, and thus multiple molecules can be activated in a given diffraction limited spot1. Fluorescence from the multiple molecules will appear as one spot, and thus the total number of proteins will be undercounted. Third, a similar problem can lead to overcounting. In PALM, each fluorescent protein is localized and then ‘erased’ by bleaching.  However, fluorescent proteins can return from the dark state without being permanently bleached9.  Such molecules will then be counted multiple times. Fourth, tagged proteins are expressed as transgenes and are often present in multiple copies, which can lead to overexpression. Therefore, quantification from PALM can be used to estimate but not precisely determine the number of molecules in a given location. 


The alignment of a PALM image with an electron micrograph can also be challenging because of the resolution difference in light and electron microscopy and distortion caused by the electron beam. Gold particles serve as tightly localized fiducial markers in electron micrographs.  However, fluoresecence from gold particles is not photo-activated, and appears as a large diffraction-limited spot. Thus, the placement of a fluorescence image over an electron micrograph is an estimate.  Distortions can also arise from interactions of electrons with the plastic section. Acrylic resins such as GMA are less stable under the electron beam, and the dimensions of the plastic can be altered. Under these circumstances, aligning the fluorescence with ultrastructure, may require non-linear transformation of the fiducial markers. 
Acknowledgements

We thank Harald Hess and Eric Betzig for access to the PALM microscope for proof-of-principle experiments, Richard Fetter for sharing fixation protocols, reagents and encouragement. We thank Michael Davidson, Geraldine Seydoux, Stefan Eimer, Rudolf Leube, Keith Nehrke, Christian Frøkjær-Jensen, Aude Ada-Nguema and Marc Hammarlund for DNA constructs. We also thank Carl Zeiss Inc. for providing access to a beta version of the PAL-M.

Disclosures

We have nothing to disclose.

Figure legends 
Figure 1. Aligning fluorescence and electron micrographs using gold nanoparticles. (A) A low magnification electron micrograph from a cross section of C. elegans expressing tdEos::Histone. White arrows indicate the fiduciary marks from 100nm gold nanoparticles applied prior to PALM imaging. (B) An image of fiduciary markers is aligned onto an electron micrograph based on the location of the fiduciary marks. Note that the bright spots on the upper left arise from clusters of gold particles.  (C) A PALM image is then rotated and translated based on the values obtained in (B). 

Figure 2. Correlative fluorescence and electron microscopy using Histone fusion proteins.
(A) Sum TIRF image of HIS-11:: tdEos acquired from a thin section (70nm). Sum TIRF image represents all the photons detected by the camera during the experimental time course. (B) Corresponding PALM image of HIS-11:: tdEos. (C) Electron micrograph of a nucleus acquired from the same section. (D) Correlative PALM and electron microscopy of HIS-11:: tdEos. The fluorescent signals are tightly localized to the nucleus.

Table of specific reagents and equipments

	Name of the reagent or equipment
	Company
	Catalogue number
	Comments

	High-pressure freezer
	ABRA
	HPM 010
	EMPact and HPM 100 from Leica or hpf-01 from Wohlwend can also be used.

	Automated freeze substitution unit
	Leica
	AFS 2
	AFS 1 can also be used.

	Zeiss PAL-M
	Zeiss
	ELYRA P.1
	Nikon and Vutala also carries commercialized PALM system.  

	Scanning electron microscope
	FEI
	Nova nano
	Other high-resolution microscopes can also be used.

	Acetone
	EMS
	RT10016
	

	Ethanol 
	Sigma-aldrich
	459844-1L
	

	Osmium tetroxide
	EMS
	RT19134
	

	Potassium permanganate
	EMS
	RT20200
	

	Albumin from bovine serum
	Sigma-aldrich
	A3059-50G
	

	Uranyl acetate
	Polysciences
	21447-25
	pH of uranyl acetate from this company is slightly higher.

	Glycol methacrylate (GMA)
	SPI
	02630-AA
	Low acid, TEM grade.

	N,N-Dimethyl-p-toluidine
	Sigma-aldrich
	D9912
	

	Cryo vials
	Nalgene
	5000-0020
	

	Glass vials
	EMS
	72632
	

	Aclar film
	EMS
	50425-10
	

	BEEM capsule
	EBSciences
	TC
	Polyproperene

	3/8” DISC punches
	Ted Pella
	54741
	

	Gold nanoparticles
	microspheres-nanospheres.com
	790122-010 
	Call for 2x concentrated solution


References

1.
Betzig, E. et al. Imaging Intracellular Fluorescent Proteins at Nanometer Resolution. Science 313, 1642-1645 (2006).

2.
Rust, M.J., Bates, M. & Zhuang, X. Sub-diffraction-limit imaging by stochastic optical reconstruction microscopy (STORM). Nat. Methods 3, 793-795 (2006).

3.
Hess, S.T., Girirajan, T.P.K. & Mason, M.D. Ultra-high resolution imaging by fluorescence photoactivation localization microscopy. Biophys. J 91, 4258-4272 (2006).

4.
Watanabe, S. et al. Protein localization in electron micrographs using fluorescence nanoscopy. Nat. Methods 8, 80-84 (2011).

5.
Weibull, C. & Christiansson, A. Extraction of proteins and membrane lipids during low temperature embedding of biological material for electron microscopy. J Microsc 142, 79-86 (1986).

6.
Fölling, J. et al. Fluorescence nanoscopy by ground-state depletion and single-molecule return. Nat. Methods 5, 943-945 (2008).

7.
Gustafsson, M.G. Surpassing the lateral resolution limit by a factor of two using structured illumination microscopy. J Microsc 198, 82-87 (2000).

8.
Micheva, K. & Smith, S. Array tomography: a new tool for imaging the molecular architecture and ultrastructure of neural circuits. Neuron 55, 25-36 (2007).

9.
Annibale, P., Vanni, S., Scarselli, M., Rothlisberger, U. & Radenovic, A. Identification of clustering artifacts in photoactivated localization microscopy. Nat Meth 8, 527-528 (2011).



