# Submission ID #: 4265

# Editor Name: Roslyn A. Bauer

# Videographer name: Josh Csehak

# Film Date: 10/2/2012

Authors:  Nicholas DeMarchi, Christopher White

Authors: Institution(s)/affiliation(s) for each author:

Nicholas DeMarchi

Mechanical Engineering Department

University of New Hampshire

nkf4@unh.edu,

Christopher White

Mechanical Engineering Department

University of New Hampshire

chris.white@unh.edu

Corresponding Author:

Christopher White

Title: Echo Particle Image Velocimetry

Authors, please fill out the brief questionnaire below.

A. Will you require assistance with video microscopy, such as filming a complex dissection or microinjection technique (Y/N, please specify steps by number. Also, please list make and model of your microscope)?  __N________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage (Y/N, please specify steps by number)? ____Y__Steps 3-5___

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps___1-3,5___

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?

The most difficult part of the procedure is in acquiring clear, high resolution, ultrasound images.  To maximize image quality, choose ultrasound imaging parameters such as gain, focal points, dynamic range, etc..) based on a priori estimates of flow velocity and then optimized by “on the fly” analysis of the ultrasound images. For the present setup, we have also altered the experimental facility (i.e., squared of a circumferential section of the pipe wall) so that the ultrasound pipe is flush mounted to the pipe. This limits beam divergence and backscatter.

1. Introduction (Schematic Overview and Interview)

Video Editor: Note from authors: “We have a presentation with some brief movies that may be useful for the Schematic Overview. We will send the presentation with the avi files and screen shots.”

- Schematic Overview (read by voice talent at JoVE):

  - The goal of this experiment is to acquire two-dimensional, instantaneous, fields of velocity in Hagen-Poiseuille flow, also known as “laminar pipe flow” using echo particle image velocimetry or “EPIV”.

    - Title screen

  - “EPIV” validation measurements are demonstrated in a re-circulating pipe flow of water. The pipe flow system used here employs a constant pressure head maintained by an aquarium pump to drive the flow.

    - 4265_White_Figure 1

  - A phased array ultrasound probe is mounted to the pipe wall of the flow system and B-mode ultrasound images are streamed.

    - P1

  - The fluid is seeded with hollow glass spheres, or “tracer particles” that faithfully follow the motions of the flow.

    - P2 (Editor: show seeds start to flow through the pipe left to right)

  - Ultrasound images are then acquired, transferred to a PC, and converted to an image format compatible with the commercial Particle Image Velocimetry software.

    - P3

  - Cross-correlation algorithms are applied to successive ultrasound B-mode images to compute two-dimensional fields of velocity

    - P4

  - Ultimately, the vector fields are analyzed to compute flow quantities of interest such as ensemble-average, shear stress, and vorticity.

    - P5

- Interview: (Said by you on camera. Don’t forget to smile!)

  - [White] Though this method can provide insight into basic fluid dynamics, it can be, and is, often applied to applied flow systems including biomedical applications such as arterial and intraventricular flow.

  - [DeMarchi] : Our interest in quantifying the flow of liquefied biomass, an opaque fluid, is what first interested us in this technique.

# Protocol (read by voice talent at JoVE):

- Setting up the EPIV system

  - To set up the EPIV system, start by powering on the pumps.   This will start the re-circulating pipe flow at a constant rate.

    - MED:  Talent powers on pumps

    - BROLL-  acquire some B-roll of the entire setup while it is running  (Editor use here if appropriate)

  - Next, apply a water based topical gel to the ultrasound probe. The gel minimizes loss of transmission of the ultrasound beam between the probe face and the pipe.

    - CU:  Talent applies gel to probe with finger

  - Then, using a specially constructed probe mount with through-wall pipe-fittings, attach the ultrasound probe to the exterior pipe wall.

    - MED:  Talent mounts ultrasound probe to exterior pipe wall

  - Power on the ultrasound machine. Once all systems load, a live stream of images will appear on the ultrasound screen. 2D mode is the default setting for the linear probe.

    - CU:  Talent powers on the ultrasound

    - MED/SCREEN: Images appear on the screen.

- Acquiring EPIV measurements

Video Editor: Note from author: “3.1-3.2 Note that we reshot these two scenes so we need to verify that the ultrasound screen is not viewed in scene 3.1 since it will be a "give away" of a reshoot.”

  - To acquire EPIV measurements, first measure out the appropriate dry weight of nominal 10 micrometer hollow glass spheres so that their final concentration when added to the flow system is about 17 weight parts per million. Next, extract a volume of fluid from the basin and add the particles to the fluid to form a concentrated particle solution. The particles when added to the flow system will serve as ultrasound contrast agents, or "tracer particles.”

    - MED:  Talent at workbench weighs out glass spheres

    - CU:  Talent adds glass spheres to tube

  - Add the concentrated particle solution to the re-circulating pipe flow system by stirring it into the water basins. The glass spheres can then be viewed on the ultrasound monitor. After a few minutes the glass spheres will be evenly distributed throughout the system.

    - MED:  Talent adds microsphere solution to water basin and stirs them in and the spheres are seen on the monitor.

    - LAB MEDIA? From authors: “3.2  We will provide an .avi clip of ultrasound B-mode images while the tracer particles are being added to the flow system”

  - [DeMarchi] “The most difficult part of this procedure is in acquiring clear, high resolution, ultrasound images.  To maximize image quality, we first choose ultrasound imaging parameters such as gain, focal points, and dynamic range based on a priori estimates of flow velocity.”

    - MED:  Talent looks up from the computer monitor and says the above line

  - [DeMarchi]  “Then, we further optimize the parameters “on the fly” by analysis of the ultrasound images.”

    - MED:  Talent says the above line

  - Use the Depth Control knob on the control panel of the ultrasound to set the image depth to 3cm.

    - CU:  Talent uses depth control knob to set

  - Next, using the 2D Gain knob, adjust the total image gain to increase the brightness of the image such that the seed particles are clearly visible.

    - CU:  Talent adjusts 2D gain knob and the images will brighten

  - In the instrument panel, adjust the Time Gain Compensation sliders to attenuate scatter from the pipe walls and to compensate for depth related attenuation of the ultrasound signal.  This will remove excess image at the top and bottom of the pipe walls.

    - MED or LAB MEDIA:  Talent adjusts TGC sliders and the image fades to black at top and bottom of image.

  - In 2D mode, the knobs on the top of the control panel, from left-to-right correspond to width, focus, frequency, and frame rate.  Use these knobs to adjust the image further to achieve the highest possible physical resolution, frequency, and frame rate for analysis.

    - CU:  Talent points to the knobs one by one from left to right. Then talent sets image width and brings image into focus

    - LAB MEDIA: “3.8 We will provide a still image (we cannot load screen capture software onto the ultrasound computer) or .avi file of adjusting Image Width and Focus.” Video editor: use your judgment about whether this Lab Media should replace the above shot.

  - Then, adjust the probe operating frequency ,Y, to 10MHz, and set the frame rate, Z, as 49.5 frames per second.  Note that these four parameters are inherently coupled. Consequently, for a given ultrasound image scan there is a trade-off between spatial and temporal resolution.

    - CU: Talent sets probe-operating frequency and brings image into focus.

    - LAB MEDIA: “We will provide a still image” Video editor: use your judgment about whether this Lab Media should replace the above shot

  - Due to limited lateral resolution, the glass spheres will be smeared in the lateral direction and appear as ellipsoids in the image.

    - CU:  Glass spheres are smeared in the lateral direction and appear as ellipsoids.

    - LAB MEDIA: “We will provide a still image” Video editor: use your judgment about whether this Lab Media should replace the above shot.

- Data collection

  - Once the parameters are optimized, it is time to collect data.

    - Title screen

  - On the ultrasound control panel on the instrument, press the New Exam button to start a new experiment.

    - CU:  Talent presses new exam button

  - Under “patient,” enter “Pipe Flow” as the Last Name and the date as the First Name.   Enter the test number in the Patient ID field.  The ultrasound scan will then begin automatically.

    - CU:  Talent enters data above and ultrasound scans begin automatically

    - LAB MEDIA: “We will provide a still image ” Video editor: use your judgment about whether this Lab Media should replace the above shot

  - When the preset maximum of 1000 to 1500 images is reached, a new scan loop begins.

    - CU: The maximum is reached and a new scan loop begins.

    - LAB MEDIA: “4.4 We will provide an .avi clip of maximum frames reached”

  - As scanning continues, make adjustments to the imaging parameters until the seed particle is sharply in focus with about 10 particles per interrogation area. To restart the scanning recording loop, press the Freeze button on the ultrasound control panel.

    - MED:  Scanning continues with talent making adjustments until an ideal image is seen, (Overlay:  particles should not overlap) then talent presses freeze to restart it

  - Once a sufficient number of ideal images have been acquired, press the Freeze button.

    - MED: talent presses FREEZE

  - Next, press the Cineloop button on the ultrasound control panel. Select "All Images" to include all ultrasound images in the analysis set.

    - CU:  Talent presses cineloop button, then selects "all images".

  - Once the images for analysis have been selected, press the Image Store button to save the selected set of ultrasound images.

    - CU:  Talent presses image store

  - Once the images have been saved, press the Archive button on the ultrasound control panel.   When prompted, select the cineloop of interest from the small window to be saved to the local hard drive.  Then use the mouse cursor to select End Exam.

    - CU:  Talent presses archive button, Talent selects cineloops of interest, using mouse cursor, then selects end exam.

    - LAB MEDIA: “We will provide a still image ” Video editor: use your judgment about whether this Lab Media should replace the above shot

  - Press the Archive button and use the mouse cursor to first select More and then select Disk Management. This will transfer the saved cineloop or cineloops to the PC running the Particle Image Velocimetry or PIV software.

    - CU:  Talent presses archive button, then selects more, then Disk management.  The screen will then show that files are being transferred to the PC.

    - LAB MEDIA: “We will provide a still image ” Video editor: use your judgment about whether this Lab Media should replace the above shot

- Computing displacement fields, D(x,y) using DaVis

  - Once the images are captured and saved, the ultrasound image must be converted from a digital imaging communications in medicine or “DICOM” file to a joint photographic experts group or “JPEG” picture file for analysis.

    - Title Screen

  - Use a Matlab script running DICOM2JPG.m to convert the DICOM files to JPEGs.  This script was made in house and can be obtained for educational purposes from the web address shown here.

    - MED:  Talent, seated at computer runs Matlab script (Overlay:  Contact the authors for the script) (Video Editor: The authors will post this script on their website, but the website is currently being redone, so they plan to replace this text overlay with a URL for their site.)

    - LAB MEDIA: “We will provide a screen capture ” Video editor: use your judgment about whether this Lab Media should replace the above shot, but keep the TEXT overlay if it does.

  - Once the file has been converted, open DaVis software from LaVision.   In the software, double click on the DaVis icon. Select New Project, then Select PIV.

    - SCREEN:  Talent opens DaVis then clicks on DaVis icon, selects new Project, then selects PIV

  - In the toolbar, select Import Images, and choose Import via Numbered Files. Then, in the pull-down menu, locate the folder where the JPEG ultrasound images are stored, and double click on the first image of the set. This will import all ultrasound images in this numbered set.

    - SCREEN:  Talent selects import images, then chooses import via numbered files.   Talent then locates JPEGs and double clicks on first set. A loading bar will pass across the bottom left of the screen indicating the files are being imported.

  - To define a region of interest for analysis that includes only the fluid, apply a mask.     To create the mask, enter the coordinates of a rectangular area using two x and y coordinate points based on the information from the DICOM file and knowledge of the pixel dimensions.

    - SCREEN:  Talent creates a mask by entering coordinates.

  - Next, in the main control panel in DaVis, click on the tab located under Current Project containing the imported images. Select the table labeled Batch Processing. This enables the vector-processing window of DaVis for batch processing.

    - SCREEN:  Talent selects tab under current project and selects batch processing. The sequential images will be cross-correlated, providing 2D displacement vector fields in the lower right screen.

  - From the operations list, using the PIV + PIV-Time-Series tree, select vector calculation parameters, and choose multipass with a decreasing interrogation size of 64 pixels x 64 pixels to 12 pixels x12 pixels, with an overlap of 50%.

    - SCREEN:  Talent goes to operations list, selects the PIV time series tree, then selects vector calculation parameters and selects the parameters.

  - Set the relative vector range restriction to all(window size/2) and then absolute vector range restriction to 5 pixels. Then, apply a median filter to suppress noise and smooth the vector fields

    - SCREEN:  Talent selects the relative vector range, absolute vector range, and median filter as above.

  - Next, for vector processing, check the box Data Range = use masked area in the vector calculation parameter menu. Note that optimal selection of vector calculation parameters is dependent on flow geometry, flow properties, image resolution, tracer particle density, and desired quantitative flow analysis

    - SCREEN:  Talent checks the Data Range = use marked area box.

  - Once all of the desired parameters have been set, at the left of the batch processing screen, select the total number of images to be processed.  Click on start processing. This will compute the displacement field between successive ultrasound images using cross-correlation algorithms.

    - SCREEN:  Talent selects the total number of images to be processed then selects start processing. Images will be processed into vector fields

- Analyzing vector fields

  - To analyze the processed data, export the UCV vector fields from DaVis as .txt. files.

    - Title screen

  - To do this, under the JPEG image branch in the project screen, select the vector displacement branch. In the toolbar, select the Export tab, select file type ASCII .txt, choose/create an export folder, and select Export.

    - SCREEN:  Talent selects the vector displacement branch in the JPEG image branch.   Then in the toolbar, talent selects the Export tab and then selects ASCII.text, creates and export folder, and selects export.

  - Next, open the file in MATlab by running the Matlab Script. The exported vector fields are named Bxxxxx.txt, where x represents a number increasing from 1 to 99999.

    - SCREEN:  Talent opens files in Matlab by running the script.

  - Each file contains four data columns which can be viewed using notepad (1) x-location of the vector in the image, (2) y-location of the vector in the image, (3) x-component of displacement or streamwise displacement, and (4) y-component of displacement, which describes the wall-normal displacement).

    - SCREEN: Talent opens an example file using notepad and the above columns are seen

  - Use MATLAB to compute the velocity vector field U as a function of X and Y, where X and Y correspond to spatial coordinates in the ultrasound image (TEXT: “u(x,y)[m/s]”).

    - SCREEN:  Talent uses Matlab to convert pixel displacement as above (Video editor:  step 6.5 has been broken up into three parts to help show what TEXT overlay goes with which voiceover. The same screen shot is used for all three parts of 6.5)

6.5.b.  This is done by first converting the displacement field D of X and Y measured in pixels (TEXT: “D(x,y)[pixels]”) to a displacement field measured in meters using the image scaling parameter M given in units of meter over pixel (TEXT: “D(x,y)[m] = M[m/pixel] D(x,y)[pixels]”).

6.5.1.  SCREEN:  Talent uses Matlab to convert pixel displacement as above (Video Editor: If possible, leave the first TEXT on screen and add an arrow pointing to the second TEXT (the first is converted to the second))

6.5.c.   Next, the displacement field is divided by the sweep corrected temporal separation between images delta T (TEXT: “u(x,y) = MD(x,y)/∆T”), where delta T is equal to one over the frame rate, given in frames per second, plus the displacement field divided by the time it takes for the ultrasound image to sweep across the image width (TEXT: ∆T =  1/fps + D(x,y)/B, where B[pixels/s]”). In summary, U of X and Y equals M times D of X and Y divided by delta T (TEXT: “u(x,y) = MD(x,y)/ ∆T”).

6.5.1.  SCREEN:  Talent uses Matlab to convert pixel displacement as above

  - DICOM inherently stores a file structure that provides the information needed to compute the image scaling parameter M and the sweep corrected temporal separation T. In the present study, M = 77 m/pixel, fps = 49.5 and B = 25,047 pixels/s.

    - MED:  Talent seated at computer performing calculations

  - Finally, compute ensemble average velocity vector fields, wall-normal profiles of mean velocity, and any other flow quantities of interest.

    - MED over the shoulder: Talent seated at computer performing calculations

- Representative EPIV Results:

  - To demonstrate the usefulness of EPIV, and to assess measurement uncertainty, two-dimensional instantaneous fields of velocity in laminar pipe flow were acquired as described in this video.

    - Title screen

  - This instantaneous vector plot shows velocity vectors every fourth column and the background color contour map corresponds to velocity magnitude.

    - LAB MEDIA 4265_White_Figure 3.

  - The two-dimensional spatial location of the velocity vector is denoted by d/D and x/D, where d is the radial position measured from the upper wall, D is the pipe diameter, and x is the streamwise position measured from the pipe entrance.

    - LAB MEDIA 4265_White_Figure 3.

  - The apparent parabolic shape of the velocity vectors along columns, indicates that the measurements are consistent with the expected velocity profile for pipe flow.

    - LAB MEDIA 4265_White_Figure 3

  - The ensemble averaged vector plot, computed by averaging over 1000 instantaneous vector plots, provides a representation of the mean velocity field. It also will average out random noise errors in the instantaneous vector fields.

    - LAB MEDIA 4265_White_Figure 4

  - The velocity vectors are primarily in the streamwise direction, the largest velocities occur at the pipe centerline, the velocities decrease to zero at the pipe walls, and the flow is roughly symmetric.

    - LAB MEDIA 4265_White_Figure 4

  - The mean streamwise velocity profile along the pipe radius, obtained by averaging the ensemble-averaged vector plot along the rows in the horizontal direction is shown here.

    - LAB MEDIA 4265_White_Figure 5.

  - The red crosses denote the root-mean-square fluctuations about the mean. Also shown is the expected mean velocity profile for laminar pipe flow for the given experimental conditions.

    - LAB MEDIA 4265_White_Figure 5.

  - The agreement between the EPIV measurements and the expected Hagan-Poiseuille profile is best near the pipe centerline and worst near the pipe walls.

    - LAB MEDIA 4265_White_Figure 5.

  - The large differences near the wall are likely due to strong reflection and refraction of the ultrasound waves at the curved surface of the pipe wall that produce high image intensities in these regions. The high intensities at the wall obscure particle intensities leading to measurement error.

    - LAB MEDIA 4265_White_Figure 5.

- Conclusion (said by authors on camera)

  - [White]: After its development, this technique can provide researchers in the field of fluid dynamics studying engineered and/or biological flow systems the ability to measure spatiotemporal variations of the velocity field in optically opaque fluids or through optically opaque geometries.

  - [DeMarchi]: After watching this video, you should have a good understanding of how EPIV works, its limitations, and how to build and operate an EPIV system based on a commercial ultrasound machine.

# Provided Media

4265_White_Schematic

4265_White_Figure1

4265_White_Figure3

4265_White_Figure4

4265_White_Figure5

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.