Metabolic profile analysis of zebrafish embryos

Authors:

Yann Gibert, Sean L. McGee, Alister C. Ward

Institution(s)/affiliation(s) for each author:

Yann Gibert

Metabolic Research Unit

School of Medicine, Deakin University

y.gibert@deakin.edu.au

Sean McGee

Metabolic Research Unit

School of Medicine, Deakin University

sean.mcgee@deakin.edu.au

Alister C. Ward

Molecular and Medical Research

School of Medicine, Deakin University

alister.ward@deakin.edu.au

Corresponding author:

Yann Gibert

Keywords:

Metabolism, respiration, mitochondria, development, zebrafish

Short Abstract: (50 words maximum)

Zebrafish represent a powerful vertebrate model that has been under-utilised for metabolic studies. Here we describe a rapid way to measure the metabolic profile of developing zebrafish in vivo that allows the comparison of different mitochondrial function parameters between genetically or pharmacologically manipulated zebrafish embryos to increase their applicability.

Long Abstract: (150 words minimum, 400 words maximum)

A growing goal in the field of metabolism is to determine the impact of genetics on different aspects of mitochondrial function. Understanding these relationships will help to understand the underlying etiology for a range of diseases linked with mitochondrial dysfunction, such as diabetes and obesity. Recent advances in instrumentation, has enabled the monitoring of mitochondrial function in cell lines or tissue explants. Here we present a method for a rapid and sensitive analysis of mitochondrial function in vivo during zebrafish embryonic development using the Seahorse bioscience XF 24 extracellular flux analyser. This protocol utilises the Islet Capture microplates where a single embryo is placed in each well, allowing measurement of four different parameters of mitochondrial respiration: (i) basal respiration; (ii) respiration due to ATP production; (iii) proton leak and (iv) maximum respiration. Using this approach embryonic zebrafish mitochondrial respiration can be compared between wild type and genetically altered embryos (mutant, gene over-expression or gene knockdown) or those manipulated pharmacologically. It is anticipated that dissemination of this protocol will provide researchers with new tools to analyse the genetic basis of metabolic disorders in vivo in this relevant vertebrate animal model.

Protocol Text:

Part 1: Chemical treatment of zebrafish embryos

1.1) Collect zebrafish embryos after fertilization. Incubate the embryos at 28.5ºC in 100×15 mm petri dishes in E3 medium supplemented with 1-phenyl-2-thiourea (PTU) at a final concentration of 0.2 mM to inhibit pigment formation1.

1.2) For pharmacological studies, add the correct amount of required chemical to the wild type developing zebrafish at around 26 hours post fertilization (hpf) with an appropriate control.

1.3) Let the embryo develop in the dark at 28.5ºC until analysis with the Seahorse ZF 24 Analyser.

Part 2: Live metabolic profile using the Seahorse XF 24 Analyser

2.1) Before each run, the Seahorse XF 24 Analyser, specifically the fluorophores that will measure the O2 and H+, must be calibrated.

2.2) Preparation of the 24-well XF 24 islet plate. Because oxygen consumption is sensitive to temperature fluctuations, 4 previously determined wells are used to control for temperature fluctuations across the plate. These wells do not contain embryos, but are filled with 700 µL of E3 medium (Figure 2A).

2.3) Each of the remaining 20 wells are filled with 700 µL of E3 medium and one embryo each (Figure 2B). Usually 10 wells are used with DMSO treated embryos (control) and 10 wells are used with chemically treated embryos. Before running the Seahorse program, an islet capture screen is added on the top of each well. This is to ensure that the specimen remains in the measurement chamber throughout the assay (Figure 2B). Note: chemically-treated embryos remain with their original chemical solution throughout the entire procedure, with no need to wash out the chemical prior running the Seahorse analyser program.

2.4) Two different programs are routinely performed.

(a) Basal Respiration/Maximum respiration program (duration approx. 90 mins). Three repeats of each mix (2 min), wait (1 min) and measurement (2 min) cycle is performed to first establish basal respiration. At the end of the third cycle, a final concentration of 2.5 µM of FCCP (mitochondrial protonophore/uncoupler) is added to each well. This allows to measure the maximum respiration. The measurement cycle is then repeated 5 times.

(b) ATP turnover and proton leak program (duration approx. 60 mins). Respiration due to ATP turnover is represented by the difference in respiration following the addition of 10 µM oligomycin (an inhibitor of ATP synthase) from basal respiration. Uncoupled respiration, or respiration due to proton leak, is determined by calculating the difference between an oligomycin mediated respiration to respiration following the addition of 10 µM antimycin A (a complex III inhibitor). Measurement cycles are repeated three times after addition of each mitochondrial inhibitor.

At the end of the runs, the mean of the 10 control and 10 chemically treated embryos is calculated.

Part 3: Oil-Red-O staining

3.1) At 50 hpf embryos were dechorionated using fine forceps and fixed in 4% PFA overnight at 4 ºC.

3.2) Oil-Red-O staining was performed as previously described2 (See Figure 4).

Part 4: Representative results

We were interested in understanding the role of a gene on metabolism, particularly respiration rate and lipid metabolism. Therefore, we treated wild type zebrafish embryos from 26 hpf onwards with a specific pharmacological inhibitor of the encoded enzyme. At 50 hpf half of the vehicle and inhibitor-treated embryos were used live for Seahorse analysis of mitochondrial function, while the remaining half were fixed in 4% PFA over night at 4ºC for lipid deposition staining with Oil-Red-O. Treatment with our specific gene inhibitor led a ~2 fold increase in basal respiration (Figure 4A) associated with an increase in lipid deposition especially in the telencephalon and underneath the otic vesicle (Figure 4B,C).

Tables and Figures:

Figure 1: Schematic representation of chemical treatment of zebrafish embryos. Wildtype, genetically-manipulated, or pharmacologically treated zebrafish embryos are background.

Figure 2: XF24 islet plate set up. (A) Four wells are used with embryonic medium only as temperature control (marked by an X). (B) Close-up of one well C6 showing a 50 hpf wild type embryo in DMSO covered by an islet capture screen (arrowhead).

Figure 3: Respiration parameters for wild type 50 hpf zebrafish embryos. For each measurement, the mean of the 20 individual results is presented. Basal respiration (Mean: 299.7; SD: 75.7; SEM: 16.9), Maximal respiration (Mean: 387.4; SD: 93.3; SEM: 20.9), Spare Respiratory Capacity (Mean: 87.7; SD: 72.0; SEM: 16.1). ATP production and proton leak were not measured in this experiment (see discussion). SRC: Spare Respiratory Capacity; SD: Standard Deviation, SEM: Standard Error of Mean. Results are presented in pmol of O2 consumed/min/embryo.

Figure 4: Representative results of chemical exposure on basal respiration and lipid deposition. (A,B) 50 hpf embryo in lateral view stained with Oil-Red O. The chemical treated embryo with a selective inhibitor (B) displays more Oil-Red-O staining in the telencephalon (arrowhead) and underneath the otic vesicle (arrow) compared to a vehicle treated control embryo (C).Measurement of basal respiration shows an ~ 2 fold increase in chemically treated embryos (n= 10 embryos per group). Results are presented in pmol of O2/min/embryo.

Discussion:

Zebrafish is a well-established genetic model for both forward (ENU mutagenesis), and reverse (Tilling, zinc finger nuclease targeted knock-out morpholino knockdown), approaches3,4 while gene function in zebrafish embryos can easily be blocked or activated using selective pharmacological compound. Due to their external development and small size, zebrafish embryos are particularly suitable for metabolic analysis. However, robust measurement of metabolic profile and mitochondrial function in vivo in zebrafish embryos has not been achieved, with only one preliminary description in the literature5. Seahorse analysis was first designed for cell based metabolic studies and has been demonstrated to give reliable results6. The development of this new methodology to zebrafish embryos is significant, and likely to augment the wider usage of this model for metabolic studies.

In our experimental settings, late treatments with oligomycin, an inhibitor of proton channel of ATP synthesis that is used to measure uncoupled respiration, or respiration due to proton leak appear to be inefficient. Although we and other were able to use oligomycin to measure ATP production and proton leak on young embryos5 in embryos older than 50 hpf results are not exploitable. We believe that in older embryos oligomycin cannot diffuse as easily than in younger embryos making the results impossible to interpret. Although at later stages embryos still respond to antimycin A treatments. Because oligomycin results are mandatory for the determination of respiration due to ATP turnover and uncoupled respiration, for experiments dealing with 50 hpf plus zebrafish embryos, these data remain inconclusive. We are currently investigated higher concentrations of oligomycin for older embryos to be able to measure ATP production and proton leak in old zebrafish embryos and larvae. As our Laboratory is interested in using the zebrafish as a model for metabolic disorders we are focussing on late embryonic development when lipid deposition is already occurring and the first wave of mesenchymal stem cells is already fated into adipocytes. That is why we are solely interested in late embryonic development (or larval development) for metabolic studies using the zebrafish.

Nevertheless, we showed here that other measurements such as basal respiration, maximum respiration and Spare Respiratory Capacity can be performed in older zebrafish embryos. We have used up to 68 hpf zebrafish embryos for these measures (not shown). Therefore even if not all parameters can yet be measured in old zebrafish embryos or larvae, Seahorse analysis proved to be a powerful tool for metabolic studies in the zebrafish.

Indeed, there appears to be a variety of applications for this new methodology. Mitochondrial dysfunction is implicated in many human diseases, such as Diabetes mellitus7 and obesity8, multiple sclerosis9, Parkinson’s diseases10, Alzheimer’s disease11 and some type of cancers12. Importantly, our work is performed in the in vivo where all environmental influences, such as cytokines, development-related growth etc, are active, thereby  giving an accurate result in term of in vivo respiration and metabolic profile. As chemical screen are also routinely performed in with type and mutant background zebrafish embryo (Figure 1), new pharmaceuticals that influence respiration, mitochondria function or metabolism could be easily identified using the Seahorse analyser.

One of the limitations in using the current settings that apply to the Seahorse Analyser is the physical space within each islet capture plate well, such that they are only suitable for zebrafish embryos and young larvae. Therefore performing metabolic studies on diet-induced obesity in fish is not yet technically feasible. However, the further application of Seahorse technology in fish may prompt the development of plates specifically designed for juvenile or adult fish, thereby allowing new studies on for example genetically-mediated (yet to be discovered) or diet-induced obese zebrafish.

Acknowledgments:

The authors would like to thank the staff members of the Deakin zebrafish facility for providing excellent ongoing husbandry care of our zebrafish. YG is supported by an Alfred Deakin Postdoctoral Fellowship and a Central Research Grant from Deakin University. SLM is supported by an NHMRC Career Development Fellowship.  ACW is supported by an NHMRC Enabling Grant. All authors are supported by the Molecular & Medical Research Strategic Research Centre at Deakin University.

Disclosures:

We have nothing to disclose

Table of specific reagents and equipment:

| Name of the reagent | Company | Catalogue number | Comments |
| --- | --- | --- | --- |
| XF 24 extracellular flux analyser | Seahorse Bioscience | 100737-101 | 24 well format |
| Islet Capture microplate | Seahorse Bioscience | 101122-100 | 24 well format |
| XF Calibrant Solution | Seahorse Bioscience | 100840-000 |  |
| XF Assay Medium | Seahorse Bioscience | 101022-100 |  |
| Oil-Red-O | Sigma-Aldrich | O0625 |  |
| 1-phenyl-2-thiourea (PTU) | Sigma-Aldrich | P7629 |  |
| 100X15 mm Petri dishes | Falcon | 35-1029 |  |
| FCCP | Sigma | C2920 |  |
| Oligomycin | Sigma | 75351 |  |
| Antimycin A | Sigma | A8674 |  |

References:

1	C, N.-V. & R, D. Zebrafish (Oxford University Press, 2002).

2	Schlombs, K., Wagner, T. & Scheel, J. Site-1 protease is required for cartilage development in zebrafish. Proc Natl Acad Sci U S A 100, 14024-14029, doi:10.1073/pnas.2331794100 (2003).

3	Ingham, P. W. The power of the zebrafish for disease analysis. Hum Mol Genet 18, R107-112, doi:10.1093/hmg/ddp091 (2009).

4	Nasevicius, A. & Ekker, S. C. Effective targeted gene 'knockdown' in zebrafish. Nat Genet 26, 216-220, doi:10.1038/79951 (2000).

5	Stackley, K. D., Beeson, C. C., Rahn, J. J. & Chan, S. S. Bioenergetic profiling of zebrafish embryonic development. Plos One 6, e25652, doi:10.1371/journal.pone.0025652 (2011).

6	McGee, S. L., Sadli, N., Morrison, S., Swinton, C. & Suphioglu, C. DHA protects against zinc mediated alterations in neuronal cellular bioenergetics. Cell Physiol Biochem 28, 157-162, doi:10.1159/000331724 (2011).

7	Sivitz, W. I. & Yorek, M. A. Mitochondrial dysfunction in diabetes: from molecular mechanisms to functional significance and therapeutic opportunities. Antioxid Redox Signal 12, 537-577, doi:10.1089/ars.2009.2531 (2010).

8	Bournat, J. C. & Brown, C. W. Mitochondrial dysfunction in obesity. Curr Opin Endocrinol Diabetes Obes 17, 446-452, doi:10.1097/MED.0b013e32833c3026 (2010).

9	Ghafourifar, P. et al. Mitochondria in multiple sclerosis. Front Biosci 13, 3116-3126 (2008).

10	Winklhofer, K. F. & Haass, C. Mitochondrial dysfunction in Parkinson's disease. Biochim Biophys Acta 1802, 29-44, doi:10.1016/j.bbadis.2009.08.013 (2010).

11	Maruszak, A. & Zekanowski, C. Mitochondrial dysfunction and Alzheimer's disease. Prog Neuropsychopharmacol Biol Psychiatry 35, 320-330, doi:10.1016/j.pnpbp.2010.07.004 (2011).

12	de Moura, M. B., dos Santos, L. S. & Van Houten, B. Mitochondrial dysfunction in neurodegenerative diseases and cancer. Environ Mol Mutagen 51, 391-405, doi:10.1002/em.20575 (2010).