Our responses are in bold.

Changes in text are in italics

Reviewer 1:

Summary:

The authors describe a multiplexed technique to measure aspects of the metabolic profile (basal and maximal respiration rates) in young zebrafish larvae in vivo with the help of an Extracellular Flux Analyzer XF 24 (Seahorse Bioscience). Although the technique has been published in print for the use in embryos, this manuscript describes its application to larvae at the age of around 50 hours, when diffusion of extrinsic compounds through the epidermis can create an obstacle. It provides a useful hands-on guide to performing metabolic measurements in zebrafish. Furthermore, it highlights a current limitation of the application to post-embryonic animals, i.e. that it is no yet possible to determine the relative contributions of ATP turnover and proton leak to mitochondrial respiration. As metabilic profiling becomes more important with the rise of the zebrafish as a model of choice in biomedical research, this study would be a welcome addition to the toolkit required to characterize the physiology of disease states.

Major concerns:

Since this would be the first video-description of this promising and useful technique, I recommend that the authors perform the complete procedure with embryos as well, in order to be able to play through a scenario in which all aspects of respiration can be examined, including the ATP turnover and proton leak programme. Alternatively, they should modify the oligomycin-protocol and establish a working protocol for 50 hpf larvae.

Our response: We have added the the oligomycin-protocal for 50 hpf larvae.

As we now present oligomycin results we have changes the discussion accordingly.

Minor concerns:

It does not become clear why Part 3, Oil-Red-O staining, needs to be included in the manuscript, as it does not add significantly to the metabolic profile anaysis. The biological link between the observed correlation of basal respiration and lipid deposition should be discussed in more detail.

Our response: We have discussed the Oil-Red-O experiment in more details in the discussion

Addded in the text in the discussion:“ Together results generated using the seahorse analyser could be use in addition with lipid deposition as observed by Oli-Red-O staining (figure 4) and with in situ hybridization for specific adipocyte markers such as cebpα, Pparα, Pparγ, FAS etc... Oil-Red-O staining to visualize lipid deposition during embryogenesis prior adipocyte formation is already a good indication of a metabolic disease state in mutant or pharmacological treated embryos. Once lipid deposition defects would have been observed in a particular embryo, further analysis (including analysis in the Seahorse analyser) will help in characterizing the induced developmental lipid defects.”

Figure 3 is not mentioned throughout the main text.

Our response: we have changed that and added figure 3 in the text.

The text in general would strongly benefit from the inclusion of a description of the Seahorse Analyzer's rationale of operation, and from a definition of key concepts such as e.g. proton leak and SRC (see Stackley et al. for example).

Our response; we added this description in the text p2 part 2.4 (a) and (b)

Added in the text part 2.4 (a): “Alterations in basal mitochondrial respiration underpin mitochondrial dysfunction, while maximal respiration is a measure of mitochondrial capacity and alterations in this parameter are associated with a number of both pathological and physiological states. The spare respiratory capacity, or the capacity for mitochondria to further increase ATP production, is also calculated from this test by the subtraction of basal from maximal respiration.”

And added in the text part 2.4 (b): “Respiration due to ATP turnover represents the major function of mitochondria in the form of ATP production, while respiration due to proton leak, or uncoupled respiration, is inextricably linked with other parameters of mitochondrial function including basal respiration and reactive oxygen species formation”

Axes should be labeled within figures 3 and 4.

We have added labeled the axes on figure 3 and 4

Changes in figure 4 and 4 in the vertical axes:“ pmol of O2 consumed/min/embryo”

Notes to the authors:

The discussion requires refinement (typographical errors in second-to-last paragraph) and should not come over as apologetic as it does in paragraphs 2 and 3.

Our response: we proof read teh Manuscript to get rid of all typos.

We did nto intend to wite the discusssion in an apologetic style but we wqante dto stress out the limitation of teh seahorse anaylser in vivo using zebrafish old embryos. This poitn was actually well received by reviewer 2.

Reviewer 2:

Summary

The authors describe a simple protocol to utilize a Seahorse Analyser to examine the metabolic output of developing zebrafish embryos.  Analysing the metabolic state of developing zebrafish embryos would be of use to many studies that utilize this increasingly popular model system for genetic, cell biological and chemical genetic approaches.  In particular, the analysis of the metabolic profile of developing mutant embryos has not been done well in the field in the past.

In its current form the protocol is brief and simple (movie not yet available). The discussion is very clear and explores limitations and alternatives to this approach. Generally, the protocol could be improved by providing a more detailed, point-by-point description of the experimental setup, recommended controls and the physical workspace to be used. Representative results would be improved by including one point of comparison (eg. Chemically treated or MO injected) as an example.

Major Concerns

Part 2.1 begins with calibration of the seahorse analyser but no detail is given on how calibration is performed. Further, detailed description would improve this section of the protocol.

Our response: We added a sentence to explain the automated calibration of the Seahorse analyzer

Added in the text part 2.1: “Before each run, the Seahorse XF 24 Analyser and specifically the fluorophores that will measure the O2 and H+ are calibrated through an automated process performed by the analyser”.

Part 2.3 could be broken into several sections – 1. Preparation of control wells (and explanation/justification), 2. Preparation and capacity for sample analysis, 3. Plate loading…etc. The general concern being to make each physical step in the protocol as accessible to the reader as possible.

Our response: we broke down this section as suggested by reviewer 2. Please find below the new arrangement for this section

2.3) Loading the specimen samples:

2.3.1) each non-temperature control 20 wells (see part 2.2) are filled with 700 µL of E3 medium and one embryo each (Figure 2B).

2.3.2) for each experiment, 10 wells are used with vehicle treated embryos (control) and 10 wells are used with chemically treated embryos. We alternate one control and one treated embryos per well (e.g. Well A2: control embryo; well A3: treated embryo: well A4: control embryo; well A5 treated embryo and so on).

2.3.3) before running the Seahorse program, an islet capture screen is added on the top of each well. This is to ensure that the specimen remains in the measurement chamber throughout the assay (Figure 2B). Note: chemically-treated embryos remain with their original chemical solution throughout the entire procedure, with no need to wash out the chemical prior running the Seahorse analyser program)

2.3.4) once finished the plate in loaded into the Seahorse Analyser and a run is started at once.

Part 3.2 Oil-Red-O staining is a significant component of this approach.  The authors should consider providing a brief protocol for this (eg. in the movie) rather than a reference.

Our response: an Oil-red-O protocol will definitively be added in the movie

Figures 3 and 4 would be improved by showing the representative result for a known regulator (positive control) of the metabolic parameters measured.

Our response: as discussed with the editor of JoVE, we are not willing at this stage to discuss our functional/physiological results. As a proof of principles we showed that one of our compounds of interest is able to increase basal respiration during zebrafish embryogenesis.

Minor Concerns

The schematic in Figure 1 could be improved in terms of cartoon quality.  The flow chart could also be more comprehensive in this Figure and try to encompass downstream analysis and outcomes (eg. Parameters measured could be outlined here).

Our response: we have added a better quality zebrafish embryo in figure 1

Provide full details or links to details of preparation of all reagents including E3 medium, PTU, and chemical reagents.

Our response: Links to details of preparation of PTU and E3 medium have been added in the table of specific reagents.

Part 1.1 states that PTU is used but the embryo shown in Figure 2 is pigmented. Is it necessary for PTU to be used?  Explanation would improve this point

Our response: What we meant was that PTU is used when embryos will be stained later on (like Oil-Red-O staining) for only a Seahorse analysis no need to treat the embryos with PTU.

Change in part1.1: “PTU is only used if embryos have to be stained for in situ hybridization or Oil-Red-O staining. For seahorse analysis only, no need to remove endogenous pigmentation.”

Part 1.3 – Why are embryos kept in the dark?

Our response: The pharmacological compound we used is light sensitive therefore we had to keep the embryos (treated and control) in the dark.

Change in part 1.3: “As the pharmacological inhibitor we used in this study is light sensitive, we let the embryo develop in the dark at 28.5ºC until analysis with the Seahorse ZF 24 Analyser.”

Figure 4 – legend should indicate what selective inhibitor is used.

Our response: we do not wish yet to indicate which selective inhibitor was used in this study. JoVE’s Editors agreed on this point prior submission.

Figure 3 would benefit from a title in the Figure

Our response: We added a title in the figure: “Respiration parameters for wild type 50 hpf zebrafish embryos”

The manuscript should be carefully proofread for typographical errors (eg. Second last paragraph of the discussion).

Our response: We have done so.