Short abstract (50 words maximum)

The integrative repair of cartilage or cartilage substitutes is the pivotal question in reconstruction of  traumatic cartilage defects. Within the specific t-peel-test the adhesive strength of native or pretreated cartilage can be measured in an experimental setup.

Long Abstract (150-400 words)

One of the most important questions in integrative cartilage repair after traumatic injury is the mechanical strength and loading capacity at the borders of native and replaced cartilage. It is known that for integrative repair in vivo metabolism of collagens, its deposition and crosslinking are involved leading to a tight bond strength of the cartilage. For measurement of these forces in vitro an insert-ring push out model as well as a shear test to failure are established. Besides lack of defined stress moments different other problems go along with these test setups.

We describe a test called t-peel-test with which a sensitive investigation of the mechanical strength at the integration side is possible.

From the patello femoral groove of calf knees osteochondral fragments were cut and dissected into defined slices of articular cartilage. For mechanical analysis the specimen was clamped into fixings of a test rig in a T-like configuration. The applied force was measured by a load cell with an accuracy better than 0.1 N. Peeling progress, i.e. crack propagation, was continuously recorded by a linear variable differential transformer (LVDT) with a resolution of 0.01 mm. Peeling was performed until total rupture of the cartilage blocks. The recorded load (Fl) versus peeling distance (Δp) was analyzed in terms of the initial stiffness of the laps, load threshold for onset of peeling and peeling force normalized per incremental line segment as a function of peeling length.

Load versus displacement curves were obtained and provided direct access to the strength of tissue at the boundaries taking into account that Δp represents elastic deformation (Δe) and plastic deformation (Δx) of the cartilage block.

We suggest the t-peel-test as a valuable, easy to perform and meaningful tool to measure mechanical strength and loading capacity in native, tissue engineered and repaired cartilage in vitro.