Protocol text (2-3 pages, written in imperative tense, in step-by-step format)

Specimen preparation

Cut osteochondral fragments (Figure 1 A) for example from the patello femoral groove of calf knees (Figure 1 B) and dissect them into defined slices (600 μm) of articular cartilage by a sledge microtome (see Figure 1 C). Start preparation of these articular cartilage blocks to final and accurate specimen geometry from the upper volume. Cut these slices to final specimen geometry (e.g. define for all experiments: 12 mm x 2.4 mm x 0.6 mm). In order to minimize geometrical effects on the results obtained, cut one end of the planar section subjected for peeling strength analysis to approximately half of the specimen length (i.e. 6 mm, Figure 1 D). Keep the cartilage moist during the entire preparation procedure by continuously rinsing with physiologic salt solution (e.g. PBS) or in a bath of physiologic salt solution. Label cartilage specimen for visual analysis with small ink spots. Best marking will be achieved with indian ink and a small needle (e.g. 27G) [Pfeifer et al]. We recommend to process the cartilage samples within the first 24 hours after scarification.

Fixation of specimen for mechanical analysis

Clamp the ends of the specimen into fixings of the test rig (see Fig.2). The holding device is especially designed for this test consisting of two metal clamps and is used in combination with a universal testing machine (e.g. Fa. Hegewald u. Peschke). To avoid cartilage specimen slipping out of the clamps you can use abrasive paper at the clamp’s ends. A tightening of the clamps with a load of about 20N is sufficient. The distance of the two clamps has to be set up according to the sample’s geometrical dimensions e.g . in the above mentioned dimensions 1-3mm. The accuracy of the load cell (e.g. Fa. Hottinger Baldwin Messtechnik) placed at the upper arm of the testing machine (see Fig.3) should be as exact as possible (e.g. 0.01N). The measurement range of the load cell should reach up to 100 N. Make possible that recorded forces are passed on to a PC and can be analyzed by software (e.g. labmaster). Peeling progress, i.e. crack propagation, is recorded continuously by a linear variable differential transformer (LVDT) with a resolution of 0.01 mm (see below). Place a bowl below the clamping device at the lower arm of the testing machine (see Fig 2) containing PBS to keep the cartilage moistenend. A vertical movable bowl allows better handling of the specimen. The t-peel test can be performed in laboratory air.

Measurement of deformation

Place the specialized camera (e.g. “Aramis”, Gesellschaft für optische Messtechnik AG) in front of the testing setup. Two photographs per second are enough to reach 100 to 150 pictures per peeling process (around 60sec. duration). Now the distances between the labeled spots are measured over the time curve. Measurements of the load cell can be embedded in the metadata of the pictures as electric tension whereas 100N equate 10V. Now you have to substract the value before the start of the peeling process from the value of the defined time point so that you produce a value of electric tension representing the dedicated force. Multiply that value by 10 N/V and you gain a defined force. You can directly read out of the picture the position of the rupture side and indirectly the applied force (see Fig 6). Doing so you can repeatedly record the force at the same spot e.g. in the native and the repaired specimen.

The calculation of the tension force inside your specimen can be achieved by using the cross section area (A). Therefore  you have to assume that the width (b) to height (d) ratio of the specimen stays constant e.g. b1:d1 = b2:d2. d1 and d2 are the measured thickness (in your picture) in non-stretched and stretched mode. The cross sectional area in stretched mode (A2) can now be calculated by: A2 = (d2² * b1)/d1. The tension (σ ) is calculated by: σ = FNiveau/A2 .

Adjustment of the test setup and run of the t-peel test

Before starting the test make sure that the specimen is fixed with the marking facing towards the camera. Start the test with a preload of 0,05N. The velocity of the draft should be adjusted to 15mm per min. Faster peeling will create premature collapse in most specimen. We defined collapse of the specimen at a drop of force of 90%. Safe this parameters to your software so that the test is run automatically and in case of collapse is stopped automatically. Otherwise stop the peeling progress when only 1mm of un-peeled specimen is left manually. Fitting spots that belong together for integrative repair is much easier this way. Peeled specimen can now be put back for example in a tissue culture medium in a special designed petri dish and be peeled again after re-union was achieved. The entire course of a tissue culture experiment with biomechanical testing is shown in Fig. 4.

Interpretation of results

To compare measurements of different cartilage samples it is useful to concentrate on a single value of the load versus displacement curves. Load versus displacement curves show characteristic blocks (see Fig.5). You can now calculate a standard deviation and therefore you gain insight of the mechanical characteristics of the samples in your collective. Bias in your results will be minimized this way.