JoVE Video Script, Page 1 of 9

Submission ID #: 4452
Editor Name: Steven Nilsen
Videographer name: Josh Csehak
Film Date: 2/12/2013
Cell Signaling Technology, Danvers, MA
Corresponding Author: Susan Chow, schow@cellsignal.com
Title: Western Blotting Protocol by Cell Signaling Technology 
Schematic Overview (read by a voice talent at JoVE)

Western blotting, also called immunoblotting, is a widely used technique to monitor protein expression, in a cell or tissue extract, based upon antibody binding to a specific protein of interest.  (Intro)  Antibodies used in western blotting can be specific to total protein or to a post-translational modification of a protein, such as sites of phosphorylation, acetylation, methylation, or ubiquitination. (P1) 

Video Editor:

P1: a simple graphic of a protein (a ribbon) to begin with.  Then with each of the following make a small change to the protein:

“phosphorylation” = add a few green balls containing the letters “Ph” to the ribbon

“acetylation” = add a red balls containing the letters “Ac” to the ribbon

“methylation” = add a few yellow balls containing the letters “Me” to the ribbon

“ubiquitination” = add several white balls containing the letters “Ub” all across the ribbon

1. Introductory Interview (spoken by you on camera. Don’t forget to smile!)  
1.1. At Cell Signaling Technology, we perform western blots daily to validate our existing and new antibodies. Here, we provide a complete protocol for the technique based upon a decade of our experience.  
1.2. We also provide a list of commonly used reagents that are used by CST scientists and work optimally with CST™ antibodies.  Using additional directions found on your antibody product datasheet, you can simply replicate what we are doing here and get the expected results in the shortest amount of time.  
1.3. We will also discuss the critical steps in western blotting and how protocol changes can affect the final outcome of your blot.
Protocol Chapters (read by a voice talent at JoVE):

2. Solutions and Reagents
2.1. Before you begin, you should have a number of solutions on hand.  Directions to prepare these solutions can be found on the protocol page of our website.
2.1.1. WID: talent is at a bench preparing one of the solutions, all the solutions needed are laid out on the bench, for display Note: each solution should be shown at its operating temperature, either on the bench at room temp, on ice, or in warm water bath – this applies to all the CUs of the these reagent in this section.
2.1.2. MED: finishing the mixing of 1X PBS
2.2. These reagents include 1X PBS, prepared from 20X stock … (TEXT: CST #9808)
2.2.1. CU: labeled bottle of 1X PBS reagent and bottle of stock solution behind it
2.3. … 1X SDS Sample Buffer prepared using either CST Blue Loading Buffer Pack or Red Loading Buffer Pack … (TEXT: Blue Loading Buffer Pack #7722 or Red Loading Buffer Pack #7723) See the sample preparation section for alternate use of Cell Lysis Buffer or RIPA Buffer. (TEXT: Cell Lysis Buffer #9803 and RIPA Buffer #9806)
2.3.1. CU: labeled bottle of sample buffer and the two loading packs
2.4. …transfer buffer …
2.4.1.  CU: labeled bottle of transfer buffer 
2.5. … 1X TBST, prepared from 10X TBST stock … (TEXT: CST #9997)
2.5.1. CU: labeled bottle of 1X TBST and bottle of 10X stock, behind it
2.6. … blocking buffer, prepared with nonfat dry milk … (TEXT: 1X TBST with 5% nonfat dry milk (#9999))
2.6.1. CU: CST dry milk #9999 and bottle of prepared blocking buffer
2.7. … [delete this step.  Images from 2.6 and 2.7 were combined] 
2.8. … bovine serum albumin, or BSA … (TEXT: CST #9998)
2.8.1. CU: the BSA solution, labeled
2.9. … primary antibody dilution buffer containing either 5% BSA or 5% nonfat dry milk, as indicated on the product datasheet …
2.9.1. CU: bottles of 5% milk and 5% BSA in TBST
2.10. … SignalFire™ ECL reagent … (TEXT: CST #6883)
2.10.1. CU: the signalfire reagent and the CST 6683 package 
2.11. … prestained protein marker … (TEXT: CST #7720)
2.11.1. CU: protein marker and the CST 7720 package
2.12. … and a blotting membrane. 
2.12.1. CU: membrane in packaging or in solution
2.13. Elisabeth Antanavich: This protocol has been optimized for nitrocellulose membranes. PVDF membranes may also be used, but we find they may result in a higher background under some conditions.
2.13.1. MED/WID: interview style shot of talent delivering this narrative at bench where the blotting membrane is shown.
3. Sample Preparation and Protein Blotting
3.1. To harvest the cells, aspirate the cell culture media and wash the cells with 1X PBS.  Then, aspirate the PBS.
3.1.1. WID: talent aspirating media from the cells

3.1.2. MED: adding PBS wash to the cells then aspirating it off
3.2. Next, lyse the cells by adding 1X SDS sample buffer.  Add 100 µl of buffer per well to a 6-well plate or add 500 µl to a 10-cm plate.

3.2.1. MED: loading pipette with SDS sample buffer from clearly labeled bottle

3.2.2. CU: aliquots of SDS are added to each well of 6-well plate OR aliquots of SDS are added to 10-cm plates

3.3. Then, immediately scrape the cells off the plate and transfer the extract to a microcentrifuge tube. Keep the cell extract tube on ice. 

3.3.1. CU: scraping the cells off the plate

3.3.2. MED: transferring extract to a tube and placing the tube on ice

3.4. Alternatively, the samples can be lysed using 1X Cell Lysis Buffer (TXT:  Cell Lysis Buffer #9803) …

3.4.1. CU: bottle of 1X cell lysis buffer, clearly labeled, pipette is taking an aliquot

3.5. … or they can be lysed using 1X RIPA Buffer (TEXT: RIPA Buffer #9806). Both buffers contain the necessary phosphatase and protease inhibitors for common protein assay methods. 
3.5.1. CU: Both buffers and inhibitors on bench (NOTE: this shot might be slated 4466, shot 4.5.1; same shot for both movies)

3.5.2. CU: Quick shot of BCA Protein Assay Kit #7780

3.6. Now, sonicate the cell extract for 10 to 15 seconds to complete cell lysis and to shear nuclear chromatin.  This also reduces the sample’s viscosity and is especially important for detection of membrane-bound and nuclear proteins.
3.6.1. MED: talent standing in front of sonicator and sonicating the lysates.
3.7. If SDS sample buffer was used, take a 20 µl aliquot of the sample, heat it to 95 or 100 °C for 5 minutes and then cool on ice.  

3.7.1. MED: taking a small aliquot of sonicated cell extract and adding to new tube

3.7.2. MED: placing the new tube in water bath to heat it up Video editor: use a clock wipe between this and the next shot, 5 minutes pass but we show it quickly.
3.8. MED: removing tube from bath and placing it on ice
3.9. If Cell Lysis Buffer or RIPA Buffer was used, remove a 20 μl aliquot of the cell extract, add Red or Blue Loading Buffer Pack to a final concentration of 1X, and then heat sample to 95 °C for 5 minutes and cool on ice.

3.9.1. Reuse 3.7.1

3.9.2. MED: adding buffer pack to placing the new tube  and then placing it into a water bath, Video editor: use a clock wipe between this and the next shot, 5 minutes pass but we show it quickly.
3.9.3. Reuse 3.7.3
3.10. Now, microcentrifuge the cooled sample for 5 minutes at room temperature.  

3.10.1. MED: talent loads chilled sample tube into table top centrifuge and runs the spin
3.11. Next, load the centrifuged sample onto square SDS-PAGE 4-20% gradient gel. (TEXT: 10 cm x 10 cm,  20−50 μg protein / lane)

3.11.1. MED: talent loading sample into gel

3.12. Alongside the sample, load 10 µL of the prestained markers and 10 μl of biotinylated protein ladder to determine molecular weights. (TEXT: Prestained Protein Marker #7720 and Biotinylated Protein Ladder Detection Pack #7727)

3.12.1. ECU: in a well of the gel, marker is added

3.13. Run the gel using SDS Running Buffer (TEXT: 10X Tris-Glycine SDS Running Buffer #4050)

3.13.1. MED: gel box running and running buffer stock solution 

3.13.2. ECU: Shot of gel running with dye band half way through the gel. [note: no slate for this shot because of ECU]
3.14. When the gel is done, set up a transfer cassette in transfer buffer as follows: wet sponge, filter paper, gel, nitrocellulose or PVDF membrane, and the other sponge. 

3.14.1. MED: talent has layers of transfer cassette all out and visible on bench and begins stacking them up in the cassette
3.15. Make sure to remove any air bubbles. Close cassette and insert in your transfer apparatus in the appropriate direction.

3.15.1. CU: removing air bubbles from cassette

3.15.2. MED: closing the cassette

3.16. Then, electrotransfer at 70 volts for 1.5 to 3 hours.  

3.16.1. MED: insert cassette and set voltage 

4. Membrane Blocking and Antibody Incubations
4.1. The measurements for this section are for a 100 cm square membrane; for differently sized membranes, adjust the volumes accordingly.
4.1.1. WID: talent approaches the electrotransfer assembly
4.1.2. MED: unloading the nitrocellulose membrane from the assembly and checking transfer of marker
4.2. After transfer, wash the nitrocellulose membrane with 25 ml of TBST for 5 minutes at room temperature.
4.2.1. MED: talent transfers the membrane to a wash bath and starts a timer
4.3. To block the membrane, incubate it in 25 ml of blocking buffer for 1 hour at room temperature. (TEXT: 1X TBST with 5% nonfat dry milk)
4.3.1. MED: placing the membrane in blocking buffer and put on orbital shaker
4.3.2. CU: starting a timer to count down from 1 hour
4.4. And after the hour, wash the membrane for 5 minutes in 15 ml of 1X TBST.
4.4.1. MED: stops the timer (presumably beeping) and then pours out the blocking buffer and replaces it with TBST buffer
4.5. Now, dilute the primary antibody using 10 ml of recommended dilution buffer, which has been uniquely determined for each CST antibody. (TEXT: See product data sheet). Then, incubate the membrane in the diluted antibody with gentle agitation, overnight at 4 °C.  
4.5.1. CU: As inset over 4.5.2 - datasheet showing proper dilution
4.5.2. MED: dilute antibody and pour into tray containing membrane
4.5.3. WID: entering a cold room, setting the membrane up on a rocking platform, then leaving the room
4.6. The next day, wash the membrane three times for 5 minutes per wash, with 15 ml of TBST.
4.6.1. WID: talent removing membrane from the refrigerator, talent looks like it is the next day
4.6.2. MED: pour out old buffer and replace with fresh buffer, then starting a timer 
4.6.3. CU: timer set for 5 minutes
4.7. After the washes, dilute the species appropriate HRP-conjugated secondary antibody at 1:2000 in 10 ml of blocking buffer. (TEXT: Anti-rabbit IgG HRP-linked Antibody #7074 or Anti-mouse IgG HRP-linked Antibody #7076)
4.7.1.  MED: talent taking an aliquot of secondary antibody 
4.7.2. CU: adding the antibody aliquot to 10 ml of buffer
4.8. Anti-biotin, HRP-linked antibody can also be added to the 10 ml of blocking buffer to detect the biotinylated protein markers. (TEXT: Anti-biotin HRP-linked Antibody #7075, 1:1000)
4.8.1. Continue shot 4.7.2
4.8.2. MED: continuation of shot 4.7.1
4.9. Incubate the membrane in the diluted secondary antibody solution with gentle agitation for 1 hour at room temperature on an orbital shaker. 
4.9.1. MED: old buffer is poured off and the new one is added
4.9.2. WID: membrane placed on rocking platform, starts the rock and then sets the timer
4.9.3. CU: timer
4.10. After the incubation, wash the membrane three times with 15 ml of TBST for 5 minutes per wash.  Then, proceed with the protein detection.
4.10.1. WID: talent returns to the bench and moves the membrane to the bath TBST solution
4.10.2. CU: pour new TBST buffer and start shaker
5. Detection of Proteins
5.1. For protein detection, prepare the SignalFire ECL Reagent by mixing 1 part of 2X Reagent A with 1 part of 2X Reagent B. (TEXT: SignalFire( ECL Reagent #6883)
5.1.1. WID: talent at bench mixing up signalfire solution and pouring
5.2. Incubate the membrane in 10 ml of SignalFire ECL Reagent with gentle agitation for 1 minute at room temperature. 
5.2.1. CU: pouring mixed solution on membrane and turn on shaker

5.3. Next, drain the membrane of excess developing solution, but do not let it dry out.
5.3.1. MED: draining the bath of solution, leaving a wet membrane
5.4. Then, wrap the membrane in plastic wrap while it is still wet and expose it to the x-ray film in a dark room. 
5.4.1. CU: wrapping the membrane in plastic
5.4.2. MED: loading the membrane next to film into an assembly
5.5. An initial 10-second exposure should indicate the proper exposure time. 
5.5.1. CU: opening the assembly and checking the film, show the results on the film in focus
6. Importance of Following the CST-Recommended Protocol
VIDEO EDITOR: The Images for this section are on this webpage: http://www.cellsignal.com/support/protocols/western-variation.html 
6.1. Cell Signaling Technology (CST) antibodies are validated using our recommended western blotting protocol, which has been developed and optimized by CST scientists. Minor changes to the protocol can dramatically affect the results.  For example, skipping the sonication step during sample preparation can result in a greatly decreased signal.
6.1.1. LAB MEDIA: file name 4452 CST 6.1.1 
6.2. Primary antibodies can be diluted in a TBST buffer containing either 5% BSA or 5% milk.  The optimal dilution buffer has been predetermined for each antibody and is included on the product datasheet.  Using a dilution buffer other than the recommended dilution buffer may result in a less-than-optimal signal.  
6.2.1. LAB MEDIA: file name 4452 CST 6.2.1 

6.3. The primary antibody incubation period can vary greatly depending upon which protocol a researcher is using.  CST recommends incubating the primary antibody overnight at 4 °C for all CST antibodies.  Some western protocols recommend a 2-hour incubation at room temperature, which we have found leads to a weaker or no signal. We guarantee that our antibodies work with an overnight incubation at 4°C.
6.3.1.  LAB MEDIA: file name 4452 CST 6.3.1 [TEXT: TrkA (14G6) Rabbit mAb #2508] 

6.3.2. LAB MEDIA: file name 4452 CST 6.3.2 [TEXT: Phospho-Akt (Ser473) Antibody #9271]
6.3.3. LAB MEDIA: file name 4452 CST 6.3.3  [TEXT: Phospho-GSK-3β (Ser9) Antibody #9336] 
6.4. Another area where western blot protocols can vary is with the wash and dilution buffers.  CST recommends using Tris buffered saline with 0.1% Tween-20 for antibody dilution buffers and wash steps. 
6.4.1. LAB MEDIA: file name 4452 CST 6.4.1 

6.5. By comparison, using phosphate buffered saline with Tween, or PBST, in place of TBST weakens the signals for all the antibodies shown.
6.5.1. LAB MEDIA:  file name 4452 CST 6.5.1 
6.6. CST recommends wet transfer for 2 hours followed by 1-hour blocking and overnight primary antibody incubation at 4 °C.  Alternate protocols that dramatically shorten transfer and incubation times may substantially weaken the signal. 

6.6.1. LAB MEDIA: file name 4452 CST 6.6.1  (TEXT: Wet transfer – CST Recommended Protocol) 

6.6.2. LAB MEDIA: file name 4452 CST 6.6.2  (TEXT: Alternative semi-dry transfer system – not recommended)

7. Conclusion Interview
7.1. In closing, we hope this video is a helpful resource for performing western blots using CST antibodies in your own lab.  Please also view our second video, Western Blotting Troubleshooting Guide, where we discuss common issues with western blotting and how to troubleshoot.
8. Conclusion: Contact Information
8.1. Cell Signaling Technology prides itself in providing you with exceptional customer service and support. Since all of our antibodies are produced in house, the same scientists who develop and assay these reagents are available as technical resources for our customers. These scientists can be contacted directly and will personally provide technical assistance to you, our customer.
Please show this on the screen during voiceover:

Technical Support

Hours: 9:00 AM - 6:00 PM (EST)

Toll free phone: 877-678-8324 or 877-678-TECH

E-mail: support@cellsignal.com
Suggestions or comments e-mail: tech@cellsignal.com
List of Provided Media Filenames and Descriptions (fill this in)

In this space, please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tif files at dimensions of at least 720X480 pixels and 300 dpi.  Higher  resolutions are better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Please insert your media filenames here.
General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

( 2013, Journal of Visualized Experiments


