Patient-Specific Modeling of the Heart: Estimation of Ventricular Fiber Orientations

Authors:

Fijoy Vadakkumpadan, Hermenegild Arevalo, Natalia A. Trayanova

Authors: institution(s)/affiliation(s) for each author:

Fijoy Vadakkumpadan

Institute for Computational Medicine and the Department of Biomedical Engineering

Johns Hopkins University, Baltimore, Maryland, USA

fijoy@jhu.edu

Hermenegild Arevalo

Institute for Computational Medicine and the Department of Biomedical Engineering

Johns Hopkins University, Baltimore, Maryland, USA

hermenegild@jhu.edu

Natalia A. Trayanova

Institute for Computational Medicine and the Department of Biomedical Engineering

Johns Hopkins University, Baltimore, Maryland, USA

ntrayanova@jhu.edu

Corresponding author:

Fijoy Vadakkumpadan

Keywords:

Cardiomyocyte, magnetic resonance imaging, biomedical image processing, patient-specific modeling, electrophysiology, simulation

Short Abstract:

A methodology to estimate ventricular fiber orientations from in vivo images of patient heart geometries for personalized modeling is described. Validation of the methodology performed using normal and failing canine hearts demonstrate that that there are no significant differences between estimated and acquired fiber orientations at a clinically observable level.

Long Abstract:

Patient-specific simulations of heart (dys)function aimed at personalizing cardiac therapy are hampered by the absence of in vivo imaging technology for clinically acquiring myocardial fiber orientations. The objective of this project was to develop a methodology to estimate cardiac fiber orientations from in vivo images of patient heart geometries. An accurate representation of ventricular geometry and fiber orientations was reconstructed, respectively, from high-resolution ex vivo structural magnetic resonance (MR) and diffusion tensor (DT) MR images of a normal human heart, referred to as the atlas. Ventricular geometry of a patient heart was extracted, via semiautomatic segmentation, from an in vivo computed tomography (CT) image. Using image transformation algorithms, the atlas ventricular geometry was deformed to match that of the patient. Finally, the deformation field was applied to the atlas fiber orientations to obtain an estimate of patient fiber orientations. The accuracy of the fiber estimates was assessed using six normal and three failing canine hearts. The mean absolute difference between inclination angles of acquired and estimated fiber orientations was 15.4°. Computational simulations of ventricular activation maps and pseudo-ECGs in sinus rhythm and ventricular tachycardia indicated that there are no significant differences between estimated and acquired fiber orientations at a clinically observable level. The new insights obtained from the project will pave the way for the development of patient-specific models of the heart that can aid physicians in personalized diagnosis and decisions regarding electrophysiological interventions.

Introduction:

The computational approach is becoming central to the advancement of the understanding of the function of the heart in health and disease. State-of-the-art whole-heart models of electrophysiology and electromechanics are currently being used to study a wide range of phenomena, such as normal ventricular propagation, arrhythmia, defibrillation, electromechanical coupling, and cardiac resynchronization [1]. However, for the computational approach to be directly applicable in the clinical environment, it is imperative that the models be patient-specific, i.e. the models must be based on the specific architecture and electrophysiological or electromechanical properties of the patient’s diseased heart. Simulation with such models will aid physicians to arrive at highly personalized decisions for electrophysiological interventions as well as prophylaxis, thereby dramatically improving cardiac health care [2-4].

Creation of realistic cardiac models requires the acquisition of the geometry and fiber structure of a patient heart. Fiber orientations determine directions of electrical propagation and strain distributions in the heart, and therefore acquiring them is essential to cardiac modeling [5, 6]. With recent advances in medical imaging, it is now feasible to obtain the geometry of a patient heart, including structural remodeling such as infarction, in vivo with high resolution using magnetic resonance imaging (MRI) and computed tomography (CT) technologies. However, there is no practical method for acquiring fiber structure of a patient heart in vivo. Diffusion tensor (DT) MRI [7, 8], the only technique to acquire fiber orientations of the intact heart, is not widely available in vivo due to certain limitations [9]. A brief description of the previous efforts to translate DTMRI to the clinical setting can be found elsewhere [2]. Though methodologies such as rule-based assignment of fiber orientations offer alternatives to DTMRI, these methodologies have certain serious limitations [2, 10]. Thus difficulties in acquiring cardiac fiber structure in vivo presently impede the application of electrophysiological and electromechanical cardiac simulations in clinical setting. The objective of this research was to directly address this need.

We hypothesized that ventricular fiber orientations of a heart can be accurately predicted given the geometry of the heart and an atlas, where the atlas is a heart whose geometry and fiber orientations are available. Accordingly, we used state of the art techniques to develop a methodology for estimation of cardiac fiber orientations in vivo, and tested the hypothesis in normal and failing canine ventricles [2]. The central idea of our fiber estimation methodology is to exploit similarities in fiber orientations, relative to geometry, between different hearts in order to approximate the fiber structure of a (target) heart for which only the geometry information is available. At the heart of our estimation methodology is the registration of the atlas geometry with the target geometry using large deformation diffeomorphic metric mapping (LDDMM) [11], and the morphing of atlas fiber orientations using preservation of principal components (PPD) [2, 12]. The diffeomorphic property of LDDMM guarantees that the atlas does not “fold over” itself during deformation, thereby preserving the integrity of anatomical structures. Fig. 1 illustrates the processing pipeline of our methodology. The protocol text section §1 describes the various components of the pipeline by demonstrating how the estimation can be performed for an example patient. The numbers inside some of the blocks in Fig. 1 refer to the corresponding subsections under section §1 of the protocol text.

We evaluated the performance of the proposed methodology by quantifying the estimation error, and measuring the effect of this error on simulations of cardiac electrophysiology, by computationally simulating local electrical activation maps as well as pseudo-electrocardiograms (pseudo-ECGs). Due to the unavailability of human hearts, the performance evaluation was conducted using canine hearts available from previous studies [13-15]. The estimation error was calculated by means of inclination angles [16], following the tradition of histology, where angular measurements are performed on tissue sections that are cut parallel to the epicardial surface. Since the angle between the fiber direction and epicardial tangent plane is generally small [17, 18], the information loss in describing a fiber direction entirely using its inclination angle is insignificant. For the computational simulations, image-based models were built as reported previously [19, 20], and cardiac tissue in the models was represented based on established mathematical techniques and experimental data [21-25]. Sinus rhythm was simulated by replicating activation originating from the Purkinje network [26], and ventricular tachycardia, by an S1-S2 pacing protocol [27]. Pseudo-ECGs were computed [28] and compared using the mean absolute deviation (MAD) metric [29].

Protocol Text:

1.) Fiber Orientations Estimation

1.1) Acquire structural MRI and DTMRI images of a normal adult human heart in diastole, at a resolution of 1mm3. Using ImageJ, extract the ventricular myocardium from the atlas structural image by fitting, for each short-axis slice, closed splines through a set of landmark points placed along the epicardial and endocardial boundaries in the slice (Fig. 2A & Fig. 2B). Perform the placement of landmark points manually for every 10th slice in the image. Obtain the landmark points for the remaining slices by linearly interpolating the manually identified points, using MATLAB®. Reconstruct the fiber orientations of the atlas heart by computing the primary eigenvectors of the DTs in the DTMRI image (Fig. 2C).

1.2) Acquire an image of the geometry of the patient heart in diastole using in vivo cardiac CT or MRI.  Reconstruct the patient heart geometry from the image similarly to the way the atlas was built (Fig. 3A & Fig. 3B).  The patient image should be re-sampled prior to reconstruction such that the in-plane resolution is 1mm2. Similarly, the number of slices for which landmarks are manually picked, and the interval of out-of-plane interpolation must be adjusted so that the segmented patient heart image has a slice thickness of 1mm.

1.3) Deform the atlas ventricular image to match the patient geometry image in two steps. In the first step, perform an affine transformation based on a set of thirteen landmarks points: the left ventricular (LV) apex, the two right ventricular (RV) insertion points at the base, the two RV insertion points midway between base and apex, and four sets of two points that evenly divide RV and LV epicardial contours at base, and midway between base and apex (Fig. 4A & Fig. 4B). In the second step, deform the affine-transformed atlas ventricles further to match the patient geometry, using large deformation diffeomorphic metric mapping (LDDMM) (Fig. 4C).

1.4) Morph the DTMRI image of the atlas by re-positioning of image voxels and re-orienting the DTs according to the transformation matrix of the affine matching and the deformation field of the LDDMM transformation. Perform the re-orientation of the DTs using the preservation of principal directions (PPD) method.

1.5) Obtain the estimate of the patient fiber orientations from the morphed atlas DTMRI image by computing the primary eigenvector of the DTs (Fig. 5).

2.) Measurement of Estimation Error

2.1.) Acquire ex vivo structural MR and DTMR images of six normal and three failing canine hearts, at a resolution of 312.5×312.5×800µm3. Here, heart failure should be generated in the canines via radiofrequency ablation of the left bundle-branch followed by 3 weeks of tachypacing at 210 minutes-1.

2.2.) Segment the ventricles from the canine hearts similarly to the human atlas heart, as described in §1.1. Denote ventricles segmented from normal canine hearts as hearts 1 through 6, and those segmented from failing canine hearts as hearts 7 through 9 (Fig. 6).

2.3.) Obtain five different estimates of ventricular fiber orientations of heart 1 by using each of hearts 2 to 6 as an atlas (Fig. 7).

2.4.) Estimate fiber orientations for each of the failing ventricles using heart 1 as the atlas (Fig. 8).

2.5.) For each data point in each set of estimated fiber orientations, compute the estimation error as θe-θa, where θeand θa are the inclination angles of estimated and acquired fiber orientations at that point, respectively.

2.6) For each data point in each set of estimated fiber orientations, compute the acute angle between estimated and acquired fiber directions in three-dimensions (3D) by means of the vector dot product.

3.) Measurement of the Effects of Estimation Error on Simulations

3.1.) From heart 1, construct six models, one with the DTMRI-acquired fiber orientations of heart 1 (referred to as model 1), and five with the five estimated fiber orientations datasets (models 2 to 6). For each of the three failing heart geometries, construct two ventricular models, one with the DTMRI-acquired fiber orientations and the other with the estimated fiber orientations. Here the spatial resolution of the models, computed in terms of the average edge length of the meshes, should be about 600µm. Denote the heart failure models with DTMRI-acquired fibers as models 7 to 9, and those with estimated fibers as models 10 to 12. In the models, use monodomain representation to describe the cardiac tissue, with governing equations:

CmδVmδt+Iion=∇∙σb∇Vm

Iion=Iion(Vm,μ)

δμδt=G(Vm,μ)

where σb is the  bulk conductivity tensor which is calculated from the bidomain conductivity tensors as described by Potse et al [30]; Vm is the transmembrane potential; Cm is the membrane specific capacitance; and Iion is the density of the transmembrane current, which in turn depends on Vm and a set of state variables µ describing the dynamics of ionic fluxes across the membrane. For Cm, use a value of 1 μF/cm2. For σi in normal canine heart models, use longitudinal and transverse conductivity values of 0.34 S/m and 0.06 S/m, respectively. Represent Iion by the Greenstein-Winslow ionic models of the canine ventricular myocyte. Decrease the electrical conductivities in canine heart failure ventricular models by 30%. (Fig. 9)

3.2.) Using the software package CARP (CardioSolv, LLC), simulate sinus rhythm with all models. Induce reentrant ventricular tachycardia (VT) in the six failing models using an S1-S2 pacing protocol. Choose the timing between S1 and S2 to obtain sustained VT activity for 2 seconds after S2 delivery. If VT is not induced for any S1-S2 timing, decrease the conductivities by up to 70% until VT was induced (Fig. 10).

3.3.) For each simulation, calculate pseudo-ECGs by taking the difference of extracellular potentials between two points in an isotropic bath surrounding the hearts. Place the two points near the base of the heart separated by 18cm, such that the line connecting them is perpendicular to the base-apex plane of the septum as illustrated in Fig. 10. For each simulation with estimated fiber orientations, compute the MAD metric as

MAD = i=1nXi-X-Yi-Yi=1nXi-X+Yi-Y

where X is the ECG waveform of the simulation with estimated fiber orientations, Y is the ECG waveform of the corresponding simulation with acquired fiber orientations, X is the mean value of X, Y is the mean value of Y, and n is the length of X and Y.

Representative Results:

Fig. 11, A-C displays streamlined visualizations of estimated as well as DTMRI-derived fiber orientations in normal and failing hearts. Qualitative examination shows that estimated fiber orientations align well with DTMRI-derived ones. Panel D illustrates, overlaid on the geometry of heart 1, the distribution of error in normal hearts’ inclination angles, averaged across all five estimates. Panel E shows the mean distribution of error in failing hearts’ inclination angles, overlaid on the geometry of heart 1. Note that inclination angles have values between -90⁰ and +90⁰, and therefore, the estimation error ranges between 0⁰ and 180⁰. Panels F and G present sections of tissue from the distributions in panels D and E, respectively. This highlights the transmural variation of error. The histograms of errors in panel H suggest that most myocardial voxels have small error values. About 80% and 75% of the voxels have errors less than 20° in normal and failing ventricles, respectively. It was found that the mean error, averaged across all estimated datasets, and all image voxels that belonged to the myocardium, were 14.4° and 16.9° in normal and failing ventricles, respectively. The mean error in the entire myocardium, in normal and failing cases combined, was 15.4°. The mean 3D acute angle between estimated and acquired fiber directions were 17.5⁰ and 18.8⁰ in normal and failing ventricles, respectively. The 3-D angles are comparable to the estimation errors. These results show that inclination angles of predicted fiber orientations are comparable to those acquired by ex-vivo DTMRI, the state-of-the-art technique. The standard deviation of error across the five different estimates of the fiber orientations of heart 1 was only 1.9 indicating that the variation in estimation quality from one atlas to another is small.

Figs. 12 and 13 present the simulated activation maps of one beat of sinus rhythm activation in normal and failing ventricular models, respectively. Models with estimated fiber orientations produce activation maps very similar to those of models with acquired orientations; the earliest epicardial activations occur at the same sites, and the directions of propagation match as well. The overall mean difference in total activation times between the acquired and estimated fiber orientation cases in the normal ventricular models, averaged over all estimates and all mesh nodes, was 5.7ms, which is a small fraction (3.7% on average) of the total activation time. Fig. 12C demonstrates that pseudo-ECGs obtained for sinus rhythm simulations with models 1 and 3 have identical morphologies. The MAD score between these two waveforms was 4.14%. On average, the MAD score between sinus rhythm pseudo-ECGs with each of models 2 to 6 and model 1 was 10.9%. In simulations of sinus rhythm with failing ventricular models, the mean difference in total activation times between models with acquired and estimated fiber orientations was only 5.2ms (3.1%), while the mean MAD score was 4.68%. These results indicate that the outcomes of simulation of ventricular activation in sinus rhythm in normal and failing canine ventricular models with fiber orientations estimated with the present methodology closely match those with acquired orientations. In particular, presence of heart failure did not diminish the accuracy of the estimation.

Fig. 14 shows simulated activation maps, in apical views of the ventricles, during one cycle of induced VT in the heart failure models, and corresponding pseudo-ECGs.  Simulations with acquired and estimated fiber orientation both exhibit similar figure-of-eight reentrant patterns. The ECG morphologies corresponding to estimated and acquired fiber orientations were in good agreement. The mean MAD score was 9.3%. These results indicate that canine heart failure models with estimated fiber orientations can closely replicate outcomes of VT simulations performed using acquired fiber orientations.

Tables and Figures:

Figure 1: Our processing pipeline for estimating ventricular fiber orientations in vivo.

Figure 2: Geometry and fiber orientations of the atlas ventricles. (A) The epicardial (red) and endocardial (green and magenta) splines, and corresponding landmarks (yellow) overlaid on an example slice of the atlas image. (B) The atlas ventricles in 3D. (C) The atlas fiber orientations.

Figure 3: Patient ventricular geometry reconstruction. (A) The epicardial (red) and endocardial (green and magenta) splines, and corresponding landmarks (yellow) overlaid on an image slice. (B) Patient ventricles in 3D.

Figure 4: Deformation of the atlas ventricles to match the patient ventricles. (A) Superimposition of ventricles of atlas (magenta, see Fig. 2B) and patient (red, see Fig. 3B). (B) Patient ventricles and the affine transformed atlas ventricles. (C) Patient ventricles and LDDMM-transformed atlas ventricles.

Figure 5: Estimated fiber orientations of the patient heart in Fig. 3B.

Figure 6: Segmentation of canine hearts. The epicardial (blue) and endocardial (red and magenta) splines, and corresponding landmarks (green) overlaid on an example slice of a normal canine heart.

Figure 7: The acquired and estimated fiber orientations of heart 1.

Figure 8: The acquired and estimated fiber orientations of hearts 7-9.

Figure 9: Left panel illustrates the computational mesh generated for the models of heart 1. On the right, the action potential curve of normal canine ventricular myocardium computed using the Greenstein-Winslow model is displayed.

Figure 10: Pacing sites of the simulation of sinus rhythm and VT, as overlaid on the geometry of heart 7. E1E2 illustrates the lead vector used in pseudo-ECG calculations

Figure 11: Validation of the fiber orientation estimation methodology by comparing estimated fiber orientations with DTMRI-derived orientations. (A) Superimposition of DTMRI-acquired fiber orientations (greenish yellow) and one set of estimated fiber orientations (cyan) of heart 1. (B) Acquired and estimated fiber orientations of heart 7. (C) An enlarged portion of (B) showing alignment between acquired and estimated fiber orientations. Note that the streamlines were generated at random locations within the myocardium for visualization purposes only, and so their exact positions are irrelevant. (D) Distribution of mean estimation error in normal ventricles. (E) Distribution of mean estimation error in failing ventricles. (F) A section of tissue extracted from (D). (G) A section of tissue extracted from (E). The colorbar applies to D-G. (H) Histograms of errors in normal and failing ventricles. Frequency denotes the number of voxels having a given error.

Figure 12: Results from simulations of one beat of sinus rhythm in normal canine ventricular models. (A) Activation map simulated using the model with acquired fiber orientations (model 1). (B) Absolute difference between simulated activation maps obtained from a ventricular model with acquired fiber orientations and that with estimated fiber orientations, averaged over the five estimates. (C) Simulated pseudo-ECGs with models 1 and 3. (D) Simulated activation maps from ventricles with estimated fiber orientations (models 2-6).

Figure 13: Results from simulations of one beat of sinus rhythm in failing heart models. In the first column, rows 1-3 show activation maps calculated using models 7-9, respectively. In the second column, rows 1-3 display results of simulations with models 10-12, respectively. Rows 1-3 in the third column portray the absolute difference between the activation maps shown in the first and second columns of the corresponding row. Rows in the fourth column display simulated pseudo-ECGs from models in the first and second columns of the corresponding row.

Figure 14: Results from simulations of VT induction with the failing heart models. Rows 1-3 in the first column show activation maps during one cycle of reentrant activity in simulations with models 7-9, respectively. Rows 1-3 in the second column show activation maps corresponding to models 10-12, respectively. Rows in the third column illustrate pseudo-ECGs from models in the first and second columns of the corresponding row.

Discussion:

This research demonstrates quantitatively that, in the absence of DTMRI, myocardial fiber orientations of normal and failing ventricles can be estimated from in-vivo images of their geometries for use in simulations of cardiac electrophysiology. The proposed methodology is demonstrated with in vivo CT data, but it is equally applicable to in vivo MR images of ventricular geometry, addressing the lack of ability to directly acquire patient fiber orientations. It is thus an important step towards the development of personalized models of ventricular electrophysiology for clinical applications. The methodology can also be used to estimate the fiber orientations in ex-vivo hearts with high resolution. This is especially helpful when acquiring sub-millimeter resolution DTMRI images is difficult or prohibitively expensive, due to the very long acquisition times.

Our electrophysiological simulations suggested that activation maps were not very sensitive to changes in fiber orientations. More importantly, we demonstrated that effects of fiber estimation errors on gross electrophysiology were insignificant at a clinically observable level by means of the MAD score of the pseudo-ECGs. The MAD metric was suitable because it has been utilized in clinical studies, to compare ECGs of reentrant activity and paced propagation for localization of the organizing centers of reentrant circuits [29]. A MAD score of less than 12%, a threshold that our results satisfy, implies that the two underlying propagation patterns are clinically equivalent. Note that the similarity of propagation patterns will translate to low differences in mechanical activation patterns as well, as reported experiments show that local electrical and mechanical activation times during sinus rhythm are highly correlated. In summary, our research will facilitate ventricular simulation studies of any species in health and disease when it is not feasible to acquire fiber orientations using DTMRI. In particular, the proposed methodology paves the way for patient-specific modeling of ventricular whole-heart electrophysiology (and possibly) electromechanics based only on in vivo clinical imaging data.  Simulations with such models may ultimately aid physicians to arrive at highly personalized decisions for therapeutic interventions as well as prophylaxis. Incidentally, our results indicated that the performance of the proposed methodology was independent of the choice of the atlas. Accordingly, for the purposes of this study, a statistical atlas [17, 31] may not be required.

The current study has some limitations. Firstly, human heart image data were not available to us, and therefore the proposed estimation methodology was validated with images of canine hearts. We expect that the methodology will accurately estimate fiber orientations in human hearts as well because, just as in canine hearts, fiber orientations relative to geometry have been shown to be similar between different human hearts [17]. Also, we tested our methodology in normal and failing hearts only. It would be important to test it under conditions such as myocardial infarction and hypertrophy, where fiber disorganizations are known to occur [32, 33].

Disclosures:

We have nothing to disclose.

Acknowledgments:

We thank Drs. Raimond Winslow, Elliot McVeigh, and Patrick Helm at Johns Hopkins University for providing the ex vivo datasets online. This research was supported by National Institutes of Health grant R01-HL082729, and National Science Foundation grant CBET-0933029.

References:

[1]	N. Trayanova, "Whole Heart Modeling: Applications to Cardiac Electrophysiology and Electromechanics," Circulation Research, vol. 108, no. pp. 113 - 128, 2011.

[2]	F. Vadakkumpadan, H. Arevalo, C. Ceritoglu, M. Miller, and N. Trayanova, "Image-Based Estimation of Ventricular Fiber Orientations for Personalized Modeling of Cardiac Electrophysiology," IEEE Transactions on Medical Imaging, vol. 31, no. 5, pp. 1051 - 1060, 2012.

[3]	F. Vadakkumpadan, V. Gurev, J. Constantino, H. Arevalo, and N. Trayanova, "Modeling of Whole-Heart Electrophysiology and Mechanics: Towards Patient-Specific Simulations," in Patient-Specific Modeling of the Cardiovascular System: Technology-Driven Personalized Medicine R. Kerckhoffs, Ed., ed: Springer, 2010, pp. 145 - 165.

[4]	A. E. Buxton, K. L. Lee, L. DiCarlo, M. R. Gold, G. S. Greer, E. N. Prystowsky, M. F. O'Toole, A. Tang, J. D. Fisher, J. Coromilas, M. Talajic, and G. Hafley, "Electrophysiologic testing to identify patients with coronary artery disease who are at risk for sudden death. Multicenter Unsustained Tachycardia Trial Investigators.," The New England Journal of Medicine, vol. 342, no. 26, pp. 1937 - 1945, 2000.

[5]	D. Wei, O. Okazaki, K. Harumi, E. Harasawa, and H. Hosaka, "Comparative simulation of excitation and body surface electrocardiogram with isotropic and anisotropic computer heart models," IEEE Transactions on Biomedical Engineering, vol. 42, no. 4, pp. 343 - 357, 1995.

[6]	L. J. Leon and B. M. Horacek, "Computer model of excitation and recovery in the anisotropic myocardium. II. Excitation in the simplified left ventricle," Journal of Electrocardiology, vol. 24, no. 1, pp. 17–31, 1991.

[7]	D. Rohmer, A. Sitek, and G. T. Gullberg, "Reconstruction and Visualization of Fiber and Laminar Structure in the Normal Human Heart from Ex Vivo Diffusion Tensor Magnetic Resonance Imaging (DTMRI) Data," Investigative Radiology, vol. 42, no. 11, pp. 777 - 789, 2007.

[8]	J. P. Daubert, W. Zareba, W. J. Hall, C. Schuger, A. Corsello, A. R. Leon, M. L. Andrews, S. McNitt, D. T. Huang, A. J. Moss, and M. I. S. Investigators., "Predictive value of ventricular arrhythmia inducibility for subsequent ventricular tachycardia or ventricular fibrillation in Multicenter Automatic Defibrillator Implantation Trial (MADIT) II patients.," Journal of Americal College of Cardiology, vol. 47, no. 1, pp. 98 - 107, 2006.

[9]	D. E. Sosnovik, R. Wang, G. Dai, T. G. Reese, and V. J. Wedeen, "Diffusion MR tractography of the heart," Journal of Cardiovascular Magnetic Resonance, vol. 11, no. 1, pp. 47 - 61, 2009.

[10]	H. Sundar, D. Shen, G. Biros, H. Litt, and C. Davatzikos, "Estimating myocardial fiber orientations by template warping," Proc. IEEE International Symposium on Biomedical Imaging, Arlington, VA, 2006, pp. 73 - 76.

[11]	M. F. Beg, P. A. Helm, E. McVeigh, M. I. Miller, and R. L. Winslow, "Computational Cardiac Anatomy Using MRI," Magnetic Resonance in Medicine, vol. 52, no. 5, pp. 1167 - 1174, 2004.

[12]	D. C. Alexander, C. Pierpaoli, P. J. Basser, and J. C. Gee, "Spatial Transformations of Diffusion Tensor Magnetic Resonance Images," IEEE Transactions on Medical Imaging, vol. 20, no. 11, pp. 1131 - 1139, 2001.

[13]	P. A. Helm, L. Younes, M. F. Beg, D. B. Ennis, C. Leclercq, O. P. Faris, E. McVeigh, D. Kass, M. I. Miller, and R. L. Winslow, "Evidence of Structural Remodeling in the Dyssynchronous Failing Heart," Circulation Research, vol. 98, no. 1, pp. 125 - 132, 2006.

[14]	P. Helm, M. F. Beg, M. Miller, and R. Winslow, "Measuring and mapping cardiac fiber and laminar architecture using diffusion tensor MR imaging," Annals of the New York Academy of Sciences, vol. 1047, no. pp. 296 - 307, 2005.

[15]	P. A. Helm, H.-J. Tseng, L. Younes, E. R. McVeigh, and R. L. Winslow, "Ex vivo 3D diffusion tensor imaging and quantification of cardiac laminar structure," Magnetic Resonance in Imaging, vol. 54, no. 4, pp. 850 - 859, 2005.

[16]	D. F. Scollan, A. Holmes, R. Winslow, and J. Forder, "Histological validation of myocardial microstructure obtained from diffusion tensor magnetic resonance imaging," American Journal of Physiology - Heart and Circulatory Physiology, vol. 275, no. 6, pp. H2308 - H2318, 1998.

[17]	H. Lombaert, J. Peyrat, P. Croisille, S. Rapacchi, L. Fanton, F. Cheriet, P. Clarysse, I. Magnin, H. Delingette, and N. Ayache, "Human Atlas of the Cardiac Fiber Architecture: Study on a Healthy Population," IEEE Transactions on Medical Imaging, vol. 31, no. 7, pp. 1436 - 1447, 2012.

[18]	D. D. Streeter, Gross morphology and fiber geometry of the heart. Baltimore: Johns Hopkins Press, 1979.

[19]	F. Vadakkumpadan, H. Arevalo, A. J. Prassl, J. Chen, F. Kickinger, P. Kohl, G. Plank, and N. Trayanova, "Image-based models of cardiac structure in health and disease," Wiley Interdisciplinary Reviews: Systems Biology and Medicine, vol. 2, no. 4, pp. 489 - 506, 2010.

[20]	F. Vadakkumpadan, L. J. Rantner, B. Tice, P. Boyle, A. J. Prassl, E. Vigmond, G. Plank, and N. Trayanova, "Image-Based Models of Cardiac Structure with Applications in Arrhythmia and Defibrillation Studies," Journal of Electrocardiology, vol. 42, no. 2, pp. 157.e1 - 157.e10, 2009.

[21]	G. Plank, L. Zhou, J. L. Greenstein, G. Plank, L. Zhou, J. L. Greenstein, S. Cortassa, R. L. Winslow, B. O'Rourke, and N. A. Trayanova, "From mitochondrial ion channels to arrhythmias in the heart: computational techniques to bridge the spatio-temporal scales," Philosophical Transactions Series A, Mathematical, Physical, and Engineering Sciences, vol. 366, no. 1879, pp. 3381-3409, 2008.

[22]	D. E. Roberts and A. M. Scher, "Effect of tissue anisotropy on extracellular potential fields in canine myocardium in situ," Circulation Research, vol. 50, no. pp. 342 - 351, 1982.

[23]	J. Greenstein, R. Wu, S. Po, G. F. Tomaselli, and R. L. Winslow, "Role of the Calcium-Independent Transient Outward Current I(to1) in Shaping Action Potential Morphology and Duration," Circulation Research, vol. 87, no. pp. 1026 - 1033, 2000.

[24]	R. Winslow, J. Rice, S. Jafri, E. Marbán, and B. O'Rourke, "Mechanisms of altered excitation-contraction coupling in canine tachycardia-induced heart failure, II: model studies," Circulation Research, vol. 84, no. 5, pp. 571 - 586, 1999.

[25]	F. Akar, R. Nass, S. Hahn, E. Cingolani, M. Shah, G. Hesketh, D. DiSilvestre, R. Tunin, D. Kass, and G. Tomaselli, "Dynamic Changes in Conduction Velocity and Gap Junction Properties During Development of Pacing-Induced Heart Failure," American Journal of Physiology - Heart and Circulatory Physiology, vol. 293, no. 2, pp. H1223 - H1230, 2007.

[26]	V. Gurev, J. Constantino, J. J. Rice, and N. Trayanova, "Distribution of Electromechanical Delay in the Ventricles:Insights from a 3D Electromechanical Model of the Heart," Biophysical Journal, vol. 99, no. 3, pp. 745-754, 2010.

[27]	K. H. W. J. t. Tusscher, R. Hren, and A. V. Panfilov, "Organization of Ventricular Fibrillation in the Human Heart," Circulation Research, vol. 100, no. 12, pp. e87 - e101, 2007.

[28]	K. Gima and Y. Rudy, "Ionic Current Basis of Electrocardiographic Waveforms," Circulation Research, vol. 90, no. 8, pp. 889 - 896, 2002.

[29]	E. Gerstenfeld, S. Dixit, D. Callans, Y. Rajawat, R. Rho, and F. Marchlinski, "Quantitative comparison of spontaneous and paced 12-lead electrocardiogram during right ventricular outflow tract ventricular tachycardia," Journal of Americal College of Cardiology, vol. 41, no. 11, pp. 2046 - 2053, 2003.

[30]	M. Potse, B. Dube, J. Richer, A. Vinet, and R. M. Gulrajani, "A comparison of monodomain and bidomain reaction-diffusion models for action potential propagation in the human heart," IEEE Transactions on Biomedical Engineering, vol. 53, no. 12, pp. 2425 - 2435, 2006.

[31]	J.-M. Peyrat, M. Sermesant, X. Pennec, H. Delingette, X. Chenyang, E. R. McVeigh, and N. Ayache, "A Computational Framework for the Statistical Analysis of Cardiac Diffusion Tensors: Application to a Small Database of Canine Hearts," IEEE Transactions on Medical Imaging, vol. 26, no. 11, pp. 1500 - 1514, 2007.

[32]	J. Chen, S.-K. Song, W. Liu, M. McLean, S. J. Allen, J. Tan, S. A. Wickline, and X. Yu, "Remodeling of cardiac fiber structure after infarction in rats quantified with diffusion tensor MRI," American Journal of Physiology - Heart and Circulatory Physiology, vol. 285, no. 3, pp. H946-954, 2003.

[33]	E. C. Stecker and S. S. Chugh, "Prediction of sudden cardiac death: next steps in pursuit of effective methodology," Journal of Interventional Cardiac Electrophysiology, vol. 31, no. 2, pp. 101 - 107, 2011.