# Submission ID #: 50157

# Editor Name: Laifong Lee

# Videographer name: Lyt Capell

# Film Date: November 27, 2012.

# Authors and Affiliations:

Jennifer L. Harcourt and Lia M. Haynes

National Center for Immunization and Respiratory Diseases, Division of Viral Diseases, Gastroenteritis and Respiratory Viruses Laboratory Branch

Centers for Disease Control and Prevention (CDC)

1600 Clifton Rd. NE, Atlanta, GA

Title: Establishing a Liquid-Covered Culture of Polarized Human Airway Epithelial Calu-3 Cells to Study Host Cell Response to Respiratory Pathogens in vitro

# Corresponding Author:

Lia M. Haynes

National Center for Immunization and Respiratory Diseases, Division of Viral Diseases, Gastroenteritis and Respiratory Viruses Laboratory Branch

Centers for Disease Control and Prevention (CDC), MS G-18

1600 Clifton Rd. NE, Atlanta, GA 30333

LOH5@cdc.gov

PHONE: 404-639-4004

FAX:  404-639-4005

Authors, please fill out the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ____no_____ If yes, please list make and model of your microscope: ______________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___no___

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps_____2.2, 2.6, 2.9, 3.4-3.5_____________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  _The most difficult aspect of this procedure is reproducibly obtaining polarized LCC Calu-3 2-3 weeks after the cells are seeded into Transwell inserts.  To ensure success, we pay careful attention to care and maintenance of Calu-3 as we passage them in preparation for generating LCC Calu-3, as described in section 1 of our manuscript._

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of this procedure is to establish a polarized, liquid covered culture of Calu-3 cells using a Transwell culture system (Intro)

To set up the Transwell culture system (Video editor: show Figure 1.jpg), first prepare a Transwell plate (Video editor: show just the left plate from P1) by moving inserts into exterior rows of the plate (Video editor: show right plate without the pink color in the outer part of the circles), and adding medium to the basolateral chambers of each well (Video editor: now add the pink to the circles). (P1)

The second step is to prepare monolayer cultured cells into single cell suspensions. (P2)

Next, the suspended cells are seeded into the apical compartments of the Transwell inserts (Video editor: add pink to the inner circles). (P3)

The final step is to completely replace apical and basolateral media in culture inserts on a three- and then four-day cycle for two to three weeks, until cells are fully polarized. (P4)

Ultimately, trans-epithelial electrical resistance and a passive sodium fluorescein equilibration assay are used to demonstrate polarization of liquid covered Calu-3 cultures. (P5)

Video editor: Graphics are in ‘JoVE50157_Harcourt_overview.pptx’

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Jennifer Harcourt: The main advantage of this technique over using normal human bronchial epithelial cells, is that Calu-3 are more easily accessible, and develop into polarized cultures that are ready for use more rapidly than normal human bronchial epithelial cells.

# Protocol (read by voice talent at JoVE):

- Growing polarized Calu-3 liquid-covered cultures (LCC)

Video editor: Before starting the Protocol, please show the text below on a blank background:

The findings and conclusions in this report are those of the authors and do not necessarily represent the views of the Centers for Disease Control and Prevention.

  - All procedures for growing polarized Calu-3 liquid-covered cultures, or LCC, are performed in a biosafety cabinet using sterile culture techniques.  Begin by preparing a 24-well Transwell plate for seeding: using sterile forceps, move Transwell inserts from the interior to the exterior rows of the plate without touching the insert membrane.  Cells should only be subcultured into wells on the exterior rows of the plate.

Shots:

    - WIDE: Talent approaching the biosafety cabinet and prepares to start the procedure.

    - MED: Talent holding a 24-well Transwell plate and uses forceps to pick up Transwell inserts.

    - CU: Transwell inserts being moved from the interior to the exterior rows of the plate.

  - Add 600 μl of EMEM containing 10% FBS, referred to hereafter as EMEM-10%, to each basolateral compartment. To prevent the introduction of air bubbles, angle the pipet against the wall of each compartment and slowly releasing the medium into the well.

Shots:

    - MED: Multiple takes from different angles of talent adding 600 μl of EMEM-10% to each basolateral compartment.  Shot will be repeated later.

    - CU/ECU: Multiple takes from different angles of pipet being angled against the wall of a basolateral compartment and then medium slowly released into well. Shot will be repeated later.

  - Next detach Calu-3 cells from tissue culture flasks and subculture cells as described in the protocol text.  Thoroughly resuspend the washed cells in 5 ml of EMEM-10% by gently pipetting up and down.

Shots:

    - MED: General shot of talent working with a flask of Calu-3 cells (maybe aspirating medium and adding trypsin).

    - CU: 5 ml of EMEM-10% added to washed cells (in 50-ml conical tube) and cells resuspended by gently pipetting up and down.

  - Determine viable and total cell counts by the trypan blue exclusion method and proceed only if 80% – 90% are viable. (text: Proceed only if viability is 80% – 90%)

Shots:

    - MED: Talent checking cells under the microscope.

  - Then in a 50-ml sterile conical tube, dilute cells to a concentration of 2  106 viable cells/ml with EMEM-10%. (text: Dilute to 2  106 viable cells/ml).

Shots:

    - CU: Cells being diluted with EMEM-10% in a 50-ml sterile conical tube.

  - Add 100 μl of resuspended Calu-3 cells to the apical compartment of each Transwell, except wells A1 and D1.  Gently angle the pipet against the interior guide channel of the insert wall and slowly release the cells.  Do not touch the pipet to the insert membrane (text: Do not touch insert membrane!).  Gently agitate the Calu-3 cell suspension during this seeding step to maintain a homogeneous suspension of cells.

Shots:

    - MED: 100 μl of resuspended Calu-3 cells being added to the apical compartment of each Transwell except A1 and D1.

    - CU/ECU: Pipet being angled against the interior guide channel of the insert wall and then cells are slowly released, without touching insert membrane.

    - CU: Cell suspension being gently agitated.

  - To wells A1 and D1, which will be cell-free control wells or blanks, add 100 μl of EMEM-10% without cells (text: Add 100 μl EMEM-10% without cells to control wells).

Shots:

    - CU: Wells A1 and D1 being each filled with 100 μl of EMEM-10%.

  - Incubate the Transwell plate at 37C and 7% CO2 in air atmosphere, in an incubator where physical disturbance will be minimal.  To improve the efficiency of polarization, do not stack plates on top of each other.

Shots:

    - MED: Multiple takes from different angles of talent putting plate into incubator.  Shot will be repeated later.

    - CU: A shot to show that plates are not stacked inside incubator.

  - Three days after subculturing Calu-3 cells into Transwells, replace the medium completely.  Gently aspirate medium from the Transwell inserts by using a capillary pipet attached to a vacuum trap with a gentle vacuum. Remove apical medium from all wells first, and then remove basolateral medium from all wells.  Do not touch the insert membranes while aspirating medium.

Shots:

    - MED: Talent taking plate to the biosafety cabinet.

    - CU: Multiple takes from different angles of apical medium being aspirated with a capillary pipet attached to a vacuum trap with a gentle vacuum. Shot will be repeated later.

    - CU: Multiple takes from different angles of basolateral medium being aspirated.  Shot will be repeated later.

  - Add 200 μl of EMEM-10% to the apical compartment of cell-free wells A1 and D1, then to the seeded wells, directing the medium into the apical compartment using the side of the insert to guide the pipet tip.  Do not add medium directly onto cells, and do not touch the insert membrane (text: Do not touch insert membrane!).

Shots:

    - MED: Multiple takes from different angles of talent adding 200 μl of EMEM-10% to the apical compartment of wells A1 and D1, then to the seeded wells.  Shot will be repeated later.

    - CU: Multiple takes from different angles of pipet tip being placed by side of the insert and then medium released. Shot will be repeated later.

  - Next add 600 μl of EMEM-10% to the basolateral compartments.  To prevent the introduction of air bubbles into the basolateral compartments, add medium to each one by angling the pipet against the wall of each compartment and slowly releasing the medium into the well.

Shots:

    - Use shot from 2.2.2.

  - Return the Transwell plate to the incubator. After this first medium replacement, medium should be replaced on a cycle alternating between the fourth and then third day after the previous feeding, until cells are fully polarized.

Shots:

    - Use shot from 2.8.1.

- Evaluating resistance development of Calu-3 LCC

  - Polarization is monitored by evaluating trans-epithelial electrical resistance or TEER of the Calu-3 LCC using a voltohmmeter that has been calibrated and tested.

# Shots:

    - MED: Talent at the biosafety cabinet, getting the voltohmmeter ready. (Videographer: please capture the voltohmmeter in this shot)

  - To begin this procedure, remove the electrode from the ethanol, air dry for 5-10 seconds, and rinse the electrode with sterile EMEM-10%.

# Shots:

    - CU: Electrode being removed from ethanol and air-dried.

    - CU: Electrode being rinsed with sterile EMEM-10%.

  - Set the mode switch of the voltohmmeter to the RESISTANCE setting, and turn the power ON.

# Shots:

    - MED: Talent setting the mode switch of the voltohmmeter to the RESISTANCE setting, and then turning the power ON.

  - Begin measurements with the cell-free control wells to obtain baseline measurements, and then continue with measurements for each well. Gently place the electrode into one of the 3 ports that allow access into the basolateral compartment of the Transwell culture.  Place the electrode so that the longer lead just lightly touches the bottom of the outer well and remains vertical, and the shorter lead is in the tissue culture medium of the apical compartment, without touching the insert membrane.

# Shots:

    - MED: Talent about to put electrode into a control well.

    - CU: Match action above: Electrode being placed gently into a port.

    - CU/ECU: A shot showing the longer lead just lightly touching the bottom of the outer well and in a vertical position, and the shorter lead in the tissue culture medium of the apical compartment, without touching the insert membrane.

  - Push the “Measure R” button, and wait for the reading to stabilize.  Repeat for the other 2 ports for each well and record the measurements from all three ports, for a total of three measurements per well (text: Record 3 measurements per well).

# Shots:

    - MED: Multiple takes from different angles of talent pushing the “Measure R” button, and then waiting for the reading to stabilize.  Shot will be repeated later.

    - CU: A shot of the stabilized reading on the voltohmmeter.

    - CU: Electrode being placed into a different port.

    - Use shot from 3.5.1.

  - To verify that polarization is complete, a secondary assay measuring passive sodium fluorescein diffusion between the apical and basolateral compartments is performed on one to three Transwell cultures.

# Shots:

    - MED: Talent getting ready to perform passive sodium fluorescein diffusion assay.

  - Carefully remove medium from both the basolateral and apical compartments of the Transwell cultures that will be tested.

# Shots:

    - CU: Medium being carefully removed from both the basolateral and apical compartments of the Transwell cultures that will be tested.

  - Rinse Transwell cultures by gently adding 600 μl room-temperature sterile D-PBS to the basolateral compartments, and 100 μl room-temperature sterile D-PBS to the apical compartments.

# Shots:

    - CU: 600 μl D-PBS being gently added to the basolateral compartments.

    - CU: 100 μl D-PBS being gently added to the apical compartments.

  - Gently remove D-PBS from wells.  Add 600 μl sterile non-fluorescent buffer to the basolateral compartments, followed by 100 μl sterile sodium fluorescein (text: 100 μl of 1 mg/ml sodium fluorescein) to the apical compartments.

# Shots:

    - MED: Talent removing D-PBS from wells.

    - CU: 600 μl sterile non-fluorescent buffer being added to the basolateral compartments.

    - CU: 100 μl sterile sodium fluorescein being added to the apical compartments.

  - Incubate the plate at 37°C for 1 hour.

# Shots:

    - MED: Multiple takes from different angles of talent putting plate into 37°C incubator.  Shot will be repeated later.

  - After 1 hour, transfer the non-fluorescent buffer sample from the basolateral compartment of each test Transwell to a separate clean tube for analysis.  Remove the test Transwells used to examine passive sodium fluorescein diffusion from the plate and discard.

# Shots:

    - CU: Non-fluorescent buffer sample being transferred from the basolateral compartment of a test Transwell to a separate clean tube.

    - CU: Test Transwells used to examine passive sodium fluorescein diffusion being removed from plate and discarded.

  - Return the plate with remaining Transwells to the incubator.

# Shots:

# CU shot added (maybe slated as 3.12.1?), demonstrating that the plate returned to the incubator no longer contained the wells used in the assay described in 3.6 – 3.11

    - Use shot from 3.10.1. Can still show this repeat shot as long as the it’s not a CU of the plate.

  - Place 100 μl of each previously prepared sodium fluorescein standard solution in triplicate into a 96-well flat-bottom plate.

# Shots:

    - CU: 100 μl of each sodium fluorescein standard solution being placed in triplicate into a 96-well flat-bottom plate.

  - Prepare three dilutions of each basolateral sample (text: dilutions of 1:2, 1:20, and 1:50) in non-fluorescent buffer. For each sample, add 100 μl of an undiluted sample and 100 μl of each dilution, in duplicate, into a 96-well flat-bottom plate.

# Shots:

    - CU: A shot of the three dilutions of each basolateral sample (labeled clearly).

    - CU: 100 μl of an undiluted sample and 100 μl of each dilution being added into a 96-well flat-bottom plate.

  - Measure the sample absorbance on an ELISA plate reader at 486 nm or 490 nm.

# Shots:

    - JoVE stock graphic: Squid -> Special Projects -> Science Education -> 5024_Microplate_Reader -> MicroplateReader_Leffler_v1.ai

- Infecting polarized Calu-3 LCC with respiratory virus

  - To begin this procedure, first wash cells in serum-free EMEM.  With a capillary pipet attached to a vacuum trap with a gentle vacuum, gently aspirate medium from all wells, removing the apical medium followed by the basolateral medium.  Aspirate medium from cell-free wells A1 and D1, and then from seeded wells. Do not touch insert membranes while aspirating medium.

Shots:

    - MED: Talent at the biosafety cabinet, getting ready to aspirate medium from wells.

    - CU: Apical medium being gently aspirated, followed by basolateral medium.

  - Add 100 μl of serum-free EMEM to the apical compartment of cell-free wells A1 and D1, and then to the seeded wells, directing medium into the apical compartment using the side of the insert to guide the pipet tip.  Do not add medium directly on cells, and do not touch the insert membrane.

Shots:

    - Use shot from 2.10.1.

    - Use shot from 2.10.2.

  - Next add 600 μl of serum-free EMEM to the basolateral compartments.  Add medium to each Transwell by angling the pipet against the wall of the compartment and slowly releasing the medium into the well.

Shots:

    - Use shot from 2.2.1.

    - Use shot from 2.2.2.

  - Gently aspirate serum-free medium from wells.

Shots:

    - Use shot from 2.9.2.

  - Beginning with uninfected or mock-infected wells, add the following virus dilutions to the apical compartment of the appropriate Transwells:  100 μl of serum-free EMEM for uninfected wells (text: 100 μl serum-free EMEM for uninfected wells); 100l of virus-free preparation diluted in serum-free EMEM for mock-infected wells (text: 100l virus-free preparation diluted in serum-free EMEM for mock-infected wells); and 100 l of virus diluted in serum-free EMEM for virus infection (text: 100 l virus diluted in serum-free EMEM for virus infection).

Shots:

    - CU: 100 μl of serum-free EMEM being added to apical compartment of an uninfected well.

    - CU: 100l of virus-free preparation diluted in serum-free EMEM being added to apical compartment of a mock-infected well.

    - CU: 100 l of virus diluted in serum-free EMEM being added to apical compartment of a virus infected well.

  - After that add 600 μl of serum-free EMEM to all basolateral compartments.

Shots:

    - Use shot from 2.2.1.

  - Incubate at 37C and 7% CO2 for 2 hours.

Shots:

    - Use shot from 2.8.1.

  - After 2 hours, aspirate medium from wells, first from uninfected and mock-infected wells, and then from infected wells.  Remove apical supernatants first, followed by basolateral supernatants.

Shots:

    - Use shot from 2.9.2.

    - Use shot from 2.9.3.

  - Finally, replace medium with 200 μl of EMEM-10% in the apical compartments and 600 μl of EMEM-10% in the basolateral compartments.

Shots:

    - Use shot from 2.10.1.

    - Use shot from 2.2.2.

- Results:  polarization of Calu-C cells and their response to respiratory pathogens

  - Following the method demonstrated in this video, the trans-epithelial electrical resistance or TEER of Calu-3 liquid-covered cultures reaches a plateau at or above 1,000 Ωcm2 (Voice talent: “one thousand ohm by centimeter square”) within 3 weeks after seeding, an example of which is shown in this figure (Figure 2).

Shots:

    - LAB MEDIA: Figure 2.jpg (uploaded 8/24/12)

  - Since the tight junctions formed between polarized cells prevent passive equilibration of small molecules between the apical and basolateral compartments, a modified sodium fluorescein equilibration assay is used to confirm polarization of Calu-3 liquid-covered cultures. As the TEER of Calu-3 cell monolayers in liquid-covered cultures increases, the amount of fluorescein that passively equilibrates into the basolateral compartment decreases (Figure 3).  Cumulative data from four independent experiments is presented here and each data point represents an individual measurement.

# Shots:

    - LAB MEDIA: Figure 3.jpg (uploaded 8/24/12)

  - Once the TEER is 1,000 Ωcm2, the amount of fluorescein that equilibrates into the basolateral compartment is ≤ 1% (Video editor: please draw attention to that part of the graph); therefore, Calu-3 liquid-covered cultures are considered to be fully polarized when the TEER is ≥ 1,000 Ωcm2.

# Shots:

    - LAB MEDIA: Figure 3.jpg (uploaded 8/24/12)

  - Once the TEER of Calu-3 liquid-covered cultures plateaus at or above 1,000 Ωcm2, the model is ready to be used to examine airway epithelial cell responses to respiratory pathogens, including respiratory syncytial virus or RSV.  As shown in this example, exposure to RSV, represented in red, results in a more rapid decline in polarized culture integrity compared to a mock-infection of cells, represented in blue (Figure 4). Data are presented as median resistance of 8 independent wells per infection ± SEM per time point. The asterisk indicates p < 0.05 between mock- and RSV-A2–infected cultures, as determined by the Student’s t-test.

# Shots:

    - Figure 4.jpg (uploaded 8/24/12)

- Conclusion (said by authors on camera)

  - Jennifer Harcourt: Don't forget that working with infectious agents can be extremely hazardous and precautions such as appropriate PPE and good laboratory practices should always be taken while performing this procedure.

# Provided Media

# 1A. Figure 1.jpg; JoVE50157_Harcourt_overview.pptx – schematic overview graphics.

# 5.1. Figure 2.jpg (uploaded 8/24/12)

# 5.2.-5.3. Figure 3.jpg (uploaded 8/24/12)

# 5.4. Figure 4.jpg (uploaded 8/24/12)

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.