Table 1: Sample Spectrophotometer Data

| Patch Opening # |  | a* Value | Minutes of UV Exposure |
| --- | --- | --- | --- |
| 1 | 10.57 |  | 20 |
| 2 | 9.53 |  | 18 |
| 3 | 8.1 |  | 16 |
| 4 | 8.06 |  | 12 |
| 5 | 7.75 |  | 8 |
| 6 | 7.2 |  | 4 |
| NA | 6.86 |  | 0 |

Legend: Table 1 shows sample spectrophotometer data in which the MED has been reached.

Table 2: Sample Spectrophotometer Data

| Patch Opening # |  | a* Value | Minutes of UV Exposure |
| --- | --- | --- | --- |
| 1 | 9.2 |  | 20 |
| 2 | 9.0 |  | 18 |
| 3 | 8.1 |  | 16 |
| 4 | 8.06 |  | 12 |
| 5 | 7.75 |  | 8 |
| 6 | 7.2 |  | 4 |
| NA | 7.0 |  | 0 |

Legend: Table 2 shows sample spectrophotometer data in which the MED has not been reached.

Table 3: Sample Spectrophotometer Data

| Patch Opening # |  | a* Value | Minutes of UV Exposure |
| --- | --- | --- | --- |
| 1 | 10.57 |  | 20 |
| 2 | 9.53 |  | 18 |
| 3 | 8.1 |  | 16 |
| 4 | 8.06 |  | 12 |
| 5 | 7.75 |  | 8 |
| 6 | 7.2 |  | 4 |
| NA | 9.0 |  | 0 |

Legend: Table 3 shows sample spectrophotometer data in which the data do not make sense because the a* values do not increase consistently with increasing exposure time.