## Sheet1
Table 1. Materials and equipment
Material | Manufacturer | Specifications and comments
1) Evaluation of contractile and passive properties of the EDL muscle ex vivo
1.1) Equipment preparation
Tissue-organ bath | Radnoti LLC, CA, USA | Water-jacket tissue bath (Cat #158351-LL), Oxygen disperser tube (Cat #160192), Luer valve (Cat#120722)
Circulating water bath | Fisher Scientific, Waltham, MA, USA
Gas mix | Airgas National, Charlotte, NC, USA | 95% O2 and 5% CO2
In vitro muscle function assay apparatus | Aurora Scientific, Aurora, ON, Canada | The system consists of a stimulator (Model# 701A), a dual-mode lever system (Model#300C or 305C), a signal interface (Model # 604B) and a test apparatus (Model# 800A) to vertically mount tissue organ bath
In vitro muscle function assay software |  | Dynamic muscle control (DMC) software and dynamic muscle control data analysis (DMA) software
1.2) EDL muscle dissection
Mouse anesthesia cocktail mixed in 0.9% NaCl | Refer to the institutional guidelines | Ketamine (25 mg/mL), xylazine (2.5 mg/mL) and acepromazine (0.5 mg/mL). Throughout the surgical procedure, a supplement of 10 % of the initial dose may be needed to keep animal under anesthesia.
Sylgard | World Precision Instrument | (Cat#SYLG184)
A custom-made Plexiglas dissection board | In house designed | Refer to Figure 1
Heating lamp | Tensor Lighting Company, Boston, MA, USA | 15 Watt lamp to keep the mouse warm during dissection
Ringer’s Buffer | Chemicals are purchased from Fisher Scientific, Waltham, MA, USA | Composition in mM: 1.2 NaH2PO4 (Cat#S369) , 1 MgSO4 (Cat# M63), 4.83 KCl (Cat# P217), 137 NaCl (Cat# 217), 24 NaHCO3 (Cat# S233), 2 CaCl2 (Cat #C79) and 10 glucose (Cat# D16). Dissolve chemicals individually and mix in the order listed above. Store at 4°C.
Stereo dissecting microscope | Nikon, Melville, NY, USA
Dissection tools | Fine Science Tools, Foster City, CA, USA | Coarse forceps, coarse scissors, fine forceps (Straight and 45° angle)
Braided silk suture #4-0 | SofSilk USSC Sutures, Norwalk, CT, USA | Cat # SP116
A custom-made stainless steel hook | Small Parts, Inc. | 2'' long S/S 304V (0.18'' diameter) for force transducer 305C or 2.5'' long S/S 304V (0.012'' diameter) for transducer 300C (Cat# ASTM A313)
2) Evaluation of the contractile properties of the TA muscle in situ
2.1) Equipment preparation
In situ muscle function assay system | Aurora Scientific, Aurora, ON, Canada | The system (809B, in situ mouse apparatus) consist of a stimulator (Model# 701B), a dual-mode lever system (Model# 305C), a signal interface (Model# 604A) and a thermo controlled footplate apparatus (Model# 809A)
In vitro muscle function assay software | Aurora Scientific, Aurora, ON, Canada | Dynamic muscle control (DMC) software and dynamic muscle control data analysis (DMA) software
A custom-made TA assay animal platform | In house designed | Refer to Figure 2
A custom-made stainless steel hook | Small Parts, Inc. | 0.5'' long S/S 304V (0.18'' diameter) (Cat# ASTM A313)
Custom-made 25G platinum electrodes | Chalgren Enterprises, Gilroy,CA | Solder two 0.016'' thick platinum wires to two 24G electric wires