## Sheet1
Equipment | Company | Item number
Physiological Monitoring System
Psylab stand alone monitor (x2) | Contact Precision Instruments | SAM
Skin conductance amplifier | Contact Precision Instruments | SC5
Shock stimulator (x2) | Contact Precision Instruments | SHK1
Additional Components
8-bit synchronization cable (x2) | Contact Precision Instruments | Included with SAM
8-bit to 2-bit isolation adapter | N/A | Custom
DB25 ribbon cable (x2) | N/A | Standard
Shielded extension cable (x3) | Contact Precision Instruments | CL41
Radiotranslucent cup electrodes for SCR and shock (x6) | Biopac | EL258-RT
Signa Gel | Parker Laboratories | 15-250
Response Device
Rotary dial with gameport connector (x2) | N/A | Custom
Gameport-to-gameport/BNC splitter | N/A | Custom
BNC cable | N/A | Standard
Gameport-to-USB adapter (x2) | Rockfire | RM203U
Additional Components for MEG Setup
HPI coils and wiring harness | N/A | Custom
HPI positioning system | Inition | Polhemus Isotrak