Reviewer #1:
This manuscript provides documentation of a technique that can be successfully used to isolate atrial myocytes from right atrial appendage specimens obtained from consenting surgical patients undergoing cardiac bypass graft with cannulation via the right atrial appendage. The authors have published several high profile (Circulation, Circ. Research, Cardiovascular Research, etc.) studies (of calcium cycling, potassium currents, etc.) based on the use of this myocyte isolation technique. Their expertise is nicely conveyed to the readers of this technical manuscript. The background literature is well cited.

We thank the reviewer for his/her positive evaluation of our manuscript and the constructive suggestion. A point-by-point response is detailed below.

Major Concerns:

One of the primary challenges associated with myocyte isolation is the determination of appropriate lots of collagenase and identification of appropriate incubation time, temperature, etc. Please comment briefly on the general approach that the readers can use to troubleshoot and perform such optimization.

According to the reviewer’s suggestion we added the following section to the discussion:
Page 12, line 202: “The choice of collagenase is probably the most critical step for successful myocyte isolation. Conventional collagenases are crude preparations obtained from Clostridium histolyticum and contain collagenase in addition to a number of other proteinases, polysaccharidases and lipases. Based on their general composition collagenases are subdivided into 4 types (Type I to Type IV).1 Types I, II and IV have been successfully used for isolation of human atrial myocytes.
 ADDIN EN.CITE 
2-15
 In our presently described protocol we recommend the use of collagenase Type I, although we were also able to obtain acceptable amounts of viable cells using collagenase Type II. However, even within a single collagenase type there is a significant batch-to-batch variation regarding the enzyme activities. These variations require careful batch selection and testing of various batches to optimize isolation procedure. The online available batch-selection tool from Worthington Biochemical Corp. (http://www.worthington-biochem.com/cls/match.php) may be used to find available batches with a composition that has been shown to be suitable for the isolation of human atrial myocytes. Currently we use collagenase type I with 250 U/mg collagenase activity, 345 U/mg caseinase activity, 2.16 U/mg clostripain activity and 0.48 U/mg tryptic activity (lot# 49H11338).”
It is stated (p. 9/31) that the myocytes retain the ability to contract, but this phenotype is not documented. Given that a relatively large concentration of BDM (30 mM for up to 30 min) is used during transport, please comment on the extent of contraction observed during an action potential (% cell length), under resting conditions, and during the presence of adrenergic stimulation. What fraction of cells respond to field stimulation? What is the typical range of resting potentials?
We agree with this reviewer that the cytoprotective properties of 2,3-butandione monoxime have been attributed to its negative inotropic effects. However, it has been shown, that the effects of BDM are reversible upon washout.
 ADDIN EN.CITE 
16-18
 In accordance preparation of atrial trabeculae, which were obtained using BDM containing solution, were successfully used for measurements of contractility
 ADDIN EN.CITE 
16,19,20
. Our data thus far showed that stimulation of patch-clamped human atrial myocytes with the patch-clamp pipette induces clear and rhythmic cell shortening in more than 90% of investigated cells. In the revised paper we included a representative video-clip showing cellular contraction of a human atrial myocyte upon stimulation with the patch-clamp pipette.
In addition we cited our recent publication to answer the reviewer’s concerns regarding resting membrane potential and response to adrenergic stimulation. We added representative AP recordings (novel figure 2) and representative measurements of ICa,L current and Ca2+ transients in response to isoprenaline application (modified novel figure 4).
We added the following text to the results part:

Page 10, line 147: “Representative examples of action–potential measurements and simultaneous recordings of cytosolic Ca2+ transients are given in Figure 3. In about 90% of the investigated cells, the action-potential-triggered Ca2+ release causes clear and regular cell contractions. As reported previously, the resting membrane potential, which is an accepted indicator for cell integrity, averaged about ‑73.9(2.7 mV (n = 23/10 myocytes/patients) and ‑77.7(1.8 mV (n = 19/8 myocytes/patients) in SR and cAF respectively (p>0.05).13 Figure 4 shows representative simultaneous recordings of voltage-gated L-type Ca2+ currents and cytosolic Ca2+ transients. Application of the non-selective (-adrenoceptor agonist isoprenaline (1 µM) increases amplitudes of both ICa,L and cytosolic Ca2+ transients, suggesting intact (-adrenergic signal transduction cascade.”

Tissues are typically obtained from patients with significant cardiac disease. Please comment briefly on your experience with the impact of persistent AF, HF and ischemic disease (CAD) on the yield of viable atrial myocytes.
According to this reviewers suggestion we included an analysis of cell yield depending on the rhythm status of the patient (see panel B of novel Figure 1). These data suggest, that specimen from AF patients tend to have lower cell yields. According to our experience other clinical parameters such as HF or CAD do apparently not influence cell yield.
We included the following text in the revised version:

Page 9, line 142: “Averaged cell yields in Figure 2B clearly indicate that there is a tendency to lower cell yields in cAF patient samples (tube A: 16.5(3.1 cells/10 µl (n=29) vs. 5.1(2.3 cells/10 µl (n=10) in SR and cAF, respectively, p<0.046; tube B: 17.9(3.9 cells/10 µl (n=29) vs. 5.9(2.0 cells/10 µl (n=9) in SR and cAF, respectively, p=0.107).”
Have you utilized the same technique on tissues from left atrial specimens? What is the impact of chamber on yield?
We agree with this reviewer, that quantification of Ca2+ handling properties in the left atrium is of great importance. Ectopic activity, which may contribute to the maintenance of AF and which may result from Ca2+ handling abnormalities, is more frequently located in the left atrium, especially at the pulmonary veins. However, during the last 2 years we have not been able to obtain left atrial samples from sinus rhythm or from AF patients. Therefore we cannot comment on whether this method is suitable for isolation of left atrial myocytes.
Minor Concerns:

There is a typo in table 1, last column. The pH is listed as 7-April (presumably 7.4?) It is notable that the pH during other steps is maintained at a low value. Please comment briefly on the rationale for this - presumably to decrease calcium influx?
Sorry for the floppy oversight.
It has been established that heart tissues exposed to Ca2+-free media for minutes are severely damaged with return to Ca2+-containing solution.21 Although the exact reason for this Ca2+ paradox is unclear, a reduction of the pH to 6.8 and the related increase in extracellular H+ concentration may favor the extrusion of intracellular Na+ by Na+/H+ exchanger and thereby reduce Na+-load, which is assumed to play a crucial role in the pathogenesis of the Ca2+ paradox.22
In response to the reviewers comment we rephrased the text as follows:

Page 11, line 190: “Modifications of the isolation media including reduction of the pH to 7.0,22 addition of taurin23 or of small amounts of Ca2+ (see step 3.2 and 4.1),24 as well as storage of isolated myocytes in EGTA containing storage-solution25 have been suggested to prevent the Ca2+ paradox.21”
Reviewer #2:

Human atrial myocytes isolation is a very interesting technique for electrophysiology. This protocol allows to obtaine good quality cells. Description of the protocol is well detailed. However, I have some minor comments.
We thank the reviewer for his/her helpful comments and constructive critiques of our original manuscript that led us to improve substantially our revised manuscript. Detailed responses to individual points are provided below.

Major Concerns:

None.
Minor Concerns:

1) With respect to the solutions temperature, authors writtes that they didn't recognize any advantage on cooling the transport solution but the point 2.3 of the protocol is do it at 4ºC. Is it not better to maintain the tissue at 4ºC all the time until the step 2.5?
We agree with this reviewer that there might be a possible advantage of cooling the tissue during transport, especially because cooling has been shown to prevent the Ca2+ paradox.
 ADDIN EN.CITE 
21,24,26-29
 However, because of practical reasons we did not transport the tissue samples on ice and did not experience any disadvantage, probably because of the presence of BDM, which has been shown to prevent the Ca2+ paradox as well. 
However, since BDM was not present during the chopping of the tissue, this was performed at 4°C to reduce the cutting injury of the tissue.16
We modified the revised text as follows:

Page 4, line 32: “With transport times between 30 and 45 minutes, we did not recognize a clear advantage of cooling or oxygenation with respect to both number and quality of isolated atrial cardiomyocytes. In general transport to the lab should be as quick as possible. However, if longer transportation time cannot be avoided, transport at 4°C in oxygenated solution might be advantageous.”
2) Time limit of transport should be mention.
Surprisingly, the tissue seems to tolerate quite long transport time with respect to cell yield and quality of cells. Thus we were able to isolated myocytes with good quality and quantity after storage of the tissue for more than one hour at room temperature. Therefore we cannot provide a specific limit of transport time. However, in general we managed to bring the tissue to the lab within a time frame of 30 and 45 minutes.

Considering this reviewer’s concerns we rephrased the manuscript as follows:

Page 4, line 32: “With transport times between 30 and 45 minutes, we did not recognize a clear advantage of cooling or oxygenation with respect to both number and quality of isolated atrial cardiomyocytes. In general transport to the lab should be as quick as possible. However, if longer transportation time cannot be avoided, transport at 4°C in oxygenated solution might be advantageous.”
3) Why don't you gas with O2 all the solutions, including transport solution?
We did not experience a significant advantage of gassing the transport solution during tissue transport to the lab and gassing of transport solution would be a disproportionally high effort. Having said this, it is unclear whether longer transportation time might be better tolerated with gassing of the transport solution. Therefore we rephrased the manuscript as follows:

Page 4, line 32: “With transport times between 30 and 45 minutes, we did not recognize a clear advantage of cooling or oxygenation with respect to both number and quality of isolated atrial cardiomyocytes. In general transport to the lab should be as quick as possible. However, if longer transportation time cannot be avoided, transport at 4°C in oxygenated solution might be advantageous.”
4) It would be good to indicate, perhaps in the 4.6 protocol point that bubbles are detrimental to cell survival and quality.
The following text has been added to the revised version:

Page 6, line 57: “A pipette tip can be placed onto the oxygen tube to avoid strong bubbling and generate continuous air flow.”

Page 8, line 86: “Try to avoid bubble formation since bubbles are detrimental to cell survival and quality.”

5) In your patch-clamp experiments, what is the resting potential of your cells? More information about that could be given in the Representative Results.
We agree that the resting membrane potential is an important marker of cellular integrity. We cited our recent publication to answer the reviewer’s concerns regarding the resting membrane potential. In addition we added representative AP recordings (novel figure 3).

We added the following text to the results part:

Page 10, line 147: “Representative examples of action–potential measurements and simultaneous recordings of cytosolic Ca2+ transients are given in Figure 3. In about 90% of the investigated cells, the action-potential-triggered Ca2+ release causes clear and regular cell contractions. As reported previously, the resting membrane potential, which is an accepted indicator for cell integrity, averaged about ‑73.9(2.7 mV (n = 23/10 myocytes/patients) and ‑77.7(1.8 mV (n = 19/8 myocytes/patients) in SR and cAF respectively (p>0.05).13”
6) There are some topographic erors in Table I. 3 times 1-Feb in KH2PO4 and 1 time 7-Apr in pH.

We apologize for the sloppy oversights and corrected the typing errors in the revised version.
Reviewer #3:

The authors have developed an improved method for isolating human atrial myocytes from patient tissue samples. With their protocol they are able to produce myocytes that are sufficiently healthy for patch-clamp and Ca2+ imaging experiments. Although the paper is short, I think that the method they describe will be very useful for those working with human cardiac cell physiology. My major concern is, however, the originality of the method they describe (see comment #5 below).
We thank the reviewer for his/her helpful comments and constructive critiques on our original article. All suggestions have been addressed in the revised version of our manuscript, as detailed below.
Major Concerns:

#1. The authors do not report how long the cells retain their viability. For many applications cell are incubated in culture conditions from couple of hours up to couple of days. Does this protocol produce cells that are useful also for longer term experiments?
It is definitely of great interest to keep human atrial myocytes for a couple of days in culture. In fact we are currently trying to establish a method to keep these cells at physiological temperatures for more than 24 hours. However, the utility of this isolation method is limited under this aspect, since the cell yield is relatively low compared to previously described methods (compare: 40 cell/10 µl).30
We considered this point in the following paragraph:

Page 13, line 218: “The cells obtained using the procedure described in this manuscript may be used within 8 hours for patch-clamp studies, Ca2+ transient measurements and a combination of both.13”
#2. A good indicator of the integrity of the cells is the resting membrane potential. What is the range of resting potential of these cells?
We agree that the resting membrane potential is an important marker of cellular integrity. We cited our recent publication to answer the reviewer’s concerns regarding the resting membrane potential. In addition we added representative AP recordings (novel figure 2).

We added the following text to the results part:

Page 10, line 147: “Representative examples of action–potential measurements and simultaneous recordings of cytosolic Ca2+ transients are given in Figure 3. In about 90% of the investigated cells, the action-potential-triggered Ca2+ release causes clear and regular cell contractions. As reported previously, the resting membrane potential, which is an accepted indicator for cell integrity, averaged about ‑73.9(2.7 mV (n = 23/10 myocytes/patients) and ‑77.7(1.8 mV (n = 19/8 myocytes/patients) in SR and cAF respectively (p>0.05).13”
#3. The method section does not include the solutions, conditions and methods used for patch-clamp and calcium-imaging experiments.
As suggested by this reviewer we included an additional section together with the novel figure 1 and novel tables III-V providing a step-by-step description of loading the myocytes with the Ca2+ fluorescent indicator Fluo-3 AM and a general description of the patch-clamp experiments, including tables with bath and pipette solutions. However, since the description of patch-clamp studies is not the main purpose of this manuscript, we refer the interested reader to literature with a more in depth discussion of this method.
Page 8, line 100:
“6)
Loading of myocytes with the fluorescent Ca2+-indicator Fluo-3 AM (Figure 1)
6.1) Transfer 1.5 ml of cell suspension (tube A and/or tube B) into a 2 ml microcentrifuge tube (EppendorfTM tube).

6.2) The following steps should be executed under consideration of the light sensitivity of the fluorescent Ca2+ Indicator Fluo-3.

6.3) Dissolve 50 µg of the membrane permeable acetoxymethyl ester derivative of Fluo-3 (Fluo-3 AM, Table III) in 44 µl of the Pluronic F-127 (Table III) stock solution (20% w/v in anhydrous DMSO) to get a 1 mM Fluo-3 AM stock solution, which can be stored at -20 °C for at most 1 week.

6.4) Add 15 µl of the Fluo-3 AM stock solution to the microcentrifuge tube containing 1.5 ml of cell suspension (see step 6.1) and agitate carefully.

6.5) Incubate the cell suspension for 10 minutes in an optically opaque box.

6.6) Briefly centrifuge at about 6000 rpm.

6.7) Discard the supernatant and dissolve the pellet in 1.5 ml bath solution (Table IV).

6.8) Leave the cell suspension for about 30 minutes for de-esterification before beginning with experiments.

Simultaneous patch-clamp and epifluorescent Ca2+ measurements

Since patch-clamp measurements are not the major topic of this review, we refer the interested reader to other publications providing a more in depth description of this technique.
 ADDIN EN.CITE 
30-33
 For the sake of completeness we provide a brief summary of a protocol to measure action potentials or L-type Ca2+ currents, both together with simultaneous Ca2+-transient recordings.

During experiments myocytes are superfused at 37°C with bath solution (Table IV) using a rapid perfusion system (Octaflow IITM, ALA Scientific Instruments, NY). For voltage-clamp experiments, K+ currents are blocked by adding 4-aminopyridine (5 mmol/L) and BaCl2 (0.1 mmol/L) to the bath solution. Borosilicate glass microelectrodes are used and should have tip resistances of 2-5 Mwhen filled with pipette solution (Table V). In addition to the Fluo-3 AM loading of the myocytes (see step 6), Fluo-3 is also included in the pipette solution (Table V). Fluorescence is excited at 488 nm and emitted light (<520 nm) converted to [Ca2+]i assuming


[image: image1.wmf]÷

÷

ø

ö

ç

ç

è

æ

-

=

+

F

F

F

k

Ca

d

i

max

2

]

[


where kd=dissociation constant of Fluo-3 (864-nmol/L), F=Fluo-3 fluorescence; Fmax=Ca2+-saturated fluorescence obtained at the end of each experiment.
 ADDIN EN.CITE 
31

Both electrical signals and epifluorescent Ca2+ signals are recorded simultaneously. Action potentials are stimulated at 0.5 Hz in current-clamp mode using 1 ms current pulses of 1.2x threshold strength. L-type Ca2+-currents are measured in voltage-clamp mode using a holding potential of -80 mV and a 100-ms ramp-pulse to ‑40 mV to inactivate the fast Na+-current, followed by a 100-ms test-pulse to +10 mV at 0.5 Hz.”
#4. What does the IM means in the label of the y-axis in the fig. 2 (L-type calcium current), should it be I L-Ca or something like that?
IM is the abbreviation for total net membrane current. Under the conditions we used IM is predominantly determined by ICa,L. However, since other currents like INCX or capacitance artifacts also influence the recorded current, we found it more accurate to label the ordinate with “IM”.

However, to clarify that point we added the following explanation to the legend of the novel Figure 4:

Page 12, line 176: “Simultaneous recording of total net membrane current (IM), predominantly reflecting L-type Ca2+ current (middle) and triggered CaT (bottom).”
#5. How does the isolation method described in this manuscript differ from the methods published previously by the same group (Voigt et al. 2010, Methods Enzymol.; Dobrev et al. 2000, Circulation; Voigt et al. 2012, Circulation)? Since the representative data in Fig.2 is replotted from Voigt et al. 2012, was the isolation method identical?
We agree with this reviewer, that these methods appear to be similar to the procedures described previously (Voigt et al. 2010, Methods Enzymol.; Dobrev et al. 2000, Circulation). However, in these protocols the EGTA containing storage medium prevented the measurement of intracellular Ca2+ transients. Therefore we adapted these methods by excluding EGTA to measure and quantify Ca2+ transients in these cells (Voigt et al. 2012, Circulation). In addition these cells have resting membrane potentials of physiological size and remain contractile enabling the measurement of single cell shortening.
Against this background the described method is comparable to that previously published by our group (Voigt et al. 2012). However, in line with the journal’s guidelines to publish a wide range of methods from “basic biology protocols to complex medical procedures”, we feel that the detailed step by step description, the additional video, which will be produced according to our protocol and the provision of catalogue numbers for used substances, will enable other groups to establish this protocol in their lab more easily and will be therefore of great value to the readers.
Minor Concerns:
None.
References

1
Worthington, K. & Worthington, V. Worthington Enzyme Manual.  (1993).

2
Amos, G. J. et al. Differences between outward currents of human atrial and subepicardial ventricular myocytes. J Physiol 491 ( Pt 1), 31-50 (1996).

3
Christ, T. et al. Pathology-specific effects of the IKur/Ito/IK,ACh blocker AVE0118 on ion channels in human chronic atrial fibrillation. Br J Pharmacol 154, 1619-1630, doi:10.1038/bjp.2008.209 (2008).

4
Dobrev, D. et al. The G protein-gated potassium current IK,ACh is constitutively active in patients with chronic atrial fibrillation. Circulation 112, 3697-3706, doi:10.1161/CIRCULATIONAHA.105.575332 (2005).

5
Dobrev, D. et al. Molecular basis of downregulation of G-protein-coupled inward rectifying K+ current IK,ACh in chronic human atrial fibrillation: decrease in GIRK4 mRNA correlates with reduced IK,ACh and muscarinic receptor-mediated shortening of action potentials. Circulation 104, 2551-2557, doi:10.1161/hc4601.099466 (2001).

6
Dobrev, D. et al. G-Protein b3-subunit 825T allele is associated with enhanced human atrial inward rectifier potassium currents. Circulation 102, 692-697, doi:10.1161/01.CIR.102.6.692 (2000).

7
Feng, J., Xu, D., Wang, Z. & Nattel, S. Ultrarapid delayed rectifier current inactivation in human atrial myocytes: properties and consequences. Am J Physiol 275, H1717-1725 (1998).

8
Hatem, S. N. et al. Different compartments of sarcoplasmic reticulum participate in the excitation-contraction coupling process in human atrial myocytes. Circ Res 80, 345-353, doi:10.1161/01.RES.80.3.345 (1997).

9
Heidbuchel, H., Vereecke, J. & Carmeliet, E. Three different potassium channels in human atrium. Contribution to the basal potassium conductance. Circ Res 66, 1277-1286, doi:10.1161/01.RES.66.5.1277 (1990).

10
Hove-Madsen, L. et al. Atrial fibrillation is associated with increased spontaneous calcium release from the sarcoplasmic reticulum in human atrial myocytes. Circulation 110, 1358-1363, doi:01.CIR.0000141296.59876.87 [pii] (2004).

11
Molina, C. E. et al. Cyclic adenosine monophosphate phosphodiesterase type 4 protects against atrial arrhythmias. J Am Coll Cardiol 59, 2182-2190, doi:10.1016/j.jacc.2012.01.060 (2012).

12
Voigt, N. et al. Differential phosphorylation-dependent regulation of constitutively active and muscarinic receptor-activated IK,ACh channels in patients with chronic atrial fibrillation. Cardiovasc Res 74, 426-437, doi:10.1016/j.cardiores.2007.02.009 (2007).

13
Voigt, N. et al. Enhanced sarcoplasmic reticulum Ca2+ leak and increased Na+-Ca2+ exchanger function underlie delayed afterdepolarizations in patients with chronic atrial fibrillation. Circulation 125, 2059-2070, doi:10.1161/CIRCULATIONAHA.111.067306 (2012).

14
Voigt, N. et al. Inhibition of IK,ACh current may contribute to clinical efficacy of class I and class III antiarrhythmic drugs in patients with atrial fibrillation. Naunyn Schmiedebergs Arch Pharmacol 381, 251-259, doi:10.1007/s00210-009-0452-6 (2010).

15
Voigt, N. et al. Left-to-right atrial inward rectifier potassium current gradients in patients with paroxysmal versus chronic atrial fibrillation. Circ Arrhythm Electrophysiol 3, 472-480, doi:10.1161/CIRCEP.110.954636 (2010).

16
Mulieri, L. A., Hasenfuss, G., Ittleman, F., Blanchard, E. M. & Alpert, N. R. Protection of human left ventricular myocardium from cutting injury with 2,3-butanedione monoxime. Circ Res 65, 1441-1449 (1989).

17
Horiuti, K. et al. Mechanism of action of 2, 3-butanedione 2-monoxime on contraction of frog skeletal muscle fibres. J Muscle Res Cell Motil 9, 156-164 (1988).

18
Li, T., Sperelakis, N., Teneick, R. E. & Solaro, R. J. Effects of diacetyl monoxime on cardiac excitation-contraction coupling. J Pharmacol Exp Ther 232, 688-695 (1985).

19
Christ, T., Engel, A., Ravens, U. & Kaumann, A. J. Cilostamide potentiates more the positive inotropic effects of (-)-adrenaline through b2-adrenoceptors than the effects of (-)-noradrenaline through b1-adrenoceptors in human atrial myocardium. Naunyn Schmiedebergs Arch Pharmacol 374, 249-253, doi:10.1007/s00210-006-0119-5 (2006).

20
Christ, T., Molenaar, P., Klenowski, P. M., Ravens, U. & Kaumann, A. J. Human atrial b1L-adrenoceptor but not b3-adrenoceptor activation increases force and Ca2+ current at physiological temperature. Br J Pharmacol 162, 823-839, doi:10.1111/j.1476-5381.2010.00996.x (2011).

21
Farmer, B. B., Mancina, M., Williams, E. S. & Watanabe, A. M. Isolation of calcium tolerant myocytes from adult rat hearts: review of the literature and description of a method. Life Sci 33, 1-18, doi:10.1016/0024-3205(83)90706-3 (1983).

22
Bielecki, K. The influence of changes in pH of the perfusion fluid on the occurrence of the calcium paradox in the isolated rat heart. Cardiovasc Res 3, 268-271, doi:10.1093/cvr/3.3.268 (1969).

23
Kramer, J. H., Chovan, J. P. & Schaffer, S. W. Effect of taurine on calcium paradox and ischemic heart failure. Am J Physiol 240, H238-246 (1981).

24
Rich, T. L. & Langer, G. A. Calcium depletion in rabbit myocardium. Calcium paradox protection by hypothermia and cation substitution. Circ Res 51, 131-141, doi:10.1161/01.RES.51.2.131 (1982).

25
Isenberg, G. & Klockner, U. Calcium tolerant ventricular myocytes prepared by preincubation in a "KB medium". Pflugers Arch 395, 6-18, doi:10.1007/BF00584963 (1982).

26
Boink, A. B., Ruigrok, T. J., de Moes, D., Maas, A. H. & Zimmerman, A. N. The effect of hypothermia on the occurrence of the calcium paradox. Pflugers Arch 385, 105-109 (1980).

27
Bulkley, B. H., Nunnally, R. L. & Hollis, D. P. "Calcium paradox" and the effect of varied temperature on its development: a phosphorus nuclear magnetic resonance and morphologic study. Lab Invest 39, 133-140 (1978).

28
Frank, J. S., Rich, T. L., Beydler, S. & Kreman, M. Calcium depletion in rabbit myocardium. Ultrastructure of the sarcolemma and correlation with the calcium paradox. Circ Res 51, 117-130 (1982).

29
Alto, L. E. & Dhalla, N. S. Myocardial cation contents during induction of calcium paradox. Am J Physiol 237, H713-719 (1979).

30
Voigt, N., Makary, S., Nattel, S. & Dobrev, D. Voltage-clamp-based methods for the detection of constitutively active acetylcholine-gated IK,ACh channels in the diseased heart. Methods Enzymol 484, 653-675, doi:10.1016/B978-0-12-381298-8.00032-0 (2010).

31
Trafford, A. W., Diaz, M. E. & Eisner, D. A. A novel, rapid and reversible method to measure Ca2+ buffering and time-course of total sarcoplasmic reticulum Ca2+ content in cardiac ventricular myocytes. Pflugers Arch 437, 501-503, doi:10.1007/s004240050808 (1999).

32
Voigt, N., Nattel, S. & Dobrev, D. Proarrhythmic atrial calcium cycling in the diseased heart. Adv Exp Med Biol 740, 1175-1191, doi:10.1007/978-94-007-2888-2_53 (2012).

33
Hamill, O. P., Marty, A., Neher, E., Sakmann, B. & Sigworth, F. J. Improved patch-clamp techniques for high-resolution current recording from cells and cell-free membrane patches. Pflugers Arch 391, 85-100, doi:10.1007/BF00656997 (1981).



_1367128958.unknown

