Dr. Angela Messmer-Blust, Ph.D

Science Editor

Journal of Visualized Experiments

15 October, 2012

MS: JoVE50308R1

“Laser capture microdissection of pure populations of neurons or single neurons for gene expression analysis after traumatic brain injury”

Dear Dr. Messmer-Blust,

Thank you for the opportunity to submit our revised manuscript to Journal of Visualized Experiments. We appreciate the insightful comments and suggestions of the reviewer and have revised our manuscript accordingly. Our response to the reviewer’s comments is below.

Reviewer: 
Major Concerns:
1.”…there should be some discussion of how one would confirm the purity of the sample for neurons with minimal microglia contamination…”

Response:  We agree that when collecting a swath of neurons in the CA1-CA3 region of the hippocampus, it is impossible not to obtain some microglial contamination. However, greater than 95% of the cells in the pyramidal cell layer of the CA1 region are neurons [1]. Thus, microglia contamination should be minimal. Nevertheless, to be sure, we can obtain an assessment of glial contamination in the samples using qPCR to determine the expression levels of a glial marker such as GFAP. In our experiments we use Fluoro-Jade staining, which stains only injured neurons, allowing the identification and subsequent laser capture of single neuronal bodies with minimal to no microglia contamination. Uninjured neurons are identified by staining with Cresyl Violet, a Nissl stain that is compatible with preservation of RNA integrity and is also neuron specific.[2] We have revised the discussion to include an explanation of how to confirm the purity of a sample.

2.”…there is limited discussion of the pitfalls of trying to do this procedure, hints for how to troubleshoot, how to confirm quality, the minimal number of captured cells, any difficulties that may arise with using "injury" tissue.

Response:  We agree that it is important to discuss the problems and pitfalls of LCM procedures. In particular, collecting single neurons is tedious and requires many subjects; cells from multiple animals need to be pooled to accumulate enough tissue for one sample.  Furthermore to ensure good quality RNA, LCM sessions are limited to 30 min to 1 hour per, cap and the quality of the RNA is measured using an Agilent Bioanalyzer (Agilent Technologies, Santa Clara CA), discussed in Sections 5.1 and 5.2.

Minor Concerns: 
1. Section 2. - The length of time the tissue can be held at -80oC needs to be mentioned.

Response: Tissue storage and timing is, indeed, an important issue. In our experience, brain tissue can be stored at -80oC for up to one month prior to sectioning.  Once the brain is thawed, mounted in OCT and sliced, we promptly (within 24 h) stain the sections and use them for LCM within 30 minutes to one hour of staining.  This ensures good quality RNA.  We found that brain tissue that has been sectioned,  then re-frozen and used for LCM at a later time yields lower quality RNA than whole brain tissue that has been frozen at -80oC for months prior to sectioning-- a technique which can still yield high quality RNA. We have revised and addressed in section 2.1 the comment pertaining to the length of time tissue can be stored at -80oC prior to sectioning and LCM.

2.”… having one technician cutting the tissue staining and then giving to a second person doing the capture significantly decreased the number of samples required for microarray analysis.”

Response:  We agree that it would be useful, when possible, to have one technician sectioning and staining while another technician performs LCM, as it would reduce the time required to process all of the sections. However, this protocol makes it possible for the procedure to be carried out by a single technician. Not all investigators have the number of research personnel needed for complex procedures such as these and in our laboratory one person is routinely able to obtain sufficient numbers of neurons for gene expression analysis using the methods described.

3.” … it would be of benefit to mention the timing aspect of tissue collection…mention of how long the collected tissue can be stored prior to RNA isolation would be helpful.

Response: Collected tissue in lysis buffer can be stored at -80C for a week, but RNA should be isolated in a timely manner to insure highest quality. See Section 2.1.

4. Was the cryostat blade and the area on which the brain slice will rest after cutting washed with RNase free water? Or some other treatment? Is the 95% alcohol made from 100% with RNase free water?

Response: The cryostat is cleaned with ETOH and RNase-zap before sectioning.  Disposable low profile blades are changed in between each tissue sample.  All staining solutions are prepared with RNase free water.

5. If the authors have experience with other RNA isolation kits, such as a lipid-rich tissue kit, or others it would be helpful to mention this somewhere for what worked and what did not.

Response: The kit used here, RNAqueous-Micro Kit (Ambion), is specifically designed to isolate RNA from small populations of cells (1 – 10). At the time of our development of LCM techniques, it was the only kit available for this purpose and was particularly suited to LCM. There are other kits on the market, but we do not have any experience with them; this kit has worked quite well.

6. What is the minimum number of cells required for analysis? Thus, what is the approximate yield needed for each of the types of analysis.

Response: The minimum number of cells required for analysis depends on the downstream application.  For microarray analysis, we have obtained excellent data from as few as 600 cells; for qPCR we have performed gene expression analysis from as few as 10 cells. In our first gene expression studies of neurons obtained by LCM, we were able to linearly amplify total RNA from as few as 5 cells, (3 captures from 10μm sections is estimated to be equivalent to one cell since the neurons are approximately 30 μm in size) and obtain excellent results using ribonuclease protection assay.[3] The discussion has been revised accordingly.

Regards,

Helen Lee Hellmich, Ph.D

Associate Professor

Department of Anesthesiology

University of Texas Medical Branch

Reference List

1. 	Zeng YC, Bongrani S, Bronzetti E, Cadel S, Ricci A, Valsecchi B, Amenta F (1995) Effect of long-term treatment with L-deprenyl on the age-dependent microanatomical changes in the rat hippocampus. Mech Ageing Dev 79: 169-185.

2. 	Shimamura M, Garcia JM, Prough DS, DeWitt DS, Uchida T, Shah SA, Avila MA, Hellmich HL (2005) Analysis of long-term gene expression in neurons of the hippocampal subfields following traumatic brain injury in rats. Neuroscience 131: 87-97.

3. 	Hellmich HL, Garcia JM, Shimamura M, Shah SA, Avila MA, Uchida T, Parsley MA, Capra BA, Eidson KA, Kennedy DR, Winston JH, DeWitt DS, Prough DS (2005) Traumatic brain injury and hemorrhagic hypotension suppress neuroprotective gene expression in injured hippocampal neurons. Anesthesiology 102: 806-814.