JoVE Video Script, Page 5 of 12

Submission ID #: 50336

Editor Name: Steven Nilsen
Videographer name: Larry Warm
Film Date: 12-10-12
Authors and Affiliations: 

Ethan M. Anderson1,2,  ,Richard Mills4,  Todd A. Nolan3, Alan C. Jenkins3, Golam Mustafa1, Chris Lloyd4, Robert M. Caudle1,2, and John K. Neubert3
1 Department of Oral and Maxillofacial Surgery, University of Florida College of Dentistry, Gainesville, FL, USA

2 Department of Neuroscience, University of Florida College of Medicine, McKnight Brain Institute, Gainesville, FL, USA

3 Department of Orthodontics, University of Florida, Gainesville, FL, United States

4 Stoelting Co. Wood Dale, IL, USA

Corresponding Author: 

Anderson, Ethan M.

UF College of Dentistry, OMFS D7-6

1600 SW Archer Rd, Box 100416

Gainesville, FL 32610

ethan241@ufl.edu
Phone: 352-273-6761

Fax:
352-392-7609

Title: Use of the operant Orofacial Pain Assessment Device (OPAD) to measure changes in nociceptive behavior
Schematic Overview (read by a voice talent at JoVE)

Procedural Narrative:
The overall goal of this procedure is to measure rodent antinociceptive behaviors with the operant Orofacial Pain Assessment Device. (Intro)  This is accomplished by first training the rodents on the OPAD for a few sessions until stable baselines are obtained. (P1)  The next stage of the procedure is to remove the rodents’ buccal hair and fast them the day before the experiment. (P2)  Next, baseline measurements at normal and painful temperatures are made, in the OPAD temperature-variable bars that stimulate the facial derma if the rodent wants to gain the reward. (P3)  The final stage is to introduce a pain or analgesic stimulus under the same conditions, and measure the lick and contact frequencies. (P4)  Ultimately, results can show altered pain behaviors by analysis of the frequency of licks in the total contacts. (P6) For example, capsaicin reduces lick frequency under painful conditions. (P5)
[image: image1.png]« P1. Train rats on the OPAD.

P2. For test days, remove

buccal hair and fast. »

P3. Take baseline measures at non-painful (33C) and painful (45C) temperatures ensuring
good contacts are being made as illustrated below.

A rat making a contact

in order to lick.
Therewardis unobtainable
without making a contact.

Thls will resultin long licking periods during a contact for non-painful

3 ‘ % Hi temperatures but short ones for hot temperatures.
2 L
| P4. For the next session, add a pain stimulus like capsaicin cream.
e I i ° °
,g ] P5. Analyze the nociceptive = § "-“"::":
S 5 behavior of the rodent with the < ‘3‘8 ° apsaidn
(o]
33C © 45c lick/face ratio. 520 £10
- Hot pain causes it to decrease. » § 10 % -
- - » 29
- Capsaicin enhances this effect. <0 =

33C 45C 33C 45C




Video editor:

P1: show the suggested photo, omit the text and arrow.

P2: show the suggested phoot, omit the text and arrow.

P3: First, show the two images on the left with rat in bars + rat licking, write the caption (to the right of the image) beneath the image. Second, show the two images on the right with rat near bars + rat looking at reward tube, write the caption (to the left of the image) beneath the image.
P4: show the suggested 4 panel graphic, omit the text and arrow.  Fade the for boxes on one at a time, upper-left 1st, lower-left 2nd, upper-right 3rd and lower-right 4th.  Have all the axis labels in place before adding the data boxes.

P5: First show the data on the left of P5…

P6: …then fade it out and show the data on right of the suggested P5 pair.  Blue arrows and text should be omitted, for P5+P6.

1. Introductory Interview (spoken by you on camera. Don’t forget to smile!)  

1.1. Ethan: The main advantage of this technique over existing methods, like the paw withdrawal, von Frey, or tail-flick assay, is that instead of using reflex-based measures of nociception, the Orofacial Pain Assessment Device (OPAD) uses a reward/conflict assay.
1.2. Ethan: In the OPAD, the rodent chooses between receiving a reinforcing reward and escaping an aversive, painful stimulus. This allows the rodent itself to control the amount of nociception it feels during a session, thereby informing the researcher of its pain state.
Protocol Chapters (read by a voice talent at JoVE):

2. Training and Baseline Sessions
2.1. The night before an OPAD training session, the rodents should not have any food to eat.  For this demonstration the fast time is 15 hours, give or take an hour.
2.1.1. WID: talent enters room with the rat(s) to be tested, prepare to remove the rats’ food supply
2.1.2. CU: food is taken away from a cage, leaving foodless rat(s)
2.2. The rodents must first be trained to a consistent behavior at non-aversive temperatures.  This takes about six sessions at three sessions per week. (TEXT: 33 ºC – 37 ºC)
2.2.1. WID: talent setting up the test cage
2.2.2. MED: talent transferring a rat or mouse to the test cage
2.3. Mice can lick six hundred to a thousand times per session, whereas rats can lick up to two thousand times per session.
2.3.1. CU: training session rat in test box, licking the reward bottle
2.3.2. as above, different angle
3. Programming the OPAD system for Protocols and Experiments

3.1. This demonstration shows how to program a simple experiment using the OroFacial software. It has many other temperature ramping protocols and other pain models other available.  Also, the design can be saved in any state of completion. 
3.1.1. WID: talent enters room where the OPAD system is set up
3.1.2. CU: flicking the ON switch on the OPAD system
3.1.3. MED: talent sits at computer opens the software, show the splash screen
3.2. After turning on OPADs and opening the software, turn on white noise to control for ambient noise. 
3.2.1. SCREEN CAPTURE: show how to turn on white noise using a screen capture movie, not stills.
3.2.2. (only if the above step is not done in software) MED: switching on the white noise and then settling back to using software at computer  
3.3. Next, under "File" select a New Experiment, then, under the subheading "Protocol", choose a name for the protocol and select whether it is to be blinded or not.
3.3.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.4. Under the "OPAD cages" menu, select "New OPAD cage" and, then, "Add all connected OPAD cages."  Under "Outputs" select "Temperature Controllers" then "Thermal element".  Adjust starting temperature to a neutral temperature.
3.4.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.5. If needed, adjust the ramping temperatures under the "OPAD temperature cycle" tab.  To change the temperature from neutral to hot to cold, just make the adjustments here.
3.5.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.6. For step one, set the temperature to 45 degrees Cecius, set the “Ramp duration" to 30 second, and set that temperature to remain for 3 minutes.
3.6.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.7. For step two, make the settings 33 degrees, 30 seconds, and 3 minutes.
3.7.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.8. For step three, make the temperature 7 degrees, the ramp 60 seconds, and remain time three minutes.
3.8.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.8.2. MED: talent entering steps into the software
3.9. Make step 4 like step 2 but with a 60 second ramp. Then, check the box for "After the following period of time:" and set that value to three minutes.
3.9.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.10. Now, under the "Fields" tab add any extra notes needed about the subjects. For example, make an area for animal ID by selecting "New Field" and changing the name to "Animal ID." 
3.10.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.11. Then choose the "Animals" tab, then "Text", and then "Use this field as the animal ID."
3.11.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.12. Look under the "Stage" tab.  The OPAD automatically sets a "First stage." Set the duration of test period and, if needed, name the stage. 
3.12.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.13. Ethan: The behavioral sessions shouldn’t be longer than 20 minutes because the rodents become satiated.   For experiments over several days, additional stages can be added for each day to make the data analysis simpler.
3.13.1. MED/WID: talent seated at computer, delivers this narrative as an interview
3.14. Next, under the "Calculations " select "New Calculation" and name it "L/F" to represent the lick/face ratio.  In the section labeled "Enter the calculation in the area below" adjust it to read "Lick: number of activations” over “Contact: number of activations”.
3.14.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.15. To create time periods for a simpler data analysis, select "Analysis" and "New time period". Name one "33 degrees C" and select the box for "This period is the same in all stages." 
3.15.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.16. For the "Starts at:" field, enter zero and for the "Ends at:" field put three minutes. 
3.16.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.17. Now, repeat this labeling process for each time period. 
3.17.1. SCREEN CAPTURE: show the following being entered: Name: "Ramp 33-45C.” Starts at: 3min. Ends at: 3.5min. “45C", 3.5min, 6.5min. "Ramp45-33C", 6.5min, 7min. "33C", 7min, 10min. "Ramp33-7C", 10min, 11min. "7C", 11min, 14min. "Ramp7-33C", 14min, 15min. "33C", 15min, 18min.
3.18. Finally, save and name the protocol.  It can now be used for new experiments. 
3.18.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
3.18.2. WID: talent gets up from computer and stretches 
4. Pretest Preparation and Capsaicin Treatment

4.1. Because hair is an insulator, hairless rodents are best for all operant procedures. Otherwise, a day or two before the animals are tested, remove just their buccal facial hair, leaving the whiskers.
4.1.1. WID: talent with hairy rodent to shave, removes it from its cage
4.1.2. ECU: rodent face, focus on buccal hair and the whiskers
4.1.3. ECU: same rodent face, without buccal hair, whiskers still intact
4.2. To do this first anesthetize the rodent.   Next, shave the cheek hair with clippers.
4.2.1. MED: talent positioning anesthetized rodent and preparing to shave it
4.2.2. ECU: shaving the face of the rodent, avoiding whiskers
4.3. Once the hair is clipped, apply eye ointment, followed by hair removal cream and wait a few minutes.  Then, wash the hair removal cream and hair away with water. (TEXT: See Neubert et al. for details)
4.3.1. ECU: applying eye ointment and hair removal cream to the shaved areas of face, avoiding the eyes
4.3.2. CU: washing off the cream with water
4.4. On the day of testing, anesthetize the animal, with, for example, 3% isoflurane inhalation. 
4.4.1. WID: (talent has a “next day” appearance) talent removes rodent from box and places it an anesthesia chamber
4.5. Next, apply opthalamic vet ointment to both eyes.  Later, avoid getting any topical drug treatments in the eyes. 
4.5.1. MED: removes the drugged rodent from the chamber and prepares to apply the eye ointment
4.5.2. MED: applying the eye ointment, but do not show the eye in detail, it can be visually unappealing to see and the procedure is well known 
4.6. Now, apply a 0.1% capsaicin cream bilaterally on the exposed cheeks with a sterile cotton swab and wait five minutes.
4.6.1. CU: applying the cream to the cheeks
4.7. Meanwhile, soak some gauze pads in warm, 40 degrees Celsius, water.  After five minutes, wipe the cream off with the wet pads, followed by an alcohol swab.
4.7.1.  MED: placing gauze in warm water
4.7.2. ECU: wiping cheeks off with gauze (water) then wiping off with swabs (alcohol)
4.8. Now, return the rodent to its cage and set a timer for 30 minutes
4.8.1. WID: rodent placed into its home cage and talent starts a timer
5. Running the Assay

5.1. First prepare a room temperature reward mixture of one part sweetened condensed milk in two parts water.  Load the mixture into the OPAD bottles.
5.1.1. WID: talent mixing sweetened condensed milk and water
5.1.2. MED: loading mixture into an OPAD bottle
5.2. Second, set up the liquid catch tray, the Plexiglas cage, and the metal flooring grate on the OPAD machine.  Once that is assembled, attach the wiring to connect the cage to the rest of the OPAD system. 
5.2.1. MED: setting up the tray, cage and flooring for OPAD box
5.2.2. CU: show completed assembly to this point, then wiring is added
5.3. Place a reward bottle on the stand with its spout accessible to the rodent.  Initially, position the bottle a little deep, so it can be withdrawn if better contacts are needed.
5.3.1. MED: bottle is placed on the stand
5.3.2. CU: spout of bottle is adjusted to fit into box to where rat can access it, back in the cage
5.4. Now, load the experiment in the software.  
5.4.1. MED: talent at computer, opens software and starts entering test animal data into software
5.5. Enter the animals being tested.  Under the subheading "Experiment" add a "Title" and then add the treatment groups, such as capsaicin and control.  Then, enter the number of animals in each group.
5.5.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
5.6. Under the subheading "Tests", select "Animal treatments and data".  Add the letter of the treatment and the animal ID. 
5.6.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
5.7. The boxes should now have the designated animal ID on their screens.
5.7.1. CU>MED: the OPAD box screen, showing the animal ID, then zoom out to show the button on box
5.8. Now, press the button on the box to adjust the thermodes to the right temperature. 
5.8.1. MED: talent presses the box’s button
5.9. When the light goes green, place a rodent inside. For this experiment, rats are started 30 minutes after the capsaicin cream was wiped off.
5.9.1. CU: light switches to green
5.9.2. MED: talent loads box that has an orange light with a treated rat
5.10. Now, press the button again and the orange light will turn on. 
5.10.1. MED/CU: pressing the button and light goes from green to orange, be sure to show the light color clearly 
5.11. Adjust the distance the bottle is from the box.  To be able to lick, the rat must make contact with the thermodes on its buccal region, not the vibrissa region. 
5.11.1. MED: adjusting the position of the reward bottle in the box
5.11.2. ECU: the rat licking the reward bottle, focus on the face of rat
5.12. Proper adjustment will result in a solid red box for licking above an outlined orange box for contacts.
5.12.1. Please note that screen capture was supplied in addition to videographer footage.  Screen capture may look better.  ECU>CU: show the solid red box for licking and zoom out to show the outlined orange box below it
5.13. An outlined red box indicates a problem.
5.13.1. Please note that screen capture was supplied in addition to videographer footage.  Screen capture may look better.  ECU: an outlined red box for licking
5.14. Ethan: Proper placement of the reward bottle is vital for the assay. If the bottle is too close, the rat will either lick without making a contact or touch its nose to the reward bottle so that many licks will appear as only one lick. 
5.14.1. MED/WID: talent next to box with rat, delivers this narrative as an interview
5.15. Once the testing session is over, the OPAD will alert the experimenter with a tone. 
5.15.1. WID: (with audio!) the talent is casually monitoring the experiment which just completes, so a tone is made by the system to alert the talent
5.16. Now, return the rodent to its cage.  If another rodent is to be tested, the box will indicate its Animal ID and repeat the procedure.
5.16.1. MED: talent lifts rat out of test box and places in home cage, box has new ID number on it
5.16.2. MED: talent removes the next rat form a home cage and places it in the test box
5.17. Many rats can be run simultaneously on the OPAD.  In one protocol, up to 16 boxes can be run simultaneously.  Thus, 40 to 80 rats can be tested per hour.
5.17.1. MED: panning across many boxes of rats set up to run at the same time. 
5.17.2. WID: talent loading, starting and unloading 8 boxes, include a wall clock in the shot, so we show the actual speed of this operation.
Video editor: take note of the clock in 5.17.2, use it to show that the operation is quick, without showing it all in real time.  Add a highlighting to the clock, then play with sped animation or an intervening clock wipe to the end, then freeze and highlight the clock again at the end of the shot. 
5.18. When the experiment is complete, shut off the machine and remove the cage wiring.
5.18.1. WID: talent turns off the machine and removes the wire cage from the box
5.19. By hand or machine, wash and sanitize the grate, box, bottle, and liquid tray.
5.19.1. MED: talent washing by hand
6. Data Analysis with OPAD Software

6.1. In the OPAD software, data analysis tools are available. 
6.1.1. WID: talent working at computer with no rodents around - this is later, after the experiment is over
6.2. Under the subheading "Results" select whether to see a text, graph, or statistical analysis report. 
6.2.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
6.3. In the "Text report settings" box, select a variable to examine. For instance, under "Calculation results" check the "L/F" box. 
6.3.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
6.4. Now, specify the "Group data by" field as the "Time period" and "Then by" field as the "Treatment." 
6.4.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
6.5. Then, select "View the report".  Saving, printing, copying, or emailing the report can be done at this time.  Certain data points may be excluded in the box below the grouping step if needed.
6.5.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.  Don’t bother showing emailing/printing, but do show how a data point can be excluded and a save is done.
6.6. If needed, the raw data in a spreadsheet form is accessible under the "Data" subheading.  
6.6.1. SCREEN CAPTURE: show the step above being executed using a screen capture movie, not stills.
7. Rodent behavior on the OPAD 

7.1. The OPAD was programmed for a ramping protocol for the test sessions.

LAB MEDIA: Figure 1C
7.2. Analysis of a single rodent’s test session shows that the lick number is high for every segment of the session at the neutral temperature, but low at the aversive temperatures.

LAB MEDIA: Figure 1A
LAB MEDIA: Figure 1C – show above (slide up from position in 7.1)
7.3. As expected, long bouts of contact are made at the neutral temperatures. Those durations decrease and the number of contacts increase during periods where the temperatures are painful. 
LAB MEDIA: Figure 1B
LAB MEDIA: Figure 1C – show above
7.4. The total amount of reward ingested is similar to the number of licks: animals prefer feeding at the neutral temperatures to the painful temperatures. 
LAB MEDIA: Figure 1D 
LAB MEDIA: Figure 1C – show above
7.5. The lick/face ratio for the baseline session was calculated by the OPAD for all the animals without capsaicin application. This ratio is much higher during the three non-painful sessions than at the painful sessions.  One-Way ANOVA and Bonferroni’s tests bear out this significance.

LAB MEDIA: Figure 1E
7.6. On a subsequent day, the group was then divided into capsaicin treated rodents and naïve rodents, 8 in each group.  At neutral temperatures, the groups did not behave significantly differently.  Capsaicin treated rodents had a significantly lower L/F ratio at 45 Celsius, and an insignificantly higher L/F ratio at 7 Celsius.

LAB MEDIA: Figure 1F
8. Conclusion Interview (spoken by you on camera)

8.1. Ethan: Once mastered, this technique can be done on hundreds of animals a day using several OPAD boxes. This allows for high throughput pain testing of nociceptive and/or analgesic conditions if it is performed properly.

List of Provided Media Filenames and Descriptions (fill this in)
7.1
50336_Neubert_Figure 1C.tif

7.2
50336_Neubert_Figure 1A.tif

7.3
50336_Neubert_Figure 1B.tif

7.4
50336_Neubert_Figure 1D.tif

7.5
50336_Neubert_Figure 1E.tif

7.6
50336_Neubert_Figure 1F.tif

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

( 2012, Journal of Visualized Experiments


