JoVE Video Script, Page 3 of 9

Submission ID #: 50343

Editor Name: Steven Nilsen
Videographer name: TBD

Film Date: TBD

Authors and Affiliations: 

Richard Francis and Cecilia Lo
Department of Developmental Biology, University of Pittsburgh

Corresponding author:

Cecilia Lo

530 45th Street

8120 Rangos Research Center 

Pittsburgh, PA 15201

Phone: 412-692-9901

Fax: 412-692-6184
cel36@pitt.edu
Title: Ex vivo method for high resolution imaging of cilia motility in rodent airway epithelia
For filming video of tissue dissection a video camera is needed that can attach to a standard threaded C-Mount.  Steps 3.1-3.10 Microscope: Lecia M165 FC

Schematic Overview (read by a voice talent at JoVE)

The overall goal of this procedure is to visualize and quantify respiratory cilia motility and cilia generated flow using freshly isolated mouse trachea. (Intro)  This is accomplished by first preparing a shallow imaging chamber. (P1) The next steps of the procedure are to harvest and mount the tracheal tissue for imaging (P2) It is then shown how to visualize and record cilia motility and cilia generated flow using an inverted microscope with high speed videography through a 100 X DIC objective. (P3)  The final step is to analyze the video by quantifying cilia beat frequency and cilia generated flow using ImageJ software. (P4)  Ultimately, the results can show changes in respiratory cilia motility and cilia generated flow through high speed videomicroscopy. (P5)
Video Editor:

P1: Using the provided image, divide it into 2 parts: the circle with a rectangle cut away and the dish.  First show the circle without the rectangle cut away, then add the cut away, then add this to the dish.

P2: First show the mouse in the provided image, then add in the trachea image on the mouse, then move the trachea image from the mouse to the dish assembly from P1.

P3: Show the provided photograph on one side of the screen and on the other show a segments of the supplemental movies provided by the authors.

P4: Show the provided image and then zoom into the screen showing just the software window.  Cut to a segment from an actual screen capture of the software being used where there is a lot of action to be seen.  These screen captures are provided as 5.2.1 – 5.6.1.

P5: Show the Figure 3C and then Figure 3D (D should be switched to at “cilia generated flow” in the narrative).
[image: image1.png](P2)





1. Introductory Interview (spoken by you on camera. Don’t forget to smile!)  

1.1. Richard Francis: The main advantage of this technique over existing methods is that this protocol allows reproducible imaging of the rodent tracheal epithelium for consistent quantitative assessments of ciliary motion. This can be accomplished within 20-30 min with minimal training.   

Richard Francis: This method can help address key questions relating to the cell and molecular mechanisms regulating mucociliary clearance in the airway, especially when it is used in combination with different genetically engineered and mutant mouse models. 

Protocol Chapters (read by a voice talent at JoVE):

2. Shallow walled culture chamber assembly

2.1. Begin by building the chamber used to hold the trachea samples.  For a base, or a chamber floor, use a glass-bottomed 35-mm culture dish.  
2.1.1. WID: talent at bench, unpacking a culture dish from a sleeve

2.1.2. MED: uncovers a dish a sets aside the lid
2.2. For the top, use 0.3 mm thick silicone sheeting. 
2.2.1. CU: talent shows shape/size of silicon sheeting 
2.3. Lay the sheeting over a 18-mm, round, glass cover slip and trim the edge.  
2.3.1. CU: setting sheeting over a round glass cover slip, then trimming the edge
2.4. Next, with a scalpel, from the middle of the silicon cut out a 10 mm square.
2.4.1. CU: cutting out a 10 mm square from silicon, a ruler to show the dimensions would be nice, but not required if cumbersome
2.5. The glass cover slip and silicone make the top and sides of the culture chamber. They will be placed on top of the sample that is placed in the culture dish.
2.5.1. MED: Places silicon/coverslip into the dish

2.5.2. ECU: focus on the edges of the silicon where cut, then turn the assembly to provide some action
3. Trachea harvest and preparation

3.1. After euthanizing a mouse in accordance with the institutional guidelines, surgically isolate the trachea. (TEXT:  mouse gestation day 16.5 or older)
3.1.1. MED: talent performing the surgery to remove the trachea

3.1.2. ECU/SCOPE: show the end point of the surgery, just before removing the trachea.  Use a scope shot if this part of the surgery is under a microscope

3.2. Collect the trachea in a plastic 35-mm culture dish with enough L15 media to completely submerge it. 
3.2.1. CU: setting the isolated trachea into a dish with media

3.2.2. ECU: side view, level of media, showing that the trachea submerged 
3.3. Using blunt dissection, remove all the non-tracheal tissue around the trachea.
3.3.1. SCOPE: top view, talent cuts away non-tracheal tissue

3.4. Next, using micro dissection scissors, remove the larynx with a transverse cut just below the cricoid cartilage.
3.4.1. SCOPE: talent isolated the larynx, make sure the circoid cartilage is identified
LAB MEDIA: Fig 2A, line 1

3.5. Now, remove the left and right primary bronchial branches with a transverse cut just above the carina.

3.5.1. SCOPE: removing the bronchial branches, make sure carina is identified
LAB MEDIA: Fig 2A, line 2

3.6. With fine forceps, gently hold the trachea.  Then, using a 1 milliliter pipette, flush the lumen two or three times with L15 medium to clear any mucus and blood.
3.6.1. SCOPE: flushing the trachea with solution via a pipette

3.6.2. CU: talent using the pipette to flush the trachea, below the microscope optics
3.7. Next, using micro dissection scissors, make a transverse cut to remove a three or four ring segment of trachea.
3.7.1. SCOPE: cutting 3-4 ring segments from the trachea
LAB MEDIA: Fig 2B, line 1

3.8. Then, in the small tracheal segment, make a longitudinal cut through the middle of the trachealis muscle.
3.8.1. SCOPE: cutting the trachealis muscle, make sure it is identified first
LAB MEDIA: Fig 2B, line 2

3.9. Lastly, cut longitudinally across the middle of the tracheal cartilage rings using micro dissection scissors …
3.9.1. SCOPE: cutting through the tracheal cartilage rings
LAB MEDIA: Fig 2C

3.10. … leaving two sections of trachea tissue suitable for imaging.
3.10.1. SCOPE: the two tracheal sections are separated from each other
LAB MEDIA: Fig 2D

4. Cilia Imaging

4.1. After the dissection, transfer the trachea tissue segments, lumen side down, to the center of the glass-bottomed dish with approximately one hundred microliters of L-15.

4.1.1. WID: talent lifting head from the microscope, and moves tissue out from under the stage

4.1.2. MED: moving the tissue from the dissecting dish to the glass-bottomed dish

4.1.3. ECU: tissue deposited with some solution onto dish
4.2. To quantify the cilia-generated flow, add 20 microliters of a 2.5% suspension of fluorescent microspheres per milliliter of L-15 medium. (TEXT: ~1011 0.20-µm particles / ml)
4.2.1. MED: loading pipette with microspheres

4.2.2. ECU: depositing microsperes into solution with tissue
4.3. Now, place the silicon and glass cover over the trachea and give it a gentle push to secure it in place.
4.3.1. CU: adding the silicon cover

4.3.2. ECU>CU: top view of the tissue below the coverglass, zoom out to a CU and the talent pushes down the coverslip
LAB MEDIA: Figure 1

4.4. Then, along the edges, remove any excess media with a 1-mil pipette.
4.4.1. ECU: pipette positioned to remove media, and does so, from edge of dish/silicon junction
4.5. Now, transfer the chamber to an inverted microscope fitted with a 100 X objective and DIC optics.
4.5.1. WID: talent carries dish to a microscope, places it under the stage and prepares to view it
4.6. Using a high-speed camera and movie acquisition software, collect movies of cilia motility at 200+ frames per second along the ciliated tracheal epithelia of the curled up edge of the trachealis muscle.
4.6.1. MED: pan over the microscope/camera assembly as talent focuses the scope 

4.6.2. MED: computer screen with camera recording software, talent starts the recording

LAB MEDIA: Supplementary Movie 1

4.7. Using FITC epifluorescent imaging and a low-light CCD camera, collect movies of the fluorescent microsphere moving across the surface of the ciliated tracheal epithelia. Using these movies, proceed with quantification of cilia generated flow.
4.7.1. CU: switching the scope to FITC optics

4.7.2. MED: switching to the CCD camera, pan from the low-light CCD camera attached to the scope to the computer

4.7.3. MED: computer, talent starts recording the CCD camera’s video
LAB MEDIA: Supplementary Movie 2
4.8. Samples can be imaged for up to an hour without any noticeable alteration in cilia beat function.
4.8.1. WID: talent working at the scope and computer, making recordings, adjusting focus and whatnot other actions – maybe breaking to read a book as software records 
5. Quantitation of cilia motility

5.1. Begin by calculating the cilia’s beats per minute.  Load the DIC-imaged movies into the ImageJ software package.
5.1.1. WID: talent at the computer 

5.1.2. MED: computer screen, talent opening ImageJ, show splash screen and 
5.2. Follow the technique described by Iain Drummond, use the line tool to draw a raster line crossing the beating cilia.  
5.2.1. SCREEN CAPTURE

5.3. Make a “reslice” of this line to generate a kymograph-type image where cilia movement across the line generates a wave pattern.  

5.3.1. SCREEN CAPTURE
5.4. Now, count the number of pixels between each wave peak along this line.  From this count calculate the beats per minute, knowing that each movie frame is represented by one pixel along the line. 

5.4.1. SCREEN CAPTURE

5.4.2. MED: talent counting out the number of pixels on the screen, finger or tool used to keep place
5.5. Next, measure the cilia generated flow.  Load the fluorescent bead movies into the ImageJ software package.

5.5.1. SCREEN CAPTURE
5.6. Using the MTrackJ plugin, manually track the fluorescent beads across the surface of the trachea epithelia.  The software will calculate the velocity and directionality for each tracked bead.  

5.6.1. SCREEN CAPTURE

5.6.2. MED: talent using MTrackJ to follow a bead on the screen
5.7. Take care to notice that the distance from the beating cilia can strongly influence the measured flow magnitude.  In this example, bead movement is fast at the surface of the beating cilia and drops off for beads further away in the bathing media.  

LAB MEDIA: Supplement Movie 2

5.8. To control for this, bead tracings should only be collected at a fixed distance above the ciliated epithelia in all samples to allow correct comparisons to be made.
5.8.1. SCREEN CAPTURE:  illustrate the fixed distance trace

5.8.2. CU: screen as talent checks that an on-screen traced bead path remains within a fixed distance from epithelia, this could be done with a tool against the screen
5.9. Finally, for fluid flow, track the beads as long as possible.  It is preferable to use beads that pass more than 10 ciliated cells to make these calculations.
5.9.1. SCREEN CAPTURE: illustrate the length of trace, one that passes >10 ciliated cells

5.9.2. MED: like 5.8.2, just a different angle, talent taking count of cells passed by bead

6. Trachea cilia beating in an adult mouse
6.1. Using the described protocol, control airway cilia should be clearly visible and seen to beat in a coordinated manner. (TEXT: 15% real time)

LAB MEDIA: Supplemental Movie 1 

6.2. Likewise, there should be noticeable flow in the direction of the cilia beat. (TEXT: 100% real time)

LAB MEDIA: Supplemental Movie 2

6.3. Typically, collection of high-speed DIC movies allows for the quantification of cilia beat frequency and gives good images for qualitative assessment of cilia beat shape.

LAB MEDIA: Fig 3C

6.4. The tracking of fluorescent beads provides a measurement of cilia generated flow velocity.

LAB MEDIA: Fig 3D

6.5. Directionality is calculated by dividing the total displacement by a fluorescent bead by the length of the trace a fluorescent bead. Thus, a straight trajectory line scores one, while a meandering path scores much a much lower value. 

LAB MEDIA: Fig 3E

7. Conclusion Interview (spoken by you on camera)

7.1. Richard Francis: While attempting this procedure, it’s important to remember to properly clear the trachealis muscle from all surrounding connective/adipose tissue before cutting, as the curling of the trachealis muscle after its been cut is essential for positioning the respiratory cilia for ideal visualization.

Richard Francis: Following this procedure, other methods like pharmacological studies can be performed in order to answer additional questions like what/how do pharmacological agents modulate respiratory cilia activity.

VIDEOGRAPHER: IF THERE IS TIME, YOU COULD DO AN ALTERNATE OR ADDITIONAL INTERVIEW SHOT OF RICHARD READING THE SECOND STATEMENT.
List of Provided Media Filenames and Descriptions
3.4. - Fig 2A, line 1 -  Whole mouse trachea, showing location of the first cut for isolation of a trachea section.

3.5 - Fig 2A, line 2 -  Whole mouse trachea, showing location of the second cut for isolation of a trachea section.

3.7 - Fig 2B, line 1 - Mouse trachea section, showing location of the first cut for isolation of a trachea sample used for imaging.

3.8 - Fig 2B, line 2 -  Mouse trachea section, showing location of the second cut for isolation of a trachea sample used for imaging.

3.9 - Fig 2C -  Mouse trachea section, showing location of the third cut for isolation of a trachea sample used for imaging.

3.10 - Fig 2D -  Representative trachea sample used for imaging cilia motility.  Box highlights best area for imaging cilia in the sagittal plane.

4.3 - Figure 1 -  Schematic of imaging chamber

4.6 - Supplementary Movie 1 -  

4.7 - Supplementary Movie 2 -  

5.9 - Supplementary Movie 2

6.1 - Supplementary Movie 1
6.2 - Supplementary Movie 2

6.3 - Fig 3. C -  Representative results: Cilia beat frequency.

6.4 - Fig 3. D -  Representative results: Cilia generated flow.

6.5 - Fig 3. E -  Representative results: Cilia generated flow directionality.
General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

( 2012, Journal of Visualized Experiments


