Table 1. Description of samples for a flow cytometer experiment.

	Tube
	Condition
	Treatment
	Values to be Measured
	Comments
	Graph

	1
	Control 
(Non-capacitated cells)
	Unstained


	a) FSC1 and SSC2
b) FITC3 fluorescence

c) PI4 fluorescence
	a) To determine cell size and granularity and create gate

b) FITC3 autofluorescence

c) PI4 autofluorescence 
	a) Dot plot A, Red

b) Histogram B, Red

c) Histogram C, Red

	2
	Control (Capacitated cells)
	Unstained
	a) FSC1 and SSC2
b) FITC3 fluorescence

c) PI4 fluorescence
	a) To determine cells size and granularity and create gate

b) FITC3 autofluorescence

c) PI4 autofluorescence
	a) Dot plot A, Blue

b) Histogram B, Blue

c) Histogram C, Blue

	3
	Positive for FITC3 (Non-capacitated cells)
	Label with FITC 
	FITC3 fluorescence
	To determine the fluorescence in the sample
	Histogram D, Red

	4
	Positive for FITC3 (Capacitated cells)
	Label with FITC 
	FITC3 fluorescence
	To determine the fluorescence in the sample
	Histogram D, Blue

	5
	Dead cells, positive for PI4 (Non-capacitated cells)
	Label with PI
	PI4 fluorescence
	To determine fluorescence of dead cells
	Histogram E, Red

	6
	Dead cells, positive for PI4 (Capacitated cells)
	Label with PI
	PI4 fluorescence
	To determine fluorescence of dead cells
	Histogram E, Blue

	7
	Control (Non-capacitated cells)
	Unstained


	FITC3 and PI4 fluorescence
	To determine autofluorescence in FITC3 and PI4 channels
	Dotplot  F, Red

	8
	Control (Capacitated cells)
	Unstained


	FITC3 and PI4 fluorescence
	To determine autofluorescence in FITC3 and PI4 channels
	Dotplot  F, Blue

	9
	Positive for FITC3 and PI4 (Non-capacitated cells)
	Label with FITC3 and PI4

	FITC3 and PI4 fluorescence
	To determine the fluorescence values in both channels in the experimental condition
	Dotplot  G, Red

	10
	Positive for FITC3 and PI4 (Capacitated cells)
	Label with FITC3 and PI4

	FITC3 and PI4 fluorescence
	To determine the fluorescence values in both channels in the experimental condition
	Dotplot  G, Blue


1FSC: forward scatter; 2SSC: side scatter; 3FITC: Fluorescein isothiocyanate; 4PI: Propidium Iodide

