Table 1. Description of samples for a flow cytometer experiment.

| Tube | Condition | Treatment | Values to be Measured | Comments | Graph |
| --- | --- | --- | --- | --- | --- |
| 1 | Control (Non-capacitated cells) | Unstained | a) FSC1 and SSC2 b) FITC3 fluorescence c) PI4 fluorescence | a) To determine cell size and granularity and create gate b) FITC3 autofluorescence c) PI4 autofluorescence | a) Dot plot A, Red b) Histogram B, Red c) Histogram C, Red |
| 2 | Control (Capacitated cells) | Unstained | a) FSC1 and SSC2 b) FITC3 fluorescence c) PI4 fluorescence | a) To determine cells size and granularity and create gate b) FITC3 autofluorescence c) PI4 autofluorescence | a) Dot plot A, Blue b) Histogram B, Blue c) Histogram C, Blue |
| 3 | Positive for FITC3 (Non-capacitated cells) | Label with FITC | FITC3 fluorescence | To determine the fluorescence in the sample | Histogram D, Red |
| 4 | Positive for FITC3 (Capacitated cells) | Label with FITC | FITC3 fluorescence | To determine the fluorescence in the sample | Histogram D, Blue |
| 5 | Dead cells, positive for PI4 (Non-capacitated cells) | Label with PI | PI4 fluorescence | To determine fluorescence of dead cells | Histogram E, Red |
| 6 | Dead cells, positive for PI4 (Capacitated cells) | Label with PI | PI4 fluorescence | To determine fluorescence of dead cells | Histogram E, Blue |
| 7 | Control (Non-capacitated cells) | Unstained | FITC3 and PI4 fluorescence | To determine autofluorescence in FITC3 and PI4 channels | Dotplot F, Red |
| 8 | Control (Capacitated cells) | Unstained | FITC3 and PI4 fluorescence | To determine autofluorescence in FITC3 and PI4 channels | Dotplot F, Blue |
| 9 | Positive for FITC3 and PI4 (Non-capacitated cells) | Label with FITC3 and PI4 | FITC3 and PI4 fluorescence | To determine the fluorescence values in both channels in the experimental condition | Dotplot G, Red |
| 10 | Positive for FITC3 and PI4 (Capacitated cells) | Label with FITC3 and PI4 | FITC3 and PI4 fluorescence | To determine the fluorescence values in both channels in the experimental condition | Dotplot G, Blue |

1FSC: forward scatter; 2SSC: side scatter; 3FITC: Fluorescein isothiocyanate; 4PI: Propidium Iodide