| Soundbite | Visual | Text |
| --- | --- | --- |
| - Introduction Video/Graphics | - After showing JoVE science introduction, begin by showing schematic illustration of analytical balance, top loading scale and triple beam balance. - Briefly show footage from 3949@1:49 talent working with balance - Briefly show footage from 50122@3:30 - Show schematic illustration of the analytical balance | (A)The analytical balance and scale can be found in most, if not at all, scientific laboratories. These highly precise instruments allow scientists to accurately measure the mass a variety of substances. These balances can come in a variety of different types. (B, C). The analytical balance (D) is the most commonly used in scientific laboratories. |
| - Principles of a Balance Schematic/Graphics | - Use cartoon illustration figure A, which has JoVE stock scientist character with character with arms animated and stretched out trying to stay on balance beam. | Early analytical balances were purely mechanical and used balance beams. Not that type of balance beam, silly. They used a completely different type of beam! |
| - Schematic/Graphics | - Show illustration of triple beam balance. - Fade-in the rider weights at sitting at 0 as depicted in schematic figure 1B. - Fade in pop-up of pointer at the zero mark. (schematic figure 1C) | (A) In these mechanical balances, such as the triple beam balance you see here, the beam is supported by the fulcrum. The pan and sample are at one end while the counterweights rest on three parallel beams and can be moved. (B)Triple beam balances (C) are “balanced” when the pointer is at 0. |
| - Schematic/Graphics | - Have a calibration weight fade onto pan of the balance as depicted in schematic figure 2A. - Fade-in pop-up of pointer above the zero mark. - Fade the weights on the rider beam at different positions (schematic figure 2C). - Fade in pop-up of pointer at the zero mark | When a sample is put in the pan (A), it disrupts the balance equilibrium (B) as indicated by the pointer. The movable weights are then used to restore the balance equilibrium by increasing the lever arm (C). The positions on the beam at which the weights rest indicate the mass of the object. (D) |
| - Schematic/Graphics | - Show schematic illustration of analytical balance by fading in. - Show schematic figure 3A which shows first part of the electromagnetic compensation method. - Reveal the rest of schematic figure 3B by scrolling it from left to right. | On the other hand(A), today’s analytical balances are electronic and use the electromagnetic compensation method(B) to determine mass. To calculate a mass, a spring is displaced by the downward force which then causes a load cell to send an (C) electrical current to a signal processor, which then displays the mass. By using this method, these analytical balances can precisely determine the mass of a substance. |
| - Video | - 3479@5:48 Showing balance reading 0.0000 g - Then show 4179@3:56 where balance is reading 0.00000 g | Analytical balances are very precise instruments and most measure down to ten thousandths of a gram, while some came even measure down a hundred thousandths of a gram. |
| - Components of an analytical balance and weighing accessories. Schematic | - Show schematic illustration of analytical balance. - Point out with an arrow the weighing pan as it is mentioned by the VO with text “Weighing Pan” - Then point out with an arrow the air shield when it is mentioned by the VO with text “Draft Shield” - Point out with an arrow the tare bar when it is mentioned with text “Tare Bar” | (A)An analytical balance contains several key components. The weighing pan is where samples are placed (B). It is the component of the scale that is linked to either the balance beam or spring. (C) The air or draft shield, the glass enclosure with movable doors atop the balance, prevents air currents and dust from coming into contact with the weighing pan, and in turn causing the measurement to be inaccurate. (D) The tare bar is used to re-zero the scale after the weigh boat or weigh paper is placed onto the weighing pan. |
| - Schematic | - Show schematic illustrations of different types of weigh boats and weigh paper | Weigh boats and weigh paper are used to hold substances for measurement on the balance. They prevent the weighing pan from getting dirty or damaged by chemical reagents. |
| - Graphic/Video | - Show footage from 3809@1:45 with talent using scoopula - 3646@6:26 Talent uses a spatula to weigh substance on balance - Show schematic illustration of microspatula by fading in. - Fade-out microspatula and fade-in the schematic illustration of scoopula | (A, B) Spatulas are the instruments used to manipulate the samples that are to be weighed. Depending (C) on the type of substance and how much needs to be weighed, a microspatula can be used for smaller quantities. (D)The scoopula is used to mass larger quantities. |
| - Using an Analytical Balance Video | - 3479@5:55 Talent opens air shield to analytical balance - Use freeze frame image from 50122@3:30 where weigh paper is on weighing pan - Show 3479@5:48 Showing balance reading 0.0000 g | To use an analytical balance, make sure the scale is on by pressing the tare bar. Open the draft shield door and place the weigh boat or weigh paper on the scale. Close the draft shield. Press the tare bar again and the scale should now read 0.0000 g. |
| - Graphic/Video | - Use schematic illustration of folded weigh paper. - 50122@ 3:30 with talent loading sample onto weighing paper | The amount of substance that needs to be weighed also determines whether a weigh boat or weigh paper is used. For smaller amounts, or if the substance is going into a tube such as a small vial or microfuge tube, weigh paper is utilized. Weigh paper is often folded for easy handling. |
| - Video | - 3646@4:25 Shot of balance with weigh boat | Weigh boats are used when a large amount needs to be weighed out. |
| - Video | - Use 3949@1:49 Talent using spatula to weigh substance on balance - 50122@ 3:30 with talent loading sample onto weigh paper - 3809@1:45 Talent uses spatula to weigh substance on balance | Weigh the substance onto the weigh pan without spilling onto it using a spatula. While weighing, allow the reading to stabilize. If necessary, close the door of the draft shield to ensure an accurate reading. |
| - Video | - 3767@2:09 Talent puts vial onto analytical balance | Also, be sure not to lean on the bench while using the analytical balance as this could affect the reading. |
| - Schematic | - Use schematic figure 4A of analytical balance and have small white dots on weigh pan. - Have an animated paintbrush fade-in and sweep away the debris off the pan (schematic figure 4B). | After weighing (A), be sure to clean off any debris (B) that may have spilled onto the pan using a brush. |
| - Tips Video | A) Show 3767@2:09 Talent wearing gloves to put weighing vial on balance B) Use footage from 4112@2:05 Talent wearing gloves while measuring substance - Show 2129@1:47-1:53 Talent wearing gloves while measuring substance | Remember to always wear gloves when working with an analytical balance. Wearing gloves prevents fingerprints from getting on the weighing pan. Analytical balances are so sensitive that even fingerprints can cause readings to be inaccurate. |
| - Video | - Use 3479@6:09 Talent opens and closes air shield | Also remember to always close the air shield as you’re weighing your sample to prevent air currents from producing inaccurate readings. |
| - Video | - Show footage from 3646@6:16 Talent opening/closing refrigerator then weighing substance. Add text overlay, “Hygroscopic” - Use 2460@3:26 Talent weighs substance using spatula on balance - Use 3949@1:49 Talent using spatula to weigh substance on balance | When it comes to massing, hygroscopic substances, which are substances that take up moisture, quickly since they will absorb moisture during weighing. Always let substances frozen or refrigerated come to room temperature to prevent the chemical from absorbing moisture. A cold chemical will be heavier than one warmed-up, and cause your measurement to be incorrect. |
| - Schematic/Graphics | - Show schematic illustration of analytical balance in figure with legs on a block. - Draw an arrow pointing to the level on the analytical balance, as shown in schematic figure 5A+B - Elevate the scale above the block and rotate one of the legs clockwise as described in schematic figure 5C. - While the leg is rotating, referring to schematic figure 5D, have a pop-up of the level showing a transparent bubble going into the center of the ring in the level. | (A) Also always make sure the balance is level. Locate the leveling bubble (B) and make sure it is centered. If not,(C) many balances have adjustable legs that allow the balance to be level on an uneven surface.(D) Moreover, balances are often located on a vibration-absorbing block which protects the electronics from vibration. |
| - Schematic Graphics | - Show illustration depicting different sized calibration weights. - Show balance with a calibration weight reading 1.0000 g as shown in schematic figure 6. | (A) To periodically, check that your balance is giving good readings, analytical balances often come with calibration weights. These standard weights have precise, specific mass, and allow a way to check the accuracy of the balance. (B) The term calibration refers to the process of adjusting the output of a scale or balance against a object of known weight. |
| - Applications Video/Animation | - Show 3646@1:47 with talent weighing liquid - 2027@5:30 with talent using scale to mass centrifuge tubes prior to ultracentrifugation - Use the animation from 5019@4:15 (JoVE science video on centrifugation) depicting an unbalanced centrifuge injuring scientist | Many different types of substances can be weighed in the lab. One application of an analytical balance is measuring liquids. This is critical for centrifugation experiments. One key aspect is making sure ultracentrifuge tubes have the identical mass or else the rotor will not be balanced, and cause big problems! |
| - Video | - Show 3361@2:57 where talent weighs rat - Use 3479@6:42 where talent is weighing mosquitoes | In addition to weighing liquids, animals and even insects such as drosophila and mosquitoes are weighed using balances. This allows scientists to track an animal’s body weight and food consumption throughout a study. |
| - Summary/Conclusion Video/Schematic | - Show the schematic illustration of the analytical balance - Show 3479@5:55 where talent opens air shield - Show 50122@3:30 with talent loading sample onto weigh paper - 2129@1:47-1:53 Talent wearing gloves while measuring substance - 3361@2:57 where talent weighs rat - Re-use figure A with JoVE stock scientist character with character with arms animated and stretched out trying to stay on balance beam. | You’ve just watched JoVE’s introduction to the balances in the laboratory. In this video, we showed you the different types of balances (A), how they work (B), (C) how to use a balance, (D) important tips for weighing substances, and (E) some additional uses for balances in the scientific laboratory. Thanks for watching! |