Submission ID #:  50426  
Editor Name:  Petti Pang
Videographer name:  
Film Date:  
Authors and Affiliations:

Pedro Schestatsky1,2, Leon Morales-Quezada2,3, Felipe Fregni2*

1Programa de Pós-Graduação em Ciências Médica, Universidade Federal do Rio Grande do Sul; Coordenacao de Aperfeicoamento de Pessoal de Nivel Superior (CAPES), Brazil. 2Laboratory of Neuromodulation, Department of Physical Medicine & Rehabilitation, Spaulding Rehabilitation Hospital and Massachusetts General Hospital, Harvard. ³Faculty of Health and Life Sciences. De MontFort University, Leicester. UK
Title:  Simultaneous EEG monitoring during transcranial direct current stimulation
Corresponding Author:  Felipe Fregni (fregni.felipe@mgh.harvard.edu)
A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N): No
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N): No 
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps
1 – How to prepare the skin and measure Cz site in the head

2 – How to put the electrodes (stimulation and recording) in the cap
3 – How to perform the stimulation using the software

4 – How to obtain the EEG signals using the software
5 – How to interpret the EEG signals
6 – Future perspectives
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  The most difficult aspect of this procedure is to understand how EEG signals are recorded and interpreted. To ensure success is necessary to keep attention in the last figures and tables
1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE): 
Procedural Narrative:
The overall goal of this procedure is to demonstrate the technique of the simultaneous use of transcranial direct current stimulation and EEG monitoring, both in real time. For that, we will describe in a step-by-step fashion all the procedures of application of this device using schematic figures, tables and video demonstrations (Intro)
The procedure begins by assembling the necessary materials and measuring the head (P1)
Next, the transcranial direct current stimulation (or tDCS) and EEG recording electrodes are positioned in the cap (P2)

Then the electrical stimulation over the head is activated. (P3)
The final step is to interpret the EEG signals obtained during tDCS  (P4)
Paste a copy of you're here (Schematic Overview). 
[image: image1.emf]


Pedro	
  Schestatsky1,2	
  
Leon	
  Morales-­‐Quezada2,3	
  	
  
Felipe	
  Fregni2	
  



Simultaneous	
  EEG	
  monitoring	
  during	
  
transcranial	
  direct	
  current	
  s3mula3on	
  



1Programa	
  de	
  Pós-­‐Graduação	
  em	
  Ciências	
  Médica,	
  UFRGS,	
  Brazil;	
  
2Laboratory	
  of	
  NeuromodulaNon,	
  Department	
  of	
  Physical	
  Medicine	
  &	
  
RehabilitaNon,	
  Spaulding	
  RehabilitaNon	
  Hospital.	
  	
  
³Faculty	
  of	
  Health	
  and	
  Life	
  Sciences.	
  De	
  MontFort	
  University,	
  Leicester.	
  UK	
  











Fig_Script_1 (Schematic Overview)
[image: image2.emf]


I.	
  Materials	
  and	
  Head	
  measurement	
  










I.	Materials	and	Head	measurement	


Fig_Script_2 (Schematic Overview)
[image: image3.emf]


II.	
  Electrodes	
  posi/oning	
  










II.	Electrodes	posi oning	


Fig_Script_3 (Schematic Overview)
[image: image4.emf]


III.	
  S%mula%on	
  set	
  up	
  










III.	S mula on	set	up	


Fig_Scritp_4 (Schematic Overview)
[image: image5.emf]


IV.	
  EEG	
  recordings	
  










IV.	EEG	recordings	


Fig_Script_5 (Schematic Overview)
B.  Interview: 

1.1. Felipe Fregni: Transcranial direct current stimulation (tDCS) is a technique that delivers weak electric currents through the scalp. This constant electric current induces shifts in neuronal membrane excitability, resulting in secondary changes in cortical activity. Although tDCS has most of its neuromodulatory effects on the underlying cortex, tDCS effects can also be observed in distant neural networks. Therefore, simultaneous EEG monitoring of the effects of tDCS can provide valuable information on the mechanisms of tDCS.   

1.2. Leon Moralez-Quezada: In addition, EEG findings can be an important surrogate marker for the effects of tDCS and thus be used to optimize its parameters and to guarantee the safety of the procedure, for instance in children.  

1.3. Pedro Schestatsky: Compared to functional-MRI, EEG has the disadvantage of spatial resolution assessment. However, it has superior temporal resolution, reflecting timing of neuronal activity more accurately. In addition, as compared with TMS-indexed cortical excitability, EEG might provide a more accurate understanding of ongoing cortical activity during and after tDCS.
Protocol (read by voice talent at JoVE):
Video Editor: The authors/videographer never received the shotlist. KJ wrote “The scriptwriter did not provide a shot list for us. So what I did was to use 3.1A, 3.1B for consecutive shots.”  See me (Peggy) if you want to see the shotlist, but Ryan and I figure that the shotlist won’t actually help you, since it wasn’t used.
2. Experimental preparation
2.1. To begin the procedure, prepare all the required materials.  
2.2. Then connect all the electrodes to the Control Box device.  This device has to be charged periodically using the Control Box Battery charger.  Next, connect the Control Box to the computer with a USB for Bluetooth connection. 
2.3. For head measurement, measure the distance between the nasion and inion.  

2.3.1 LAB_MEDIA: Fig_Script_6
2.4. Then, mark the halfway point as the Vertex or Cz using a skin marker.
2.5. Inspect the skin for any pre-existing lesions and avoid electrical stimulation/EEG recording over any damaged skin or over skull lesions. Clean the surface of the skin to remove any signs of lotion, dirt and grease, and allow it to dry.

3. Electrodes positioning in the cap
3.1. Now, soak the tDCS (Text overlay: tDCS: transcranial direct current stimulation) sponge-electrodes with the saline solution.  For a 25-35 cm2 sponge, approximately 6 ml of solution per side may suffice.
3.2. Next, insert the tDCS sponge-electrodes and the EEG electrodes in the cap. 

3.3. Make sure the subject is seated comfortably.  Put the cap on the subject’s head so that the Vertex measured on the head matches the Cz point of the cap.  Use a curved syringe to fill the EEG electrodes with gel. Attach the Control Box to the posterior part of the cap. Finally, attach the disposable reference electrodes to one of the mastoids making sure they do not touch one another. 

3.4. Use Channel 1 and 2 for stimulation and Channel 3 to 8 for EEG recording.  

3.4.1 LAB_MEDIA: Fig_Script_7
3.5. Their position in the cap depends on the desired experimental approach for both recording and stimulation (Text overlay:  Refer to Table 1 in the text protocol for details.). In this demonstration, the classical left anodal tDCS set up will be displayed (Text overlay: anode = M1; cathode = Supraorbital contralateral).  Connect the anode, indicated by the red sponge-electrode, to the C3 and the cathode, indicated by the black sponge-electrode, to Fp2.
3.6. Connect the wires to the Control Box and fix it to the occipital region of the cap. The Control Box connects to the computer through a wireless interface. 

Video Editor: There are probably not any shots slated 3.6, but if the first or both sentences of this VO can be used with the 3.5 footage, then please do so.
4. Stimulation and recording set up
4.1. To start the stimulation procedure, first click “STIMULATION” in the horizontal bar on the upper screen.  Select “EDIT” in the upper screen and choose “tDCS” or “sham” out of other electrical stimulation techniques, such as transcranial alternating current stimulation (Text overlay: tACS: transcranial alternating current stimulation) and “transcranial random noise stimulation” (Text overlay: tRNS: transcranial random noise stimulation).  

4.1.1 LAB_MEDIA: Figs_Script_8
4.2. Then, click “LAUNCH” in the lower part of the screen.  

4.3. Check if the vertical gray bar is moving during tDCS.

4.3.1 LAB_MEDIA: Figs_Script_9 (Video editor: in the "Figs_Script slide 9" please add a simple animation: a slowly moving gray bar moving across the stimulation square, as demonstrated in the figure 5 from the manuscript)

4.4. Electrode impedance values should be constantly monitored.  And click “Abort” to suspend the stimulation at any moment, if needed.

4.4.1 LAB_MEDIA: (Figure 5e) Fig_Script_10 – point to “start impendence check” and  the “Abort” button.
5. Results:  Simultaneous EEG monitoring during transcranial direct current stimulation
5.1. The EEG Time domain allows us to check the baseline ongoing EEG activity and (Video editor, insert yellow arrow at the right bottom) select EEG band frequencies if needed (show Table 2).

5.1.1
LAB_MEDIA:  Fig_Script_11
5.2. The EEG power spectrum allows us to check the predominant EEG frequency band (Video editor, add red circle here) after automatic Fast Fourier Transform analysis over (Video editor, add red rectangle at the bottom) the raw ongoing EEG activity.

5.2.1. LAB_MEDIA:  Fig_Script_12
5.3. In the EEG spectrogram, we can transform the EEG signals (video editor, add red rectangle at the bottom) into images (Video editor, add red circle) using a technique called time-frequency analysis.

5.3.1. LAB_MEDIA: Fig_Script_13
5.4. These figures show the differences in frontal alpha amplitude (Video editor, zoom in here) in response to active-tDCS when compared to sham-tDCS over the left dorsolateral prefrontal cortex.

5.4.1.  LAB_MEDIA:  Fig_Script_14
6. Conclusion 
6.1. Leon Morales-Quezada: Using the automatic fast fourier transformation analysis the investigator is able to determine and measure the amplitude of the predominant EEG frequency activities - such as delta, theta, alpha, beta, gama - during and after tDCS. Depending on the region of stimulation and other experimental conditions, the amplitude of specific EEG frequency bands is expected to change after tDCS. Indeed, adding FFT analysis function to the EEG recording during tDCS offers a unique opportunity to understand the cortical neuromodulatory effects in real time.
6.2. Pedro Schestatsky: The closed-loop system application might not be restricted to patients with epilepsy only. A number of recent studies have suggested that EEG alterations may be markers of various neuropsychiatric diseases. Therefore, using a combination of tDCS and EEG could also be an option for rapid detection of tDCS neurophysiological effects in order to optimize stimulation parameters. 
6.3. Felipe Fregni: In comparison with TMS, another non-invasive brain stimulation technique, tDCS is considered much more suitable for therapeutic purposes mainly because of its low cost and portability. However, even being portable, having a system that uses a head cap with pre-determined electrode locations can standardize location of stimulation and improve results. Another advantage of this device is its possibility to stimulate more than one site at the same time, which has been found to be clinically superior to conventional stimulation according to some authors.
Provided Media
LAB_MEDIA:  Fig_Script_1 (Schematic Overview)
LAB_MEDIA:  Fig_Script_2 (Schematic Overview)
LAB_MEDIA:  Fig_Script_3 (Schematic Overview)
LAB_MEDIA:  Fig_Script_4 (Schematic Overview)
LAB_MEDIA:  Fig_Script_5 (Schematic Overview)
LAB_MEDIA:  Fig_Script_6

LAB_MEDIA:  Fig_Script_7

LAB_MEDIA:  Fig_Script_8

LAB_MEDIA:  Fig_Script_9

LAB_MEDIA:  Fig_Script_10

LAB_MEDIA:  Fig_Script_11

LAB_MEDIA:  Fig_Script_12

LAB_MEDIA:  Fig_Script_13

LAB_MEDIA:  Fig_Script_14
( 2011, Journal of Visualized Experiments


