Dear Dr. Jarzylo,

We are submitting our revised manuscript “The FlyBar: Administering alcohol to flies”  for consideration for publication in JOVE. We were pleased that the reviewers felt that the technique would be useful and broadly applicable to undergraduate courses and undergraduate researchers. We greatly appreciated the thoughtful comments and suggestions by the reviewers and have revised the manuscript accordingly. Most of the reviewers’ concerns were addressed through manuscript revisions to increase clarity, understanding and applicability of the techniques. However, as Reviewer 2 and Reviewer 4 were concerned with the data presented in the original Figure 3, we have eliminated this figure as we did not want to detract from the instructional value of the manuscript. To better exemplify the points and techniques in the manuscript, we have replaced the original figure with a new figure (new Figure 3) that shows the impact of genotype on behavioral responses. Consequently, the revised manuscript has included Dr. Emiliano Fumagalli as an author on the manuscript.  With the manuscript revisions and the addition of new experimental data to illustrate the usefulness of the techniques presented in this paper and the methods through which the data can be analyzed, we think that we have addressed all of the reviewers’ concerns. We believe that the revisions we have made in the manuscript highlight the usefulness of the presented technique and illustrate its broad applicability for researchers ranging from undergraduates to experienced scientists.

As detailed below, we believe that we have answered all of the reviewers’ concerns. Revisions are shown in BLUE in the marked copy. We have also highlighted 2.75 pages of text to identify the most important portions of the protocol for filming.

Specific Responses to Comments from the Editor and the Reviewers:

Response to the Editor’s Comments: As requested, we have highlighted 2.75 pages of the protocol that are most important for filming. We have checked to ensure that we have highlighted complete statements, rather than portions of sentences.

Reviewer #1 Comments:

Manuscript Summary:

This manuscript provides a concise summary of an ethanol administration technique to Drosophila melanogaster. It should be applicable to undergraduate laboratory courses where it can be further adapted and customized.

Major Concerns:

N/A

Minor Concerns:

1.3.7: preventing ETOH exposure to the 'researcher'. The authors might want to emphasize this point a bit more strongly if this technique is to be widely adopted to undergraduate teaching laboratories.

Response: We agree with the reviewer that the remover of alcohol vapor is essential and have strengthened the language in the section on the removal of alcohol to stress this point.

Revised Test for  1.3.7.

The continuous running of several Fly Bar assays in parallel or even a single assay in a small room can lead to a noticeable accumulation of alcohol vapor. To avoid continual release of alcohol vapor that potentially can affect the researcher in a closed room, an appropriate system needs to be put in place that adequately removes alcohol vapor generated during the experiment. To remove alcohol vapors, connect a 6 – 12 inch piece of tubing onto the second glass tube protruding from each vial, bundle them and direct to a funnel-vacuum system. Researchers should also ensure that the experimental testing room is adequately ventilated.

Reviewer #2 Comments:

van der Linde and colleagues demonstrate how to administer alcohol to a number of flies, how to measure their response, and how to use circadian entrainment to measure the impact of the internal/external clock on said behavior.

The article is clearly written, and demonstrates a useful behavioral paradigm that will be of considerable interest to the readership of JoVE.

The biggest issue with the paper is that it suffers from unexplained choices offered (discussed in detail below). Given that a JoVE article is a tutorial on how to do things, if choices are offered, they should be explained: you can do A or B, which gives this, or that result/interpretation. Or "we do A, because it allows us to?, which is useful for?"

Once these choices are explained (or removed), the MS is ready for production.

Response: We apologize for the lack of clarity and explanation regarding the possible alternative uses of the protocol in the original submission. As we think it is important to delineate variations and alternative uses of the procedure to make this protocol more broadly applicable to undergraduate as well as graduate research, we have significantly revised the manuscript to clearly explain protocol variations and the possible uses and results available from each alternative. We also included an additional section at the end of the protocol detailing protocol modifications.

Revised Text:

2.7. The above procedure describes the preparation of experimental animals for assays performed in circadian condition of constant darkness. Different light:dark conditions can be used to probe the function of the clock in the behavioral responses to alcohol. To determine if a diurnal rhythm exists the experiments can be performed under an LD cycle to measure performance at specific Zeitgeber Times (ZT). Additionally, the protocol may be used with flies raised under constant light conditions for experiments testing circadian dysfunction. For alternate protocols that test flies housed in light conditions, behavioral assays should still be performed under dark conditions. Flies should be transferred into the dark for one hour prior to the experiment to minimize behavioral variability due to the acute effects of light on behavior.

PROTOCOL MODIFICATIONS:

The protocol described above is aimed at examining the effect of alcohol exposure on the Loss-of-Righting-Reflex in a circadian context. However, the protocol can be easily modified to accommodate other types of alcohol experiments.

Examining the response to alcohol under 12h-12h Light-Dark (LD; Zeitgeber Time) conditions: Maintain flies under 12h-12h LD cycle till the experiment. Transfer the flies to the dark approximately one hour before the experiment conducted during the light phase (ZT 1, 5 and 9) of the day. This will ensure that the acute effect of light is not confounding the results.

Examining the response to alcohol under constant light conditions: Culturing flies under constant light conditions results in the disruption of their circadian clock (Hamblen-Coyle et al., 1992; Konopka et al., 1989; Power et al., 1995; Yoshii et al., 2005) and arrhythmic responses to alcohol exposure (van der Linde and Lyons, 2011). Flies may be transferred to the dark approximately one hour before the experiment so that the flies are tested under the same conditions as flies maintained in LD or DD conditions.

Sedation: Flies that are sedated can be separated from LoRR flies because flies remain motionless on the bottom of the vial, while LoRR flies will still move their wings, head and legs. Flies that exhibit LoRR still respond with subtle movements when the vial is disturbed. Sedation of flies is determined by the counting the number of flies remaining motionless after a firm tap to the vial. Additionally, rolling of the vial can be used to determine whether individual flies still retain their grabbing reflex.

Recovery: The behavioral assay can be extended by measuring recovery as an additional parameter of alcohol response. Discontinue alcohol exposure and continue making observations regarding the LoRR every five minutes.  Continue the flow of humidified air through the vials during recovery periods.

Comment 2. ? "Circadian experiments are performed on the second day of DD. ", yet in

2.4 "flies are transferred to the dark approximately one hour before the experiment.", which means it is not a DD experiment. Then in:

2.5 "observations are made at six time points a day (CT or ZT 1, 5, 9, 13, 17 and 21). " which is either CT or ZT.

This needs rewording along the lines of: if you want to know LD modulation of ethanol sensitivity of your genotype/experimental, you have to entrain in ZT. If you want to know whether the rhythm persists in DD, or if there is a period change in your genotype, then do it in DD. But which day in DD depends on the period change (day2 is ok for a 27hr mutant, but not a 25hr mutant). This needs some fleshing out, given that the FlyBar setup is sold as a circadian assay.

Response: We appreciate the reviewer’s suggestions to make circadian protocols more accessible to a broader audience, particularly for undergraduate research. We have revised the wording in the manuscript to more precisely explain the protocol as well as providing additional background information.

Revised Text:

Different light:dark conditions can be used to probe the function of the circadian clock in the behavioral response to ethanol. To determine if a diurnal rhythm exists, experiments can be performed under a defined LD cycle to measure performance at specific Zeitgeber Times (ZT). ZT 0 represents dawn and is defined as the time of lights on under LD cycles, while ZT 12 is the time lights are turned off with a 12:12 hour LD cycle. Under constant conditions, the Circadian time (CT) measures time for the animal in the absence of environmental signals, i.e. free-running time, and is related to the previous LD entrainment cycle. In wild-type Drosophila, CT reflects the previous ZT for the first several days in constant conditions as the free-running circadian period and rhythms are ~ 24 hours. To measure circadian modulation and eliminate acute light effects on behavior, flies are entrained to light:dark cycles and then transferred to constant dark conditions (DD) prior to experiments. Circadian experiments are performed on the second day of DD to measure performance at specific Circadian Times (CT).

A few times "LoRR or sedation" is mentioned. Specifically in 3.5 and 3.6.

Which one should the ignorant reader use, and why? It seems LoRR would precede sedation by the authors' definition, so they are not the same. Can one easily determine motionlessness under dim red light? The authors might want to pick one, or discuss the differences/advantages of the two.

Response: Although it may be surprising, once an individual is used to working under dim red light conditions, it is relatively easy to determine the LoRR or leg movements or other small movements under dim red light conditions. One of the reasons holding the vials in front of white paper we listed as a protocol step is because the increased contrast with the dark fly makes it easier for students to reliably detect movement. We agree with the reviewer that clarification is needed between LoRR and sedation for a novice in the area of alcohol research and we have revised the manuscript to include additional explanation in the Rationale and Overview section.

Revised Text in Section 3. Behavioral observations:

The two behavioral measures LoRR and sedation represent two distinct points of fly inebriation.  LoRR represents a late point of inebriation incorporating the loss of motor and postural control, whereas sedation measures a very late end point of intoxication.  Genotype or circadian modulation may affect these two measures differently; hence one may wish to examine both.

4.2. data analysis three ways.

Again, which one to use, and why? Do they give different insights?

Response: We agree with the reviewer that additional clarification needs to be provided as to the appropriate analysis for particular experimental designs as this technique is well-suited for investigators new to the field of alcohol research and undergraduate researchers. As the appropriate method for data analysis depends upon the questions asked in the experiment, we have included additional explanation to provide more guidance in choosing a data analysis method.

"4.2.2." claiming to be 4.2.2./Figure 4, does not seem the right choice. This is barely in the linear range of the experiment, and the authors are essentially only counting the 20% of the flies that are most sensitive, the other 80% are excluded. Therefore this is really a measure of the tail end of the distribution of individuals in the two genotypes, not a measure of the "average" fly in the genotype. Is this really a desired measure? (I cannot recall a single Drosophila ethanol paper talking about the tail ends as opposed to the mean/median). While not wrong, the (severe) drawback of this measure needs to be highlighted. (Also, Fig.4 legend does not mention any genotypes, though one assumes they are from Figure 3, albeit with a different color scheme).

Response: Figure 4 assesses sedation in wild-type Canton-S flies at two time points under constant conditions. We have now clarified the genotype within the figure legend.  We have also added the following text to the section “Circadian Modulation of Sedation”:  In this experiment, less than 25% of the flies at either circadian time point were sedated at 40 min, indicating that there is a difference in leading edge sedation sensitivity between these groups.  Collecting data at this early point in sedation is a useful indication that differences exist, however the ability to determine the effect of treatment on the shape of the distribution in sedation responses is limited.  To determine if there is difference in the entire sedation distribution, a higher ethanol concentration should be used to ensure a faster rate of sedation.

Figure 3 is a rather unfortunate example to put into a methods paper. First, the major point it makes is that (at least) one of the two controls does not behave like wild type. If that's the message the authors wish to convey, they might want to at least turn it into a teachable moment. Second, white and grey are no different around 60 min, where the median is, again highlighting the front end of the distribution of flies, but not the average fly. In this experiment (disregarding elav-Gal4 alone), the 50%LoRR is no different, but the ANOVA/post-hoc is. While this may be true for the given genotypes, can a weak phenotype like this really tell us much? And is it a good case study? If the authors really like this data, they have to address 4.2.1 vs 4.2.2 vs 4.2.3 with this specific example, and what it means.

Response: While we disagree with the reviewer on the interpretation of the data presented in the original Figure 3, we agree with the reviewer that highlighting differences in responses due to mutations or genetic backgrounds provides an important teachable moment and is one of the functions of a technique manuscript. To better address this point, we have eliminated the original figure to maintain the focus on the technique and the important consideration in Drosophila research of including genotypic background controls when designing experiments. Instead, we have added a new figure (new Figure 3) that shows the difference between Canton-S (wild-type) and flies carrying the white mutation. It is important to look at baseline responses of lines with the white mutation as this is frequently the parental line used for making transgenic flies.

Minor points:

Substitute Rationale for Rational.

Response: We have made the corrections throughout the manuscript. .

2.2 what is a sub-optimal individual? Maybe rephrase "to ensure healthy, normally developed flies are collected, only?"

Response: We agree with the reviewer’s suggestion and have made the change accordingly.

Result, Figure2: Not sure Fisher LSD adjusts for multiple comparisons, thus not the right statistical test.

Response: We have updated the statistics and described appropriately.

Reviewer #3:

Manuscript Summary:

van der Linde et al. present a brief and clear account of how to set up and use a convenient system to quantify behavioral responses to alcohol in Drosophila with regard to circadian cycles. They also show example data that may be recorded from this affordable system and suggest ways to simplify the system for less elaborate experiments. This description should be useful for new investigators setting up systems to record the responses of flies to alcohol, especially in a primary-undergraduate setting.

Major Concerns:

Pg9. I think it would be very useful to add a brief paragraph to note the pluses and minuses of the proposed system with other systems by other fly labs.

Response: We agree with the reviewer that it is important to present comparisons of available systems so we have added a paragraph in the Discussion comparing our method with other methods to administer alcohol in Drosophila.

Additional Text in the Discussion:

The FlyBar set-up provides certain advantages over other methods of alcohol administration for flies, particularly for undergraduate researchers or circadian studies on the negative effects of ethanol. An alternate device to measure the effect of alcohol on motor control in flies is the inebriometer, a vertical column in which ethanol vapor is circulated through rising baffles and the loss of postural control or sensitivity of the fly can be measured by determining the time it takes to fall to the bottom of the column34,35. The inebriometer provides an automated readout of loss-of-postural control and has proven valuable for alcohol research in Drosophila9,22,35,36, but this behavioral paradigm requires relatively expensive equipment, space for the apparatus, and time to calibrate and optimize conditions.  Thus, the inebriometer may not be well suited for many undergraduate teaching laboratories with limited budgets or space, or for researchers performing circadian assays. Another method of delivering alcohol to flies and measuring sedation involves placing a small amount of liquid alcohol on an absorbent material either at the top or at the bottom of a vial and then allowing the alcohol to vaporize with time37,38. As the concentration of alcohol vapor increases with time, behavioral responses can be assessed. While this delivery method is easy to set-up, the amount of alcohol vapor to which the flies are exposed varies with time and conditions. For experimental questions in which differences are assessed in initial rates of sensitivity or sedation, such as circadian modulation, it is desirable to have a constant level of alcohol vapor delivered to the flies. Additionally, the exposure of a large number of flies to a constant amount of alcohol exposure, as performed with the FlyBar, is desirable for the accurate performance of downstream cellular or biochemical assays. Another method of delivering alcohol to flies common in early Drosophila alcohol research involved mixing the alcohol into the food as it was prepared. While this method is easy and requires little set-up, it is best–suited for chronic alcohol exposure over days as the concentration of alcohol changes with time.

More sophisticated, automated methods are also available for assessing locomotor responses of flies to alcohol exposure including video activity recording and image analysis software7,39. These are particularly powerful for assessing the positive, hyper-activating effects of ethanol.  However, these automated methods may be prohibitively expensive for undergraduate research projects or teaching laboratories and may not be optimally designed for analysis of a large number of flies under circadian conditions (e.g., video capture under dark conditions requires balanced and diffuse infrared lighting and infrared sensitive cameras).  We believe that the FlyBar provides an easy to set-up, cost-efficient method for alcohol delivery system and the assessment of behavioral responses to alcohol that is well-suited to a variety of conditions and laboratory designs.

.

Minor Concerns:

Minor edits:

Page 4, "manifold" is vague. Is it simply the large Erlenmeyer flask downstream of the water and etoh flasks? Reservoir may be a better description. Please describe what this is, and label it on the diagram.

Response: Manifold was the incorrect term as we really meant a manostat used to regulate the air pressure. To avoid any confusion, we have used the term air regulator in the manuscript and the figure as this more correctly describes the equipment.

Fig 1. Label relief valve in figure.

Response: We have revised the figure as requested.

Pg 9 clarify "Alcohol percentages" in "Alcohol percentages need to be adjusted"

Response: As requested, we have provided additional explanation for clarification.

Revised Text:

Alcohol percentages (the percentage of airflow bubbling through alcohol) need to be adjusted accordingly. As seen in Figure 3, flies carrying the white mutation are less susceptible to the effects of alcohol exposure than wild-type Canton-S flies. For analysis of lines carrying the white mutation, it may be desirable to increase the percentage of alcohol to which the flies are exposed so as to perform the behavioral assay in the same time frame of other experiments as longer exposure to alcohol can result in rapid tolerance development. For extremely sensitive mutants and for experiments in which it is necessary to decrease the percentage of alcohol used, such as observed for flies containing a mutation in the yellow gene, the airflow may have to be increased to calibrate the alcohol saturated airflow accurately. Small increases or decreases (±10%) in total airflow (workable airflow range from 900 - 1100 mL/min for 4 observation vials) do not seem to negatively affect the flies.

Pg 9. Would be helpful to note useful range of airflows after "Small increases in airflow do not seem to negatively affect the flies."

Response: As requested, we have included an airflow range that we have found workable.

Pg 13. "Representative example of showing significant" delete "of"

Response: We have corrected the figure legend.

Pg 13. "and the resulting cross, showing show that" delete "showing"

Response: The point is no longer applicable as the figure and legend has been replaced.

Figs 2,3 and 4. Note data with statistical differences with standard symbols and brackets.

Response: We have revised the figures to illustrate significant differences with brackets and asterisks.

Reviewer #4:

Minor Concerns:

What is difference between LORR and sedation? My understanding is that LORR is a measure of sedation.

Response: As detailed above, we have revised the manuscript to clearly explain the difference between LoRR and sedation.

Not sure what the point of 3.7 is.

Response: As flies are not anesthetized when dispersing them between vials to avoid any lingering consequences of anesthesia, it is necessary to verify the total number of flies in each vial at the end of the experiment. Occasionally, a single fly may also be caught between the stopper and the side when loading flies into the experimental vials. As this is done in the dark, it may not be readily noticed so it is necessary to count the total number of flies at the end of the experiment to correctly calculate percentages. We have added clarification in the revised manuscript with this point now listed as 3.9.

It would be great if the authors could show an example of a genetic experiment that actually worked (fig 3).

Response: We disagree with the reviewer’s comment that the original Figure 3 represents an experiment that did not work. Figure 3 demonstrates the variation that can occur in the response to alcohol due to genetic background and clearly illustrates the difference in responses between the two parental lines used in the experiment. In our original manuscript, we presented the most conservative statistics by comparing the reduced sensitivity of the offspring only with the least sensitive parent line. One would predict that when the two parental lines were crossed the offspring would exhibit alcohol sensitivity intermediate to the parental responses if there was no impact of suppression of the circadian clock gene cycle. However, as the point of the figure was to illustrate the importance of genotype in behavioral responses to alcohol, we have eliminated this figure and replaced it with a new figure comparing the alcohol sensitivity responses of wild-type flies and the white mutation as this mutation is frequently present in lines used to create transgenics.

Thank you for your consideration of the revised manuscript.

Sincerely,

Lisa C. Lyons