# Submission ID #: 50477

# Editor Name: Michael Linnes

# Videographer name: Danae Mauro

# Film Date: March 11th, 2013

# Authors and Affiliations: Massimo Vassalli1, Michele Basso2, Francesco Difato3

# 1National Research Council of Italy, Institute of biophysics, Genoa, Italy. 2Università di Firenze, Dipartimento di Sistemi e Informatica, Florence, Italy. 3Department of Neuroscience and Brain Technologies -  Istituto Italiano di Tecnologia, via   Morego, 30, 16163.

# Title: Measurement of tension release during laser induced axon lesion to evaluate axonal adhesion to the substrate at picoNewton and millisecond resolution.

# Corresponding Author:

Francesco Difato

Italian Institute of Technology

Via Morego 30, 16163, Genoa, Italy

Tel.: +39 011 78718739; Fax: +39 011 78718 230;

E-mail: francesco.difato@iit.it

Additional Contacts:

Authors, please fill out the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) I think it is not necessary to record video microscopy (to decide) If yes, please list make and model of your microscope: upright microscope Olympus BX51 (C-mount)

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? N

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps: 4.6 and 4.7, 5.3 - 5.4 and 5.5, 6.8

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  The most difficult aspect of this procedure is to set the position of the IR Laser focus spot respect to the UV focus spot, to perform force spectroscopy measurement during laser axotomy. Precise control of the laser focus spots positions, and of the UV laser pulse energy, to induce partial lesion of the axon, ensure success.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

Authors, please select from “Procedural Narrative” or “Conceptual Narrative” and complete the statements below. Please do not add additional steps.  Then, attach your finished graphic overview.  See accompanying instructions for details and examples.

# Procedural Narrative:

The overall goal of this procedure is to evaluate, with picoNewton sensitivity, axonal adhesion to substrates. (Intro)

This is accomplished by first using lasers to capture and position a microsphere next to an isolated neuron that has a long neurite. (P1, top image, remove all the text except “Nucleus”. Have the orange “OT bead” descend towards the green line, but not touching yet. Add the text “OT bead”)

The second step is center the bead over the axon using an infrared laser. (P2, move the orange bead slightly above the green line.)

Next, the stiffness of the optical trap is calibrated by interferometric tracking the Brownian motion of the trapped bead before attaching it to the neurite. (P3, make the orange bead attach. Add the “cutting target” text.)

The final step is to take force measurement during delivery of UV laser pulses to lesion the axon. (P4, add the red “X” (bottom image), then the black curly line that had been attached by the red X retracts as shown in the lower image. As the curly line moves, the orange ball and green line shift their positions also (upper image becomes lower image.)

Ultimately, force spectroscopy is used to evaluate the release of tension produced by the axon lesion which represents an estimate of the axonal adhesion to the substrate. (P5, figure 3B)

Use 50477_figure1.psd

B.  Interview: (Said by you on camera. Don’t forget to smile!)

DIFATO FRANCESCO: The main advantage of this technique over existing methods, like fluorescence based techniques, is that it directly furnishes a physical force with pico-Newton sensitivity allowing a direct comparison of the axonal adhesion to the substrate under experimental conditions such as chemical treatment or different types of cell culture support.

# Protocol (read by voice talent at JoVE):

Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps – each step being defined as 3 lines of 12 pt text in our formatting style below.  This amounts to 3 pages of protocol text.  The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.

- Laser Microsphere Manipulation

  - To begin this procedure, place a glass bottom culture plate containing neurons seeded at 25,000 cells/mL onto the microscope stage and secure it into place.

    - MED: Talent places a plate with neurons onto the microscope stage

    - CU: Talent secures the plate into place.

  - Then, focus on the sample and correct the position of the illuminating objective condenser to set Kohler-illumination, which will improve the bright field imaging quality and maximize the infrared, or “IR”, laser collection efficiency.

    - MED: Talent sits at the microscope and adjusts the objective condenser.

    - SCOPE: Visualize the improvement by starting with a poorly adjusted condenser

  - Next, pipette a few microliters of coated microsphere at 10,000 microspheres per microliter into the culture dish so that you end up with 1 to 2 microspheres per field of view. At this concentration, the microspheres will freely diffuse and adhere on culture substrate.

    - MED: Talent draws up the microspheres into a pipette

    - CU: Talent injects the microspheres into the culture dish

    - SCOPE: Visualize the plate just after microsphere injection at the lowest magnification.

  - Locate an isolated neuron with a long axon and save the position of the microscope stage.  Then, move the stage around to search for a bead adhered to the culture support that can be moved to the site of the axon.

    - SCOPE: Talent positions the field of view over an adequate neuron.

# 2.4.1.1. “Added take” is all the author’s note says.

    - MED Over the Shoulder: Talent works at computer and adjusts the stage, then saves the position of the stage.

    - SCOPE: Talent moves from the neuron to the location of a nearby bead.

  - Next, turn on the IR trapping laser. At this stage no holograms are projected onto the spatial light modulator and the position of IR laser spot coincides with the ultraviolet, or “UV”, laser spot position.

    - MED Over the Shoulder: Talent turns on the IR laser and then looks at the screen to visualize.

    - LAB MEDIA: CHaNGED_bead_detachment_and trap.avi

  - Then, move the stage to set the axial position of the IR spot 2-3 μm above the culture support surface.

    - MED Over the Shoulder: Talent adjusts the stage using the software.

    - SCOPE: Show the scope image of what it would look like to correctly position the IR spot.

  - Next, turn on the UV laser, while leaving the IR laser on. Set the UV laser power to less than 1μW. The resultant shock wave is strong enough to detach the bead from the glass support.

    - MED: Talent turns on the UV laser adjusts the power.

    - CU: Show the setting of 1 uW.

  - Then, move the UV spot above the adhered bead using microscope stage motion. The bead detaches from the surface and is trapped by the IR laser. At this point, turn off the UV laser.

    - MED Over the Shoulder: Talent adjusts the stage using the software.

    - LABMEDIA: phase1.avi

    - MED: Talent turns off the UV laser.

    - “Added take for close up” – author’s note

  - Next, use the IR laser to move the trapped bead 20-30 μm above the glass support. This will prevent the bead from contacting the other cells while moving it to the neuron.

    - LABMEDIA: phase2.avi (0:00-0:14) (TEXT: 20-30 μm above the glass)

  - During movement, set the stage speed to a maximum of 10 μm/sec so the drag fluid force does not exceed the optical trapping force.

    - LABMEDIA: phase2.avi (0:14-0:38) (TEXT: <10 μm/sec)

- UV and IR beam positioning and optical tweezer calibration.

  - Next, lower the bead toward the glass support to visualize the axon. Hold the bead about 5 μm above the glass support to avoid contact with the cell.

    - MED Over the Shoulder: Talent adjusts the stage again using the computer software.

    - LABMEDIA: phase2.avi (0:38-0:46)

  - Then, move the UV focus spot to the center of the axon by moving the microscope stage and save the current stage position.

    - LABMEDIA: phase2.avi (0:46-0:58)

    - MED Over the Shoulder: Talent saves the location of the stage.

  - Next, define the IR focus spot position using a computer-generated hologram based on the centered axon position chosen for the UV laser. When computer generated hologram is projected on the spatial light modulator, the trapped bead is moved with respect to the axon.

    - LABMEDIA: phase3.avi (0:00-0:27)

  - Then, position the IR laser spot 5-10 μm away from the UV spot to avoid optical interaction of the dissecting beam with the trapped probe.

    - MED Over the Shoulder:  Talent works at computer to repositions the IR laser.

  - Next, move the stage to position the trapped bead away from the axon in order to avoid collision with it and lower the trapped bead to about 2 μm above the cover glass.

    - LABMEDIA: phase3.avi (0:27-0:36)

  - Finally, align the four quadrant photodiode to center the interference fringes on it by zeroing the x and y differential signals.

    - MED: Talent aligns the QPD

    - MED Over the Shoulder: Show the zeroed output signals.

  - Then, use the interferometer to acquire 5 seconds of the Brownian motion of the trapped bead at 50 KHz. Obtain the optical tweezer stiffness and sensitivity by power spectrum method as described by Neuman et al.

    - MED Over the Shoulder: Talent acquires the data as described. (TEXT: Neuman, K.C.  Block, S.M. Optical Trapping. Rev. Sci. Inst. 75, 2787-2809 (2004))

- Axotomy and simultaneous force measurement.

  - Raise the trapped bead to 4 μm above the support glass and move it down the axon until it contacts the neurite. The collision between the trapped bead and the axon can be monitored by detecting displacement of the trapped bead in the axial direction.

    - MED: Talent raises the bead.

    - SCOPE: Talent moves the bead down the axon until it makes contact.

    - MED OVER THE SHOULDER: Talent causes the bead to contact the axon and monitors the displacement on the monitor.

  - Wait 10 seconds with the trapped bead pushed against the axon to ensure its adhesion to the neurite membrane. Then, move the micro stage to try and displace the bead from the axon. If the bead adhered, it will escape from the optical trap.

    - MED: Talent looks through microscope optics at the axon

    - SCOPE: Talent adheres the bead to the membrane then moves the stage to show escape from the optical trap.

  - Next, move the laser trap back onto the adhered bead and switch on the force-clamp loop with a force condition equal to zero. The center of the trap is reached once the four quadrant photodiode gives the same signals as when the bead is trapped far from the surface.

    - SCOPE: Talent moves the laser trap back to the bead.

    - MED OVER THE SHOULDER: Talent turns on the force-clamp loop.

    - MED OVER THE SHOULDER: Talent adjusts the microscope and watches the signal monitor.

  - Then, set a force-clamp condition on the z axis, positioning the trapping laser slightly over the center of the bead by about 100 nm to generate a pretension on the adhered trapped probe.

    - MED: Talent moves the stage in the z-direction.

    - SCOPE: Talent positions the trapping laser slightly over the center of the bead.

  - Next, use the four quadrant photodiode signal in the z-direction to monitor force during movement.

    - MED OVER THE SHOULDER: Talent monitors the photodiode signal during movement.

  - Then, switch off the force-clamp feedback to measure the force on the adhered probe in the position-clamp condition. This allows for measurement of the bead’s displacement from the trap center as well as the release of tension measured in pico-Newtons.

    - MED: Talent switches off the force-clamp feedback.

    - MED OVER THE SHOULDER: Talent measures the displacement of the bead from the trap center.

  - Start simultaneous recording of the trapped probe positions during laser axotomy using the interferometer and the cell itself using time-lapse bright-field imaging at a sampling rate of 20 Hz.

    - MED OVER THE SHOULDER: Talent records probe position.

    - LABMEDIA: Measurement.avi (0:00-0:10)

  - Then, turn on the UV laser and deliver laser pulses until a lesion becomes visible on the image of the axon.  This usually requires 200-400 optical pulses at a power of 25 nJ per pulse.  Then, turn off the UV laser.

    - MED: Talent turns on the UV laser

    - LABMEDIA: Measurement.avi (0:10-End) *Video Editor: Circle the region where the lesion is formed.

  - Continue recording with the interferometer for about 3 minutes, until the x, y and z four quadrant photodiode traces reach a plateau. The plateau represents complete release of the tension in the neurite.

    - MED OVER THE SHOULDER: Talent watches the data output for the 4-traces.

    - MED OVER THE SHOULDER: Talent points out the plateau.

- Results: Measurement of changes in cytoskeletal equilibrium caused by laser induced lesions.

  - Prior to lesions, the cytoskeletal and substrate forces are pairwised and equilibrated. After laser-induced lesion of the neurite, the connections between some springs and the substrate are disrupted. Thus, the substrate is no longer counteracting the traction force of the cytoskeletal element.

    - LABMEDIA: Figure 1 and Figure 2A (Video Editor: Show the “Before Cutting” image with the first sentence and inlay Figure 2a(left) with the Before Cutting image as it is a microscopic view of the drawing. Then show the “After Cutting” image with the second sentence and inlay Figure 2a(right) as it is a microscopic view of the drawing. Highlight the red X with the 3rd sentence)

  - The trapped bead, attached to membrane, then tracks the direction of the released cytoskeleton forces.

    - LABMEDIA: Figure 1 (Video Editor: Start where 5.1.1 left off and highlight (or show for the first time) the arrow on the OT bead showing upward motion.)

  - The motion of the bead following a laser induced lesion can be tracked using interferometry.  Shown here are the recorded traces of the bead position over time. Blue, green and red traces represent the bead position along x, y, and z axes, respectively.

    - LABMEDIA: Figure 2B

  - In contrast, the stage drift in the x and y-directions can be seen here with a much smaller scale y-axis.

    - LABMEDIA: Figures 2B and 2C (Video Editor: Shift 2B up so that 2C can also fit on the screen.)

  - Following the creation of a lesion, the axon diameter changes over time. Shown on the right is a kymograph of the axon diameter from a time series of images like the one on the left.  The line scan location is indicated by the white line in the image on the left.

    - LABMEDIA: Figure 3a (Video Editor: Highlight the white line when mentioned.)

  - The mean intensity of the keymograph represents an estimate of the axon diameter taken from recorded images during tension release.  The Variance, shown below, increases with the neurite diameter during accumulation of material upstream the lesion site.

    - LABMEDIA: Figure 3b-c (Highlight the y-labels when mentioned by the text.)

  - The white box shown here indicates the estimation of the neurite contact area with the culture support. This is calculated between the UV laser spot position and the center of the trapped probe.

    - LABMEDIA: Figure 4a (Video Editor: Highlight the Left side of the box with the mention of “the UV laser spot position” and the right hand side with the mention of “the center of the trapped probe”.)

  - The total released force can be obtained after multiplying the drift-corrected displacement traces by the respective optical trap stiffness, shown here.  The difference between force measured at time t1 and t0 divided by the neurite contact area gives an estimation as to the amount of tension released in pN/μm2.

    - LABMEDIA: Figure 4a-b (Video Editor: Shift 4a to the left and add the graph in 4b. Highlight ΔpN in figure 4b with the mention of “difference between force measured at time t1 and t0” )

# INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors have ensured that the results are written in our format.

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.   Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image.   Like the schematic, each image or movie file supplied in the results should be referenced by annotation in parenthesis, however for the results, the specific filename should be given in parenthesis.

Below is an example of results text:

# EXAMPLE REPRESENTATIVE RESULTS

5.  Evaluation of Morpholino Injection and Knockdown

5.1   Representative results of both morpholino injection and mRNA injection are shown here. The

uninjected control at 48 hours post fertilization looks normal, as expected

-LAB MEDIA: 0123_PIname_Figure1.tif  (Replace 0123 with your jove video #)

# 5.2   However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms

containing the first of two EGF-like repeats, exhibit brain edema.

-LAB MEDIA: 0123_PIname_Figure2.tif

# 5.3   Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization,

the heads of the uninjected controls look normal

-LAB MEDIA: 0123_PIname_Figure3.tif

5.4   Conversely, some of the embryos injected with the mRNA exhibit cyclopia

-LAB MEDIA: 0123_PIname_Figure4.jpg

# Please visit the following URL to see an example of how the results will look when complete:

http://www.jove.com/video/1597/results-example-mably?access=ksw0bprj

- Conclusion (said by authors on camera)

  - DIFATO FRANCESCO: After its development, this technique paved the way for researchers in the field of biophysics to explore how the mechanical coupling between cells and substrates are affected under pathological conditions.  It also helps in the design of implantable scaffolds by allowing the study of distinct mechanical or chemical properties influencing the adhesion of the cells on the scaffolds.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# 2.6 – phase1.avi

# 2.7 – phase2.avi

# 3.3 – phase3.avi

# 4.7 – Measurement.avi

# 6.2.1 – Measurement2.avi

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.