Marrows 50603 redo

2.3a  Test that there is no short circuit between the magnetron and the surrounding shield by using a multimeter (pronounced mult-tee-meter) to check for resistance between the target and the chamber.  (2:45)