# Submission ID #: 50634

# Editor Name: Brigid Stadinski

# Videographer name: Kevin McRoberts

# Film Date: 5/14/2013

# Authors and Affiliations:

Elizabeth S. Elvington1, Alireza Salmanzadeh1, 2,  Mark A. Stremler1, 2,  Rafael V. Davalos1, 2

- School of Biomedical Engineering and Science, Virginia Tech,

- Department of Engineering Science and Mechanics, Virginia Tech

Elvington, Elizabeth S.

330 ICTAS on Stanger St (MC0298), Virginia Tech

Blacksburg, VA, 24061, USA

Virginia Tech-Wake Forest University, School of Biomedical Engineering and Sciences

esavage@vt.edu

Salmanzadeh, Alireza

330 ICTAS on Stanger St (MC0298), Virginia Tech

Blacksburg, VA, 24061, USA

Virginia Tech-Wake Forest University, School of Biomedical Engineering and Sciences

Virginia Tech, Department of Engineering Science and Mechanics

alireza@vt.edu

Stremler, Mark A.

780 Drillfield Drive, Room 333P (MC0219), Virginia Tech

Blacksburg, VA, 24061, USA

Virginia Tech, Department of Engineering Science and Mechanics

Virginia Tech-Wake Forest University, School of Biomedical Engineering and Sciences

stremler@vt.edu

Davalos, Rafael V.

329 ICTAS on Stanger St (MC0298), Virginia Tech

Blacksburg, VA, 24061, USA

Virginia Tech-Wake Forest University, School of Biomedical Engineering and Sciences

Virginia Tech, Department of Engineering Science and Mechanics

davalos@vt.edu

Title: Label-Free Isolation and Enrichment of Cells through Contactless Dielectrophoresis

# Corresponding Author:

Rafael V. Davalos, cell: 540-998-9197, fax: 540-231-9738

Authors, please fill out the brief questionnaire below.

Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ____N_____ If yes, please list make and model of your microscope: Leica DMI 6000B (inverted), Leica Microsystems- authors, I changed this response to no since screen captures can be obtained.

**Note:  This question is to get at whether or not you will need a camera hook-up to look into the microscope.  However, if your microscope has a digital camera attached to a computer, you can gather these shots by collecting screen capture movies.

Does your protocol include microscopy steps that are visualized through a microscope with a digital camera/computer attached? (Y/N) __Y_____

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)__N___

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps__3.5, 3.6, 3.7, 4.5, 4.6________________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  _The most difficult aspect of the protocol is avoiding bubbles in the sample channel and electrode channel. Bubbles can prevent electrical connections in the electrode channels and can prevent steady flow in the sample channel. To avoid bubbles, we store the device under vacuum. To ensure steady flow, we prime the sample channel with cell suspension upon removing the chip from vacuum. We prime the electrode channels immediately after priming the sample channel. Then we can visually inspect the inlet tubing, reservoirs, and channels to ensure there are no bubbles. _____________________________

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

Authors, the intro point is kept to less than 2 lines of text because it is shown with the title slide.  I moved the other information regarding the technique to the Intro section.

# Procedural Narrative:

The overall goal of this procedure is to induce translational motion of cells suspended in a pressure-driven flow by using dielectrophoresis, without contacting electrodes to the sample. (Intro)

This is accomplished by first suspending the cells of interest in a low conductivity buffer. (P1, please make a graphic with generic cells being added to a purple fluid)

The second step is to load the microfluidic device with the cell suspension and introduce highly conductive fluid into the electrode channels (P2, figure 1 – schematic.eps: show the upper image, then have the lower image zoom out from the box on the upper image)

Next, the prepared device is connected to high voltage electronics, and the frequency response of the cell motion is recorded by video, fed from a camera attached to an inverted microscope. 
(P3, Fig+1.eps (b))

The final step is to analyze the video images to quantitatively predict electrical properties of the cells. (P4, Fig+4.eps)

Ultimately, contactless dielectrophoresis is used to show that cells with different electrical properties can be sorted in a label-free, non-damaging manner using inexpensive and simple-to-fabricate microfluidic devices. (P5, Fig+5.eps)

Paste a copy of your graphic overview here.  The original file should be Adobe Illustrator (preferred) or Powerpoint (see instructions) and should be uploaded through your online submission on the JoVE website. Please keep all layers in the file (i.e., do not flatten the file).

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Rafael Davalos:  This method is useful for applications such as separating live cells from dead; sorting cells based on stage of progression; isolating tumor intiating cell subpopulations; or characterizing the effect of drugs and metabolites on dielectric properties of cells.

    - MED:  Rafael speaks toward camera.

  - Elizabeth Elvington:  The main advantages of this technique over existing methods, like fluorescence-activated cell sorting, is that cells can be sorted and characterized by their intrinsic biophysical properties without the need for labeling based on biomarkers, and that sample sterility can be maintained by eliminating contact between electrodes and the sample.

    - MED:  Elizabeth speaks toward camera.

  - Rafael Davalos:  We first had the idea for this method, when we wanted to eliminate issues such as sample contamination, Joule heating, electrolysis, and expensive fabrication that often are associated with dielectrophoretic techniques for isolating rare mammalian cells from background.

    - MED:  Rafael speaks toward camera.

# Protocol (read by voice talent at JoVE):

- Fabricating a Prototype cDEP Microfluidic Device

  - Follow previously reported procedures using photoresist and Deep Reactive Ion Etching to etch the desired channel design into a silicon wafer, depositing a thin layer of Teflon to improve the release of the microdevice from the wafer.

    - CU or ECU:  Wafer as talent displays the etched channel design to the camera by pointing it out and tracing the design with pointy forceps or some other type of tool.

  - Wrap the wafer with aluminum foil to prevent spill-over.  Mix polydimethylsiloxane, or PDMS, in a 10 to 1 ratio of elastomer to curing agent.  De-gas for approximately 20 minutes, and pour onto the wafer.  Then, heat the wafer for 45 minutes at 100˚C to avoid damaging the Teflon coating of the stamp.

    - CU:  Wafer as talent wraps with aluminum foil.

    - MED:  Talent mixes PDMS with elastomer curing agent.

    - CU:  Wafer as talent pours the degased mixture onto the wafer.

    - MED-over the shoulder:  Talent places the wafer on hot plate.

  - After cooling, remove the aluminum foil.  Trim the PDMS using a surgical blade, and punch access holes at the channel inlet/outlet using a blunt puncher suited to the size of the tubing. Here, a 1.5 mm blunt puncher is used.

    - MED:  Talent removes the aluminum foil.

    - CU:  Wafer as talent trims the PDMS using a surgical blade.

    - ECU:  Wafer as talent punches access holes at the channel inlet/outlet using a blunt puncher.

  - Next, clean a glass microscope slide as directed in the text protocol.  Clean the PDMS device using Scotch Magic tape.  Examine under a microscope to be sure channels are clean.

    - MED:  Talent rinses a glass microscope slide with deionized water.

    - CU:  PDMS device as talent cleans using Scotch Magic tape.

    - MED:  Talent places the PDMS device onto the microscope and inspects to ensure the channels are clean.

  - Then, expose the slide and PDMS device to air plasma for 2 minutes.  Firmly press the channel side of the device to the glass slide, avoiding formation of air bubbles between the device and the slide.

    - CU or ECU:  Slide and PDMS as they are firmly pressed together

- Preparing a Cell Suspension in DEP Buffer

  - Prepare a low conductivity buffer as described in the text protocol, which will be referred to as “DEP buffer.”

    - MED:  Talent caps or retrieves a labeled container of prepared buffer.  TEXT overly:  100 µS/cm

  - Suspend the cells in DEP buffer at 3 million cells per ml.  Here, cancerous late-stage mouse ovarian surface epithelial, or MOSE-L (pronounced as “mose-ell”), cells are used.

    - MED:  Talent at hood aspirates DEP buffer into a pipette and container of cells as talent pipettes DEP buffer in.

  - After dyeing the cells using a fluorescent membrane-permeable dye, measure the conductivity of the dyed cell suspension.  The conductivity should be approximately 100 micro Siemens per cm.

    - MED-over the shoulder:  Talent measures the conductivity of the dyed cell suspension, display on the measuring device reading about 100 micro Siemens per cm.

  - If the conductivity measurement is too high, spin the sample down, resuspend in DEP buffer and repeat the conductivity measurement.

    - WIDE or MED:  Talent places the cells into the centrifuge.

- Loading the cDEP Microfluidic Chip

  - Talent:  The most difficult aspect of the protocol is avoiding bubbles in the sample channel and electrode channel.  Bubbles can prevent electrical connections in the electrode channels and can prevent steady flow in the sample channel.  Be sure to perform the demonstrated steps to avoid bubbles and ensure steady flow.

    - MED:  Talent looks up from workspace and speaks toward camera, interview style.

  - Before loading the cDEP (pronounced as “see-depp”) Microfluidic Chip, place it under vacuum for 30 minutes.

    - MED-over the shoulder:  Talent places the microfluidic chip under vacuum.

  - Meanwhile, cut a piece of flexible tubing to span the distance from the syringe pump to the microscope stage where the microfluidic chip will be located.  Here, a 6 inch length of tubing is required.  Fit the tubing to needle tip on a syringe.

    - CU:  Tubing as talent cuts a 6 inch length of tubing.

    - ECU:  Tubing as talent fits it to the needle tip of the syringe.

  - Then, estimate the required length for outlet tubing by dividing the target collected sample volume by the cross-sectional area of the tube.  Cut the required length of tubing.

    - MED-over the shoulder:  Lab notebook as talent calculates the required length for outlet tubing.

    - MED:  Talent cuts the outlet tubing.

  - Next, draw the cell suspension into a syringe.  Check that no bubbles are located in the tubing or syringe.

    - CU:  Syringe as talent draws up the cell suspension up. Talen inspects the syringe and tubing for bubbles.

  - Upon removing the chip from the vacuum, insert the outlet tubing and prime the sample channel quickly to avoid trapped air bubbles in the channels.  Gently tap the syringe when priming to avoid rupturing the thin insulating barrier.

    - MED-over the shoulder or CU:  Talent inserts the outlet tubing and begins to prime the sample channel. Talent gently taps the syringe when priming to avoid rupturing the thin insulating barrier.

  - To prime the electrode channels, quickly place empty pipette tips in one outlet of each fluidic electrode channel.  Pipet 200 µl of PBS containing a small amount of rhodamine B and gently tap to introduce the fluid into the opposite end of the electrode channel.

    - (in 4.6.1. – 2) MED-over the shoulder:  Chip as talent places empty pipette tips in one outlet of each fluidic electrode channel.

    - (in 4.6.1. – 2)CU:  Chip as talent pipettes 200 µl of PBS containing a small amount of rhodamine B and gently taps to introduce the fluid into the opposite end of the electrode channel.

  - Maintain gentle pressure until PBS with rhodamine B visibly progresses up the tip of the empty pipette tip.  Repeat for each electrode channel.  Rhodamine B is used only to fluorescently visualize the fluidic electrode channels.

    - (in 4.6.1. – 2)ECU:  Pipette tip as talent maintains gentle pressure until PBS with rhodamine B visibly progresses up the tip of the empty pipette tip.

    - (in 4.6.1. – 2)MED:  Talent continues to prime the other electrode channels.

  - After priming, fill each pipette tip reservoir with PBS with rhodamine B.  Avoid bubble formation in the pipette tip reservoirs, and remove any visible bubble by pipetting gently up and down.  Detach the outlet tubing and discard appropriately; then insert a fresh outlet tubing reservoir to collect the target volume.

    - MED-over the shoulder:  Talent fills each pipette tip reservoir with PBS with rhodamine B.

    - CU:  Pipette tip as talent pipettes gently up and down.

    - MED:  Talent detaches the outlet tubing.

    - CU:  New outlet tubing as it is inserted.

- Characterizing Crossover Frequency of Cells using cDEP Chip

  - Position the chip on the stage of an inverted microscope equipped with a digital camera.  Mount the syringe on the syringe pump and insert the wire electrodes into the fluidic electrode channel reservoirs.

    - MED/MED-over the shoulder:  Multiple takes as talent positions the chip on the stage of an inverted microscope equipped with a digital camera.  Shot will be reused once.

    - CU:  Chip as talent mounts the syringe on the syringe pump and inserts the wire electrodes into the fluidic electrode channel reservoirs.

  - Pump the fluid through at 1 ml per hour to ensure good contact between the syringe pump and the syringe.  Visually inspect the channel length to ensure unimpeded flow of cells and the absence of bubbles or leaks.  Then, reduce the flow rate to 5 microliters per hour.

    - MED-over the shoulder:  Talent pumps the fluid through at 1 ml per hour to ensure good contact between the syringe pump and the syringe.

    - CU:  Film the channel length as talent ensures unimpeded flow of cells and the absence of leaks.

    - MED:  Talent reduces the flow rate to 5 microliters per hour.

  - For safety, test the electronics by powering on the function generator, high voltage amplifier, and oscilloscope, and adjusting to the desired voltage and frequency.  Here these parameters are 200 V and 20 kHz.  Upon verification of acceptable performance, shut the power off.  Then, connect the electrodes to the high voltage amplifier.

    - CU:  Function generator, high voltage amplifier, and oscilloscope as talent powers each device on and adjusts the desired voltage and frequency.

    - MED-over the shoulder:  Talent shuts the power off and connects the electrodes to the high voltage amplifier

  - Upon achieving steady flow, apply the desired voltage at the desired frequency.  In this experiment, voltage is 200 VRMS (pronounced “volts r m s”) at frequencies between 5 and 60 kHz.

    - SCREEN:  Screen capture movie as talent applies a voltage of 200 VRMS at frequencies between 5 and 60 kHz.

  - Record the video files of the cell response with image processing techniques to quantify cell distribution in the channel and to characterize the crossover frequency.  To do this, maintain a constant voltage and vary the frequency systematically.

    - SCREEN:  Screen capture movie as talent records the video files while maintaining a constant voltage and varying the frequency systematically.

  - At the start and end of the experiment, as well as randomly between experimental runs, record the control cell distribution, which is the distribution of the cells without applying any electrical field.

    - SCREEN:  Screen capture movie as talent records the control cell distribution.

  - After setting a new frequency, wait the amount of time required for cells to flow from the inlet to the monitored location, and then begin recording.

    - MED-over the shoulder:  Talent sets a new frequency and then sets timer for 5 minutes.

    - SCREEN:  Screen capture movie as talent begins recording at new frequency.

  - Proceed to perform the image processing for characterizing crossover frequency as described in the text protocol.

    - MED or WIDE:  Talent sitting at the microscope station performing image processing.

- Varying the Experiment to Perform Cell Sorting or Enrichment

  - Suspend the desired mixture in DEP buffer at a total concentration of 3 million particles per ml.  Here, this mixture is MOSE-L cells with 4 µm fluorescing beads in DEP buffer.  Perform the previously described steps to prepare a cDEP device.

    - (Use 3.2.1 or 3.2.2) MED:  Talent pipettes DEP buffer over the cells to make desired concentration.

    - Shot 5.1.1 – talent positions the chip on the stage of an inverted microscope equipped with a digital camera.

  - Operate the experiment at a frequency between the two determined crossover frequencies of the target cells and the background particles so that the two populations of particles experience DEP forces in opposite directions.

    - SCREEN:  Screen capture movie as talent operates the microdevice above 11.90±0.63 kHz so that the 2 populations of particles experience DEP forces in opposite directions.

  - To collect the contents of a sorted sample, remove the outlet tubing upon collection of the target volume by placing a glove finger over the outlet opening and gently tugging on the tubing.  Pour the collected target volume into a reservoir for further analysis.

    - CU:  Outlet tubing as it is removed by placing a glove finger over the outlet opening and gently tugging on the tubing.

    - MED-over the shoulder or MED:  Talent pours the collected target volume into a reservoir.

- Results: Cell Response and Sorting by Contactless Dielectrophoresis

  - For mammalian cancer cells, such as the MOSE-L cells used here, negative DEP was observed at 5 kHz… and strong positive DEP at 60 kHz.  MOSE-L cells have a diameter of 17.7 plus or minus 3.3 µm, and the beads have a 4 µm nominal diameter.

    - LAB MEDIA:  Figure 5.  Editors, please zoom into the left panel as “negative DEP was observed at 5 kHz” is narrated.  Then slide over the right panel as “strong positive DEP at 60 kHz” is narrated.

  - In addition to determining the crossover frequency of cells, this technique can be used to sort a mixture, illustrated here by a mixture of MOSE-L cells and beads.  This example takes advantage of the negative dielectrophoresis exhibited by 4 µm beads at frequencies where MOSE-L cells experience positive dielectrophoresis.

    - LAB MEDIA:  Figure 6

  - When the device was operated at 200 VRMS and 10 kHz, both cells, shown here in green, and beads, shown here in red, were mixed as they experienced negative DEP.

    - LAB MEDIA:  Figure 6a.  Editors, please highlight the arrows as “both cells, shown here in green” is narrated.

  - At 50 kHz, movement of MOSE-L cells to the top of the channel was observed, while beads were restricted to the lower portion of the channel, enabling separation of the mixture into two components.

    - LAB MEDIA:  Figure 6b

# INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors have ensured that the results are written in our format.

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.   Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image.   Like the schematic, each image or movie file supplied in the results should be referenced by annotation in parenthesis, however for the results, the specific filename should be given in parenthesis.

Below is an example of results text:

# EXAMPLE REPRESENTATIVE RESULTS

5.  Evaluation of Morpholino Injection and Knockdown

5.1   Representative results of both morpholino injection and mRNA injection are shown here. The

uninjected control at 48 hours post fertilization looks normal, as expected

-LAB MEDIA: 0123_PIname_Figure1.tif  (Replace 0123 with your jove video #)

# 5.2   However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms

containing the first of two EGF-like repeats, exhibit brain edema.

-LAB MEDIA: 0123_PIname_Figure2.tif

# 5.3   Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization,

the heads of the uninjected controls look normal

-LAB MEDIA: 0123_PIname_Figure3.tif

5.4   Conversely, some of the embryos injected with the mRNA exhibit cyclopia

-LAB MEDIA: 0123_PIname_Figure4.jpg

# Please visit the following URL to see an example of how the results will look when complete:

# http://www.jove.com/video/1597/results-example-mably?access=ksw0bprj

- Conclusion (said by authors on camera)

  - Rafael Davalos: Following this procedure, other methods like cell culture, immunofluorescence imaging, and biochemical assays can be performed in order to answer additional questions like how the dielectric properties of cells are correlated to their physical characteristics.

    - MED:  Rafael speaks toward camera.

  - Mark Stremler:  (This may have been said by Rafael Davalos) After its development, this technique paved the way for researchers in the field of biology to explore links between metabolite-induced changes in cytoskeleton structure and corresponding dielectric in a mouse model of ovarian cancer progression.

    - MED:  Mark speaks toward camera.

  - Elizabeth Elvington:  After watching this video, you should have a good understanding of how to enrich and sort cells using contactless dielectrophoresis.

    - MED:  Elizabeth speaks toward camera.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

Jove3.ai (SchematicFig)

Figure 5 – Authors, please provide a version of this figure without the (a) and (b) labels for the video.

Figure 6 – Authors, please provide a version of this figure without the (a) and (b) labels for the video.

Figure 6a – Authors, please provide a version of this figure without the (a) label for the video.

Figure 6b – Authors, please provide a version of this figure without the (b) label for the video.

SCREEN Capture Movies:

# 50634_Davalos_SCREEN_5.4.1:  Screen capture movie as talent applies a voltage of 200 VRMS at frequencies between 5 and 60 kHz.

# 50634_Davalos_SCREEN_5.5.1:  Screen capture movie as talent records the video files while maintaining a constant voltage and varying the frequency systematically.

# 50634_Davalos_SCREEN_5.6.1:  Screen capture movie as talent records the control cell distribution.

# 50634_Davalos_SCREEN_5.7.2:  Screen capture video as talent begins recording at new frequency.

# 50634_Davalos_SCREEN_6.2.1:  Screen capture movie as talent operates the microdevice above 11.90±0.63 kHz so that the 2 populations of particles experience DEP forces in opposite directions.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.