## reagents
Reagents:
Name of Reagent | Company | Catalogue Number | Comments (optional)
RBL-2H3 Cells | ATCC | CRL-2256 | The cells we used were a gift, but they are also available from ATCC
Triclosan/Irgasan | Sigma | 72779 | Should be stored in a low humidity environment
CAS# 3380-34-5
trypsin | Gibco | 25300-054
CAS# 3380-34-5
EMEM | Lonza | 12-611F
Fetal Bovine Serum | Atlanta Biologicals | S11150
Gentamycin Sulfate | Lonza Biological Sciences | 17-518
Albumin, Bovine Serum | Calbiochem | 12659
CAS# 9048-46-8
Surfact-Amps X-100 (Triton X-100; 10% solution) | Pierce | 28314
CAS# 9002-93-1
HEPES | J.T Baker | 4153-01
CAS# 75277-39-3
Magnesium Chloride | VWR | BDH0244-500G
CAS# 7791-18-6
D-(+)-Glucose | Biomedicals | 152527
CAS# 50-99-7
Potassium Chloride Crystal | J.T Baker | 3046-01
CAS# 7447-40-7
Calcium chloride dihyrdate | Acros Organics | 207780010
CAS# 10035-04-8
Glycine | Sigma | G8898
CAS# 56-40-6
4-Methylumbelliferyl-N-acetyl-β-D-glucosaminide (4-MU) | EMD Biosciences | 474502-250MG | Wrap in foil – is light-sensitive
CAS # 37067-30-4
Anti-DNP mouse IgE | Sigma | D8406 | Reagent has concentration of 1 mg/mL. Aliquot 25 µL of reagent into separate microcentrifuge tubes and parafilm. Store aliquots at -20°C that are not being used and store aliquot that is being used at 2-8°C for no longer than 1 month.
DNP-BSA | Gift from Dr. David Holowka and Dr. Barbara Baird, Cornell University |  | Suggest: life technologies DNP-BSA catalog# A23018
Calcium ionophore A23187 | Sigma | C75-22-1mg | Ionophore was made from a powder by adding 400 µL of fresh 100% DMSO into the ionophore vial and is kept at -20°C
Note: we have used the ionophore past its 3 month expiration date successfuly
DMSO | Sigma | D2650
CAS# 67-68-5
Acetic Acid | VWR | BDH3094-2
CAS# 64-19-7
Anhydrous Sodium Carbonate | Sigma | 222321
CAS# 497-19-8
Sodium Chloride | Sigma | 71376
CAS# 7647-14-5
Hydrochloric Acid | VWR | BDH3026
CAS# 7647-01-0
Reference Buffer, pH 7 | VWR | BDH5046
Reference Buffer, pH 10 | VWR | BDH5072
Reference Buffer, pH 4 | VWR | BDH5018
pH electrode storage solution | VWR | 14002-828

## equipment
Equipment:
Material Name | Company | Catalogue Number | Comments (optional)
DU 7500 Spectrophotometer | Beckmann | No longer sold
Synergy 2 plate reader | BioTek | Module S
Uses Gen5 Microplate Data collection and analysis software
Hematocytometer | Hausser Scientific | 3110
7X7 CER HOT/STIR 120V | VWR | 97042-634
Combination hot plate/magnetic stir plate
Centrifuge | Eppendorf | 5430
Tissue culture water bath | VWR | Model# 89032-206
Tissue Culture biological safety cabinet | The Baker Company | Model# SG403A-HE
SafeGARD (TC hood)
Tissue culture incubator | ThermoScientific | Model# 3598
Pipettemen | VWR |  | Range: p2-p1000
Balance | Mettler Toledo | Model# AG204
pH meter | Symphony/VWR | Model# SB70P
Pipet-aid | Drummond Scientific | 4-000-100
Combitip dispenser | Eppendorf | 4981 000.019

## recipes
Recipes:
Name | Recipe | Notes
Acetate Buffer, pH 4.4 | · Make 0.12 M acetic acid and titrate to pH 4.4 with 10 N NaOH. | Sterile Filter into autoclaved glass bottle
· This is 5.3 mL glacial acetic acid into 1 L of MilliQ water:
(1L)*(0.12 mol/L)*(60 g/mol)*(mL/1.37 g) = 5.3 mL because density of glacial is 1.37 g/mL
Substrate (4-MU) | · Sigma M-2133, 250 mg, C18H21NO8, FW 379.4 CAS (37067-30-4) | For each experiment, make fresh solution of substrate in acetate buffer (100x dilution), for final concentration of 1.2 mM in acetate buffer
· Store in -20°C
· Stock: 0.12 M in DMSO (46 mg in 1 mL DMSO), warm to 37°C, vortex, sonicate 10 min. in water-bath sonicator with warm water, vortex again
Glycine Carbonate Buffer, pH 10 | · 26.7 g glycine | Sterile filter into autoclaved glass bottle
· 47.1 g anhydrous sodium carbonate
· Add deionized water for 1 L, and adjust pH to 10
Tyrodes (2 L), pH 7.4 | · 135 mM NaCl: 15.78 g (or 270 mL of 1 M) | Sterile filter into autoclaved glass bottle
· 5 mM KCl: 10 mL of 1 M stock
· 1.8 mM CaCl2: 7.20 mL of 0.5 M stock
· 1 mM MgCl2: 4.00 mL of 0.5 M stock
· 5.6 mM glucose: 2.02 g (11.2 mL of 1 M)
· 20 mM HEPES: 40 mL of 1 M stock
· Using concentrated HCl pH from ~9.7 to 7.4
RBL Cell Media | · Thaw fetal bovine serum (FBS, stored at -20°C) for about 4 hours in 37°C water bath | Sterile filter (0.2 mm) into autoclaved glass bottle
· Follow standard sterile technique
· Get out 1 L minimum essential medium (MEM) with L-glutamine (with Earle’s salts)
· Pour off some MEM to have 800 mL MEM, add 200 mL warm FBS
· Add 1 mL gentamicin sulfate antibiotic to 1 L of media with sterile pipette
· Only use media bottles that have been autoclaved and marked for cell culture use only.

## pastics
Plastics:
Material Name | Company | Catalogue Number | Type of Plastic
200 µL Disposable sterile pipet tips with graduations in 96 rack | VWR | 53509-009 | polypropylene
1000 µL Sterile aerosol pipet tips with HighRecovery | VWR | 89003-420 | polyethylene
10 µL micro tip low binding sterile | VWR | 14217-704 | polypropylene
Disposable/conical Micro-centrifuge tubes for high G-force | VWR | 20170-038 | polypropylene
Disposable/graduated/conical/sterile 50 mL centrifuge tubes with screw caps | VWR | 21008-178 | polypropylene
Disposable/graduated/conical/sterile 15 mL centrifuge tubes with screw caps | VWR | 21008-103 | polypropylene
CELLSTAR® Tissue Culture Treated T-25 Flask w/ Filter Cap | Greiner bio-one | 690175 | polystyrene
CELLSTAR® Tissue Culture Treated T-75 Flask w/ Filter Cap | Greiner bio-one | 658175 | polystyrene
CELLSTAR® 10 mL Paper/Plastic Wrapped Serological Pipette | Greiner bio-one | 607180 | polystyrene
CELLSTAR® CELLSTAR® 2 mL Paper/Plastic Wrapped Serological Pipette | Greiner bio-one | 710180 | polystyrene
CELLSTAR® 5 mL Paper/Plastic Wrapped Serological Pipette | Greiner bio-one | 606180 | polystyrene
CELLSTAR® 25 mL Paper /Plastic Wrapped Serological Pipette | Greiner bio-one | 760180 | polystyrene
1 cm cuvettes | N/A | N/A | polystyrene
CELLSTAR®, 96W Microplate, Tissue-Culture Treated, Black, with Lid | Greiner Bio One | 655086 | polystyrene
96-well Plate
Combitips | Eppendorf | 22266501 | Polypropylene/
polyethylene