Macro

directory = getDirectory("Choose a Directory ");   // prompts for directory with the images

list = getFileList(directory);

// for-loop below processes the files in the specified folder and outputs the quantification results in a table that can be copy/pasted into Excel

for (i=0; i<list.length; i++) {

path = directory+list[i];

showProgress(i, list.length);

open(path);   // opens the image to be processed; these are typically basic images, such as jpg, without any metadata or size calibration

if (nImages>=1) {

imagename = list[i];

selectImage(imagename);

run("Set Scale...", "distance=35 known=200 pixel=1 unit=nm");   // calibrate the size of the image - for example, use the scale-bar length in pixels

makeRectangle(0, 0, 1022, 712);   // pick the region of interest to analyze and to remove undesired sections, such as data field below (SEM voltage, scale bar, etc)

run("Crop");   // removes the undesired region

run("Median...", "radius=2");   // smooths the image, making thresholded areas more uniform

setThreshold(0, 61);   // the threshold values should be set by the user to produce the most accurate segmented mask image for quantification

run("Convert to Mask");   // creates the binary black-white mask image based on the threshold values defined above

// command below sets quantification categories: area and percent coverage of nano-features

run("Set Measurements...", "area area_fraction redirect=None decimal=3");

// command below extract the categories defined above for the thresholded particles; adjust particle size accordingly - for example set particle size to exclude large features or small

features

run("Analyze Particles...", "size=10-Infinity circularity=0.00-1.00 show=Nothing summarize");

selectImage(imagename);

close();

} else

print("Error opening "+path);  // outputs an error if the specific folder of images cannot be opened

}

Representative output

| Slice | Count | Total Area | Average Size | Area Fraction |
| --- | --- | --- | --- | --- |
| 350C-3-m.tif | 257 | 6051820.413 | 23547.939 | 25.5 |
| 450C-1-m.tif | 263 | 5889404.105 | 22393.172 | 24.8 |
| 450C-2-m.tif | 231 | 6019885.737 | 26060.111 | 25.3 |
| 450C-3-m.tif | 265 | 5986710.223 | 22591.359 | 25.2 |