# Submission ID #: 50757

Editor Name: Pallavi R. Devchand

Videographer name: Eric Swartz

Film Date: 12 July, 2013

Authors and Affiliations:  Evan L. Pannkuk1, Thomas S. Risch2 and Brett J. Savary3

1Graduate Program of Environmental Science, 2Department of Biological Sciences, 3Arkansas Biosciences Institute and College of Agriculture and Technology

Title: 	Profiling the triacylglyceride contents in bat integumentary lipids by preparative thin layer chromatography and MALDI-TOF mass spectrometry

Corresponding Author: bsavary@astate.edu

Authors, please fill out the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ____N____ If yes, please list make and model of your microscope: ______________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___N____

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps-  2.4, 2.6, 2.9, 3.11, 3.12.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Proper and consistent TLC separation.  Factors can cause poor separation.  These are usually eliminated by placing the filter paper in the chamber, applying grease for a tight seal on the lid, equilibrating the chamber overnight, and keeping clean TLC chambers, to obtain consistent quality TLC separations and data.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

Authors, please select from “Procedural Narrative” or “Conceptual Narrative” and complete the statements below. Please do not add additional steps.  Then, attach your finished graphic overview.  See accompanying instructions for details and examples.

# Procedural Narrative:

The overall goal of this procedure is to isolate and identify the triacylglyceride contents present in bat sebaceous secretions   (Intro).  First, extract the surface lipid fraction from integumentary tissues under conditions to minimize contamination and oxidation. (P1) Separate the lipids by thin-layer chromatography to obtain the triacylglyceride fraction. (P2)	 Next, acquire the triacylglyeride mass spectrum profiles by MALDI-TOF MS with high resolution and mass accuracy. (P3) Now process the spectral data with instrument software, and analyze with online chemical databases. (P3 plus arrow and text label going to P5) Ultimately, preparative thin layer chromatography and matrix-assisted laser desorption/ionization time-of-flight mass spectrometry are used to determine differences in triacylglyceride composition profiles among experimental and control groups. (P5 show full table of composition and mass)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

Authors: Below are statements we would like you to complete that are complementary to the information contained within the schematic overview.

- Only one statement should be chosen and completed per author who will be on camera demonstrating the protocol.

- Enter the name of the individual who will say each line.

- Please choose and fill out the statement(s) that convey the most important fact(s) about your protocol. You may revise the given prompts as necessary to improve the sentence flow.

- If any individuals will be doing demonstrations on camera but are not assigned a speaking part in this interview section, please use statement 1.8 to introduce these demonstrators (for example, the PI introduces students)

  - Brett Savary: This method can help identify chemical signals that may function in host-pathogen interactions.

  - Evan Pannkuk: Though this method can provide insight into clinical signs of disease from bats afflicted with white-nose syndrome or possible species-specificity to disease, it can also be applied to other mammalian systems, such as sexual signalling or intraspecific differences in milk composition.

# Protocol (read by voice talent at JoVE):

Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps – each step being defined as 3 lines of 12 pt text in our formatting style below.  This amounts to 3 pages of protocol text.  The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.

- Tissue treatment and lipid extraction

  - Clean all instruments with methanol before and between tissue collection from different individuals.  Trim about 1 gram of hair from the skin and place in a 125 ml Erlenmeyer flask.

    - MED/CU: Talent cleans some instruments with methanol.

    - CU/ECU: Talent trims about 1 gram of hair from the skin with  scissor, and places in a 125 ml Erlenmeyer flask.

  - To sample the sebum from the wing surfaces, wet cotton balls with chloroform:methanol solvent [Text over video: C:M; 3:2 v/v], scrub the skin and place these in a separate flask.

    - CU/ECU: Talent wets cotton balls with chloroform:methanol solvent, scrubs the skin and places these in a separate flask (note: 4-6 balls).

  - Now extract the tissue with 10 ml of chloroform:methanol [Text over video: 2:1 v/v] containing 0.5% BHT to prevent oxidation.

    - MED/CU: Talent extracts the tissue with 10 ml of chloroform:methanol containing 0.5% BHT (show label on reagent being added).

  - After 2 hours, add about 0.5 g anhydrous sodium sulfate to each flask, mix briefly, and pass through filter paper to collect the solvent.

    - CU/ECU: Talent adds about 0.5 g anhydrous sodium sulfate to each flask, mixes briefly,

# 2.4.2 	 (combined) CU: Talent  passes a sample through filter paper to collect the solvent.

  - Repeat the extraction sequentially with 1:1 and 1:2 chloroform:methanol.  Then pool the filtrates.

    - MED: Talent adds 1:2 chloroform:methanol and starts extraction.

    - ECU: Talent pools the filtrates (show labels on tubes).

  - Evaporate the pooled filtrates under a stream of nitrogen. Determine the dry weight, and dissolve the lipid residue [Text over video: 3:2 C:M,  0.5% BHT] to a concentration of 10 mg/ml.  Store the sample in glass vials at -20°C for up to a one month.

    - CU/ECU: Talent starts to evaporate the pooled filtrates under a stream of nitrogen.

    - MED/CU: Talent measures the dry weight.

    - ECU: Talent dissolves the lipid residue in  3:2 C:M,  0.5% BHT.

# 2.6.4	(combined) CU: Talent transfers sample to a glass vial.

- Lipid separation by preparative thin-layer chromatography

  - To remove plasticizers that can interfere with later mass spectrometry analysis, fill 1.5 ml microcentrifuge tubes with 3:2 chloroform:methanol, then rinse with acetone, and air-dry.

    - MED/CU: Talent fills 1.5 ml microcentrifuge tubes with 3:2 chloroform:methanol, then rinses a tube acetone, and sets aside to air-dry.

  - Store sample tubes in a dust-free container, and handle these tubes only with gloves to prevent contamination from skin oils.

    - CU: Talent places the sample tubes in a dust-free container (focus in on gloves).

  - Activate the TLC plate by first pre-developing it with 3:2 chloroform:methanol.  Add solvent to the TLC chamber to a depth of 1 cm, then place the plate in the chamber and allow the solvent to run completely to the top of the plate [Text over video:  ~45 mins].

    - MED: Talent prepares 3:2 chloroform:methanol (show label on solution, and TLC plate in background).

    - CU: Talent adds 3:2 chloroform:methanol to the TLC chamber to a depth of 1 cm

    - CU:  Talent places the plate in the chamber and closes the glass lid.

    - ECU: Talent indicates  the solvent to run completely to the top of the plate

  - Remove the plate and dry it in a fume hood until the solvent evaporates [Text over video:  ~15 mins]. Then heat the plate at least 10 minutes at 120°C.

    - MED: Talent removes the plate.

# 3.4.2	(combined) CU: Talent positions plate to  dry it in a fume hood.

# 3.4.3	3.4.2	MED/CU: Talent  places  the plate in a 120°C oven.

  - Now mark the plate with a a pencil mark at the top.  Place a straight pencil line, 1.5 cm from the bottom edge of the plate, to mark the baseline where the sample and standards will be placed.

    - ECU: Talent marks the plate with a a pencil mark at the top.

# 3.5.2	(combined) ECU: Talent places a straight pencil line, 1.5 cm from the bottom edge of the plate

  - Next,  cut a piece of filter paper large enough to line the two short walls and one long wall of the TLC chamber.  Insert the filter paper liner into the chamber.

    - CU: Talent cuts a piece of filter paper large enough to line the two short walls and one long wall of the TLC chamber (show chamber in background).

    - ECU: Talent inserts the filter paper liner into the chamber.

  - Pour 100 ml of freshly-prepared mobile phase solvent [Text over video: H:E:A; 80:20:2] into the chamber to a depth of about 1 cm. Apply a silicone grease seal along the top edge of the chamber, cover with the glass lid, and  equilibrate overnight.

    - CU/ECU: Talent pours 100 ml of freshly-prepared mobile phase solvent into the chamber to give a depth of about 1 cm.

    - CU: Talent applies silicone grease seal along the top edge of the chamber, covers with the glass lid.

    - MED: Talent positions chamber for equilibration overnight.

  - Apply the sample manually or with an automated sample applicator making a continuous streak [Text over video: ~1.5 cm border at edges ].

    - MED/CU: Talent applies the samples manually (show border).

  - Use the outer lanes of the TLC plate to spot about 20 µl  containing a mixture of standards [Text over video: 10 mg/ml sterol, FFAs, TAGs, and sterol ester].

    - ECU: Talent spots the outer lanes of TLC plate with 20 µl  containing a mixture of standards (show label on tube). Same shot as 3.8.1

  - Place the loaded TLC plate into the equilibrated chamber, close with the lid, and develop the plate until the solvent runs to the top edge.  After approximately 45 minutes, remove the plate and allow the excess solvent to evaporate in a fume hood [Text over video: ~1 min].

    - MED-over-the-shoulder: Talent places the loaded TLC plate into the equilibrated chamber, closes with the lid.

    - ECU: Talent indicates solvent line on plate.

    - MED-over-the-shoulder: Talent removes the plate

    - CU: Talent  places plate in a fume hood.

  - Spray with 0.05% rhodamine 6G in 95% ethanol.  Then visualize the lipid bands under a long wavelength ultraviolet lamp.

    - MED/CU: Talent sprays the plate with 0.05% rhodamine 6G in 95% ethanol.

    - MED/CU: Talent visualizes the lipid bands under a long wavelength ultraviolet lamp.

  - With a pencil, mark the Rf position for the fluorescent bands resolved in the sample and standards.  Take a photographic record.

    - ECU: With a pencil, Talent marks the Rf position for the fluorescent bands resolved in the sample and standards.

    - MED: Talent takes a photograph.

  - Next, identify the band corresponding with the TAG (pronounce: “tag”) standard, transfer it to a large piece of glassine weigh paper, and then into  a 1.5 ml solvent-washed microcentrifuge tube.

    - CU/ECU: Talent identifies the band corresponding with the TAG standard, scrapes the silica off with a spatula and transfers it to a large piece of glassine weigh paper.

# 3.13.2	(combined) MED/CU: Talent puts sample into  a 1.5 ml solvent-washed microcentrifuge tube.

  - Add 1.0 ml of 3:2 chloroform:methanol solvent to the sample, and sonicate for 1 minute. Pellet the silica by centrifugation, and then transfer the solvent into a new pre-weighed tube.

    - ECU: Talent adds 1.0 ml of 3:2 chloroform:methanol solvent to the sample.

    - MED/CU: Talent sonicates the sample.

    - MED/CU: Talent removes samples from centrifuge (show pellet size)

    - CU: Talent transfers the solvent into a new pre-weighed tube.

  - Repeat the 1 ml extraction, pool the filtrates, and then evaporate the solvent under a stream of nitrogen.

    - MED: Talent adds 1 ml solvent to pellet

# 3.15.2	(combined) ECU: Talent pools the filtrates (Show labels),

# 3.15.3	(combined)MED/CU: Talent evaporates the solvent under a stream of nitrogen.

  - Store the dried residue containing TAGs under nitrogen in the dark at 4 °C while additional tissue samples are separated by TLC.  Rhodamine 6G is present in samples, but it is insoluble in hexane and is removed during sample dissolution immediately before MS analysis.

    - MED/CU: Talent stores the dried residue containing TAGs under nitrogen in the dark at 4 °C.

    - WIDE/MED: Talent continues to process sample form

- TAG analysis by MALDI-TOF MS

  - Prepare the 500 fmol/µl ACTH working solution and  10 mg/ml TAG standards as described in the text protocol.

    - MED/CU: Talent prepares the 500 fmol/µl ACTH working solution and places on rack with   10 mg/ml TAG standards (tshow reagent labels tricaprin [470.361 Da], tricaprylin [554.455 Da], trilaurin [638.549 Da], tripalmitin [722.642 Da], tripalmitolein [800.689 Da], trimyristin [806.736 Da], triolein [884.783 Da], tri-11-eicosenoin [968.877 Da], and trierucin [1052.971 Da]).

  - Also prepare the 0.5 M stock solution of DHB with 90% methanol for use as sample and standard matrix. Cover the tube with  aluminum foil to protect it from light.

    - MED-over-the-shoulder: Talent prepares the 0.5 M stock solution of DHB with 90% methanol, cover sthe tube with  aluminum foil to protect from light.

  - Now combine 10.0 µl of DHB matrix, 10.0 µl of sample or standard, and 5.0 µl of 1.0 M NaOH.  Mix and briefly centrifuge the tube to bring the mixture to the bottom.

    - CU: In pre-washed tubes, Talent combines 10.0 µl DHB matrix, 10.0 µl sample or standard, and 5.0 µl 1.0 M NaOH.

    - CU: Talent vortexes tube.

    - MED: Talent removes the tube from centrifuge

  - Spot 1.0 µl of standard, sample, or ACTH onto a MALDI stainless-steel target plate and place in a desiccator to dry.  Then place the target plate into the instrument for data acquisition.

    - ECU: Talent spots 1.0 µl of standard, sample, or ACTH onto a MALDI stainless-steel target plate.

    - MED/CU: Talent places the plate in a desiccator.

    - MED/CU: Talent placse the target plate into the instrument for data acquisition (get good shot of instrument).

  - Perform the MALDI-TOF MS analyses in positive reflectron mode.  Tune and calibrate the instrument as described by the instrument’s manufacturer using the ACTH and TAG standard solutions.

    - SCREEN: Talent selects positive reflectron mode.

    - WIDE/MED: Talent injects sample into instrument and starts run Filmed camera shot of plate loading on computer monitor.

  - Acquire spectra for each sample spotted on the target plate.  After smoothing and subtracting the background from MALDI spectra, process ion peaks manually with the online search engine LIPID MAPS [Text over video: www.lipidmaps.org/tools/ms/glycerolipids_batch].

    - SCREEN: Talent sets parameters of 5 Hz laser firing rate, ~100 shots per spot to obtain an average spectrum.

    - SCREEN: Talent smoothes and subtracts the background from MALDI spectra,

    - SCREEN: Talent processes an ion peaks manually with LIPID MAPS.

  - Copy and paste the list spectra into the list of precursor ions and intensity box.  Limit the search to acyl composition desired.  Identify TAGs by the mass/charge ratios from ions present in the spectrum for each sample.  If fatty acid methyl ester percentages are available from a separate GC/MS analysis, add these data to obtain probabilities of TAGs present.

    - SCREEN: Talent copies and pastes the list spectra into the list of precursor ions and intensity box.

    - SCREEN: Talent limits the search to acyl composition desired.

    - SCREEN: Talent identifies some  TAGs by the mass/charge ratios from ions present in a spectrum.

# 4.7.4	(combined) SCREEN: Talent adds data of fatty acid methyl ester percentages from GC/MS to obtain probabilities of TAGs present.

- Results: Bat wing and hair

  - Mammalian integumentary lipid analyses by preparative TLC with H:E:A as the mobile phase usually resolves into four distinct bands corresponding to sterols, FFAs, TAGs, and sterol esters/wax esters/squalene.

    - LAB MEDIA: Figure 1

  - These MALDI-TOF mass spectra were obtained for TAGs isolated from the Eastern red bat.

    - LAB MEDIA: Figures 2 and 3.

  - Typical for a preparation from non-aquatic mammals, the  spectra contain ion peaks in the mass range between m/z 850-910. Fatty acid moieties are the dominant acyl constituents in TAGs.

    - LAB MEDIA: Table 1 scroll

  - Further information on acyl ratios can be deduced by observing the peaks in the diacylglycerides region of the spectrum [Text over video: m/z 590-650]

    - LAB MEDIA: Figure 4.

  - Eastern red bat wing tissue is characterized by a dominant peak at m/z 879.7 and at m/z 881.8.

    - LAB MEDIA: Figure 2 and 3 respectively.

# INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors have ensured that the results are written in our format.

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.   Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image.   Like the schematic, each image or movie file supplied in the results should be referenced by annotation in parenthesis, however for the results, the specific filename should be given in parenthesis.

Below is an example of results text:

# EXAMPLE REPRESENTATIVE RESULTS

5.  Evaluation of Morpholino Injection and Knockdown

5.1   Representative results of both morpholino injection and mRNA injection are shown here. The

uninjected control at 48 hours post fertilization looks normal, as expected

-LAB MEDIA: 0123_PIname_Figure1.tif  (Replace 0123 with your jove video #)

# 5.2   However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms

containing the first of two EGF-like repeats, exhibit brain edema.

-LAB MEDIA: 0123_PIname_Figure2.tif

# 5.3   Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization,

the heads of the uninjected controls look normal

-LAB MEDIA: 0123_PIname_Figure3.tif

5.4   Conversely, some of the embryos injected with the mRNA exhibit cyclopia

-LAB MEDIA: 0123_PIname_Figure4.jpg

# Please visit the following URL to see an example of how the results will look when complete:

http://www.jove.com/video/1597/results-example-mably?access=ksw0bprj

- Conclusion (said by authors on camera)

Authors: Below are statements we would like you to complete that summarize and conclude the video. Only one statement should be chosen and completed per author who will be on camera demonstrating the protocol. In addition to choosing and filling out the appropriate statement, please enter the name of the individual who will say each line. You may revise the given prompts if necessary to better fit your protocol.

  - Evan Pannkuk: For live or euthanized bats you must obtain, in advance, all requisite state and federal permits for handling, transporting, and storing the bats.  Approvals must also be obtained from your institutional animal care and use committee, as well as from your institutional biosafety committee.

  - Evan Pannkuk: If live bats (or nervous system tissue) are to be handled, animal handlers should be vaccinated for rabies.  In addition, when working with bat pathogens, such as Geomyces destructans, a biosafety level two lab is required.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

Figure 1.tif

Figure 2.tif

Figure 3.tif

Figure 4.tif

Table 1.tif

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.