Harnisch 50800 redos (11)

2.1a     Before starting this procedure, prepare a suitable amount of the growth medium by using a phosphate buffer including further nutrients according to the following reference. Use 10 mM of sodium acetate as substrate. (2:09, rewrite)

2.1c  Then, insert a needle in the medium and flush it with nitrogen for at least half an hour to deaerate it.  (2:29, rewrite)

2.2  Insert the working electrode, the counter electrode and the reference electrode in a modified  4-neck 250 mL round bottom flask via silicone plugs. Wrap the silicone plugs with parafilm to seal the system.  (2:41, rewrite)

3.2b  Set the working electrode to a constant potential of 0.2 volts  for a duration time of 500 hours recording every 600 seconds. (3:50, rewrite)

4.1a After the oxidative current reaches a plateau and returns to zero current, pause the chronoamperometric measurement for a medium exchange. Therefore, transfer the vessel to a laminar flow box and flush the system with nitrogen. (4:30, rewrite)

4.3 After every growth cycle take a 1 mL sample of the fresh and the exchanged medium solutions for substrate analysis by HPLC.   (5:01, rewrite)

4.4a To study extracellular electron transfer, select the technique cyclic voltammetry in the potentiostat controlling software. Then, set the initial potential Ei of the working electrode to

-0.5 V versus the reference electrode, the vertex potential E1 to 0.3 V and the final potential E2 to -0.5 V. Use a scan rate of 1 mV×s-1 (pronounced milli-volt per second). (5:18, 5:36, rewrite)

4.5 After calculating the preferentially current densities, plot the measured current density as a function of the potential of the working electrode. (6:02, rewrite)

5.3a Shown here is a typical CV for non-turnover conditions at a high scan rate. (7:44, rewrite)

5.5a When further analyzing the non-turnover CVs, other characteristic parameters like peak separation, maximum peak current and minimum peak current density can be analyzed.  (9:03, rewrite)

5.8a As the biofilm grows and gets thicker the CV shows only one inflection point. This formal potential Ef, -0.32 V vs. Ag/AgCl (pronounced silver, silver chloride), is roughly equal to the arithmetic mean of the two formal potentials assigned to the EET of the thin biofilm. (10:48, rewrite)