## JoVE Table
REAGENTS/MATERIALS:
Name | Company | Catalogue No. | Comments
Thermanox plastic coverslips | Thermo Fischer Scientific | 72280
Culture inserts | BD Falcon | 353090 | For 6-well plates
Cryopins | Leica Microsystems | 16701952 | Grooved
Wood applicators | EM Sciences | 72300
Folding EM grids | Ted Pella | 4GC100/100 | 100 mesh
Indium foil | Alfa Aesar | 13982 | 0.25 mm thick
EQUIPMENT:
Name | Company | Catalogue/Model No. | Comments
Plunge freezing device | Leica Microsystems | KF-80
Slam freezing device | LifeCell | CF-100 | 1)
Ultramicrotome | Leica Microsystems | UC6
Cryoattachment for microtome | Leica Microsystems | FC6
Diamond cryotrimming tool | Diatome | Cryotrim 45
Diamond cryoknife | Diatome | Cryo 35
Antistatic device | Diatome | Hauf Static Line
Cryo electron microscope | Carl Zeiss Microscopy | EM912 Omega
EM cryo specimenholder | Gatan | CT3500 | 2)
Slow-scan CCD camera, 2K x 2K | Troendle (TRS) | Sharpeye
Image acquisition software | Olympus SIS | iTEM suite
ED x-ray detector | Oxford Instruments | Linksystem Pentafet
Pulse Processor | Oxford Instruments | XP-3
PCI backplane card | 4pi Systems | Spectral Engine II | 3)
Desktop computer | Apple | Any OS9-compatible model
X-ray analysis software | NIST | DTSA, DTSA II | 4)
Spreadsheet software | Microsoft | Excel
1) The CF100 is no longer sold commercially, although the machine is available at many academic facilities, and complete machines or parts can be found on-line.
2) A video tutorial for the CT3500 cryotransfer holder is available at http://www.gatan.com/files/Movies/CT3500_Cryo_transfer_holder.mp4.
3) The SEII is obsolete; the Universal Spectral Engine™ Is a later, PC-compatible product with comparable functionality. 4pi has ceased manufacturing and sales but still provides technical customer support. Used systems are often found on-line.
4) The original DTSA is now obsolete. NIST offers in the public domain an updated successor, DTSA II 12 (http://www.nist.gov/mml/mmsd/software.cfm).