Ministério da Saúde

FIOCRUZ

Fundação Oswaldo Cruz

Instituto Oswaldo Cruz

Laboratório de Comunicação Celular

Rio de Janeiro, June 19, 2016

Manuscript. No.: JoVE50836R5

Journal of Visualized Experiments

Dear Dr. Sephorah Zaman:

Please find enclosed the revised manuscript entitled “Single-cell Microinjection for cell communication analysis” First of all, we thank the reviewers for their generosity in the corrections and for the comments that have contributed to improve our article. as you will see, we have followed most of the reviewers` suggestions. The critiques were addressed point by point below.  The major changes are labeled in red font in the manuscript.

We hope that the manuscript is now publishable in JOVE.  We look forward to hearing from as soon as possible.

Sincerely,

Anael Viana P. Alberto

Cellular Communication Laboratory

Oswaldo Cruz Institute-Oswaldo Cruz Foundation-FIOCRUZ

Rio de Janeiro/Brazil

# LIST OF CHANGES IN THE REVISED VERSION AND COMMENTS

Editorial comments:

1) All of your previous revisions have been incorporated into the most recent version of the manuscript. In addition, Editor may have made minor copy edits to your manuscript and formatting changes to comply with the JoVE format. Please maintain these changes. On the JoVE submission site, you can find the updated manuscript under "file inventory" and download the microsoft word document. Please use this updated version for any future revisions and track all changes using the track changes function in Microsoft Word.

Response: The request was followed by the authors.

2) Please take this opportunity to thoroughly proofread your manuscript to ensure that there are no spelling or grammatical errors. Your JoVE editor will not copy-edit your manuscript and any errors in your submitted revision may be present in the published version.

Response: We made a new revision.

3) Please disregard the comment below if all of your figures are original.

If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Response: We added a figure published by our group and we will follow the request.

4) Please address the following points with respect to your video component:

a) There are still some title cards that are centered and some with the text in the bottom right of frame. If these are all meant to be chapter title cards, they should be numbered and centered. If just the centered ones are meant to be chapter title cards, just number those.

Response: It was changed as requested.

b) 8:52 - A numbered chapter title card reading "Conclusion" should be inserted here.

Response: The request was followed by the authors.

Reviewers' comments:

Reviewer #1:

Manuscript Summary:

In this manuscript, Alberto et al. described the microinjection technique in details with visualized examples. Microinjection is a powerful technique for delivery exogenous materials including proteins, peptides, DNA, drugs into cells, making it is possible to transduce cells that normally are difficult to transfect or infect, such as primary neurons. As a single cell technique, it is also challenging by its manipulation and injection. This manuscript is very helpful to visualize the updated microinjection.

Major Concerns:

N/A

Minor Concerns:

In Discussion, about the critical factors for successful microinjection, the author can add comments about injection site, such as cytosol or nucleus. This would greatly affect the injection results.

Response: We agree with the reviewer and this comment was addressed in the discussion.

Additional Comments to Authors:

N/A

Reviewer #2:

Manuscript Summary:

The authors show how to microinject cells with fluorescent markers to evaluate transfer to other cells through gap junctions. This approach has been used by many scientists for many many years.

Major Concerns:

Images are not the best quality. Increase contrast and do not use red asterisks on black background. The square showing the phase pix in the video adds little or nothing and is not referred to. There are no scale bars. Information on how often the images were captured in the timelapse should be included. Discussion of how gap junction function can be carefully characterized by injecting dyes of different MWs and colors should be described. Also, one should always include an injection marker that is not gap junction permeable like high MW rhod or fluorescein conjugated antibodies as a positive control for injection and show expts where cells are treated with drugs to close gap junctions as a negative control.

Response: We agree with the reviewer all requests were added in the paper. And a figure with different dyes and the presence of a gap junction blocker was added in the paper.

Minor Concerns:

Video should be shorter.

Response: The original video had 15 minutes and the editorial office requested it to be shorter, so we cut off some minutes already.

Additional Comments to Authors:

N/A

Reviewer #3:

Manuscript Summary:

The manuscript describes a step by step procedure to assess functional gap junction activity utilizing microinjection and fluorescent imaging. This approach has been used previously so the degree of novelty is limited, however, it is useful for the community to have access to a step by step protocol and visualization.

Major Concerns:

*Line 50, "giving some tricks" Does this mean "useful tips" to the readers?

Response: We thank the reviewer for the comment and we changed the text.

*Lines 92-93

"this method could be used with other fluorescent dyes with molecular weight below the gap junctions` cut off which is approximately 1000 daltons." Have authors tested if any dye with molecular weight above 1000 daltons? This would be a very important control, especially in the context in which moelcules larger than 1kDa have been reported to be transported in a gap junction-dependent manner (i.e. miRs).

Response: We agree with the comment and we added a figure in the manuscript of an experiment with the addition of rodhamine dextran 10KDa that is too big to pass through gap junction. Moreover, we also added in the same figure an injection of LY in the presence of a gap blocker (octanol).

*Line 98-112

In the Section 1: Preparation of Cells, steps from 1.1 to 1.5 are dispensable. The cell density information 3x106 per 35 mm dish may be critical. Author should make it clear that the density of the cells need to be adjusted according to the cell type and the most importantly the cell density needs to be adjusted so that cells contact each other.

Response: We thank for the suggestion and we shortened this item and added the information requested.

*Line 117, "Pull the micropipette as specified"

Provide more detailed information about "as specified", or cite reference(s) from which readers can obtain information.

Response: The reference was cited in the manuscript.

*Line 131, "Prepare the Lucifer yellow solution (5%) in 150 mmol/L LiCI"

Why did authors choose 150 mM LiCl? Is there any possibility that injected Li ion alters membrane potentials, which can alter gap junction functionality? Or, isn't it possible that injected Li ion may inhibit glycogen synthetase kinase beta (GSK beta) and change the cellular physiology?

Response: The reviewer question is relevant! The Lucifer yellow is a lithium salt, and in general depending of the concentration has not a good solubilization in KCl saline solution. Moreover no electrophysiological changes was reported in LY dye coupling experiments (J. Cell. Mol. Med. Vol 16, No 1, 2012 pp. 22-31). This technique was used for years in a wide spread way. (Curr. Protoc. Toxicol. (2009) 41:2.17.1-2.17.10 - Assessment of Gap Junctional intercellular communication; Bioelectrochemistry 69 (2006) 187–192 - Automatic positioning of a microinjector in mouse ES cells and rice protoplasts). Also, depending on how the injection was made it can alter the gap junction functionality, because of that the experiment is repeated many times and the observation of the morphology of the cell during the experiment are important.

*Line 148-151, "Avoid communication by intercellular bridges (incomplete mitosis), a co-injection of rhodamin dextran (from 2 to 10 KDa), which does not pass through gap unctions but passes through intercellular bridges and certain types of nanotubules is recommended."

If authors have images that indicate the utility of rhodamin dextran (2-10KDa), these images should be included into the figures.

Response: It was added in the results.

*Line 161-162, "After few minutes, connected cells become fluorescent (asterisks) indicating the diffusion of the fluorescent dye through the gap junctions."

As discussed by the authors in the previous paragraph (line 148-151), this diffusion of dye to the neighboring cells might be through intercellular bridges. In order to rule out this possibility, the data from co-injection of rhodamin dextran and lucifer yellow are required.

Response: We added a figure 2 with the co-injection of rodhamine dextran 10KDa and LY.

*Line 177-178, "since the degree of cellular communication is related with the number of coupled cells"

It would be nice if author can show the data of quantification of number of coupled cells after injection described in this paper in the presence and absence of gap junction inhibitor(s).

Response: We added the figure 3 with an experiment showing the quantification of coupled cells.

Minor Concerns:

A recent paper described a very similar approach in a highly quantitative fashion to analyze importance of gap junction in cancer stem cells (Hitomi, M., et al. Cell Rep 11, 1031-1042. 2015) and should be cited.

Response:  The paper is very interesting and was cited in the manuscript.

Additional Comments to Authors:

N/A

Reviewer #4:

Manuscript Summary:

This is an interesting and well documented study.

Major Concerns:

N/A

Minor Concerns:

N/A

Additional Comments to Authors:

N/A

Reviewer #5:

Manuscript Summary:

This is a straight-to-the point description of the dye microinjection technique. Well done.

Major Concerns:

None

Minor Concerns:

The dye coupling technique may not always test for gap junction functionality if not adapted to the connexin type. For example, Lucifer Yellow will not diffuse through Cx30 channels while they are fully functional.

Additional Comments to Authors:

I suggest to the authors to add a table of the commonly used fluorescent dye and their characteristics (excitation/emission wave lengths, MW and charge).

Response: A table was added in the manuscript.

Reviewer #6:

Manuscript Summary:

The manuscript presented a single-cell microinjection method applying hyper polarizing pulses to visualize cellular communication via gap-junctions in living cells. The video spent too much time introducing the microinjection setup. This should be cut down and the time be used for introducing more details of the biological protocol. Otherwise, the value of the video/manuscript will be rather limited to readers.

Comments on Protocol:

1.line110, the authors may give the reason for why the operator needs to count cell numbers or give the acceptable cell density for the injection experiment.

Response: We changed the protocol manuscript. We give a protocol specific for IT76 cells, but according to the type or size it have to be adjusted.

2.Line 117-118, the authors should introduce measurement or calibration method for the resistance of the micropipette with a diameter of 0.2 um instead of simply stating "to have a final resistance of approximately 30MΩ. " If the value is derived from other publications, please cite references.

Response: The reviewer is right! We added 2 more references to guide readers

3. Line 136-137, the authors may give the magnitude value of the pulse to test the micropipette.

Response:  The pulse has to be between 1-2 nA. We added this information to the manuscript (J. Cell. Mol. Med. Vol 16, No 1, 2012 pp. 22-31)

4. Line 147-151. As the authors stated that the "communication by intercellular bridges" are also attributed to the cell screening results, the author should carefully evaluate the effect on the experimental results or add the injection experiments on "rhodamin dextran (from 2 to 10 KDa)" to evaluate its effect.

Response: We added the figures with rhodamine dextran 10KDa and another with a gap blocker.

5. The injection success rate and transfer distances derived in the experiments are important to discuss for proving the effectiveness of the proposed method.

Response: The dye coupling rate is an indirect measure of how much the cell is expressing functional connexins. This technique was used in hundreds of paper studying gap junctions since the 80´s.

6. Line195. The authors should discuss comparisons of using pneumatic injectors and the proposed method.

Response: It was added in the discussion.

Major Concerns:

N/A

Minor Concerns:

N/A