Submission ID #: 51128
Editor Name: Shanelle Ko
Videographer name:

Film Date: 10/24
Authors and Affiliations:  
Mohebi, Ali

Electrical and Computer engineering

Michigan State University

mohebial@msu.edu
Oweiss, Karim G.

Electrical and Computer engineering

Neuroscience Program

Michigan State University

koweiss@msu.edu
Title:  A Fully Automated Rodent Conditioning Protocol for Sensorimotor Integration and Cognitive Control Experiments
Corresponding Author: 

Oweiss, Karim G.

Authors, please fill out the brief questionnaire below.   
A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ___N___ If yes, please list make and model of your microscope: ______________________________
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)_N___ 
C.  Which steps of your protocol will viewers benefit most from having filmed? ___________________
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  ______________________________
1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

Conceptual Narrative:
The overall goal of the following experiment is to introduce an automated behavioral framework for operant conditioning of rodents to test complex cognitive tasks. (Intro)
The behavioral task is a five-hole nosepoke design that is conventionally used for 5-choice serial reaction time task studies (P1)
The subjects are required to maintain their snout inside a fixation hole until the presentation of a go cue after a short delay period. (P2)  

An auditory instruction cue is presented during the fixation epoch to guide the subject to choose a future motor target to receive a reward. (P3)
The use of an auditory cue enables well-defined transitions between different task epochs, and permits studying multiple aspects of behavior as well as neuronal mechanisms of working memory, decision-making and motor planning. (P4)
P1: reuse 2.1.2
P2: reuse 3.10.1

P3: reuse 3.19.1
P4: LAB MEDIA: Figure 3
B.  Interview: (Said by you on camera. Don’t forget to smile!)  
1.1. Ali Mohebi: The main advantage of this technique over existing methods, such as maze navigation experiments, is that overt motor behavior is minimized during critical epochs of the task that may be confounded by systematic variations in the subject’s trajectory.    

1.2. Karim Oweiss: Though this method can provide insight into motor control studies, it can also be used to investigate other high level cognitive processes such as perception, attention and memory formation.
1.3. Karim Oweiss: Demonstrating the procedure will be Dylan Miller an undergraduate student from my laboratory. 

1.3.1. Interview style: Author saying the above 

1.3.2. The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Protocol (read by voice talent at JoVE):

2. Experimental Setup
2.1. The following study is performed in an operant conditioning box consisting of a five-hole nosepoke wall on one side and a food delivery trough on the opposite side. 
2.1.1. WIDE: Talent walks into room toward conditioning chamber

2.1.2. MED: Shot of conditioning chamber with 5-hole nose poke wall
2.2. The center nosepoke hole is considered a “fixation” hole and the four other holes (two on each side of the fixation hole) are considered motor target holes. 
2.2.1. MED: Talent points at fixation hole

2.2.2. MED: Talent points at the motor target holes
2.3. Each hole is equipped with a tri-color LED and an infrared beam emitter-detector system that detects when the animal enters and retracts from the fixation hole.
2.3.1. CU: Talent points to LED

2.3.2. CU: Talent points at infrared beam
2.4. A programmable tone generator creates a single frequency tone with millisecond precision and is connected to a speaker mounted inside the operant box. 
2.4.1. CU: Talent points at tone generator

2.4.2. CU: Talent points at the speaker
2.5. The tone generator and nosepoke holes are controlled through the behavioral tracking system using specialized software.

2.5.1. SCREEN: Talent sets up tone generator and nose poke hole with software
3. Habituation and Training
3.1. During the habituation period, handle the animals daily and allow them to explore the operant conditioning chamber and food hopper. Gradually restrict their food intake over a three day period to reach 85-90% of their original body weight. 
3.1.1. WIDE: Talent walks in with animals

3.1.2. MED: Talent places animal in chamber

3.1.3. MED: Talent places appropriate amount of food in hopper
3.2. The first step is to familiarize the subject with the nosepoke holes, food delivery port and the association between the flashing holes and reward.
3.2.1. MED/CU: Example of animal exploring chamber, with the nosepoke holes, port and or LED lights in view
3.3. To do this, select one out of the two targets on a random schedule and play the Go cue (a white auditory noise) while the LED inside the hole is flashing.

3.3.1. CU: Talent points at the selected hole

3.3.2. CU: Example of the auditory noise and LEDs flashing. Text Overlay (0.3 sec pulse duration).
3.4. Set the software to reward the subject upon visits to the hole.
3.4.1. MED/CU: Example of subject choosing the correct hole and receiving reward
3.5. Time-out the trial after 30 seconds if the hole is not visited and start a new trial.
3.5.1. MED: Example of animal in chamber not visiting a hole

3.5.2. SCREEN or MED over the shoulder: Talent sets up for a new trial
3.6. To aid in target selection, punish visits to incorrect holes by terminating the trial, followed by 5 seconds of black-out.
3.6.1. MED: Example of subject choosing the wrong hole

3.6.2. MED: Example of chamber during the 5 second black out, multiple takes/angles, repeated
3.7. Next, select a new hole and start a new trial until the desired level of performance is reached.
3.7.1. SCEEN: Talent selects a new hole or MED: Talent points at next target hole
3.8. To train the subject to poke inside the fixation hole to start a trial, a yellow LED is flashed inside the fixation hole. Upon visiting the fixation hole immediately play the Go cue and start a new trial.
3.8.1. CU: Example of the yellow LED flashing in the fixation hole

3.8.2. MED: Subject visits fixation hole and the Go cue is played
3.9. Penalize incorrect visits by 5 seconds of black-out.
3.9.1. Reuse 3.6.2

3.10. Once the subject learns to visit the fixation hole, teach it to maintain their nose inside the hole for a set period of time.
3.10.1. CU: Example of mouse holding nose in fixation hole
3.11. To do this, wait for the subject to visit the fixation hole and terminate the trial if the subject retracts within 500 msec. 
3.11.1. CU: Example of mouse retracting early from fixation hole and the trial terminating
3.12. Penalize premature retractions by a black-out period for 7 seconds.
3.12.1. Reuse 3.6.2
3.13. Otherwise, play the Go cue and reward the correct visits by delivering a food pellet.
3.13.1. MED/CU: Example of the Go cue and pellet delivery
3.14. The next step is to introduce the auditory instruction cue as a single frequency auditory tone pulsed in triplets, with a pulse duration of 150 msec and interpulse interval of 100 msec.
3.14.1. SCREEN: Talent sets up software as described
3.15. In addition, increase the length of the delay period to an average of 1.5 seconds. Choose a random delay period length at each trial based on a uniform density between 1.3-1.8 seconds.
3.15.1. SCREEN: Talent sets the lengths of the delay period 

3.16. Play the instruction cue immediately after the subject enters the fixation hole.
3.16.1. CU: Example of the tone played after subject enters hole
3.17. Assign two instruction cues to each of the targets.  However, only use one cue associated for each target at this stage until the subjects become more familiar with the task.
3.17.1. SCREEN: Talent assigns instruction cues to targets
3.17.2. CU: Example of a different cue from 3.16.1
3.18. Let the subject use both auditory and visual cues to select the target hole until the desired performance level is reached. 
3.18.1. MED: Example of subject interacting with both auditory and visual cues
3.19. To train the subject to only use auditory cues, turn off the flashing LEDs inside the target holes so that the subject can only use auditory instruction cues.
3.19.1. MED: Example of subject reacting to just auditory cues
3.20. Introduce the two other cues to the sequence of randomly presented instruction cues when the desired performance is reached and repeat the training steps.
3.20.1. MED: Example(s) of subject reacting to the additional cues
3.21. Make sure that at the end of each step, the subject maintains >75% behavioral performance for at least three consecutive sessions before progressing to the next stage. Once the final stage is reached, keep the subject on the protocol for a week to ensure the performance is maintained at the desirable level.
3.21.1. MED: Example of subject demonstrating correct behavioral performance

3.21.2. MED: Talent approaches chamber with mice (as if it were a different testing day)
4.  Behavioral Data Analysis
4.1. Define the success rate as the percentage of correct visits to the targets divided by the total number of trials. The success rate should be measured at each stage of training.
4.1.1. MED: Talent sits at computer 
4.1.2. MED: Over the shoulder of talent analyzing data 
4.2. The different error types include: Premature retraction, the percentage of trials timed-out due to early retractions from the fixation hole; Commission error, the percentage of failed trials when the subject visits an uninstructed target and Omission Error, the percentage of errors when the subject does not visit any of the targets after trial initiation.
4.2.1. CU: Examples of the above error types.  It would be ideal if the Talent could identify each and label each with a text overlay of the error type
4.3. For each trial, measure the reaction time, defined as the delay between the onset of the Go cue and the subject retracting from the fixation hole.
4.3.1. SCREEN: Talent measures the reaction time 
4.4. The Time to Target is also measured as the duration between the subject retracting from the fixation hole and entering the target hole.
4.4.1. SCREEN: Talent measures the time to target
5. RESULTS: Task Performance after Training
5.1. This example shows the success rate for a single subject across 14 recording sessions (5.1.1). Error types are dominated by premature retractions, with commission errors and omission errors occurring less frequently (5.1.2).  This histogram shows the distribution of the reaction time across different trials (5.1.3). Here, the distribution of the time to target across different trials is shown (5.1.4).

5.1.1. LAB MEDIA: Figure 2, panel A
5.1.2. LAB MEDIA: Figure 2, panel B, place an arrow at the slice correct location when mentioned in text

5.1.3. LAB MEDIA: Figure 2, panel C

5.1.4. LAB MEDIA: Figure 2, panel A

5.2. Once the subject acquired the task, it was implanted with a 32 channel microelectrode array in the prelimbic area (5.2.1). A sample trace is shown aligned with a raster plot of 22 simultaneously recorded units (5.2.2). Markers for behavioral events are plotted on top of the traces and show high prediction power of motor intention after the Go cue (5.2.3).
5.2.1. LAB MEDIA: Figure 3
5.2.2. LAB MEDIA: Figure 3, point an arrow at the sample trace on top and the to the raster plot below
5.2.3. LAB MEDIA: Figure 3, highlight the region of the sample trace and raster plot directly after the go cue
6. Conclusion (said by authors on camera)

6.1. Ali Mohebi: While attempting this procedure, it’s important to remember to check the apparatus prior to each training session and monitor the subject’s performance afterwards. Significant decline in the behavioral scores may be caused by equipment malfunction.
6.2. Karim Oweiss: After its development, this technique should pave the way for researchers in the field of cognitive neuroscience to explore top down control of goal-directed behavior.

Provided Media

Authors, please list all additional* images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

*Figure files already uploaded do not need to be provided again unless modifications have been made.

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.

( 2011, Journal of Visualized Experiments


