Eslami 51211 redos (19)

P1 Use the abbreviated pronunciation of HEp-2 in the voiceover (call it “HEp” “2” without naming each letter and the number 2)  (0:15)

P4 Ultimately, the presence of ANAs can be used to aid in the diagnosis of connective tissue diseases.  (0:54, rewrite)

2.1a Remove reagents from packaging and allow each item to come to room temperature. Prepare reagents and dilute patient sera according to the direction insert.  Slides are barcoded and can be easily integrated into automated systems. This procedure illustrates manual slide processing; high throughput laboratories, however, may opt for automated slide processing equipment with barcode scanning capabilities. (2:08, new sentences)

2.1b INOVA instruments are connected through a centralized intelligent network that provides control over workflow, results, and reporting.  For IFA, this results in positive patient identification from processing, and elimination of transcription and related errors. (new sentence)

2.1c After accessioning, sample orders are downloaded from the LIS to the QUANTA Link. (new sentence)

2.1d Automated processing performed by QUANTA-Lyser, ensures sample integrity, maximizes throughput and minimizes hands-on time. (new sentence)

2.1e For higher volume labs, NOVA View provides a platform designed to help standardize the interpretation of IFA slides, captures and archives digital images for operator review. (new sentence)

3.2 Place the slide in a staining container with a damp paper towel on the bottom. Cover the container and incubate the slide for 30 minutes. The humid conditions will prevent the substrate from drying out which could result in artifactual staining. (3:15, rewrite)

3.3a After the incubation period, rinse off the serum using a gentle stream of wash buffer. In order to avoid damaging the substrate, angle the slide slightly so that the stream is not directly pointed on the substrate. (rewrite)

3.3b: Tap off excess wash buffer and place the slide into a Coplin (pronounced COPE-LIN) jar containing wash buffer. (4:04)

4.1 Remove the slides from the wash buffer and gently tap to remove the excess wash buffer. Apply 1 drop of fluorescent conjugate onto each well. For ANA testing, the use of an IgG Fc specific conjugate is recommended. Incubate the slides for 30 minutes in the humidified container, and be sure to replace the staining cover. The conjugate is light sensitive, and the cover will protect the slides from light exposure.  (4:57, new sentence)

5.4 In addition to manual interpretation, slides can be loaded and scanned by the automated fluorescence microscope. No darkroom is necessary. (6:44, new sentence)

6.1 Autoantibody binding on the constituent protein structures within the nucleus results in five major nuclear patterns including homogenous (pronounced as homo-gene-ous), speckled, centromere, nucleolar, and nuclear dot. (7:43, new sentence)

6.3 The speckled pattern is associated with negative mitotic cells and a speckling pattern of the dividing cells. The speckling can be defined as coarse or fine. Coarse speckling is the result of several types of autoantibodies such as “S” “M” and “R” “N” “P”. (8:22, new sentence)

6.4 Fine speckling can be due to a number of antigens, including  “S” “S” ”A”, “S” “S” ”B” as well as RNA polymerase. (8:50, new sentence)

6.5 This pattern is referred to as dense fine speckled and is indicative of anti-DFS70 (pronounce this as “D” “F” “S” ) autoantibodies. Mitotic cells show speckled staining of the metaphase chromatin, while resting cells display uniformly distributed fine speckles throughout the interphase nucleus. In these cases confirmatory tests should be performed as DFS70 autoantibodies are prevalent in healthy individuals vs. patients with connective tissue disease. (9:20, new sentence)

6.6 To identify the centrome pattern, scan the wells and identify mitotic or dividing cells. The dividing have numerous discreet speckled in close association with another, often called the metaphase bar. The resting cells will show approximately 40-60 discreet speckled distributed throughout the nuclei. (9:40, new sentence)

6.7 The nucleolar pattern is associated with homogenous or speckled staining of the nucleoli along with weak speckled or homogenous staining of the nucleoplasm. For this pattern, staining of the chromosomal region in mitotic cells is variable. These patterns are associated with anti-RNA polymerase III, anti-fibrillarin (pay attention to pronunciation; the current VO is not correct), and anti- “P””M / “S” “C” “L” antibodies. (10:10, new sentence)

6.8 The nuclear dot pattern is associated with a few discrete speckles in the nucleus with negative metaphase mitotic cells.  This characteristic pattern is often the result of Sp-100, PML, or p80 colin autoantibodies. These antibodies are associated with primary biliary cirrhosis and autoimmune hepatitis.  (11:10, new sentence)