## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
REAGENTS
0.5M EDTA
Anti-human CD44-FITC | BD Pharmigen | 555478
Anti-human CD44-PE | BD Pharmigen | 555479
Anti-human HLA-AlexaFluor488 | BioLegend | 311415
Anti-mouse CD45-APC | eBioscience | 17-0451-82
Bond Primary Antibody Diluent | Leica | AR9352
CellSave Preservative Tubes | Veridex | 952820 (20 pack) 79100005 (100 pack)
CellSearch CTC Control Kit | Veridex | 7900003
CellSearch CTC Kit | Veridex | 7900001
CellSearch CXC Control Kit | Veridex | 7900018RUO
CellSearch CXC Kit | Veridex | 7900017RUO
Instrument Buffer | Veridex | 7901003
Streck Cell Preservative (aka CytoChex) | Streck | 213350
EQUIPMENT
1 ml syringe
10 ml serological pipette
1000µl pipette
1000µl pipette tips
12 x 75mm flow tubes
200µl gel loading tips
200µl pipette
22 gauge needle
5 3/4" disposible pasteur pipet | VWR | 14672-200
5 ml serological pipette
Automated pipettor
Capillary Blood Collection Tube (EDTA) | BD Microtainer | 365974
CellSearch Analyzer II | Veridex | 9555 | Includes magnests and verification cartirdges
CellSearch AutoPrep System | Veridex | 9541
Centrifuge
MagCellect Magnet | R&D Systems | MAG997
Small Latex Bulb | VWR | 82024-550
Vortex

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=