## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
Instruments
JEM2100 with LaB6 | JEOL Ltd. | JEM-2100 | operated at 200 kV
with TEMCON software | JEOL Ltd.
Gatan626 Cryo-holder | Gatan, Inc. | 626.DH | cooled to -175 °C
with temperature controler unit | Gatan, Inc.
Gatan 4K x 4K CCD camera | Gatan, Inc. | US4000 | 4096 x 4096 pixel at 15 microns/pixel physical resolution
Solarus Model 950 plasma cleaner | Gatan, Inc.
Vitrobot Mark IV | FEI
Materials
Carbon coated 300 mesh 3mm copper grid | Ted Pella | 01821 | plasma cleaned for 10 s on high power
Quantifoil R2/2 300 mesh | Electron Microscopy Sciences | Q225-CR2 | Carbon coated 300 mesh Cu grids with 2 mm in diameters holes
Uranyl acetate dihydrate | Ted Pella | 19481 | 1% solution, filtered
Galactosyl ceramide | Avanti Polar Lipids Inc. | 860546
Dioleoyl-sn-glycero-phospho-L-serine | Avanti Polar Lipids Inc. | 840035
Software
EM software Digital Micrograph | Gatan, Inc. |  | http://www.gatan.com/DM/
EM software EMAN | free download |  | http://blake.bcm.edu/emanwiki/EMAN/
EM software Spider | free download |  | http://spider.wadsworth.org/spider_doc/spider/docs/spider.html
EM software IHRSR | free download |  | Programs available from Edward H. Egelman http://people.virginia.edu/~ehe2n/
EM software (IMOD) | free download |  | http://bio3d.colorado.edu/imod/
EM software (SerialEM) | free download |  | ftp://bio3d.colorado.edu/pub/SerialEM/
UCSF-Chimera | free download |  | http://www.cgl.ucsf.edu/chimera/download.html

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=