# Submission ID #: 51273

# Editor Name: Brigid Stadinski

# Videographer name: TBD

# Film Date: TBD

# Authors and Affiliations:

Sherry N. Davidoff1, Adam R. Miles1, Valentin Romanov1,2, Bruce K. Gale1,2, Josh W. Eckman1,and Benjamin D. Brooks1

1Wasatch Microfluidics, LLC, Salt Lake City, UT, 2 Department of Mechanical Engineering, University of Utah, Salt Lake City, UT

# Title: The Submerged Printing of Cells onto a Modified Surface Using a Continuous Flow Microspotter

# Corresponding Author:

Benjamin D. Brooks1, Wasatch Microfluidics, Salt Lake City, UT, bbrooks@microfl.com, 801.885.4073

Authors, please fill out the brief questionnaire below.

- Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ____N_____ If yes, please list make and model of your microscope: ______________________________

**Note:  This question is to get at whether or not you will need a camera hook-up to look into the microscope.  However, if your microscope has a digital camera attached to a computer, you can gather these shots by collecting screen capture movies.

Does your protocol include microscopy steps that are visualized through a microscope with a digital camera/computer attached? (Y/N) __Y_____

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)____N____

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps____The printing process and the fluorescence microscopy____

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  ___Preparing the cells for printing and ensuring that no air bubbles enter the line. The cells are counted and prepared to use right before printing so that the cells don’t sit at room temperature for too long. Additionally, the printing process is stopped before any air enters the inlets.____

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of this procedure is to print 3T3 fibroblasts onto a serum-coated surface. (Intro)

This is accomplished by first pre-adsorbing serum onto a tissue culture surface. (P1)

# Editors, as this point is narrated you could use either of these alternatives or a combination:

# Shot 2.4.1 2.8.1 (ECU:  Marked spot as talent pipettes 50 μL of fetal bovine serum into the rectangular area and spread it over the entire region with the tip).

# Figure 1D.  This figure shows the schematic of submerged printing where printhead docks to tissue culture compatible surface.  It could be used for this point if you could somehow re-work this image to remove the CFM Printhead and animate the addition of serum by a pipette coming in and leaving liquid on the rectangle where the print head was.

The second step is to print a suspension of fibroblasts onto the surface using a continuous flow microspotter, followed by incubation of the cells at 37 °C for 2 hours. (P2)

Editors, as this point is narrated, please show shot 3.4.1 – (BROLL footage of the print head, plate and instrument as the suspended cells are printed with close ups of the print head submerging and printing the cells)

Next, printed cells as well as cells seeded through standard cell culture are stained with propidium iodide and visualized under an inverted microscope for comparison. (P3)

Editors, as this point is narrated, please show the microscope in the Cells_1.ai file.

Ultimately, fluorescence microscopy is used to assess cell viability, density, and morphology at relevant time points. (P4)

Editors, as this point is narrated Figure 3 can be shown.

B.  Interview: (Said by you on camera. Don’t forget to smile!)  {Comment: Some of the wording was changed by the speakers during filming}

  - Bruce Gale:  The main advantage of this technique over existing methods, like pin printing, is that the print head forms a reversible seal with the surface to allow cells to be submerged printed in cell medium.

    - MED:  Bruce speaks toward camera, interview style.

  - Ben Brooks:  Although this method can be used for testing toxicity and efficacy of new drug therapies, it can also be applied to other systems, such as analyzing therapies on tissue slices and creating a perfusion model for organ systems such as the liver.

    - MED:  Ben speaks toward camera, interview style.

  - Nikki Davidoff:  Generally, individuals new to this method will struggle because during printer priming and cell printing air cannot enter the system or it can cause cell death.

    - MED:  Nikki speaks toward camera, interview style.

# Protocol (read by voice talent at JoVE):

- Cell culture and printing surface preparation

  - To begin, thaw NIH/3T3 (pronounced “N-I-H 3-T-3”) cells for 2 to 3 minutes in a shaking water bath at 37°C.  Resuspend the cells in 5 mL of complete media and centrifuge at 1,500 x g for 3 minutes.

    - CU:  Labeled container of frozen cells as they shake in a 37°C.

# 2.1.1b  Added Shot – Talent resuspends cells in 5 mL of complete media in biosafety hood.

    - MED-over the shoulder:  Talent places the resuspended cells in the centrifuge and closes lid.  TEXT overlay (as “resuspend the cells in 5 mL of complete media” is narrated):  see text for recipe

# 2.1.2b Added shot – Talent pressing start on the centrifuge.

  - Remove the cell supernatant without disturbing the cell pellet.  Then, resuspend the cells in 5 mL of media and transfer 10 μL of the cell suspension to a 0.5 mL microcentrifuge tube.

    - CU:  Tube of centrifuged cells as talent uses a pipette to remove the supernatant.

    - MED-over the shoulder:  Talent resuspends the cells in 5 mL of media and transfers 10 μL of the cell suspension to a 0.5 mL microcentrifuge tube.

  - Next, add 10 μL of Trypan Blue to the cell suspension and stir with the tip of the pipette.  Pipette 10 μL of the stained cells into a haemocytometer chamber before counting the cells at 10x magnification.

    - CU:  Cell suspension as talent adds 10 μL of Trypan Blue to the cell suspension and stirs with the tip of the pipette.

    - MED:  Talent pipettes 10 μL of the stained cells into a haemocytometer chamber.

  - Count the live cells, which resemble small, white balls, for 4 of the 9 large squares.  Only count the live cells that do not appear dark blue from the Trypan Blue stain.

    - LAB MEDIA:  Cell_count:  Microscope image of cells in the haemocytometer chamber showing live cells that resemble small, white balls and dead cells that appear dark blue from the stain.

  - Calculate the average number of cells per large square, resulting in the number of cells times 10,000 cells/mL in the original cell suspension.

    - MED-over the shoulder:  Talent calculates the average number of cells per large square.

  - Then, seed cells at a density of 100,000 cells/mL with a total of 5 mL in each T25 flask.  Culture the cells to between 70 and 80% confluency before beginning experiments.

    - MED:  Talent seeds the cells in the T25 flask.

    - MED-over the shoulder:  Talent places the cells into the incubator.

  - To prepare the printing surface, use a marker to mark a rectangle the size of the print head on the bottom of a tissue-culture-treated polystyrene 12-well plate.

    - CU:  Tissue-culture-treated polystyrene 12 well plate as talent marks a rectangle with a marker the size of the print head.  TEXT overlay:  7 mm x 19 mm

  - Pipette 50 μL of fetal bovine serum into the rectangular area and spread it over the entire region with the tip.  Leave the well plate in a sterile biosafety hood overnight to allow the serum spot to dry completely.

    - ECU:  Marked spot as talent pipettes 50 μL of fetal bovine serum into the rectangular area and spread it over the entire region with the tip.

    - MED:  Talent places the petri dish in a sterile biosafety hood.

- Submerged printing

  - To begin submerged printing, rinse the print head out with distilled water.  Then, fill a 60 mm Petri dish with distilled water and dock the print head onto the surface.

    - MED-over the shoulder or MED:  Talent rinses the print head out with distilled water.

    - CU:  60 mm Petri dish as talent fills with distilled water and docks the print head onto its surface. {Comment: This shot is redundant with 3.1.1. Rinsing the print head with distilled water is done by docking the print head on the surface in distilled water}

  - Flow distilled water through each of the lines for 2 minutes at 150 μL/min using a pneumatic pump.  Then, discard the water from the Petri dish and fill it with clean water.

    - MED or CU:  Pump/tubing as talent starts the flow of distilled water through the lines at150 μL/min.

    - MED-over the shoulder:  Talent discards the water from the Petri dish and fills it with clean water.

  - Next, move the print head up and down in the water 3 times.  Dock the print head center over the serum-coated spot in the pre-prepared 12-well plate.  Then, prime the print head with pre-warmed complete media at 300 μL per channel. If performing multiple prints, add a bleach rinse in addition to the water rinse between prints.

    - MED CU:  Talent moves print head up and down in the water, add bleach rinse

    - CU:  Print head center as it is docked over the serum-coated spot in the pre-prepared 12 well plate.

    - MED:  Talent primes the print head with pre-warmed complete media at 300 μL per channel.

# 3.3.3b – Added shot: CU of media moving through the tubing.

  - Proceed to print the suspended cells at a concentration of 50,000 cells/mL onto the surface and at 60 μL/min, 100 μL per channel.

    - BROLL:  Obtain footage of the print head, plate and instrument as the suspended cells are printed.  Be sure to obtain some close ups of the print head submerging and printing the cells.

  - After cell printing, place the print head, left docked against the surface, and the manifold in a cell culture incubator set to 5% CO2 and 37oC for 2 hours.

    - MED-over the shoulder inside of incubator:  Talent places the print head and the manifold in a cell culture incubator and then removes it.

# 3.5.1b: same action as 3.5.1 (just placing print head in incubator) but from a different angle

  - After the 2 hour incubation, remove the print head and place the lid on the culture dish.  The time at which the print head is removed is considered the 0 hour time point.

    - CU:  Print head as talent removes it from incubator and places the lid on the culture dish.

- Standard cell culture

  - For comparison, standard cell culture is also performed.  Add 1 mL of pre-warmed media to one of the serum-spotted 12-well plates.

    - MED:  Talent pipettes 1 mL of pre-warmed media to one of the serum-spotted 12-well plates.

  - Then, take 1 mL of the remaining cell suspension and pipette it into a single well of the 12-well plate.  This will produce a culture containing 50,000 cells in the dish.

    - CU:  12-well plate as talent pipettes 1 mL of the remaining cell suspension into a single well.

  - Place the cell culture plate in an incubator at 37°C for 2 hours.  After the 2 hour incubation begin timing.  For consistency between printed and seeding samples, this is considered the 0 hour time point.

    - MED or WIDE:  Talent places the cell culture plate in an incubator.

    - CU:  Timer as talent starts it.

- Culture visualization

  - After 0, 2, 24, and 48 hours, prepare cells from each of the two methods for imaging by staining with propidium iodide, which is only incorporated into the nucleus of dead cells.

    - Title Card.

  - First, gently rinse the cells 3 times with 1 mL of phosphate buffered saline with calcium and magnesium to remove any debris.

    - MED:  Talent gently rinses the cells with 1 mL of phosphate buffered saline with calcium and magnesium from a labeled container.  Continue action in next shot.

    - CU:  Cells as they are rinsed with 1 mL of phosphate buffered saline with calcium and magnesium.

  - Next, add 1 mL of the pre-warmed culture media to each culture vessel, and then 1 μL of propidium iodide stock solution to each culture vessel.

    - MED-over the shoulder:  Talent pipettes 1 mL of the pre-warmed media to each culture vessel from a labeled container.

    - CU:  Cells as talent pipettes 1 μL of propidium iodide stock solution to each culture vessel.  TEXT overlay:  1 mg/mL PI stock solution

  - Incubate the cells stained with propidium iodide at 37°C for 10 minutes before imaging the cells using an inverted microscope at 10x and 40x magnification.

    - MED or WIDE:  Talent at the inverted microscope imaging the cells.

# 5.4.1b: CU of same shot as 5.4.1

  - Finally, discard the cells in an appropriate biohazard container.

    - MED-over the shoulder:  Talent discards the cells in an appropriate biohazard container.

- Results: Comparison of morphology, cell density and viability of cell printing versus cell seeding

  - The fibroblast cell line NIH/3T3 cells were printed or seeded onto a submerged surface.

    - Title Card

  - After printing and seeding, the cells were visualized to assess density and morphology at relevant time points.  The images show that the cells possess almost identical phenotypes at each time point and at each magnification.  Based on these figures, the effect of printing was determined to be minimal.

    - LAB MEDIA:  Figure 2 - Authors, please provide a version of this figure for the video without the A and B labels and only the “Printed cells” and “Seeded cells” labels

  - The cell viability was assessed using a propidium iodide stain and revealed that the viability for the printed cells was not significantly different than the seeded cells for each time point.

    - LAB MEDIA:  Figure 3B - Authors, please provide a separate version of figure 3B for the video without the “B” label.

  - The major difference between the two methods of attaching the cells to the surface is the density of the cells printed.

    - LAB MEDIA:  Figure 3A - Authors, please provide a separate version of figure 3A for the video without the “A” label.

  - Cell density decreases at the two hour time point by over 50% in both seeded and printed cells.  Further study is warranted to determine the cause of this decrease; however, overall printed density ratios when compared to seeded remains significantly higher.

    - LAB MEDIA:  Figure 3A.  Editors, please highlight the bars at the second time-point at 2 hours as this point is narrated.

  - The printed cell density in the flowcell was approximately ten times as dense at each time point as the seeded cells, considering cells were printed at the same density as seeding, but in a smaller area.

    - LAB MEDIA:  Figure 3A.  Editors, please highlight the solid gray “printed” bars at all time points.

  - At the final time point the cells are at the same density which is likely due to cell motility and resource consumption limitations.

    - LAB MEDIA:  Figure 3A.  Editors, please highlight the bars at final time point at 48 hours as this point is narrated.

- Conclusion (said by authors on camera) {Comment: Some of the wording was changed by the speakers during filming}

  - Bruce Gale:  This technique will pave the way for researchers in the field of Drug Discovery to explore drug efficacy and toxicity in cancer, AIDS, heart disease, and other high demand fields.

    - MED:  Bruce speaks toward camera, interview style.

  - Ben Brooks:  In conjunction with this procedure, other methods like Adheren’s “Programmable Cell Adhesion” can be performed in order to attach nonadherent cell types allowing for expanded drug discovery options.

    - MED:  Ben speaks toward camera, interview style.

  - Nikki Davidoff:  After watching this video, you should have a good understanding of how to print cells on a surface using submerged printing techniques.

    - MED:  Nikki speaks toward camera, interview style.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

Cells_1.ai – part of this figure is used for schematic graphic

Figure 1 – part of this figure is used for schematic graphic

Cell_count:  Microscope image of cells in the haemocytometer chamber showing live cells that resemble small, white balls and cells that appear dark blue from the stain.  Authors, please provide.

# Figure 2 - Authors, please provide a version of this figure for the video without the A and B labels and only the “Printed cells” and “Seeded cells” labels

# Figure 3B - Authors, please provide a separate version of figure 3B for the video without the “B” label.

# Figure 3A - Authors, please provide a separate version of figure 3A for the video without the “A” label.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.