# Submission ID #: 51294

# Editor Name: Laifong Lee

# Videographer name: Ian McGuire

# Film Date:

# Authors and Affiliations:

*Xiaofeng Cui

1Department of Biomedical Engineering

Rensselaer Polytechnic Institute

110 8th St, Troy, NY 12180, USA

xfc.cui@gmail.com

*Guifang Gao

2Institute of Virology, School of Medicine

Wuhan University, Wuhan 430071, China

guifanggao@hotmail.com

Guohao Dai

1Department of Biomedical Engineering

Rensselaer Polytechnic Institute

110 8th St, Troy, NY 12180, USA

daig@rpi.edu

*These authors contributed equally to this work

Title: Human Cartilage Tissue Fabrication Using Three-dimensional Inkjet Printing Technology

# Corresponding Authors:

Xiaofeng Cui

Guohao Dai

Authors, please fill out the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ____N_____ If yes, please list make and model of your microscope: ______________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___N_____

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps_1.Printer modification; 2.Ink cartridge modification; 3.Bioink preparation; 4.Cartilage tissue printing_________________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  _Printing PEG hydrogel with simultaneous polymerization during a limited time is challenging. We will prepare some preprinted samples to demonstrate as backups._____________________________

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

Video editor: graphics are in ‘51294_graphic overview.jpg’

The overall goal of this procedure is to construct a three-dimensional human cartilage tissue to test the feasibility of 3D tissue printing using a modified thermal inkjet printer with simultaneous photopolymerization. (Intro)

This is accomplished by first modifying a commercially available Hewlett-Packard Deskjet 500 thermal inkjet printer and 51626a mono color ink cartridge to a bioprinter. (Video editor: show P1 graphic) (P1)

The second step is to combine a simple 3D printing stage and a long wavelength UV lamp to provide instant polymerization of injected bio-ink during the manufacturing process. (Video editor: add P2 photo of the UV lamp to the photo of the printer in P1) (P2)

Next, the bio-ink is prepared by suspending expanded human articular chondrocytes in 10% poly-ethylene glycol solution at 5 million cells per ml. (Video editor: show P3 cartoon) (P3)

The final step is to print the cartilage tissue in a layer-by-layer fashion with simultaneous photopolymerization. (Video editor: show the three cartoons one at a time, from left to right) (P4)

Ultimately, confocal microscopy and histology staining is used to show the even distribution of printed chondrocytes in a 3D hydrogel and excellent cartilage extracellular matrix production in the homogeneous neocartilage during the culture. (Video editor: show P5 images) (P5)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Xiaofeng Cui: The main advantage of this technique over existing methods, like polymerization after manual fabrication or seeding cells after scaffold fabrication, is that the printed cells stay in position in the matrix instead of sinking to the bottom of the scaffold due to gravity. So it forms a homogeneous neocartilage.

# Protocol (read by voice talent at JoVE):

- Bioprinting platform establishment

  - The printer modification demonstrated in this video is based on a Hewlett-Packard Deskjet 500 thermal inkjet printer and a 51626a black ink cartridge.

# Shots:

    - MED: Talent approaching the printer that is on the work surface and setting out the black ink cartridge.

  - Start by removing the top plastic cover of the printer and carefully detaching the control panel from the cover.

Shots:

    - MED: Talent removing the top plastic cover of the printer.

    - MED: Talent detaching the control panel from the cover.

  - Detach the three cable connections between the printer top portion and base. Then remove the printer top portion from the base.

Shots:

    - CU: Three cable connections between the printer top portion and base being detached.

    - MED: Talent removing the printer top portion from the base.

  - Next the small plastic and rubber accessories that comprise the printhead cleaning system are removed from the printer top portion.

Shots:

    - CU: Talent showing the printhead cleaning system that has already been removed. (Videographer: please include the printer top portion in this shot)

  - Remove the base of the paper tray with springs.

Shots:

    - MED: Talent removing the base of the paper tray.

  - The metallic plate covering the plastic paper feeding bar must also be removed.

Shots:

    - MED: Talent showing the metallic plate that has already been removed.

  - In addition, the plastic paper feeding bar must be cut off at the middle feeding wheel position and the two paper feeding wheels removed.  For the purpose of this video, these components have already been removed.

Shots:

    - MED: Talent showing the plastic paper feeding bar that is already cut off.

    - CU: Talent showing the two paper feeding wheels that have been cut off.

  - After cleaning the dust and debris using canned air and ethanol wipes, attach the printer top portion to the base.

Shots:

    - MED: Talent cleaning the printer with canned air.

    - MED: Talent wiping the printer with ethanol wipes.

    - MED: Talent attaching the printer top portion to the base.

  - Prior to use, UV-sterilize the modified printer for at least 2 hours in a laminar flow hood.

Shots:

    - MED: Talent putting the modified printer into the hood and then turning the UV light on.

  - To modify the ink cartridge, first cut off its cap using a hand saw.

Shots:

    - MED: Talent with a hand saw getting ready to cut cap off the ink cartridge.

    - CU: Cap of cartridge being sawed off.

  - Empty the ink and remove the filter that covers the bottom well reservoir of the cartridge. Rinse the cartridge thoroughly with running tap water.

Shots:

    - CU: Ink being removed from the cartridge.

    - CU: Filter being removed.

    - MED: Talent rinsing the cartridge with running tap water.

  - To remove the residual ink, ultrasonicate the cartridge in de-ionized water for 10 minutes.

Shots:

    - MED: Talent putting the cartridge into an ultrasonicator (filled with de-ionized water) and starting the sonication.

  - Examine the cartridge to make sure all the ink has been removed. Spray the cartridge thoroughly with 70% ethanol for sterilization, followed by sterilized de-ionized water.

Shots:

    - MED: Talent checking the cartridge and then spraying it with 70% ethanol.

    - CU: Cartridge being sprayed with sterilized de-ionized water.

  - Lastly, set up a long-wavelength UV lamp over the printing platform to provide simultaneous photopolymerization capacity.

Shots:

    - MED: Talent setting up a long-wavelength UV lamp over the printing platform.

  - Measure UV intensity at the printing platform using a UV light meter. Adjust the distance between the UV lamp and the printer platform so the intensity at the printing subject is between 4 to 8 mW/cm2. This distance between the lamp and the printer platform should be approximately 25 cm.

Shots:

    - CU: A light meter being placed at the printing platform.

    - MED: Talent adjusting the distance between the UV lamp and the printer platform to about 25 cm.

- Bioink preparation

  - The bioink is prepared from human chondrocytes. To expand chondrocytes in monolayer, plate 5 million human chondrocytes into each T175 tissue culture flask for cell expansion in DMEM supplemented with 10% calf serum and 1X penicillin-streptomycin-glutamine.

# Shots:

    - MED: Talent working in the hood: transferring a cell suspension of human chondrocytes into a T175 tissue culture flask (that already contains medium).

  - Culture cells at 37 °C with humidified air containing 5% CO2.

# Shots:

    - MED: Talent putting the 3 flasks into the incubator.

  - Change the culture medium every 3 days until the cells are 85% confluent. Use cells from the same passage.

# Shots:

    - MED: Talent working by hood: aspirating medium from a flask and adding new medium.

  - Prepare the poly-ethylene glycol diacrylate, or PEGDA, solution: dissolve PEGDA in PBS to a final concentration of 10% w/v. Add photoinitiator I-2959 to a final concentration of 0.05% w/v. Filter sterilize the solution.

# Shots:

    - MED: Talent adding PEGDA to a tube/flask followed by PBS.

    - CU: Photoinitiator I-2959 being added to the mixture.

    - CU: Solution being filter sterilized.

  - When the cultured human chondrocytes are 85% confluent, collect the cells. After calculating the cell concentration, transfer the volume of cell suspension needed to prepare bio-ink at 5 million cells per ml into a conical tube.

# Shots:

    - MED: Talent by the hood: adding medium to a flask of cells (after accutase treatment).

    - MED: Talent at the microscope counting cells with a hemocytometer.

    - CU: Cell suspension being transferred to a conical tube.

  - Centrifuge at 1200 RPM for 5 minutes to pellet the cells. Aspirate the supernatant and suspend the cells in the prepared PEGDA solution to form the bio-ink.

# Shots:

    - MED: Talent putting tube into the centrifuge and starting the spin.

    - CU: Supernatant being aspirated.

    - CU: Cells being suspended in PEGDA solution.

- Cartilage tissue printing

  - To begin this procedure, turn on the printer and laptop. Using Microsoft Word, create a printing pattern of a solid circle with a diameter of 4 mm.

# Shots:

    - MED: Talent turning on the printer and laptop.

    - MED/over the shoulder: talent using Microsoft Word to create a printing pattern of a solid circle with a diameter of 4 mm.

  - Place the plastic mold into the printer. Adjust the position of the pattern and make sure it will print exactly into the plastic mold.

# Shots:

    - CU: Plastic mold being placed into the printer.

    - MED: Talent adjusting the position of the pattern.

  - Calculate the number of prints needed to reach the desired thickness of scaffold. For a height of 4 mm, 220 prints are required to create the desired scaffold.

# Shots:

    - MED: Talent performing calculations on a calculator.

    - MED: Talent adding more solid circles in Microsoft Word.

  - Load the bio-ink into the ink cartridge. Cover the cartridge with aluminum foil to protect from direct UV exposure during printing.

# Shots:

    - CU: Bio-ink being loaded into the ink cartridge.

    - CU: Cartridge being covered with aluminum foil.

  - Send the printing command to the printer. When the printer starts to print, pull the paper sensor in order to continue printing in the absence of paper passing through the printer. The whole printing process should take less than 4 minutes for a scaffold of 4 mm in diameter and 4 mm in height.

# Shots:

    - MED/over the shoulder:  talent hitting ‘Print’ on computer.

    - MED: Printer starting to print and then talent pulls the paper sensor while printing continues.

  - Transfer printed neocartilage to a 24-well plate and add 1.5 ml of culture medium to each well.

# Shots:

    - CU: Printed neocartilage being transferred to a well of a 24-well plate.

    - CU: 1.5 ml culture medium being added to the well.

- Cell viability evaluation in 3D scaffold

  - To evaluate cell viability, incubate the printed neocartilage in LIVE/DEAD Viability/Cytotoxicity working solution at room temperature for 15 minutes in the dark.

# Shots:

    - MED: Talent replacing medium in well containing neocartilage with LIVE/DEAD Viability/Cytotoxicity working solution.

    - CU: Well plate being covered with aluminum foil.

  - Cut the cell-laden hydrogel in half.

# Shots:

    - CU: Hydrogel being cut in half.

  - After acquiring fluorescent images of the cutting area, have a blinded observer count live and dead cells in five randomly taken images to calculate cell viability.

# Shots:

    - MED/over the shoulder: talent at computer counting cells from images.

- Results: the bioprinting platform deposits cells and scaffold at high throughput and excellent cell viability

  - (Figure 1) A representative printed neocartilage tissue with a diameter of 4 mm and a height of 4 mm is shown in this photo. Based on the properties of the modified thermal inkjet printer, for a construct of this size, the volume and thickness of each printed layer during layer-by-layer construction were 0.23 μl and 18 µm, respectively. The entire printing process to construct the neocartilage tissue took less than 4 minutes.

# Shots:

    - LAB MEDIA: panel b only from Figure_1.tiff

  - (Figure 2) These images are of chondrocytes labeled with green and orange fluorescent dyes. Panel A shows an even cell distribution of printed chondrocytes in the 3D scaffold due to simultaneous photopolymerization of the surrounding scaffold during cell deposition. The printing and photopolymerization process was completed in 4 minutes with a cell viability of 90%.

# Shots:

    - LAB MEDIA: Figure_2.tiff

  - (Figure 2) By contrast, panel B shows that without simultaneous photopolymerization, instead of remaining at their initially deposited locations, the cells sank to the bottom or zonal interface due to gravity. It took 10 minutes of UV exposure to gel a construct of the same size as in A with a cell viability of 63%.

# Shots:

    - LAB MEDIA: Figure_2.tiff

  - (Figure 3) Safranin-O staining of printed chondrocytes in the PEG hydrogel shows gradually increased proteoglycan production during the culture, indicating recovery of the chondrogenic phenotype of printed chondrocytes in 3D and the formation of a homogeneous neocartilage.

# Shots:

    - LAB MEDIA: Figure_3.tiff

- Conclusion (said by authors on camera)

  - Guohao Dai: After watching this video, you should have a good understanding of how to utilize a modified thermal inkjet printer to create a three-dimensional cartilage tissue with even cell distribution in a 3D scaffold.

# Provided Media

# 1A. 51294_graphic overview.jpg

# 6.1. panel b only from Figure_1.tiff

# 6.2. – 6.3. Figure_2.tiff

# 6.4. Figure_3.tiff

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.