Dear Author,

This document is divided into a number of sections in which you can add your comments to the video, voiceover, online text, and .pdf.   Please be aware that our policy is to do a single complementary revision, so it is critical that all participants in this project offer their comments collectively.   In addition, please make sure that your comments are easily interpreted, transparent, and where appropriate, specifically reference a time-point in the video or step in the written section.   

Have fun!

Project Name: Review 51355 "Electrophysiological Recording From Drosophila Labellar Taste Sensilla”
Date: 1-17-14
Authors and Affiliations

Please fill in any missing author information not included in the video.

	Order
	Author
	Affiliation
	Email

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Video Comments:

Please fill in any comments you wish to make in the “comment” column and insert the time-code that references the video at the time of the mistake in the “time-code” column.   Also, please make suggestions to correct the mistake.   For example it is not enough to say that 0.25 mM Fluo-4 is incorrect.  You must suggest the correct concentration.   If you need more space to write, please do so below the table.  DO NOT ADD CORRECTIONS TO THE VOICEOVER HERE.  PLEASE DO THIS IN THE NEXT SECTION.

	Time-code
	Comment
	Suggestion 

	1.
	0:09
	Labels from figure that aren’t relevant to the video
	Remove the white lettering from the photo?

	2.
	0:15
	Label from figure image that isn’t relevant to use in video
	Remove the white arrow?

	3.
	0:27
	Graphic is extremely poor resolution
	I’m not sure how to fix this??

	4.
	0:27
	It is also the wrong graphic. This is showing undesired results for the purpose of helping individuals troubleshoot, and should not be included in the introductory “schematic”
	Use the graphic from Figure 5 to show what desired results should look like in this part of the video 

	5.
	4:00
	Video cut away before showing that the final position of the wire, as completely inserted into the recording electrode
	I’m not sure what video you have of this and how you edited it, but if possible, this should show me slidig the recording electrode onto the wire so that the tip of the wire is right at the part of the recording electrode that starts narrowing

	6.
	5:28
	Graphic is extremely poor resolution
	I’m not sure how to fix this? Do I need to send you a different version of the file or can you fix it with the file you have?

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	

	14.
	
	
	

	15.
	
	
	

	16.
	
	
	

	17.
	
	
	

	18.
	
	
	

	19.
	
	
	

	20.
	
	
	


Audio Comments:

This section is used to specify the changes that need to be made to the voiceover.   Please specify time code where each mistake in the voiceover occurs, your comment, the step in the script that needs to be changed, and the corrected text.  Please include the entire step from the script in last column with the corrected text in bold.  If there is a pronunciation change, please provide a phonetic pronunciation key.  

EX: 

Restinosis – (Reese-tin-oh-sis)
	Time code
	Comment
	Step in Script (ex 4.2)
	Rewritten Text or Corrected Pronunciation

	1.
	3:20
	The term “DAS” stands for should be stated
	3.2
	“digital acquisition system, or DAS”

	2.
	5:36
	“50 over 60 Hz” is not correct
	4.2
	“50 or 60 Hz”

please add “from external electrical sources” for additional clarification

	3.
	
	
	
	

	4.
	
	
	
	

	5.
	
	
	
	

	6.
	
	
	
	

	7.
	
	
	
	

	8.
	
	
	
	

	9.
	
	
	
	

	10.
	
	
	
	

	11.
	
	
	
	

	12.
	
	
	
	

	13.
	
	
	
	

	14.
	
	
	
	

	15.
	
	
	
	

	16.
	
	
	
	

	17.
	
	
	
	

	18.
	
	
	
	

	19.
	
	
	
	

	20.
	
	
	
	


Text Protocol:

Please use this table to address changes that need to be made to the text.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol (major structural changes or more than 10 spelling or grammatical mistakes), we will require re-upload of the entire document.     

	1.
	Step in Protocol
	Comment
	Suggestion

	2.
	Throughout text
	Reference numbers are not superscripted
	I’m not sure what the normal format is, but it looks strange to me to have the reference numbers the same size and in line with the letters of the preceding sentence. Please superscript them if possible.

	3.
	Throughout text
	“Drosophila” or “Drosophila melanogaster” is not italicized
	“Drosophila” and “Drosophila melanogaster” should always be italicized

	4.
	Representative Results
	Figures 1-4 do not represent Representative Results
	Please place these figures where they are referenced in the text of the protocol. Figure 1 should be placed after Step 1.1, Figure 2 should be placed after Step 1.2, Figure 3 should be placed after Step 2, and Figure 4 should be placed after Step 3

	5.
	Figure 4 
	Figure 4 is still using older images generated under non-ideal conditions by the authors
	Please replace images in Figure 4 with images from the video shot by JoVE, as was done during the introductory schematic at 0:18

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	


.PDF

Please use this table to address changes that need to be made to the pdf.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol, we will require re-upload of the entire document.     

	1.
	Step in Protocol
	Comment
	Suggestion

	2.
	ALL the same comments as detailed in “TEXT” section above apply to the pdf as well.
	
	

	3.
	
	
	

	4.
	
	
	

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	


