# Note from videographer:  all the lab shots (everything that isn't screen-capture) was normal, but they are going to regroup and try to coax a better performance out of their scope so they can generate better and more representative files for the video.  They think this will put them a week delayed in delivering the shots marked "SCREEN" in the script, which they will capture with Camtasia, then they can FTP them

# Submission ID #: 51394

# Editor Name: Bridget Colvin

# Videographer name:

# Film Date:

Authors and Affiliations: B. A. Scalettar1,2, D. Shaver2, S. Kaech3, and J. E. Lochner2,4, 1Department of Physics and 2Program in Biochemistry and Molecular Biology, Lewis & Clark College, 3Jungers Center for Neuroscience Research, Oregon Health & Science University, and 4Department of Chemistry, Lewis & Clark College, Portland, OR

Title: Super-Resolution Imaging of Neuronal Dense-Core Vesicles

Author Correspondence: bethe@lclark.edu, shaverd@ohsu.edu, kaechs@ohsu.edu, lochner@lclark.edu

A.  Will you require JoVE to record video microscopy through a microscope such as filming a complex dissection or microinjection technique? (Y/N) N

B.  Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) Y

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps: 2.9, 2.11, 2.13-2.15, 2.17

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Optimizing the incidence angle of the 561 nm laser line to achieve total internal reflection is somewhat tricky. To ensure success, we first adjust the angle for 488 nm line by monitoring for a sudden darkening of background and confinement of focus to one plane. We then double check the angle for the 561 line.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

# The overall goal of the following procedure is to obtain super-resolution fluorescence images that elucidate important aspects of vesicle organization at a resolution otherwise unattainable with fluorescence microscopy. (Intro) This is accomplished by first transfecting hippocampal neurons with DNA encoding photoconvertible chimeras of vesicle cargo. (P1) In the second step, sparsely sampled raw images are collected with a super-resolution microscopy system. (P2) Next, the raw images are processed to produce a super-resolution image. (P3) In the final step, the data is quantified to elucidate the organization of the vesicles. (P4) Ultimately, line profiles of puncta intensity can be used to compare vesicle separation to vesicle width, thereby determining whether the vesicles are close enough to generate a cluster. (P5)

From schematic procedure05 white.ai

(P1) from P1, show untransfected neurons, then have chimera appear and shrink down enter nucleus/transfect neuron as in P1
(P2) show 2.5.1. (Talent placing sample onto stage) AND/OR P2 image
(P3) show P3 image
(P4) show P4 graph
(P5) Figure3.tif

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Daniel Shaver: Using this procedure, single-color photoactivated localization microscopy, or PALM, can be used to study the organization of organelles in most types of cultured cells.

# Protocol (read by voice talent at JoVE):

- Image Acquisition

  - To launch the super-resolution imaging system for image acquisition, begin by turning on the power to the arc lamp. Next, flip the "system/pc" and "component" switches on the power remote switch to "on."

    - WIDE: Talent turning on arc lamp

    - MED: Talent flips system/pc and component switches to on

  - After the microscope control tablet comes on, turn on the computer and launch the software. Expand the boot status window to verify that the system is loading normally and choose the "start system" option in the login dialog.

    - MED: Talent turns on computer

    - MED – over the shoulder: Few seconds software loading

    - SCREEN: Shot of boot status window being expanded

    - SCREEN: “start system” option being selected

  - To position the sample for visualization, open the front and top panels on the laser safety cabinet and tilt the transmitted light arm to access the stage and the objectives.

    - MED: Talent opens front panel

    - CU: Top panel being opened

    - MED/CU: Few seconds light arm being tilted

  - Next, put oil on the alpha Plan-Apochromat 100 total internal reflection fluorescence, or TIRF (Pronounce: “turf”), objective. Then choose a low magnification objective for the initial focusing step.

    - CU: Few seconds oil being placed on objective [The angle is really hard so I had to get this one hand held.  It is pretty steady but might be worth running a stabilizer filter on in editing.]

    - CU: Low magnification objective being selected

  - Now mount the sample onto the stage and raise the objective toward the sample, monitoring the lens position using the XYZ function of the control tablet. Stop when the lens is in the ballpark of focus.

    - MED: Talent places sample onto stage

    - CU: Few seconds objective being raised toward sample

    - CU/SCREEN: Few seconds lens position being monitored with XYZ function of control tablet

    - SCREEN: Shot of image in ballpark of focus (TEXT: e.g., z ~2.30 mm)

  - To visualize the sample and fine-tune the focus, lower the light arm and fully close the access panels.

    - MED: Few seconds Talent lowering light arm

    - CU: Shot of at least one panel being closed

  - Then, in the locate tab, click the ocular expansion symbol to bring up a schematic of the light path. Choose "Oculars online" and "Trans On” and verify that the schematic shows transmitted light from the bulb impinging on the sample.

    - SCREEN: Ocular expansion being clicked then schematic of light path appearing

    - SCREEN: Shot of "Oculars online" and "Trans On” being chose, then shot of schematic showing light from bulb impinging sample

  - Look into the oculars and bring the cells into focus using the control tablet as a guide, then, to identify the cells expressing the Dendra2 chimeras, choose reflected light and the filter appropriate for viewing green emission from Dendra2.

    - MED: Talent looking into oculars

    - SCREEN/CU: Cells coming into focus

    - SCREEN: Reflected light and appropriate filter being selected

  - Scan the cover slip using low intensity reflected light until a healthy, bright cell is found, and then, to set up the software to acquire the PALM data, switch to the acquisition tab and use the "experiment manager" to load the appropriate experimental PALM acquisition configuration.

    - SCREEN: Few seconds scanning, then bright cell comes into view

    - SCREEN: Shot of acquisition tab being selected, then “experiment manager” being selected and few seconds acquisition configuration being loaded (TEXT: See text for PALM acquisition configuration details)

  - When the popup menu appears with a query about switching on lasers, click "ok." Then, to focus the image of the cell at the camera plane, choose only the 488 track. Adjust acquisition parameters, such as the EMCCD gain, and then choose "continuous" acquisition.

    - SCREEN: Popup menu with query abot lasers, then OK being clicked

    - SCREEN: Shot of 488 track being selected

    - SCREEN: Few seconds EMCCD gain being adjusted, then “continuous” application being chosen

  - Next adjust the display to the desired brightness and move the objective until the image on the screen is in focus. Then to collect a conventional widefield image, click the "Snap" button and save the image.

    - SCREEN: Few seconds display brightness being adjusted

    - MED: Talent moving objective OR SCREEN: Few seconds image coming into focus

    - SCREEN: “Snap” being clicked, then image being “saved”

  - To set up the TIRF-based illumination on the 488 track, choose "TIRF" on the EPI/TIRF (pronounced "eppy", rhymes with peppy) button. If the range of allowed TIRF angles is not near ~70°, move the slider towards 70° and click "Save TIRF angle". Click yes in the popup window to save the current angle as the median value.

    - SCREEN: TIRT being selected, then slider being moved toward 70°, then “Save TIRF angle” being clicked, then yes being clicked (TEXT: Repeat as necessary)

  - To optimize the TIRF-based illumination, choose "continuous" acquisition and adjust the TIRF angle slider until the background suddenly darkens and the specimen can be focused in just one plane.

    - SCREEN: Continuous application being selected, then TIRF angle being adjusted until background suddenly darkens

    - SCREEN: Few seconds specimen being focused in one plane

  - Switch to the 561 track with the 405 nm laser "off." Set the EMCCD gain at ~200 and the exposure time at ~50 ms. Choose the emission filter that transmits in the red, and set the laser intensity at ~40%. Double check the TIRF angle for the 561 track.

    - SCREEN: 561 track being selected, with 405 laser “off” (Video Editor: If necessary/possible, please circle or otherwise highlight that the 405 laser is unchecked/off when mentioned)

    - SCREEN: EMCCD being set to 200 and exposure time being set to 50 ms

    - SCREEN: Emission filter being set to red, then laser intensity being set to 40%

    - SCREEN: TIRF angle being selected (Video Editor: If necessary, please circle or otherwise highlight the TIRF angle when mentioned)

  - To reduce background, illuminate the sample until the background fades, using the 561 track with only the 561 laser activated.

    - SCREEN: Last few seconds sample being illuminated then background fading

    - SCREEN: Shot of 561 track with only 561 laser activated (Video Editor: if necessary, please circle/highlight that only the 561 laser is activated)

  - To collect the PALM data, turn on the 405 nm laser for the 561 track and adjust the intensity of the 405 laser to ~0.01%. To monitor the computed PALM image during acquisition, expand the "Online Processing Options" menu and check "Online Processing PALM" to process with default parameters. Click "start experiment" to begin acquisition.

    - SCREEN: 405 nm laser being turned on, then intensity for 405 laser being set to 0.01%

    - SCREEN: “Online Processing Options" menu being expanded, then “Online Processing PALM" being checked

    - SCREEN: “Start experiment” being clicked

  - During the data collection, visually monitor photoconversion, increasing the intensity of the 405 nm photoconverting laser when Dendra2 photoconversion begins to diminish.

    - MED – over the shoulder: Few seconds Talent visually monitoring photoconversion OR SCREEN: Few seconds photoconversion

    - SCREEN: Few seconds intensity of 405 laser being increased as photoconversion begins to diminish (TEXT: ~10,000 raw images)

  - When photoconversion no longer increases following a laser intensity increase, click "Finish current step" to end the experiment. Save the file.

    - SCREEN: "Finish current step" button being selected

    - SCREEN: File being saved (e.g., SAVE being clicked

- Image Processing, Display, and Analysis

  - To process the saved images, click on the processing tab, expand the method menu, and expand the "PALM" submenu. Choose "PALM" again from the four suboptions.

    - WIDE: Talent at computer, clicking on the processing tab

    - SCREEN: Method menu being expanded, then PALM submenu being expanded, then PALM being selected

  - Select the appropriate image so that it appears in the viewing window. Expand the "Method Parameters" menu and click "select" to input the image. Expand the settings field and choose "default" to execute peak finding and localization with the default options. Press "Apply" in the processing tab to compute the PALM image, which will appear in a separate tab in the viewing window.

    - SCREEN: Image being selected/appearing in viewing window, then “method parameters” being expanded, then “select” being clicked

    - SCREEN: Settings field being expanded, then “default” being chosen, then “apply” being selected

    - SCREEN: Shot of PALM image that appears in separate tab in viewing window (Video Editor: If necessary, please circle or highlight the PALM image when mentioned)

  - To filter out any poorly sampled components in the data, set the position threshold in the "Remove PALM outliers" tool to delete the peaks surrounded by fewer than D2/(4d2) (Pronounce: pi-diameter-squared-by-four-mean-distance-squared) neighbors within a circle of radius D/2 (Pronounce: mean distance by 2), with d calculated using the Shannon-Nyquist criterion.

    - SCREEN: Position threshold being set in Remove PALM outliers tool, then few peaks being deleted

  - With the PALM image in the viewing window, click “select” to input the image and click “apply”. The new image will appear in a separate tab in the viewing window.

    - SCREEN: Shot of PALM image in viewing window, then select being clicked and then apply, then new image appearing

  - To filter out any poorly localized fluorophores, go to the "PAL-Filter" tab. Confine the accepted fluorophore localization precisions to a  <35 nm.

    - SCREEN: "PAL-Filter" tab being selected, then localization being confined to <35 nm

  - To choose a display mode for the PALM image, go to the "PAL-Render" tab. Select a pixel resolution and the desired display mode.

    - SCREEN: "PAL-Render" tab being selected, then pixel resolution being selected, then desired display mode being selected

- Results: Representative PALM images

  - In this image, a representative PALM end product of the imaging and processing of a neuronal dense-core vesicle, or DCV, is shown in red. The lateral coordinates of the localized fluorophores, in white, are shown using the centroid display mode, and the super-resolution image of the associated vesicle is shown using the Gaussian display mode.

    - LAB MEDIA: Figure1.tif (Video Editor: if possible, with “in red” please highlight or circle the red part of the image; with “in white” please flash or indicate at least some of the white dots in the image)

  - In this second figure, analogous widefield, in green, and PALM, in red, images of the soma and proximal processes of an eight days in vitro hippocampal neuron expressing tPA (Pronounce: T-P-A)-Dendra2 are displayed. Important features of the images include the extensive, one-to-one correspondence and overlap, in yellow, between the puncta in the conventional and PALM images, the significantly smaller size of the PALM puncta, and the occasional resolution of a single widefield punctum into multiple PALM puncta.

    - LAB MEDIA: Figure 2A.tif

(Video Editor: if possible, with “in green” please highlight/outline/indicate/flash some/the green part of the image;

with “in red” if possible, please highlight/outline/indicate/flash some/the red dots in the image;

with “soma and proximal processes” please indicate one/some of the processes/long arms of the image;

with “in yellow … PALM images” if possible, highlight/outline/indicate/flash some/the yellow points of the image)

  - Here a PALM image of DCVs along part of one process of a second hippocampal neuron expressing tPA-Dendra2 is shown. Note the small diameter and homogeneous appearance of the puncta and the infrequent observation of closely apposed puncta, which represent putative DCV clusters.

    - LAB MEDIA: Figure 2B.tif (Video Editor: with “infrequent … clusters” please circle a few of the two white dot “clusters” -- two white dots closer to each other than the other dots)

  - In this final figure, a simple quantitative method for determining if two or more DCVs are close enough to comprise a cluster is outlined. Line profiles of the puncta intensities are generated, as shown in the graphs, which can then be used to quantify DCV separation and DCV width. If the separation significantly exceeds the width, the DCVs do not "contact" each other, whereas if the separation is approximately the same as width, the DCVs may be in contact. Based on these criteria, the DCVs in this image were classified as "not in contact,” whereas the DCVs in this image were classified as in contact.

    - LAB MEDIA: Figure3.tif

(Video Editor: with “as shown in the graphs” please outline/circle/otherwise indicate the graphs;

with “If the separation … each other” please highlight/indicate/outline the two red peaks in the left graph;

with “whereas … be in contact” please highlight/indicate/outline “one” red peak in the right graph;

with “not in contact” please highlight/circle/indicate the left image;

with “in contact” please highlight/circle/indicate the right image )

- Conclusion (said by authors on camera)

  - Daniel Shaver: Following this procedure, other methods, like two-color PALM, can be used to study the relative localization of distinct structures.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

schematic procedure05 white.ai

Figure1.tif

Figure2A.tif

Figure2B.tif

Figure3.tif

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.