## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Gelatin | Difco | 214340 | heat to dissolve
Cryostat- HM 550 | Thermo Scientific | 956564A
indium tin oxide (ITO)-coated glass slides | Delta Technologies | CB-90IN-S107 | 25-75-0.8 mm (width-length-thickness)
2,5-Dihydroxybenzoic acid (DHB) matrix | ICN Biomedicals | PI90033
Airbrush | Paasche Airbrush Company | TG-100D | coupled with 75 mL steel container
Automatic matrix sprayer system- TM-Sprayer | HTX Technologies, LLC | HTX.TMSP.H021-U | Specific start-up and shut-down instructions will be given when the instrument is installed
Sublimation apparatus | Chemglass Life Science | CG-3038-01
Vaccum pump- Alcatel 2008 A | Ideal Vacuum Products | P10976 | Ultimate Pressure = 1x10-4 Torr
ultrafleXtreme MALDI-TOF/TOF | Bruker Daltonics | 276601
FlexImaging | Bruker Daltonics | 269841 | One example of "vender specific software"
MALDI LTQ Orbitrap | Thermo Scientific | IQLAAEGAAPFADBMASZ | High resolution MALDI instrument for accurate mass measurements
Q Exactive | Thermo Scientific | IQLAAEGAAPFALGMAZR | High resolution LC-MS instrument for accurate mass measurements

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=