# Submission ID #: 51441

# Editor Name: Brigid Stadinski

# Videographer name: TBD

# Film Date: TBD

# Authors and Affiliations:

Zachary J. Storms1, Elliot Cameron1, Hector de la Hoz Siegler1,2 , William C. McCaffrey1

1Department of Chemical and Materials Engineering, University of Alberta, 9107 – 116th Street, Edmonton, Alberta, Canada T6G 2V4

2Current Address:  Department of Chemical and Petroleum Engineering, University of Calgary, 2500 University Drive NW, Calgary, Alberta, Canada T2N 1N4

Title: A Simple and Rapid Protocol for Measuring Neutral Lipids in Algae Cells Using Fluorescence

# Corresponding Author:

McCaffrey, William C.

Department of Chemical and Materials Engineering

University of Alberta

Edmonton, Canada

wcm@ualberta.ca

tel: 1-780-952-9640, fax: 1-780-492-2881

Corresponding author for editorial process:

Storms, Zachary J.

Department of Chemical and Materials Engineering

University of Alberta

Edmonton, Canada

zstorms@ualberta.ca

Authors, please fill out the brief questionnaire below.

- Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ___No (Authors – I changed this to no since you have a camera/computer attached)___ If yes, please list make and model of your microscope: Leica DMXRA2

**Note:  This question is to get at whether or not you will need a camera hook-up to look into the microscope.  However, if your microscope has a digital camera attached to a computer, you can gather these shots by collecting screen capture movies.

Does your protocol include microscopy steps that are visualized through a microscope with a digital camera/computer attached? (Y/N) Yes

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)No

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps________________3.2, 4.1, 4.2, 4.4__________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  _________________Measuring out all samples at the same biomass concentration.  We measure a specific dry weight and then add the necessary amount of buffer to reach the desired concentration of 5 g/L._____________

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Conceptual Narrative:

The overall goal of the following experiment is to measure the neutral lipid content of algal cells using Nile Red fluorescent dye. (Intro)

This is achieved by first suspending the cells in an ethanol solution to permeabilize the cell wall and cell membrane. (P1)

Editors, please show P1 of “JoVE_Diagram” as this point is narrated.  “30v/v% Ethanol (aq)” can be highlighted as “ethanol solution” is narrated.

As a second step, Nile Red fluorescent dye is added, which enters the cells and accumulates in the neutral lipid bodies. (P2)

Editors, please show P2 of “JoVE_Diagram” as this point is narrated.  Please bring in the labeled “Nile Red” molecules as “Nile Red fluorescent dye is added” is narrated.  Animate the addition of the molecules into the cell and into the membrane (as they are shown in P2) as the second half of the sentence is narrated.

Next, the samples are exposed to an excitation light source of 530 nm, causing the Nile Red absorbed in the neutral lipid bodies to fluoresce at 604 nm. (P3)

Editors, please show P3 of “JoVE_Diagram” as this point is narrated.  To animate, first, highlight and pulse the green 530nm light.  Then have the molecules in the membrane turn from black to red.  Finally have the red waves appear, coming off the molecules, as well as the 604nm label.

Results are obtained on a mass scale by conducting the individual tests in a microwell multiplate and using a spectrophotometer to produce rapid fluorescence readings. (P4)

Editors, please show P4 of “JoVE_Diagram” as this point is narrated.  Sequentially bring in the different components, the arrows, the plate, and the arrow to the instrument as this point is narrated.

Readings show a linear relationship between the neutral lipid content of the algal cells and the intensity of the fluorescence measurement.  Conversion of fluorescence measurements to oil content can be achieved with a calibration curve prepared with cells of known oil composition. (P5)

Editors, please show figure 2A as P5 is narrated.

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Zack Storms:  The main advantage of this technique over existing protocols, such as the Bligh-Dyer gravimetric method, is that it allows rapid determination of lipid content using materials available to most labs.

    - MED:  Zack speaks toward camera, interview style.

  - Elliot Cameron:  This method provides immediate feedback on bioprocess performance during algae cultivation.  Also, the high throughputs achieved using a 96 well micro-plate reader make this technique ideal for screening studies and factorial experiments.

    - MED:  Elliot speaks toward camera, interview style.

  - Zack Storms:  Though this method has been optimized for Chlorella and Scenedesmus species, it can be modified for analysis of other common algal species.

    - MED:  Zack speaks toward camera, interview style.

# Protocol (read by voice talent at JoVE):

- Isolation of dry algae biomass to be used as standards for fluorescence readings

  - To begin, remove a sample volume from the growing algal culture that will provide at least 200 mg of dry biomass; 400 to 600 mg is preferable.

    - MED:  Talent removes a sample volume from the growing algal culture.

  - Centrifuge the sample at 4 °C for 10 minutes at 10,000 x g.  Discard the supernatant and wash the pellet with an equal volume of phosphate buffer formulated to the same pH as the growth media.  Repeat this process for a total of three washing steps.

    - MED-over the shoulder:  Talent places the sample into the centrifuge and closes the lid.

    - MED:  Talent discards the supernatant and washes the pellet with an equal volume of phosphate buffer.

    - CU:  Tube as talent inserts into the centrifuge again.  TEXT overlay:  wash 3x

  - Re-suspend the pellet in de-ionized water and transfer to a pre-weighed weigh dish.  Let the sample dry at 50 °C for 48 hours.  The dried algal cultures can be stored at room temperature for future use.

    - MED:  Talent re-suspends the pellet in de-ionized water.

    - CU:  Pre-weighed weigh dish as talent transfers the resuspended pellet there.

    - MED-over the shoulder:  Talent places the samples into a 50 °C incubator.

- Gravimetric quantification of neutral lipids by hexane extraction

  - Measure approximately 50 mg of dry algae biomass in a weigh dish.  Transfer the biomass to a mortar pre-washed with hexane.  If necessary, wash the weigh dish with a small amount of hexane using a Pasteur pipette in order to completely transfer the biomass to the mortar.

    - MED:  Talent weighs approximately 50 mg of dry algae biomass in a weigh dish.

    - CU:  Mortar/weigh dish as talent transfers the biomass there, adding a small amount of hexane with a Pasteur pipette to transfer the residual biomass.

  - Next, grind the algal biomass for 5 minutes using a pestle.  Begin with gentle grinding and gradually increase the intensity.  Grind the biomass into a fine and smooth paste during the 5 minute period.

    - MED-over the shoulder:  Talent grinds the algal biomass with a pestle.

    - [combined with 3.2.1] CU:  Mortar as talent gradually increases the intensity of grinding.

    - ECU:  Fine, smooth paste of biomass as talent finishes grinding and displays to camera.

  - Add a few milliliters of hexane to the mortar and mix the resulting slurry with the pestle until it is homogenized.  Ensure that all the cell debris adhered to the walls of the mortar are knocked free and suspended in the liquid.

    - MED-over the shoulder:  Talent pipettes a few milliliters of hexane to the mortar and mixes the resulting slurry until homogenized.

    - CU:  Mortar as talent knocks off the cell debris adhered to the walls.

  - Next, transfer the hexane-cell mass mixture to a compatible centrifuge tube.  Repeat three to five times until all the biomass has been transferred to the centrifuge tube.  Centrifuge the sample at 4 °C for 20 minutes at 10,000 x g.

    - MED:  Talent transfers the hexane-cell mass mixture to a compatible centrifuge tube.

    - CU:  Mortar/centrifuge tube as talent adds more hexane and transfers it to the centrifuge tube.

    - MED-over the shoulder:  Talent places the sample into the centrifuge, shuts lid and starts run.

  - Following centrifugation, carefully pipette the supernatant into a pre-weighed metal weigh dish, which can be stored in the fume hood.  Perform a 2nd hexane extraction by adding 3 ml of hexane to the pellet and vortexing vigorously for 1 minute.

    - CU:  Pre-weighed metal weigh dish as talent pipettes the supernatant there.

    - MED or MED-over the shoulder:  Talent adds 3 ml of hexane to the pellet and vortexes.

    - [split shot] CU:  Using the vortex

  - Repeat the centrifugation and transfer of the supernatant.  Determine the mass of oil extracted gravimetrically after the hexane has completely evaporated.

    - MED-over the shoulder:  Talent removes the 2nd round of hexane from the centrifuged pellet and transfers to the metal weigh dish.

    - CU:  Balance as talent places the weigh boat there and determines the mass of oil extracted.

- Fluorometric quantification of neutral lipids using Nile Red

  - For fluorometric quantification, prepare all algal samples at the same biomass concentration and in the same manner as the standards used in the measurement.  Do this by suspending pre-dried samples in the appropriate amount of phosphate buffer.  If necessary, use a homogenizer to facilitate re-suspension of dried algal cells.

    - MED:  Talent adds the pre-dried sample from a weigh boat to a tube.  TEXT overlay:  5 g·L-1 is recommended

    - CU:  Tube of the pre-dried sample as talent pipettes in the phosphate buffer.  TEXT overlay:  see text for alternative preparation technique

    - [added] MED:  Talent using homogenizer to re-suspend cells.

  - For each sample, mix 80 µl of a prepared 30% ethanol solution, 10 µl of a prepared Nile Red solution, and 10 µl of algae suspension in a single well of a 96-well plate.  In order to properly account for the variability of the fluorescence measurement, perform 5 replicates of each sample.

    - MED-over the shoulder:  Talent prepares the 96-well plate.  Talent adds 80 µl of a prepared 30% ethanol solution, 10 µl of a prepared Nile Red solution, and 10 µl of algae suspension in a single well.  TEXT overlay:  see text for solution preparation

    - CU:  96-well plate as talent sets up the 5 replicates for the first well.  (Note to authors:  If a multi-pipette is used for 4.2.1 and 4.2.2, please just adjust the action in the shot so that it fits with your normal procedure.)

  - Next, run a two point calibration curve with standards prepared previously in order to account for day-to-day variations in the instrument and preparation.

    - MED-over the shoulder:  Talent at multi-well plate reader spectrophotometer performing calibration curve.

  - To perform the fluorescence measurements in a multi-well plate reader spectrophotometer, set the parameters to shake at 1,200 rpm and orbit 3 mm for 30 seconds, followed by incubation at 40 °C for 10 minutes, another shake at 1,200 rpm and orbit 3 mm for 30 seconds, and to record fluorescence with excitation at 530 nm and emission at 604 nm.  Then, start the run.

    - SCREEN:  Screen capture movie captured from the coupled spectrophotometer computer as talent sets the parameters to shake at 1200 rpm/orbit 3 mm/for 30 s, followed by incubation at 40 °C for 10 minutes, another shake at 1200 rpm/orbit 3 mm/for 30 s, and to record fluorescence at excitation at 530 nm and emission at 604 nm.  Talent starts the run.

  - As a final step, convert the fluorescence measurements to oil content using the results from the internal standards.

    - MED-over the shoulder:  Talent works as the computer to convert the fluorescence measurements to oil content using the results from the internal standards.

- Fluorescence microscopy technique

  - To perform fluorescence microscopy, use the sample prepared with the Nile Red stain to prepare a microscope slide of the processed sample according to standard laboratory procedures.

    - MED-over the shoulder:  Talent prepares a microscope slide of the processed sample.

  - Starting with the microscope in transmission mode, load the prepared slide into the microscope, and locate the cells at the desired magnification.

    - CU:  Microscope as talent loads the prepared slide into the microscope.

    - MED:  Talent looks into the scope to locate the cells.

  - Once focused, switch the microscope from transmission to epifluorescence illumination mode.  The light source should now be coming directly from the objective lens, which can be confirmed visually by observing the space between the slide and the objective lens.

    - MED-over the shoulder:  Talent switches the microscope from transmission to epifluorescence illumination mode.

    - CU:  Space between the slide and the objective lens showing that the light source is coming directly from the objective lens.

  - Insert a green excitation filter into the light source and a red emission filter into the observation light path.  The fluorescence of the stained cells should now be directly visible through the eyepiece.

    - MED-over the shoulder:  Talent inserts a green excitation filter into the light source and a red emission filter into the observation light path.

    - MED:  Talent observed the stained cells through the eyepiece.

  - Switch the microscope observation mode from the eyepiece to the mounted camera and use viewing software to capture an image of the fluorescing cells.  Specific settings will vary with instruments, equipment, and cell types.

    - MED-over the shoulder:  Talent switches from the microscope observation mode from the eyepiece to the mounted camera and uses viewing software to capture an image of the fluorescing cells.

- Results: Images and calibration curves of A. protothecoides stained with Nile Red

  - Representative algal cells stained with Nile Red dye are shown.  Images of A. protothecoides grown in excess nitrogen lead to very low intracellular lipid accumulation, which are shown in contrast to samples of A. protothecoides grown under nitrogen limitation.

    - LAB MEDIA:  Figure 1.  Editors, for the first part of the second sentence, please highlight or box out the top two panels.  Then for the second part of the second sentence, please highlight or box out the bottom two panels.

  - Under transmission illumination, the lipid bodies of the cells can be visualized with careful inspection, where they appear as shiny circular structures and constitute the majority of the cell volume.

    - LAB MEDIA:  Figure 1.  Editors, please zoom into the bottom left panel as this point is narrated.

  - The cells shown here are only 5% oil by dry weight and do not contain significant levels of lipid bodies.

    - LAB MEDIA:  Figure 1.  Editors, staying zoomed in please pan up to the top left panel as this point is narrated.

  - When shown under the appropriate light conditions, the differences in these samples are magnified.  The oil-lean cells appear as fluorescent rings with dark bodies… while the oil-rich cells display a bright orange-red glow where they have accumulated lipid bodies.

    - LAB MEDIA:  Figure 1.  Editors, staying zoomed in please pan over to the right top panel as the first part of the sentence is narrated and then pan down to the right bottom panel as the second part of the sentence is narrated.

  - Under the optimized conditions of the assay, calibration curves with R2 values greater than 0.980 are readily achievable.

    - LAB MEDIA:  Figure 2.  Editors, please zoom into the top panel as this point is narrated.

  - The relationship between cell oil content and fluorescence becomes non-linear if the cells are stained in a solution lacking a carrier solvent, such as ethanol.  The data presented here have an R2 of 0.395 and were obtained by carrying out the protocol in a 0% ethanol solution.

    - LAB MEDIA:  Figure 2.  Editors, staying zoomed in please pan down to the bottom panel as this point is narrated.

- Conclusion (said by authors on camera)

  - Zack Storms:  Once mastered, this technique can be done in 15-20 minutes if it is performed properly.

    - MED:  Zack speaks toward camera, interview style.

  - Elliot Cameron:  While attempting this procedure, it’s important to remember to use samples at the same biomass concentration.

    - MED:  Elliot speaks toward camera, interview style.

  - Zack Storms:  After watching this video, you should have a good understanding of how to measure the lipid content of algal cells using both traditional hexane extraction methods and the much simpler Nile Red florescent staining protocol.

    - MED:  Zack speaks toward camera, interview style.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

JoVE_Diagram

Figure 2A – Authors, please provide a separate version of figure 2A for the schematic.

Figure 1

Figure 2

SCREEN Capture Movie:

# 51441_McCaffrey_SCREEN_4.4.1:  Screen capture movie captured from the coupled spectrophotometer computer as talent sets the parameters to shake at 1200 rpm/orbit 3 mm/for 30 s, followed by incubation at 40 °C for 10 minutes, another shake at 1200 rpm/orbit 3 mm/for 30 s, and to record fluorescence at excitation at 530 nm and emission at 604 nm.  Talent starts the run.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.