# HI EDITORS,

# ALL MY NOTES TAKEN FROM THE SHOOT ARE LISTED BELOW IN BOLD, CAPS, HIGHLIGHTED.

# THANKS,

# CHRISTIAAN BLOK (VIDEOGRAPHER)

# CHRIS@CBLOK.COM.AU

# Submission ID #: 51443

# Editor Name: Renee Choi

# Videographer Name: Christiaan Blok

# Film Date:

# Authors and Affiliations: Samantha Khoury1, Pamela Ajuyah1 and Nham Tran2,3

# 1School of Medical and Molecular Biosciences, Faculty of Science, University of Technology, Sydney; 2Centre for Health Technologies, Faculty of Engineering and Information Technology University of Technology University of Technology, Sydney; 3The Sydney Head and Neck Cancer Institute, Sydney Cancer Centre, Royal Prince Alfred Hospital, Australia.

# Title: Isolation of Small Non-coding RNAs from Human Serum

# Corresponding Author:

# Nham Tran

# Phone: 61 2 9514 4468

# Email: nham.tran@uts.edu.au

# Additional Contacts:

# Samantha Khoury: sammi_j@hotmail.com

# Pamela Ajuyah: Pamela.A.Ajuyah@student.uts.edu.au

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) _N_ If yes, please list make and model of your microscope:

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)_N_

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps. Steps 2.4 – 2.12

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Steps 2.10 to 2.12; Identifying the clear gel that forms on the side of the eppendorf low-bind tube is particularly difficult in RNA isolation from serum. One must be careful not to lose the pellet while removing the surrounding isopropanol or ethanol during the wash steps.

It tends to appear much smaller and clearer than a pellet from cell lines. Generally, we find that removing small volumes of the surrounding fluid, tilting the tube in front of a dark background, and occasionally through re-centrifugation, it can be identified.

Alternatively one other option if it is unclear after the isopropanol spin is to leave a small volume of isopropanol in the tube and re-spin it. Droplets should form around what is actually the clear pellet.

If this does not work, remove all the isopropanol without touching the sides of the tube with the pipette tip and add the ethanol carefully. Occasionally it suddenly appears during this step either on the side or floating due to the force of the ethanol being dispensed into the tube. From experience we find that by the stage of ethanol washes if the pellet is not visible, the isolation has been unsuccessful.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of this procedure is to isolate high quality RNA from serum samples using our optimized version of the common MRC Tri-reagent RT LS protocol. (Intro)

This is accomplished by first diluting the serum in a 1 to 5 ratio with nuclease free water to lower protein contamination. (P1: Show the image provided with a small amount of liquid. Add more liquid to the tube when “diluting” is said. Shot 2.1.2)

The second step is to introduce 2.0 ml phase-lock tubes for the first centrifugation step; this traps the majority of contaminants such as phenol and proteins in the organic phase. (P2: Leave the image from P1, then show the image provided for P2, draw an arrow from the P1 tube to the P2 tube. Shots 2.5.2 & 2.6.1)

Next, the third and final optimization step is the “flash” centrifugation spin at 12,000 x g which removes any residual contamination from the RNA pellet prior to the ethanol washes. (P3: Show the image provided. Shot 2.10.2)

The final step is to pool two modified RNA preparations from the same patient, if a higher total RNA yield is required. (P4: Show the tube provided by the authors, then show one more of the same tube beside it and add a plus “+” in between the two tubes. Add an arrow to the right of the two tubes going to one tube with more genetic material (blue squiggles), if possible. Shot 3.2.3)

Ultimately, by using this modified method, which solubilizes serum in nuclease free water, employs a phase lock tube to trap major contaminants, and introduces a “flash spin,” we show that it is possible to maximize the recovery of small non-coding RNAs from an RNA isolation from serum. (P5)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Samantha Khoury: The main advantage of this technique over existing methods, like the standard Trizol RNA isolation protocol, is that through simple modifcations we can maximize the yield of RNA from serum.

  - Nham Tran: Generally, individuals new to this method will struggle because small RNAs are found in low quantities in serum. This optimized method and visualization of the steps will improve recovery of these RNAs and guide novices to a successful isolation.

# Protocol (read by voice talent at JoVE):

- Small RNA Isolation from Serum

  - To begin, thaw the previously prepared frozen serum sample on ice, then transfer 400 µl of the freshly thawed serum into a labeled microcentrifuge tube.

    - MED/WIDE: Talent removes sample from freezer and brings it to the bench. I INCORRECTLY SLATED THIS AS 2.2.1

    - MED: Talent transfers thawed serum into labeled microcentrifuge tube. I INCORRECTLY SLATED THIS AS 2.2.2

  - Next, dilute the serum with 100 µl of RNase free H2O and add 50µl of proteinase K at a concentration of 1.0 mg/mL.

    - MED: Talent adds water and proteinase K to tube. THIS SHOT IS SLATED AS 2.2.1A.

# AN ADDITIONAL SHOT WHERE TALENT ADDS PROTEINASE IS SLATED AS 2.2.1B

  - Then, incubate the diluted serum at 37 °C for 20 minutes to allow adequate protein digestion.

    - MED: Talent places tube in incubator and sets timer for 20 minutes. PLEASE USE THE 3RD TRY WHICH IS AT THE END OF 2.3.1 TAKE 1

  - To ensure complete solubilization, add 1.5 mL of Tri-Reagent RT LS and 100 µl of 4-bromoanisole.

    - MED: Talent removes tube from incubator.

    - MED – Over the Shoulder: Talent adds Tri-Reagent RT LS and 4-bromoanisole.

  - Briefly invert the homogenate and perform repetitive pipetting for 5 seconds. Then transfer the mixture into a labeled 2 mL heavy phase lock tube.

    - MED: Talent inverts the homogenate then performs pipetting.

    - MED – Over the Shoulder: Talent transfer mixture to phase lock tube.

  - Spin the homogenate at 12,000 × g for 20 minutes at 4 °C.

    - MED: Talent places tube in centrifuge, if possible, capture the settings used.

  - Next, carefully decant 1 mL of the resulting aqueous solution into a fresh DNA Lobind tube. The organic and interphase should be trapped underneath the white gel of the phaselock tube.

    - MED: Talent decants 1 mL of the solution into a fresh DNA Lobind tube.

    - CU: Talent shows the tube to the camera demonstrating the different phases. THIS IS VISIBLE IN THE CLOSE UP DURING 2.7.1

  - Then, add 5.0 µL of glycogen and 500 µL of 100% isopropanol to the aqueous solution. Mix the solution by inversion, and incubate it overnight at -20 °C.

    - MED: Talent adds glycogen and isopropanol to solution. THERE ARE 2 X SHOTS IN THE SAME TAKE (TAKE 1) – A CU AND A MED.

    - MED: Talent inverts tube, then stores it in refrigerator. THIS SHOT IS SPLIT INTO 2 X SHOTS – 2.8.2A & 2.8.2B

  - Following overnight incubation, centrifuge the sample for 20 minutes at 12,000 × g in a 4°C centrifuge.

    - MED: Talent removes sample from refrigerator.

    - MED: Over the shoulder talent places it sample in centrifuge. If possible capture the settings

  - Next, discard the clear supernatant and perform a flash spin for 2 minutes at 16,000 × g in a 4°C centrifuge.

    - CU: Talent discards supernatant.

    - MED: Talent places sample in centrifuge.

  - Using a pipette, carefully remove the clear solution surrounding the pellet.

    - CU: Side view talent carefully removes clear solution surrounding the pellet.

    - CU/ECU: Talent shows the pellet to the camera.

  - Then, wash the pellet with 1 mL of 70% ethanol and centrifuge the sample at 10,000 × g for 10 minutes. To visualize the pellet, tilt the tube in front of a dark background and decant the wash solution. Repeat the wash step.

    - MED: Talent washes pellet with ethanol. PLEASE USE 2.12.1 TAKE 2

    - MED: Talent places sample in centrifuge I INCORRECTLY SLATED THIS AS 2.12.1 TAKE 1

    - CU: Talent tilts tube in front of dark background then decants the solution.

- RNA Resuspension into Solution

  - Resuspend the pellet in 10 µl of RNase free H2O.

    - MED: Side view talent resuspends the pellet in water.

  - Ensure the pellet is completely dissolved by heating the sample at 55 °C for 5 minutes. During this time, mix the sample with repeated pipetting. For a higher total RNA yield, pool two RNA preparations from the same patient.

    - MED: Talent places tube on heat block (or other heating mechanism) and sets timer for 5 minutes.

    - MED: Talent mixes the sample by pipetting. PLEASE USE 3.2.2 TAKE 2

    - MED: Talent pools two RNA preparations. PLEASE USE 3.2.2 TAKE 1

  - Quantitate the resuspended RNA using a UV-Vis spectrophotometer and assess the RNA quality using a 2100 Bioanalyzer.

    - MED: Talent places sample in spectrophotometer to assess RNA quality.

  - Then, store the pooled RNA samples at -80°C for use in downstream applications.

    - MED/WIDE: Talent stores RNA sample in freezer.

- Results: Marked Improvements on the Traditional Chomczynski Method

  - Spectrophotometric profiles of RNA from human serum demonstrate the improved yield of RNA due to the addition of several steps to the traditional Chomczynski approach. A typical UV profile of RNA isolated from human serum contrasts with those utilizing optimization steps including the addition of glycogen, an extra spin, and each of those tools combined, resulting in a reduction of contaminates and an increased total RNA yield.

    - LAB MEDIA: Figure 1A, B, C (Video Editor: Show figures 1A, B, C on the screen simultaneously with all text. After a beat show Figure 1A with all text, if possible trace the graph in blue or highlight it when “typical” is said and trace or highlight the three lines below it in the same manner when “utilizing” is said. Highlight the graph in black by boxing, tracing, or highlighting when “glycogen” is said, then do the same in succession for the graph in red when “extra” is said, and for the graph in coral when “each” is said, then show the graph intact with no effects for a beat.)

  - The purity of the RNA sample was further increased with the use of a phase lock gel, which traps phenol and proteins. Additionally, increasing the volume of serum has a notable impact on RNA yield.

    - LAB MEDIA: Figure 1B, C (Video Editor: Show figure 1B with all text. Highlight the red line by tracing or boxing when “phase” is said. Replace figure 1B with 1C with all text. Highlight the black line by boxing or tracing when “volume” is said, then leave the figure on the screen for a beat.)

  - A bioanalyzer trace was performed to further analyze the sample’s quality. A single spike at approximately 21 nucleotides represents the microRNA fraction.

    - LAB MEDIA: Figure 2A (Video Editor: Display this figure with all text, and box the column containing the spike at 21 nucleotides on the x-axis when the second sentence begins.)

  - Array profiling and qPCR were performed following the procedure. This array profile of three head and neck cancer and one normal sera shows expression of microRNAs analyzed using hierarchical clustering and presented as a heat map where up regulation and down regulation of the microRNAs can be seen.

    - LAB MEDIA: Figures 3A, B, C (Video Editor: Show Figure 3A, then B, and then C. Remove figures 3B and C leaving 3A on the screen. If possible, highlight the red sections of the graph when “up” is said, and then the blue sections when “down” is said.)

  - Following qPCR, amplification curves were generated for specific microRNAs. This data was then used to plot raw Ct values for the normal serum.

    - LAB MEDIA: Figures 3B, C (Video Editor: Show figure 3B, then show figure 3C when “this data” is said)

- Conclusion (said by authors on camera)

  - SAMANTHA KHOURY: Once mastered, this technique can be done across any number of patients producing high quality RNA in 2 days maximum__________ (hours/min) if it is performed properly.

  - NHAM TRAN: Following this procedure, other methods like quantitative PCR or next generation sequencing can be performed in order to answer additional questions like biomarker discovery and validation.

# Provided Media

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.