# Submission ID #: 51517

# Editor Name: Laifong Lee

# Videographer name:

# Film Date:

# Authors and Affiliations:

Tonya J. Whitehead

Biomedical Engineering

Wayne State University

Detroit, MI, USA

tonyaw@wayne.edu

Harini G. Sundararaghavan

Biomedical Engineering

Wayne State University

Detroit, MI, USA

hsundara@wayne.edu

313-577-0687

# Title: Electrospinning Growth Factor Releasing Microspheres into Fibrous Scaffolds

Corresponding Author: Harini G. Sundararaghavan

Authors, please fill out the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) __NO__ If yes, please list make and model of your microscope:

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___NO__

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps__2.4-2.5, 3.3-3.7________________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  _3.7__- verify all settings and connections to ensure successful electrospinning____________________

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

# Video editor: graphics are in ‘schematic.tif’

The overall goal of this procedure is to create a multifaceted environment to support nerve growth and repair. (Intro)

This is accomplished by first encapsulating growth factors within degradable microspheres. (Video editor: P1 cartoon – animate the green protein going into the red circle) (P1)

The second step is to prepare the support material for the bulk of the environment. (Video editor: P2 cartoon – animate the square and triangle being added to the cylinder) (P2)

Next, the microspheres and support material are combined and electrospun into an aligned fibrous scaffold. (Video editor: P3 cartoon – animate the contents of the syringe being squirted out onto the gray rod)  (P3)

The final step is to test the scaffold with chick dorsal root ganglia neurons. (Video editor: P4 cartoon – animate the little gray circle being placed on the square) (P4)

Ultimately, immunofluorescence microscopy is used to show that neurite growth and direction is accelerated compared to controls. (Video editor: show P5 cartoon) (P5)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Tonya Whitehead: Though this system is designed for neural tissue, with slight changes to the material and protein used, it could also be applied to various tissue types, including heart, bone and lung.

# Protocol (read by voice talent at JoVE):

- Water/Oil/Water Double Emulsion Microsphere production

  - Prior to starting this procedure, prepare the necessary reagents: 2% and 0.5% w/v solutions of polyvinyl alcohol, or PVA, in deionized water; a solution of 2% v/v Isopropyl Alcohol in deionized water; and an aqueous solution of the desired hydrophilic protein.

Shots:

    - MED: Talent setting out the solutions that have been prepared in advance.

    - CU: A shot of the reagents. (Author: please clearly label each one)

  - Place 40 mL of the 0.5% PVA solution into a 50- mL centrifuge tube and set aside.

Shots:

    - MED: Talent transferring 40 mL of the 0.5% PVA solution into a 50-mL centrifuge tube and setting it aside.

  - In a small vial dissolve 300 mg of 65:35 poly-lactic-co-glycolic acid, or PLGA, in 3 mL of Dichloromethane.   A vortex mixer can be used to accelerate PLGA dissolution.

Shots:

    - CU: Talent adding 3 ml Dichloromethane to a small vial containing 300 mg PLGA. and 3 ml Dichloromethane to a 15-ml centrifuge tube.

    - MED: Talent vortexing the tube.

  - Combine 200 µL of protein solution and 4 µL of 2% PVA solution. Pour the protein-PVA mixture into the PLGA solution.  The solutions will remain mostly separate.

Shots:

    - MED: Talent adding 200 µL of protein solution and 4 µL of 2% PVA solution into another tube.

    - CU: protein-PVA mixture being poured into the 15-mL centrifuge tube a small vial containing the PLGA solution (from 2.3).

    - ECU: A shot of the solutions to show they remain separate.

  - Place the vial into a beaker of ice water.  Using a wand sonicator at ~10 Watts, agitate the solution for 5-10 seconds until a uniform creamy white emulsion is created.

Shots:

    - MED: Talent placing the 15-ml tube vial into a beaker of ice water.

    - CU: Wand sonicator being used to agitate the solution.

    - ECU: A shot of the uniform creamy white emulsion.

  - Pour the emulsion into the previously prepared 50-mL tube containing 0.5% PVA.  Mix the solution at high speed on a vortex mixer for ~20 seconds.  The solution will develop a cloudy appearance.

Shots:

    - MED: Talent pouring the emulsion into the 50-mL tube containing 0.5% PVA.

    - CU: Tube being vortexed.

    - ECU: A shot of the solution after it becomes cloudy.

  - Transfer the emulsion to a 200-mL beaker and place on a stir plate at 350 RPM for 2 minutes.  Add 50 mL of 2% isopropyl alcohol to the beaker on the stir plate. Allow the mixture to continue stirring for a minimum of 1 hour to allow the Dichloromethane to evaporate and the PLGA to harden. (TEXT: Stir for 1 h)

Shots:

    - MED: Talent transferring the emulsion to a 200-mL beaker and placing it on a stir plate to stir.

    - CU: 50 mL of 2% isopropyl alcohol being added to the beaker on the stir plate and stirring is continued.

  - Next transfer the microsphere solution into centrifuge tubes.

Shots:

    - CU: Microsphere solution being transferred into 2-3 centrifuge tubes.

  - Centrifuge at 425 x g for 3 minutes. The microspheres will collect at the bottom of the tube and appear white. Carefully remove the supernatant from the tube, above the microspheres, and store in a 500-mL bottle.

Shots:

    - MED: Multiple takes from different angles of talent putting centrifuge tubes into centrifuge and starting spin.  Shot will be repeated later.

    - CU/ECU: A shot of a tube after centrifugation to show white microspheres at the bottom.

    - CU: Multiple takes from different angles of supernatant being carefully transferred from tube to a 500-mL bottle.  Shot will be repeated later.

  - Rinse the microspheres with deionized water by filling each tube three quarters full and shaking it to redistribute the microspheres in the liquid.

Shots:

    - MED: Multiple takes from different angles of talent adding water to a centrifuge tube and shaking it. Shot will be repeated later.

  - Repeat centrifugation, removal of the supernatant, and rinsing of the microspheres with deionized water four times. (TEXT: Centrifuge, remove supernatant, rinse 4X)

Shots:

    - Reuse shot from 2.9.1.

    - Reuse shot from 2.9.3.

    - Reuse shot from 2.10.1.

    - Transferring microspheres into a 15mL container for the final rinse.

  - Following the final rinse, remove the supernatant and place in the 500-mL bottle with the other samples.

Shots:

    - MED: Talent removing the supernatant and placing it in the 500-mL bottle with the other samples.

  - Freeze the microspheres collected in the centrifuge tubes at -20°C overnight and then lyophilize for at least 24 hours.

Shots:

    - MED: Talent putting the centrifuge tubes at -20°C.

    - MED: Talent putting the centrifuge tubes into the lyophilizer.

- Electrospinning with Microspheres

  - The following electrospinning solution should be prepared beforehand in deionized water:  2% w/v methacrylated hyaluronic acid, or MeHA, with 3% w/v 900 kD poly-ethylene oxide, or PEO, and 0.05% w/v photo initiator solution.

Shots:

    - MED: Talent setting out pre-made solution components that are clearly labeled.

  - After making the desired volume of electrospinning solution, add microspheres at the desired concentration up to 400 mg/mL.  Mix the solution on a vortex mixer until the microspheres are evenly distributed in the solution.

Shots:

    - MED: Talent adding microspheres to 10 ml of electrospinning solution in a small glass bottle.

    - CU: Glass bottle with solution being vortexed.

  - Transfer the solution to a syringe and attach a 6-inch 18-gauge blunt tip needle.

Shots:

    - CU: Solution being transferred to a syringe and then needle being attached.

  - Place the syringe in a syringe pump and set it to dispense at 1.2 mL/hour.  (TEXT: 1.2 mL/h)

Shots:

    - MED/CU: Talent placing the syringe in a syringe pump.

    - CU: Pump being set to dispense at 1.2 mL/hr.

  - Tape a layer of aluminum foil on the mandrel.  This allows for easy clean up and storage of the finished scaffold.  A rotating mandrel is used to create aligned fibers.

Shots:

    - MED: Talent taping a layer of aluminum foil on the mandrel.

    - CU: Match action above: foil being taped on the mandrel.

  - Connect the ground wire from a high voltage power source to the collection apparatus. Connect the positive lead to the needle.

Shots:

    - MED: Talent connecting the ground wire from voltage power source to the collection apparatus.

    - CU: Positive lead being connected to the needle.

    - Talent – interview style to camera: “To ensure successful electrospinning, it is important to verify all settings and connections.”

  - Start the polymer pumping, and when the solution is visible at the end of the syringe, turn on the voltage source and set the voltage to 24 kV.  (TEXT: Set  voltage to 24 kV)

Shots:

    - MED: Talent starting the syringe pump.

    - CU: Solution becoming visible at the end of the syringe.

    - MED: Talent turning on the voltage source and setting the voltage to 24 kV.

  - Run the solution until the desired scaffold thickness is achieved.  When complete, turn off the voltage source and syringe pump.

Shots:

    - MED: Talent turning off voltage source and syringe pump.

- Protein Bioactivity Testing

  - To begin this procedure, attach methacrylated coverslips to the collection area of the electrospinner with removable double sided tape before electrospinning.  Spinning onto the coverslips eases handling and viewing.

Shots:

    - MED: Talent attaching methacrylated coverslips to the collection area of the electrospinner with removable double sided tape.

  - After electrospinning to the desired thickness as demonstrated in the previous video segment, carefully remove the coverslips from the mandrel. Place the scaffold coated coverslips into a clear nitrogen chamber and ensure that all oxygen is purged.

Shots:

    - CU(A) MED: Coverslips being  carefully removed from mandrel. (B) CU:Carefully removing coverslips from the foil.

    - MED: Talent placing coverslips into a clear nitrogen chamber and ensuring all oxygen is purged.

  - Place the chamber and scaffold under a 10 mW/cm2 365 nm light for 15 minutes. (TEXT: 10 mW/cm2 365 nm)

Shots:

    - MED: Talent placing chamber and scaffold under light.

  - After crosslinking, place coverslips into an appropriately sized well plate.  Ensure that the scaffold side is facing up.

Shots:

    - CU: Talent transferring coverslips to a plate, scaffold side up.

  - Place 100-200 µL of media on each scaffold in the well plate.   Carefully place one Dorsal Root Ganglia, or DRG, on each scaffold in the media droplet.  For a thick scaffold more media may be needed; the DRG needs to be fully submerged and not floating.

Shots:

    - MED: Talent placing media on each scaffold in the well plate.

    - CU: One DRG being placed on a scaffold in the media droplet.

  - Incubate the scaffold and DRG at 37 °C for 4 hours to allow the cell to adhere to the scaffold. (TEXT: 37 °C; 4 h)

Shots:

    - MED: Multiple takes from different angles of talent putting the plate into the incubator. Shot will be repeated later.

  - Next fill media to the appropriate level for the well. Return the plate to the incubator and incubate for 4-6 days. (TEXT: 37 °C; 4-6 days)

Shots:

    - CU: Media being added to the appropriate level for a well.

    - Use shot from 4.6.1.

  - After the incubation period, carefully remove the media from each well and gently wash once with PBS.  Fix cells for 30 minutes using 4% w/v paraformaldahyde.  Subsequently, stain the cells for neurofilaments and nuclei following an established protocol. (TEXT: Reference for staining protocol is found in the manuscript)

Shots:

    - MED: Talent removing media from each well and then adding PBS to each well.

    - CU: PBS being removed and paraformaldehyde added.

  - To visualize the cells using a fluorescent microscope, place the well plate on the stage of the microscope and locate the cell mass using the filter and excitation settings for DAPI.

Shots:

    - MED: Talent placing the plate on the microscope stage, setting the filter, and locating the cell mass.

  - Once the cell is identified, switch the filter to FITC to visualize the extended neurites.  Use the stitch function on the microscope to collect and combine as many images as necessary to see the entire structure.  Repeat for DAPI, FITC and bright field.

Shots:

    - MED: Talent switching the filter to FITC and then acquiring images.

- Results: microspheres within scaffold release NGF that promotes primary nerve cell growth

  - (Figure 1) Microspheres 50±14 µm in diameter with over 85% protein encapsulation have been consistently produced and electrospun into scaffolds by this protocol.

# Shots:

    - LAB MEDIA: 51517fig1highres.jpg

  - (Figure 2) This fluorescent image shows representative microspheres with Rhodamine in the PLGA shell and BSA-FITC encapsulated within.

# Shots:

    - LAB MEDIA: 51517fig2highres.jpg

  - (Figure 3) To evaluate encapsulation, the microspheres were filled with BSA and tested for protein release for over 60 days with a Bradford Protein Assay.  The release begins with an initial burst and then continues as microspheres break down.

# Shots:

    - LAB MEDIA: 51517fig3highres.jpg

  - (Figure 4) After electrospinning, the microspheres can be seen throughout the 3D fibrous structure.  In this SEM image of the complete scaffold, the spheres can be seen in multiple layers, indicated by arrows (Video editor: zoom in to panel A). This high magnification image is of one microsphere with the nanofibers from the scaffold above it. (Video editor: zoom in to panel B)

# Shots:

    - LAB MEDIA: Figure 4 high res. tif (uploaded 3/17/14) Video editor: please do not use the older version of Figure 4.

  - (Figure 5) Dorsal Root Ganglia, or DRG, were used to test the viability of Nerve Growth Factor, or NGF, in the microspheres within the scaffold.  Here a DRG seeded on a scaffold containing microspheres loaded with NGF (Video editor: zoom in to panel A) is shown next to one containing microspheres with no protein within (Video editor: zoom in to panel B).  The longer neurite extensions extending from the DRG on the NGF scaffold indicate that the NGF is viable and can promote growth.

# Shots:

    - LAB MEDIA: 51517fig5highres.jpg

- Conclusion (said by authors on camera)

  - Tonya Whitehead: After watching this video, you should have a good understanding of how to encapsulate protein into microspheres and incorporate them into a fibrous scaffold.

# Provided Media

1A. ‘schematic.tif’

5.1. 51517fig1highres.jpg

5.2. 51517fig2highres.jpg

5.3. 51517fig3highres.jpg

5.4. Figure 4 high res. tif (uploaded 3/17/14)

5.5. 51517fig5highres.jpg

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.