# Submission ID #: 51540

# Editor Name: Renee Choi

# Videographer Name:

# Film Date:

# Authors and Affiliations: James C. Thomas1; Benjamin G. Wherley1; Richard H. White1; Kevin J. McInnes1; Charles H. Fontanier1; Jacqueline A. Aitkenhead-Peterson1; Steven T. Kelly2

1Soil and Crop Sciences Department, Texas A&M University, College Station, TX, USA

2The Scotts MiracleGro Company, P.O. Box 2187, Apopka, FL 32704

# Title: Design and Construction of an Urban Runoff Research Facility

# Corresponding Author:

# James C. Thomas

# Soil and Crop Sciences Department

# Texas A&M University

# College Station, TX, USA

# jc-thomas@tamu.edu

# Additional Contacts: Benajmin Wherley: b-wherley@tamu.edu; Richard H. White: rh-white@tamu.edu; Kevin J. McInnes: k-mcinnes@tamu.edu; Charles H. Fontanier: cfontanier@ag.tamu.edu; Jacqueline A. Aitkenhead-Peterson: jpeterson@ag.tamu.edu; Steve T. Kelly: steven.kelly@scotts.com

Authors, please fill out the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) __N_______ If yes, please list make and model of your microscope: ______________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)_Yes, but it will be a fairly small amount

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps. 3.1, 3.3, 4.3, 6.2, 6.3, & 6.4

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  The most difficult aspect was properly designing and constructing the retaining wall.  To ensure success, we contracted with a local engineering company to design the wall to ensure that it would be both functional and structurally sound for many years to come.  We then contracted with a reputable local contractor to build it according to the engineering specifications.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Conceptual Narrative:

The overall goal of the following procedure is to design and construct a 1,000 m2 facility containing 24 individual 33.6 m2 field plots to measure total runoff volumes at relatively small temporal resolutions and to simultaneously collect runoff water subsamples at selected volumetric or temporal intervals. The runoff water from simulated urban lawns will be measured and quantified for chemical constituents. (Intro)

This is achieved by selecting a site with a uniform 3-4% slope and an adequate plot area for location of the facility.  (P1: Display the image provided, without the text. If possible, add an arrow next to each of the three rectangles and add the text “3-4% slope”. Shots: 2.1.1 & 2.3.1)

The second step is to construct a retaining wall at the bottom of the plot areas which includes runoff collection troughs, and will allow the collection of all runoff from each plot and delivery of it to the measuring and sampling equipment. (P2: Note that the image provided that is pasted in the Word document for 2 must be rotated 90 degrees counterclockwise. Display this image when the voice over begins without the text. Add an arrow pointing to the concrete strip and add text that says “runoff collection” when “run collection troughs” is said. Shot: 3.1.1 & 3.2.1)

Next, the measuring and sampling equipment is installed below the retaining wall in order to accurately measure the amount of runoff in discrete time intervals as well as to collect runoff water samples for analysis. (P3: If possible, fade into this image. Add an arrow pointing to the bottom left corner of the image (concrete wall from previous image) and add text “retaining wall” when said. Shot 4.3.2)

The fourth step involves the final preparation of the plot areas including installation of individual plot irrigation, plastic barriers between plots, small aboveground berms, and a diversion ditch above the plots. (P4: If possible, fade into this image. Shots 5.2.2 & 5.5.1).

Finally, the plots are planted with St. Augustine grass sod. The irrigation system is activated to initiate a runoff event and the resultant water samples are collected and analyzed for chemical composition. (P5: If possible, cut this image in half along the top left corner to the bottom left corner and only show the left half. Then reveal the right half when “irrigation system” is said. Shot: 6.3.2)

Paste a copy of your graphic overview here.  The original file should be Adobe Illustrator (preferred) or Powerpoint (see instructions) and should be uploaded through your online submission on the JoVE website. Please keep all layers in the file (i.e., do not flatten the file).

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Dr. Ben Wherley: The main two advantages of this facility over existing facilities, like those in Florida, Pennsylvania, and Ohio, is that it is constructed on native undisturbed soil and the plot sizes are such that they include natural variability and microclimate effects.

  - Dr. Richard White: Research using this facility can help answer key environmental questions, such as how much do home lawns contribute to urban nutrient runoff and what are best management practices to minimize nutrient runoff from urban landscapes.

  - Mr. Charles Fontanier: Although research using this facility can provide insight into nutrient loss from St. Augustinegrass lawns, it can also be used to evaluate other grasses, and products such as soil amendments, herbicides and pesticides.

  - Dr. Kevin McInnes: Generally, individuals trying to replicate this facility will struggle primarily with selecting the site location and the retaining wall design/construction.

  - Mr. James Thomas: Visual demonstration of this facility is critical because the volume of runoff water eminating from this size plot is much greater than most individuals envision.

  - Dr. Jacqui Aitkenhead-Peterson: Demonstrating the pH and EC measurement techniques and sample filtering procedures will be Ms. Nina Stanley a research instrumentation specialist from my laboratory.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol (read by voice talent at JoVE):

- Site Selection

  - To begin locate an area of undisturbed soil with a uniform 3-4% slope and conduct a topographic survey on the area.

    - MED/WIDE: Talent approaches site and takes measurements to assess the property.

    - MED/WIDE: Talent conducts topographic survey of the area, taking slope measurements.

  - Next, delineate a 10 m by 100 m area with an average 3.7 % slope and divide the area into three 10 m by 33.3 m blocks.

    - MED/WIDE: Talent marks off area and confirms slope.

    - MED/WIDE: Talent divides area into three blocks. (LAB MEDIA: Figure 1 (Video Editor: If possible, add arrows onto this figure next to the three rectangles with the text “10 m x 33.3 m blocks”))

  - Then, subdivide each block into 8- 4.1 m wide by 8.2 m long field plots.

    - MED/WIDE: Talent measures out each block and further divides the area into subdivisions.

    - MED/WIDE: Shot of finished facility with existing plots. (LAB MEDIA: Figure 2 (Video Editor: Display this figure in a split screen next to this footage)

- Retaining Wall Construction

  - To initiate construction, pour 4,000 lb test, ready mix concrete into the previously prepared forms and use vibration to remove voids.

    - LAB MEDIA: Still photo of talent pouring concrete.

  - When the forms are full, trowel the upper surface to create a smooth finish with rounded edges and remove the temporary plastic covers on the drains to enable final surface preparation.

    - LAB MEDIA: Still photo of talent finishing concrete.

    - MED – Over the Shoulder: If possible, on the day of the shoot, capture talent smoothing the concrete and creating round edges with a tool. This could possibly be the talented simulating the action on already dried concrete.

    - MED/WIDE: If possible, capture talent removing the plastic covers on the drains.

# added CU look down into the drains.

  - Next, ensure that the finished concrete surface is level with the soil surface at the bottom of the plot and that it has a 1.27 cm slope to the drain to allow unimpeded water flow from the soil to the drain.

    - LAB MEDIA: Still photo of level surface (LAB MEDIA: Figure 2. Video Editor: Display section 2 of this figure in a split screen with the still photo)

    - MED/WIDE: Talent points to finished surface and slope of surface.  uses a level to illustrate slope and points to the gap below the level.

  - Then, form reinforced steel concrete pads 1.2 m wide, 1.8 m long, and 15 cm thick below each drain outflow with a 0.5 % slope away from the wall. Ensure that the top of the pad is 30 cm below the bottom of the drain outlet.

    - MED/WIDE: Pan of the structure of the concrete pad.  Authors will submit additional still photo of pads before equipment to supplement this section.

    - MED:  Capture the pad and its location below the outlet.

  - Provide a weatherproof electrical outlet on the side of the retaining wall above each pad to prepare for instrumentation.

    - WIDE: Shot of the electrical outlets on the retaining wall near instruments.

    - MED: Field footage of electrical outlets on the retaining wall near the instruments.

- Instrumentation Installation

  - Cut discharge pipes flush with the concrete wall. Install a 1.2 m long H flume immediately below the drain outflow, and anchor the flume on the wall level from side to side with concrete anchors and screws.

    - MED/WIDE: Field video of the discharge pipes after being cut flush with the wall and

    - MED/WIDE: Capture the attachment of the flume to the wall. Be sure to capture the orientation and the tools used.

# Added shot of drill used to drill into concrete for anchors.

# Added video of talent using wrench to tighten bolts holding flume to wall.

# Added a shot trying to show how tight the flume was to the wall.

  - Next, support the front of the flume with an adjustable stainless steel stand and use the adjustments to level the unit. Seal the joints between the flumes and the concrete with Tub and Tile sealant.

    - MED/WIDE: Field video of flume supports and adjustments with level on the equipment.  split this into two parts:  Take 1, part 1 was showing the level on the equipment.  Take 1, part 2 was showing talent adjusting the supports.

    - CU: Capture the seal between flume and wall.

  - Install a flow meter on each pad and minimize the length of tubing needed. Then, install a portable sampler on each pad and minimize the needed amount of tubing to reach the sampling tube.

    - MED: Shot of tubing used.

    - MED: Field video of flow meters and samplers.

  - Next, install previously fabricated stainless steel covers over the wall and the flumes to prevent the precipitation from entering the trench drains and flumes.

    - MED/WIDE: Shot of stainless steel covers.

    - MED/WIDE: Field video of talent placing cover over the wall and flume.

- Plot Area Preparation

  - Fill and tamp any minor voids on the upslope side of the wall using native topsoil from adjacent field areas. Use a small walk behind the trencher to cut a 10 cm wide, 30 cm deep trench on the remaining 3 sides of all plots.

    - LAB MEDIA: Still photos of backfill wall part A, B, C

    - MED: Talent shows trencher to camera in front of plots and points out trenches cut out using the trencher on the plots.

  - Next, insert 40 cm wide strips of 0.10 mm thick clear plastic vertically in the trenches to prevent lateral movement of water between plots.

    - MED: Talent shows plastic strips to camera.

    - LAB MEDIA: Still photo of talent installing plastic.

  - Then, install irrigation pipe and six irrigation heads on 4.1 m square spacing for each plot.

    - LAB MEDIA: Still photo of talent installing irrigation.

  - Backfill and lightly tamp all trenches by hand and mound the soil into a 5 cm tall by 30 cm wide berm over the trench area to prevent lateral movement of surface water between plots.

    - LAB MEDIA: Still photo backfilling berms.

  - Next, adjust irrigation heads to the top of the soil height in the berm areas. Construct a diversion ditch to prevent upslope water from getting on the plots.

    - LAB MEDIA: Stilll photo berms and heads.

    - MED/WIDE: If possible, shot of diversion ditch.  Authors suggest that while the video of the diversion ditch (5.5.2) is playing, the professional voice read both steps 5.6 and 5.7.  Then proceed with voice and photos for 5.8.1.

  - Use a box blade to cut a V-shaped channel approximately 20 cm deep in the center and 2 m across so that the center of the channel is 1.25 m above the high side of the plot area and extends across the upper side of all plots.

    - MED – Over the Shoulder: Talent cuts channel.

    - MED: Pan of V-shaped channel.

  - Cut a sloped trench in the 30 cm below the channel bottom with a minimum slope of 0.5 % going to the end of each block to ensure good drainage. Smooth trench bottoms by hand and survey them to ensure a uniform slope.

    - MED: Talent cuts sloped trench in the bottom channel.

    - MED – Over the Shoulder: Talent uses hands to smooth trench bottoms.

    - MED: Talent measures trench slope.

  - Then, add 5 cm of washed 6-9 mm pea gravel to the bottom of the trenches. Place a 15 cm diameter slotted drain line on the gravel surface and fill the trench with more gravel.

    - MED: Talent adds pea gravel to trenches. Authors will provide still photos for this step

    - LAB MEDIA: Still photo drain line.

  - Next, cut trenches at the ends and between the blocks of plots to route drainage water to discharge locations below the retaining wall.

    - MED – Over the Shoulder: Talent cuts trenches at the ends, then moves between the blocks to cut more trenches.  Substituted a pan shot of completed and backfilled trench above the end 3 plots and then turning and going along the end of the block.  Also authors will submit a still photo to supplement video.

    - MED/WIDE: Capture the resulting block with newly cut trenches.

  - Place a 15 cm diameter plain corrugated drain line in the trenches and backfill with the excavated soil. Cover the trench and channel area with a layer of large 5-15 cm diameter bull rock.

    - MED/WIDE: Field video of completed diversion ditch system. Use 5.5.2

    - MED: Talent points out location of outflows.

    - added  pan shot of the drainage line from diversion ditch coming through the wall between blocks 1 and 2.

- Initial Runoff Event, and Sample Analysis

  - To prepare for a runoff event, take initial readings of water meters and measure the soil moisture content of all plots.

    - MED – Over the Shoulder: Talent documents water meter reading.

    - MED: Talent measures soil moisture in each plot (shot of only one plot measurement necessary).

  - Next, remove the lids from the valve boxes located at the head of each plot and record the initial water meter reading for each of the 24 plots. Using a portable hand held moisture probe, measure and record the soil moisture content of each plot.

    - MED/WIDE: Talent removes lid from valve box.

    - MED/WIDE: Talent uses water meters to take readings.

    - MED/WIDE: Talent uses moisture probe to measure soil then documents result.

  - Program flow meters and samplers to measure flow and collect samples as desired. Operate the irrigation system for a predetermined time to apply sufficient water to cause runoff.

    - MED – Over the Shoulder: Talent programs flow meters and samplers and collects soil sample from plots.

    - MED/WIDE: Field video of irrigation system in operation, water leaving the flume, and sampler in operation.  split this into two parts.  Part 1 was irrigation system in operation.  Authors will also submit a home video that editors may use all or parts thereof at their discretion.  Part 2 was water leaving the flume.  Although the sampler works, there are no visible movements to photograph.

  - Record the ending water meter readings for each of the 24 plots. Then collect irrigation water samples from the spray heads during operation. Label and transport runoff samples to the laboratory for analysis.

    - MED – Over the Shoulder: Talent records the water meter readings (footage of only water meter reading recording necessary)

    - MED: Field video of talent removing samples from the sampler, then labeling and loading in box for transport to laboratory.

    - SCREEN: Hydrograph from computer processed runoff data.  Authors will submit a .AVI file for this step.

  - Measure the electrical conductivity and pH of the water samples by dipping probes directly into subsamples of the water placed in clean beakers. Then filter additional 50 mL subsamples of each collected water sample through a 0.7 µm glass microfiber filter to prepare for chemical analysis.

    - MED: Talent dips probes directly into the samples.

    - MED – Over the Shoulder: Talent runs subsample through filter.

    - LAB VIDEO: Instrument Specialist introduced by Dr. Peterson.

- Results: Analysis of Runoff Events

  - 24 plots were analyzed and yielded topsoil depths ranging from a low of 25.0 cm to a high of 51.5 cm. The slopes ranged from a low of 3.2 % to a high of 4.1 %.

    - LAB MEDIA: Table 1 (Video Editor: Display the entire table with all text. Isolate column 2, “Topsoil Depth (cm),” in yellow when “topsoil” is said, and highlight in light green the value “25.0” in line “24” when “low” is said, and highlight in a darker green the value “51.5” in line “10” when “high” is said. Show the entire table again then isolate column 3, “Surface Slope (%),” make a blue box around the value “3.2” in the 17 line when “low” is said. Highlight the value “4.1” in line 2 with a darker blue box when “high” is said.)

  - Runoff events were performed on two separate days. Prior to sodding, the plots had been well irrigated to ensure optimal performance and measurement. The runoff volumes from the first trial had a mean of 213.5 L and a coefficient of variability, or CV, of 38.2 %. In contrast, the soil was much drier prior to the second runoff event, which resulted in a lower average runoff volume and CV. In this case, much of the applied water infiltrated into the soil beneath the sod.

    - LAB MEDIA: Table 2 (Video Editor: Display the entire table. Highlight “9-Aug” and “13-Sep” when “two separate days” is said in green. Remove the highlight and isolate the second line, then highlight “213.5” when said, and “38.2” when said. Display the entire table again, then highlight “52.6” in green when “lower” is said, and highlight “28.7” when “CV” is said.)

  - The pH values for all 49 water samples collected after the first runoff event the morning of August 9, 2012 after laying sod the previous day averaged 8.4 standard units with a minimum of 8.1 and a maximum of 8.9 units, resulting in a very low CV of 1.5%.

    - LAB MEDIA: Table 3 (Video Editor: Display the entire table. Highlight Row 2 of table in yellow when “pH values” is said. Remove the highlight and isolate and highlight “8.4” when said, then “1.5” when said.)

- Conclusion (said by authors on camera)

  - Dr. Jaqui Aitkenhead-Peterson: Proper operation of this facility combined with accurate chemical analysis of the runoff samples will provide valuable information on the fate of nutrients in urban landscapes.

  - Dr. Ben Wherley: When conducting research studies using this facility, it’s important to carefully design the experimental protocol in advance so that the resulting data will be valid.

  - Dr. Kevin McInnes: Because this facility was constructed on undisturbed soil, the data include effects of spatial variability that are typical of native soils.

  - Mr. Charles Fontanier: Using this facility, one can evaluate runoff water quality from other grasses, and from applications of a variety of products such as soil amendments, herbicides and pesticides.

  - Dr. Richard White: After watching this video, you should have a good understanding of how to design and construct a large field scale facility containing replicated field plots for measuring total runoff volumes and simultaneous collection of runoff water subsamples for measurement and quantification of chemical constituents of the runoff water.

  - Mr. James Thomas: Construction of a field facility of this magnitude requires the use of heavy equipment such as tractors and trenchers.  Employing trained equipment operators and using an appropriate health and safety plan are critical to avoiding injuries at the worksite.

# Provided Media

# Insert your media filenames here.

# The following files have been uploaded to the journal submission site during the review process.  Those not marked with a step number can be used at your discretion.

# 3.1  Pouring concrete_SW.jpg

# 3.2  Finishing concrete_SW.jpg

# Planting sod_SW.jpg

# Sod delivery_SW.jpg

# 5.8  Drain line_SW.jpg

# 5.2  Installing plastic_SW.jpg

# 5.5  Berms and heads_SW.jpg

# 5.4  Backfilling berms_SW.jpg

# 5.3  Irrigation_SW.jpg

# Finished plot_SW.jpg

# Spray_SW.jpg

# 5.1  Backfill wall part A_SW.jpg

# 5.1  Backfill wall part B_SW.jpg

# 5.1  Backfill wall part C_SW.jpg

The following files are attached to this email:

Thomas - concept.pptx

3.3  Section 2 for video.bmp

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.