# Submission ID #: 51622

# Editor Name: Melissa Ceo

# Videographer name:

# Film Date:

# Authors and Affiliations:

Víctor A. Lórenz-Fonfría, Joachim Heberle

Experimental Molecular Biophysics

Freie Universität Berlin

14195 Berlin, Germany

Title: Proton Transfer and Protein Conformation Dynamics in Photosensitive Proteins by Time-resolved Step-scan Fourier-transform Infrared Spectroscopy

# Corresponding Author:

Joachim Heberle: joachim.heberle@fu-berlin.de

Co-authors email: victor.lorenz@fu-berlin.de

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ___N___ If yes, please list make and model of your microscope: ______________________________

**Note:  This question is to get at whether or not you will need a camera hook-up to look into the microscope.  However, if your microscope has a digital camera attached to a computer, you can gather these shots by collecting screen capture movies.

Does your protocol include microscopy steps that are visualized through a microscope with a digital camera/computer attached? (Y/N) __N__

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) ___N___

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps__2.7, 2.9, 3.1, 3.3, 3.6, 4.1 __

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  The most difficult step to perform in this procedure is the preparation of an optimal sample for FT-IR spectroscopy. When we have a new stock, to ensure success we prepare first a sample film for testing purposes, with less protein than required. From the resulting infrared absorption spectrum of the film, we will adjust the final amount of sample to be added to the film, as well as the optimal hydration. From the absorption spectrum we also realize if we need to wash the sample further to reduce the amount of detergent (in the case of solubilized samples). To ensure success on the day of the video-filming we will characterize the stock solution we will use in advance.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of this procedure is to probe the dynamics of protonation and conformational changes of two photosensitive membrane proteins using time-resolved step-scan FT-IR (TEXT: FT-IR: Fourier-transform Infrared) spectroscopy. (Intro)

This is accomplished by first forming a hydrated protein film, whose infrared absorption will be probed either in an attenuated total reflection configuration for bacteriorhodopsin or in a transmission configuration for channelrhodopsin-2. (P1, show the Step 1 images. Highlight the left image and gray-out the right image when “attenuated total reflection configuration for bacteriorhodopsin” is mentioned and vice versa when “transmission configuration for channelrhodopsin-2” is mentioned.)

The second step is to excite the sample with a nanosecond laser flash of suitable wavelength to initiate a photocyclic reaction in the protein, detecting time-resolved changes in the intensity of the infrared light interacting with the sample. (P2, show the Step 2-3 images and use the first two animation steps in SchematicFig.pptx.)

Next, the above process is repeated at discrete positions of the mobile mirror of an interferometer, which controls the optical path difference between two split beams, until a complete time-resolved interferogram is recorded. (P3, show the Step 2-3 images and use the last animation step in SchematicFig.pptx.)

The final step is to transform the time-resolved interferogram to a time-resolved IR difference absorption spectra, using the Fourier transform and the Lambert-Beer law. (P4, show the top “time-resolved changes in the interferogram” image in Step 4. Then make the white arrow followed by “1. Fourier transform” and “2. Lambert-Beer law” appear followed by the bottom “time-resolved difference spectra” image. Alternatively, make the white arrow, “1. Fourier transform”, and “2. Lambert-Beer law” appear at the same time.)

Ultimately, the time evolution of bands, especially in the amide I and in the C=O (pronounced C O double bond) carboxylic regions, are inspected to obtain dynamics of conformational and protonation changes in the protein. (P5, show the two Step 5 images and make “carboxylic region” and “amide I region” appear above the appropriate image. Then make “protonation changes” and “conformation changes” appear with the corresponding white lines on the appropriate image. If possible, make each white line appear from the label to the image.)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

# Authors: The purpose of this section is to introduce you to the viewers, but we want to move quickly to the protocol, so we limit each person to one statement each. I’ve selected a suggested statement for you below, but please feel free to switch your statement if you’d prefer to make a different one.

  - Joachim Heberle: The main advantage of this technique over most existing experimental methods is that it resolves transient protonation changes in proteins. Moreover, it does it on the micro and milliseconds time scales, the most relevant time range to probe protein functionality.

  - Victor Lorenz-Fonfria: This method can help answer key questions in the molecular biophysics and protein science field, such as which residues deprotonate at which step  during the functional mechanism of a protein, or at which step major changes in the protein conformation take place.

  - Joachim Heberle: The implications of these results may extend toward treating diseases, because more than 60% of all drugs on the market target membrane proteins, and our understanding of the latter is still minor as compared to water-soluble proteins.

  - Joachim Heberle: Though this method can provide insight into membrane proteins, it can also be applied to other biological systems, such as water-soluble proteins, effector molecules, lipids, etc.

  - Joachim Heberle: Generally, individuals new to this method will struggle because biochemical skills need to be integrated with a good understanding of the physical principles of data recording and with expertise in the analysis and interpretation of spectroscopic data. Newcomers might find also problematic handling the large amounts of data provided by this technique.

  - Joachim Heberle: I first had the idea of using this technique, when I was searching for a non-invasive method to trace protein function with molecular sensitivity and appropriate temporal resolution.

  - Joachim Heberle: Visual demonstration of this method is critical as the various steps are difficult to learn, because they involve knowledge from biology, chemistry and physics and sometimes informatics.

  - **Joachim Heberle: Demonstrating the procedure will be Victor Lorenz-Fonfria a research associate from my laboratory.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol (read by voice talent at JoVE):

- Preparation of Attenuated Total Reflection Experiments on Bacteriorhodopsin

  - First, mount the attenuated total reflectance, or ATR, accessory into the sample compartment of the FT-IR spectrometer.

    - WID/MED: Talent mounts ATR accessory into the sample compartment of the instrument.

  - Measure a broad-range energy spectrum at 4 cm-1 (pronounced inverse centimeters) resolution of the clean internal reflection element surface by conventional rapid-scan FT-IR spectroscopy (TEXT: Use this spectrum as reference spectrum to compute absorption spectra at later stage).

    - SCREEN: Computer screen as talent measures the broad-range energy spectrum.

  - Cover the surface of the ATR with 20 μl of the high ionic strength buffer used later to rehydrate the sample (TEXT: Buffer: 4 M NaCl and 100 mM NaPi at pH 7.4). Then, measure the IR absorption of the buffer.

    - CU: ATR surface as talent adds buffer to it with a micropipette.

    - SCREEN: Computer screen as talent measures the IR absorption spectrum of the buffer.

  - Next, remove the buffer and rinse the surface with water without touching it. Remove the residual liquid by an intense air flow.

    - MED-over the shoulder: Talent removes the buffer from the ATR surface using a micropipette.

    - MED: Talent rinses surface with water.

    - MED-over the shoulder: Talent flows air over the surface to remove the residual liquid.

  - Spread approximately 3 μl of a 6 mg per ml protein solution of bacteriorhodopsin in purple membrane on top of the surface. Dry the protein suspension under a gentle stream of dry air until a film is attained. Then, measure the absorption spectrum of the dry film.

    - MED: Talent adds protein solution to surface with a micropipette.

    - CU: Surface as talent flows air over it.

    - SCREEN: Computer screen as talent measures the absorption spectrum of the dry film.

  - Following this, gently add 20 to 40 μl of the high ionic strength buffer to rehydrate the dry film. Cover the ATR holder with a lid to prevent water evaporation.

    - MED-over the shoulder: Talent adds high ionic strength buffer to the film with a micropipette.

    - MED: Talent places a lid over the ATR holder.

  - Measure an absorbance spectrum. Estimate the percentage of sample remaining near the surface after rehydration of the film by subtracting the absorption spectrum of the buffer.

    - SCREEN: Computer screen as talent measures the absorbance spectrum of the film.

    - SCREEN: Computer screen as talent subtracts the absorption spectrum of the buffer from the absorption spectrum of the film.

- Performing Transmission Experiments on Detergent-solubilized Channelrhodopsin-2

  - At this point, add 10 μL of channelrhodopsin-2 dissolved in decyl-maltoside in a low ionic strength buffer (TEXT: Buffer: 5 mM sodium chloride, 5 mM HEPES at pH 7.4) at the center of a 20 mm diameter barium fluoride window. Spread the solution with the help of the micropipette tip to a 6-8 mm diameter.

    - MED: Talent adds channelrhodopsin-2 solution to barium fluoride window with a micropipette. A paper with a 6-8 mm diameter hole standing below the barium fluoride window indicates the target area to be covered by the solution. ZOOM WIDE TO CU

    - CU: Barium fluoride window as talent spreads the solution on it with the micropipette.

  - Using a gentle flow of dry air, form a homogeneous film that has a diameter roughly matching the size of the IR beam at the largest aperture.

    - MED-over the shoulder: Talent flows dry air over the barium fluoride window.

    - [added] CU Showing the diameter

  - Next, use a flat silicone O-ring of 1 mm thickness. Hydrate the film by adding 3-5 μL of a mixture of glycerol and water distributed in 3-5 drops around the dry film, and tightly close it with a second window

    - [added] MED: Talent places the silicone O-ring.

    - 3.3.2	CU: Dry film as talent Talent adds drops of the glycerol and water mixture next to the dry film.

# 3.3.2	3.3.3	MED: Talent places the silicone O-ring and Talent adds a second window onto the film and closes it.

  - Insert the barium fluoride sandwiched windows in a holder. Then, place the holder in the sample compartment.

    - MED-over the shoulder: Talent inserts the barium fluoride windows in the holder.

    - MED; Talent covers the sample window with paper.

    - MED-over the shoulder: Talent places the holder in the sample compartment.

  - Measure an absorption spectrum. Confirm that the maximum absorption in the amide I region is in the range of 0.6-1.0.

    - SCREEN: Computer screen as talent measures the absorbance spectrum of the hydrated dry film.

    - SCREEN: Computer screen of the absorbance spectrum as talent checks the maximum absorption value in the amide I region.

- Adjustment and Synchronization of the Exciting Laser

  - For the ATR setup, use an optical fiber placed atop of the ATR lid to couple the laser to the sample. Adjust the energy density of the laser at the sample to 2-3 mJ/cm2 per pulse using a power-meter.

    - MED: Talent places the optical fiber on top of the ATR lid.

    - [added] Talent covers the laser with a dark sheet

    - 4.1.3	MED-over the shoulder: Talent adjusts energy density of the laser on the power-meter.

  - For the transmission experiments, use mirrors to bring the laser to the sample and, if required, lenses to either collimate or diverge the laser beam to a diameter slightly above the sample film size.

    - CU: ATR lid as talent places the mirrors to illuminate the transmission sample with the laser on top of it.

    - [added] Talent arranges the mirror

    - MED-over the shoulder: Talent places lenses on top of the ATR lid.

  - Synchronize the laser pulse with the data recording by using the Q-switch sync-out TTL pulse of the electronics of the Nd:YAG (pronounced neodymium-doped yttrium aluminum garnet) laser to trigger the spectrometer analog-to-digital converter. Set the excitation rate of the laser (TEXT: 10 Hz for bacteriorhodopsin and 0.25 Hz for channelrhodopsin-2, respectively. See text protocol for additional experimental details).

    - MED: Talent uses BNC cables carrying TTL pulses to synchronize the laser pulse with the data recording.

    - MED-over the shoulder: Talent sets laser excitation rate on the control panel to 10 Hz.

- Time-resolved Step-scan Preparations and Settings

  - To perform time-resolved step-scan measurements in the 1800-850 cm-1 spectral range, place a low pass optical filter in the optical path that is opaque above 1950 cm-1 and with good transmission below 1800 cm-1. Then, change the detector from AC to DC-coupled mode (TEXT: Use largest possible beam aperture for higher photon flux and better signal-to-noise, but within linearity limits of detector).

    - SCREEN MED: Computer screen as talent selects places the optical filter in the optical path.

    - SCREEN: Computer screen as talent changes the detector to the DC-coupled mode.

  - At this point, bring the DC-level of the interferogram to zero by applying a current bias to the detector.  Readjust the electronic gain to make better use of dynamic range of the analog-to-digital converted.

    - SCREEN: Computer screen as talent adjusts the DC-level by changing the current bias. and readjusts the electronic gain.

    - SCREEN: Computer screen as talent readjusts the electronic gain applies a voltage bias to the signal.

  - Following this, start the step-scan menu of the FT-IR spectrometer. Set the target spectral bandwidth for the step-scan measurement to 1/8th of the helium-neon laser wavenumber (TEXT: Spectral bandwidth: 1974.95 to 0 cm-1).

    - SCREEN: Computer screen as talent starts the step-scan menu in the software.

    - SCREEN: Computer screen as talent sets the appropriate spectral bandwidth.

  - Set the spectral and phase resolution to 8 cm-1 and 64 cm-1, respectively. Select an apodization function. Then, set the interferogram acquisition mode to single-side forward.

    - SCREEN: Computer screen as talent sets the spectral and phase resolution to the appropriate values, and selects an apodization function.

    - SCREEN: Computer screen as talent sets the interferogram acquisition mode.

  - Set the sampling rate of the analog-to-digital converter to the highest available in the spectrometer. Set the “trigger for experiment” to “External”. Then, set the number of linearly-spaced data points to be recorded, including 100 pre-trigger points (TEXT: 7,100 time points for bacteriorhodopsin and 20,100 for channelrhodopsin-2).

    - SCREEN: Computer screen as talent sets the sampling rate of the analog-to-digital converter.

    - SCREEN: Computer screen as talent sets the “trigger for experiment”.

    - SCREEN: Computer screen as talent sets the number of linearly-spaced data points to be recorded and the pre-trigger points.

  - Next, set the number of co-additions or number of averages of the photoreaction per mirror position and start the experiment (TEXT: For bacteriorhodopsin, use 20 co-additions and for channelrhodopsin-2, use 2 co-additions).

    - SCREEN: Computer screen as talent sets the appropriate number of co-additions and presses “start step-scan time-resolve experiment”. After pressing start the bottom of the screen shows the current position of the mobile mirror as the experiments advances.

  - Finally, repeat the experiment 10 times for bacteriorhodopsin, and 35 times on three different sample films for channelrhodopsin-2, to have approximately 200 co-additions per mirror position.

    - MED-over the shoulder: Talent performing experiments for bacteriorhodopsin (green laser running). Talent performing experiments on channelrhodopsin (blue laser running). at computer

# 5.7.1	[added, same number] SCREEN: computer screen showing the end of one experiment (the experiment ends when the mobile mirror reaches position 500). The last performed experiment appears as the last of a list of files. repeats the experiment.

- Results: Time-Resolved Step-Scan FTIR Experiments to determine Protonation and Protein Conformational Changes

  - Characteristic bands from peptide bond amide vibrations are distinguishable in the bacteriorhodopsin dry film absorption spectrum.

    - LAB MEDIA: Figure 1 (Figure 1 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show the spectrum without the labels and then make “amide A”, “amide I”, and “amide II” appear.)

  - When using low ionic strength buffers the film expands excessively, reducing the amount of protein probed by the evanescent field. The exact dependence between film swelling and buffer ionic strength will depend, among other factors, on the nature of the lipids.

    - LAB MEDIA: Figure 2 (Figure 2 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show the spectrum first and then make “1 mM  4.3 mM” appear followed by the inset. Zoom into the inset for the second sentence.)

  - Film swelling after hydration requires time to reach stabilization. For bacteriorhodopsin in purple membrane the process is monoexponential with a time constant of 12 min.

    - LAB MEDIA: Figure 4 (Figure 4 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show the spectrum first and then make “2 min  96 min” appear for the first sentence. For the second sentence, make the inset appear followed by “τ = 12 min”. If preferable for better visualization, zoom into the inset for the second sentence.)

  - From the infrared absorption spectrum of channelrhodopsin-2, and the extinction coefficient spectrum of water and decyl-maltoside, it is possible to estimate the presence of 60 decyl-maltoside and 2000 water molecules per protein monomer in the hydrated film. The protein density mass in the film is 250 μg/cm2, estimated using the amide II extinction coefficient.

    - LAB MEDIA: Figure 5 (Figure 5 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show the spectra first and then make the “hydrated film” and “Decomposition” labels appear for the first part of the first sentence. If possible, show the blue hydrated film curve with the “hydrated film” label first then make the water, DM, and remaining curves appear with the corresponding “decomposition” labels as they are mentioned in the first part of the first sentence. For the second part of the first sentence, make the “protein/DM/water” information appear. If possible, make “250 μg/cm2” appear on spectrum for third sentence.)

  - A 3D plot from a typical time-resolved step-scan FT-IR experiment on bacteriorhodopsin is shown here. Spectra can be extracted at specific times, for instance when intermediate states in the bacteriorhodopsin photocycle are expected to reach their highest population.

    - LAB MEDIA: Figure 10A (Figure 10 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show this figure for the first sentence.)

    - LAB MEDIA: Figure 11 (Figure 11 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show this figure for the second sentence. Highlight or draw squares around “12.5 μs”, “300 μs”, and “6 ms” in each spectrum.)

  - In the bacteriorhodopsin photocycle, time-traces of absorbance changes at 1762 cm-1 reports on the protonation/deprotonation dynamics of Aspartate 85, and at 1741 cm-1 on hydrogen-bonding changes and the deprotonation/reprotonation dynamics of Aspartic acid 96. The time-traces at 1670 and 1555 cm-1 report on changes in amide I and II vibrations, which are both sensitive to the peptide backbone conformation.

    - LAB MEDIA: Figure 12 (Figure 12 (Lorenz-Fonfria & Heberle.pdf)) (Video Editor: Show the top left spectrum for the first part of the first sentence and then make the top right spectrum appear next to it for the second part of the first sentence. If possible, make “@1762” and “@1741” appear on the appropriate spectrum when mentioned in the voiceover. Show the bottom two spectra for the second sentence and make “@1670” and “@1555” appear on the appropriate spectrum.)

- Conclusion (said by authors on camera)

# Authors: As in the interview section, we limit each person to one statement each. I’ve selected a suggested statement for each of you below, but please feel free to switch your statement if you’d prefer to make a different one.

  - Victor Lorenz-Fonfria: Once mastered, this technique can be performed in a couple of hours, although data collection can extend from several hours to days depending on the studied system.

  - Victor Lorenz-Fonfria: While attempting this procedure, it’s important to remember that the induced photoreaction needs to be reversible, and the protein stable during the length of the experiments.

  - Victor Lorenz-Fonfria: Following this method, other techniques like site-directed mutagenesis or resonance Raman spectroscopy can be performed in order to assign vibrational bands to specific residues of the protein.

  - Joachim Heberle: After its development, this technique paved the way for researchers in the field of molecular biophysics to explore the functional mechanism of a multitude of light-driven proteins.

  - Victor Lorenz-Fonfria: After watching this video, you should have a good understanding of how to prepare and characterize hydrated films of proteins for attenuated total reflection and transmission FT-IR experiments; how to setup a time-resolved step-scan FT-IR experiment on a commercial spectrometer; and how to process the collected data to probe the dynamics of conformational and protonation changes in proteins.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

SchematicFig – authors, please include a schematic figure to correlate with the narrative

overview text in section 1A. See attached instructions.

SchematicFig.pptx (schematic figure for section 1A).

The schematic figure in PowerPoint format. It contains vectorial components as well as bitmap figures. The schematic figure is slightly animated to give an idea how steps 2-3 of the narrative in section 1A could be presented. Because PowerPoint reduces the resolution of imported bitmap figures we also attach the original bitmap figures in tif format. A list is provided below.

2D_amideI_v2.tif (bitmap figure shown in step 5)

2D_carboxylic_v2.tif (bitmap figure shown in step 5)

3D_FTIR_AbsDiff_v2.tif (bitmap figure shown in step 4)

3D_interferogramLog_v2.tif (bitmap figure shown in step 4)

trace_Inter_1.tif (bitmap figure shown in step 2-3)

trace_Inter_2.tif (bitmap figure shown in step 2-3)

trace_Inter_3.tif (bitmap figure shown in step 2-3)

trace_Inter_final.tif (bitmap figure shown in step 2-3)

ChR.tif (bitmap figure shown in step 1)

bR.tif (bitmap figure shown in step 1)

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.