Malide 51669 redos (9)

2.1 In this procedure lentiviral “Gene Ontology” or “LeGO” vectors are encoding 5 fluorescent proteins: Cerulean, EGFP, Venus, tdTomato, and mCherry. Each fluorescent protein is expressed from a strong constitutive spleen focus-forming virus or “SFFV” promoter. (2:26, rewrite)

2.5b  Centrifuge at 500 x g and 4 oC to pellet the cells.   (3:52, rewrite)

2.9 After two days, use a cell scraper to resuspend the cells and transfer one to four times ten to the five cells per well of a 12-well plate. (5:05, rewrite)

2.11a After 24 hours, resuspend the cells using a scraper and transfer them to a 5 mL centrifuge tube. (5:40, rewrite)

4.1 Here, microscopy is performed using an inverted Leica SP5 five channel confocal and multiphoton system equipped with multi-line Argon (see note below on this), diode 561-nm, Helium Neon 594-nm, and Helium Neon 633-nm visible lasers. (8:07)

6.2 Place the sample on the heated microscope stage, then, in the software, switch (not stitch) the capturing parameters to use 2-photon Ti-Sapphire excitation at 860 nm combined with 5 channels confocal excitation and Leica resonant scanner at 8,000 Hz/s, taking 80 μm z-stacks at 20 sec intervals for up to 1 hour. (13:17)

6.3 For simultaneous three-color 2 Photon imaging instruct the software to use the TiSa tuned at 860nm simultaneously with the OPO laser tuned at 1130nm for tdTomato ; or 1140nm for mCherry. (13:50, rewrite)

7.1 Once all of the images have been collected, perform 3D and 4D reconstruction and analysis using Imaris 64 bit version, or similar software. (14:41, rewrite)

8.1 To trace clonal history of fluorescently-marked hematopoietic stem and progenitor cells, donor cells co-transduced with 5 different LeGO vectors were transplanted into a recipient mouse, and the sternal bone marrow was imaged and analyzed as described in this video. (15:41, rewrite)

Note on 4.1 from authors: Text is the same just make pause after multiline argon,// diode 561 (meaning that the argon is not a diode – the diode is 561)