# Submission ID #: 51789

# Editor Name: Brigid Stadinski

# Videographer name: Kevin McRoberts

# Film Date: 3/12/2014

# Authors and Affiliations:

*,1Ruben Magni, *,2Benjamin H. Espina, 1Lance A. Liotta, 1Alessandra Luchini, and 1Virginia Espina

1Center for Applied Proteomics and Molecular Medicine, George Mason University, Manassas, VA USA. 2Ceres Nanosciences, Manassas, VA USA

* These authors contributed equally to this work.

Title: Hydrogel nanoparticle harvesting of plasma or urine for detecting low abundance proteins

# Corresponding Author:

Virginia Espina

Center for Applied Proteomics and Molecular Medicine

George Mason University

10900 University Blvd

MS1A9

Manassas, VA 20110

Phone: 703-993-8062

Fax: 703-993-8606

Email: vespina@gmu.edu

Authors, please fill out the brief questionnaire below.

- Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) ___N______ If yes, please list make and model of your microscope: ______________________________

**Note:  This question is to get at whether or not you will need a camera hook-up to look into the microscope.  However, if your microscope has a digital camera attached to a computer, you can gather these shots by collecting screen capture movies.

Does your protocol include microscopy steps that are visualized through a microscope with a digital camera/computer attached? (Y/N) ___N____

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___N_____

C.  Which steps of your protocol will viewers benefit most from having filmed?

Nanoparticle processing of urine samples: steps 3.3, 3.4, 3.5, 3.6, 3.8, 3.10, 3.11, 3.12

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  In order for the experiment to be successful, it is important not to disturb the pellet of nanoparticles when decanting the supernatant after washing the nanoparticles. Visual inspection of the pellet after every step is recommended.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of this procedure is to harvest, concentrate, and preserve low abundance, low molecular weight biomarkers from biological fluids at appropriate concentrations for standard protein assays. (Intro)

This is accomplished by first adding chemically functionalized hydrogel nanoparticles to the biological fluid.  Low molecular weight analytes enter the core of the nanoparticle and are captured by different organic chemical dyes, which act as high affinity protein baits. (P1)

Editors, please show P1 of 51789_Espina_Schematic_FINAL.pptx as this point is narrated.  This image can be animated by showing the green circles entering the yellow fluid in the test tube.  Then have the little squiggles appear in the green circles to result in the final P1 image.

The second step is to separate the particles from the biofluid by centrifugation.  The nanoparticles concentrate the proteins of interest by several orders of magnitude.  (P2)

Editors, please show P2 of 51789_Espina_Schematic_FINAL.pptx as this point is narrated.  This image can be animated by having all the green circles move toward the bottom left side of the tube to result in the final image in P2.  The yellow liquid can then slowly be removed from the tube by having the horizontal line representing the top of the fluid slowly drop to the bottom of the tube.

The nanoparticles are then washed with water to remove extraneous proteins. (P3)

Editors, please show P3 of 51789_Espina_Schematic_FINAL.pptx as this point is narrated.  This image can be animated by starting with the final image as described above for P2.  Animate washing by rising the horizontal line with clear liquid to represent water and the green circles simultaneously move around the tube to result in the starting image of P3.  Then repeat the animation for P1 to animate the green circles moving to the bottom left side of the tube, except that it is in water.

The final step is to elute the captured proteins from the nanoparticles. (P4)

Editors, please show P4 of 51789_Espina_Schematic_FINAL.pptx as this point is narrated. Animate this image by repeating the animation described for P3 except to use the blue elution fluid instead of clear water.  Then, repeat the animation for P1 to animate the green circles moving to the bottom left side of the tube, except that the blue squiggles simultaneously come out of the green circles and it is in blue elution fluid.

Ultimately, western blotting… mass spectrometry… or immunoassays are used to show the presence and/or concentration of the previously undetectable harvested low abundance biomarkers. (P5)

Editors, please show P5 of 51789_Espina_Schematic_FINAL.pptx as this point is narrated.  Please have the left-most image pop up as “western blotting” is narrated.  Then have the top right image pop up as “mass spectrometry” is narrated.  Finally have the bottom right image pop up as “immunoassays” is narrated.

Paste a copy of your graphic overview here.  The original file should be Adobe Illustrator (preferred) or Powerpoint (see instructions) and should be uploaded through your online submission on the JoVE website. Please keep all layers in the file (i.e., do not flatten the file).

Authors, please provide a higher resolution version of this image in which the pictures in P5 are clearer when zoomed in on.

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Ruben Magni:  Generally, individuals new to this method will struggle because the nanoparticles need to be washed and resuspended without clogging the pipette tip.  The nanoparticles do not resuspend as easily as a cell pellet and you must vigorously pipette up and down to adequately resuspend the nanoparticles.

    - MED:  Ruben speaks toward camera, interview style.

  - Ruben Magni:  After the first incubation with nanoparticles, it is important to rinse the walls of the tube in order to collect any nanoparticle residue that may have adhered to the tube.

    - CU:  Ruben speaks toward camera, interview style.

# Protocol (read by voice talent at JoVE):

- Nanoparticle processing of serum samples

  - To perform nanoparticle processing of serum samples, dilute 500µl of human serum 1 to 2 with 50mM TrisHCl pH 7 in a microcentrifuge tube.  Add 500µL of poly(N-isopropylacrylamide), or poly-NIPAm (pronounced as “Nigh pam”) co-monomers of acrylic acid core nanoparticles, and incubate for 15 minutes at room temperature.

    - MED:  Talent pipettes 50mM TrisHCl pH 7 from a labeled container into a tube containing 500µl of human serum.

    - CU:  Sample tube as talent adds 500µL of poly-NIPAm/AAc from a labeled container.  TEXT overlay:  see text for details on nanoparticle synthesis.

  - Then, spin the sample at 16,100 x g and 25 °C for 10 minutes in a centrifuge equipped with a fixed-angle rotor.  Remove and discard the supernatant before adding 500µl of sodium thiocyanate to the pellet.  Resuspend the nanoparticles by vigorously pipetting up and down multiple times.

    - MED-over the shoulder/MED:  Multiple takes as talent places the samples into the centrifuge, shuts lid and turns on.  Shot will be reused twice.

    - MED:  Talent adds 500µl sodium thiocyanate to the pellet in the tube.

    - CU:  Tube with pellet as talent resuspends vigorously by pipetting up and down multiple times.

  - Spin the sample as before, and discard the supernatant before adding 500µl of 18 megohm water to the nanoparticle pellet.  Once again, resuspend the nanoparticles by vigorously pipetting up and down multiple times.

    - Shot 2.2.1 – talent puts sample into centrifuge.

    - MED-over the shoulder:  Talent adds water to the pellet.

    - CU or ECU:  Pellet as talent resuspends by vigorously pipetting up and down.

  - After spinning the sample again, add 300µl of fresh elution buffer and resuspend using the demonstrated technique.  Incubate for 15 minutes at room temperature.

    - MED:  Talent adds fresh elution buffer to the pellet from a labeled container and resuspends the pellet.  TEXT overlay:  see text for preparation

    - MED-over the shoulder:  Talent starts a timer to count down for 15 min and places next to the sample.

  - After a final spin of the sample, remove and save the eluate in a clean, labeled microcentrifuge tube.  Elute a second time and combine the two eluates into one microcentrifuge tube.

    - CU:  Sample tube and fresh tube as talent transfers the eluate to the clean, labeled tube.

    - Shot 2.2.1 – talent puts sample into centrifuge.

  - Next, dry the eluates under nitrogen flow in a nitrogen evaporator manifold at 42.1 oC, with air flow set to 6.  Store the dried eluate at room temperature for overnight storage, or at -20 oC for long term storage, prior to mass spectrometry, western blotting, or ELISA assays.

    - MED-over the shoulder:  Nitrogen evaporator as talent places the samples there and sets the air flow.

    - CU:  Dried sample as talent leaves at -20 oC

- Nanoparticle processing of urine samples

  - To perform nanoparticle processing of urine samples, collect a minimum volume of 22 ml and store the specimens at -80 oC until ready to analyze.

    - MED-over the shoulder:  Talent places the urine samples into a -80 oC freezer.

  - Thaw the frozen urine at room temperature or at 4 oC overnight.  Once thawed, mix briefly on a vortex mixer.  Then, pour at least 22ml of urine into a 50ml conical bottom polypropylene tube.

    - CU:  Frozen urine specimens as talent places on bench to thaw.

    - MED-over the shoulder:  Talent mixes the sample on a vortex mixer.

    - CU:  50 ml conical bottom polypropylene tube as talent pours 22 ml of the sample there.

  - Next, spin the urine in a centrifuge with a swing-out rotor at 3,700 x g for 15 minutes.  Without disturbing the pellet, decant the urine into a clean 50ml conical bottom polypropylene tube, and discard the pellet.

    - MED:  Talent places the samples into the centrifuge, shuts lid and turns on.

    - CU:  Tube as talent decants the urine without disturbing the pellet into a clean 50 ml conical bottom polypropylene tube.

  - Perform urinalysis using a multi-analyte “urine dipstick” reagent strip.  Lay the reagent strip, face-up, on a clean, dry paper towel.  Use a disposable pipette to aspirate 1 mL of the urine.

    - MED-over the shoulder:  Talent pulls out a “urine dipstick” reagent strip and lays the strip, face up, on a clean, dry paper towel.  Match action in next shot.

    - CU:  Urine dipstick as talent lay the reagent strip down, face-up, on a clean, dry paper towel.

    - MED:  Talent aspirates 1mL of urine using a disposable pipette.

  - Quickly dispense 1 to 2 drops of urine on each test pad of the reagent strip.  Immediately start a timer that was previously set for 2 minutes.

    - CU or ECU:  Urine dipstick as talent quickly dispenses 1-2 drops of urine on each test pad of the reagent strip.

    - MED-over the shoulder:  Talent starts a timer to count down from 2 minutes.

  - At the time indicated on the reagent strip container, record the qualitative results for the various analytes on the reagent strip by comparing the color of the individual reagent strips to the corresponding color-coded indicators on the reagent container.

    - MED-over the shoulder:  Strip and reagent container as talent compares the colors and records the results.

  - Typical normal urine results are characterized by a pH of 5.5 to 7.0 and a specific gravity of 1.001 to 1.020.  The urine should be negative for blood, protein, leukocytes, nitrite, glucose, ketone, bilirubin, and urobilinogen.

    - ECU:  Strip and reagent container as talent rotates the container with the test strip on it to show how to assess the qualitative results.

  - Next, transfer 20ml of the clarified urine into a clean 50ml conical bottom polypropylene tube.  Do not disturb any debris that may be in the bottom of the urine tube.  Add 200 µl of nanoparticles to the 20ml urine sample… and mix briefly on a vortex mixer.

    - MED-over the shoulder:  Talent transfers 20 ml of clarified urine from into a clean 50ml conical bottom polypropylene tube.

    - CU:  Urine sample in clean tube as talent adds 200 µl of nanoparticles to the 20ml urine sample.

    - MED:  Talent vortexes the tube.

  - Then, incubate the urine-nanoparticle mixture for 30 minutes at room temperature, without rocking or mixing.

    - MED-over the shoulder:  Talent sets the timer to count down from 30 minutes and leaves sample to incubate.

  - Spin the urine-nanoparticle suspension in a centrifuge equipped with a swing-out rotor at 3,700 x g for 10 minutes.  After removing and discarding the supernatant, add 500µl of 18 megohm water to the nanoparticle pellet.

    - CU:  Centrifuge as talent places the samples into the swing out rotor.

    - MED:  Talent adds 500µl of 18 MΩ-cm water to the nanoparticle pellet.

  - Resuspend the nanoparticles by vigorously pipetting up and down multiple times.  Transfer the nanoparticle solution to a clean 1.5ml microcentrifuge tube.

    - MED-over the shoulder:  Talent vigorously pipettes up and down multiple times.

    - CU:  Nanoparticle suspension as talent transfers to a clean 1.5ml microcentrifuge tube.

  - Next, spin the nanoparticles in a centrifuge equipped with a fixed-angle rotor at 16,100 x g for 10 minutes.  Remove and discard the supernatant before repeating these steps with water to wash the nanoparticles.

    - MED-over the shoulder:  Talent leaves the samples in a centrifuge equipped with a fixed-angle rotor, shuts lid and starts run.

    - MED:  Talent removes supernatant and discards.

  - Add 20μl of fresh elution buffer to the nanoparticle pellet and resuspend the nanoparticles by vigorously pipetting up and down multiple times.  Incubate for 15 minutes at room temperature.

    - CU:  Nanoparticle pellet as talent adds 20μl of fresh elution buffer there and resuspends by vigorously pipetting up and down.  TEXT overlay:  see text for elution buffer recipe

    - MED:  Talent starts a 15 minute timer to count down and walks away from the bench with sample on it.

  - Spin the nanoparticle samples again before removing the supernatant without disrupting the nanoparticle pellet, and saving the supernatant in a clean, 1.5ml microcentrifuge tube.  Discard the pellet in the biohazard trash.

    - CU:  Sample tube as talent removes the supernatant and transfers to a clean, labeled 1.5 ml microcentrifuge tube.

    - MED-over the shoulder:  Talent discards the pellet into the biohazard trash.

  - Place the samples in a rack in a chemical fume hood.  Open the caps and incubate at room temperature for 30 minutes.  Alternatively, place the samples under nitrogen flow at 40 °C until dry.

    - MED-over the shoulder:  Talent places the samples on the tack in the chemical hood and opens the caps.  Match action in next shot.

    - CU:  Rack in chemical fume hood as talent places the samples there and opens the caps.

  - Add 15µl of Tris-glycine SDS sample buffer to the samples.  Heat at 100 oC in a dry heat block for 5 minutes with the caps open, or until the volume left in the tube is no more than 20 µl.

    - MED-over the shoulder:  Talent adds 15µl of Tris-glycine SDS sample buffer to the samples.

    - CU:  Samples as talent leaves them on a dry heat block with caps open.

  - Place the cap on the tubes and remove the tubes from the heat block.  The sample can be stored at -80 oC or used immediately for downstream western blot analysis.

    - MED-over the shoulder:  Talent caps the tubes and removes from heat block.

    - MED:  Talent places the tubes in the -80 oC freezer.

- Results: Nanoparticle capture and concentration of proteins from plasma or urine

  - Silver stained 1D gel electrophoresis demonstrates nanoparticle capture and concentration of Tumor Necrosis Factor alpha from human plasma.  The band representing Tumor Necrosis Factor alpha is only present in the nanoparticle eluates, designated by the letter “P” for particles, but not in the supernatant.

    - LAB MEDIA: 51789_Espina_Figure1c.tif.  Editors, as the last sentence is narrated, please highlight each of the four bands in the “P” column.

  - Nanoparticles functionalized with two different chemical baits… Acrylic Acid… or VSA core shell… are able to harvest various concentrations of IL-17 from plasma.

    - LAB MEDIA:  51789_Espina_Figure4.tif.  Editors, as this point is narrated, please highlight the left gel as “Acylic Acid” is narrated, and the right gel as “VSA core shell” is narrated.

  - Western blotting of the supernatant and nanoparticle eluate clearly demonstrates the presence of IL-17 at the 17.5 kDa band in the eluate, but not the supernatants.

    - LAB MEDIA: 51789_Espina_Figure4.tif.  Editors, as this point is narrated, please highlight the band at 17.5 kDa in lanes 2,4,6, and 8 of both gels (lanes labeled “P”).

  - Nanoparticle harvesting of urine samples can reveal bacterial antigens and cytokines.  In this silver stained SDS-PAGE analysis of urine samples, samples in lanes U4 and U6 are nanoparticle eluates from urine samples containing recombinant ESAT-6, a Mycobacterium tuberculosis-associated protein, and IL-2, a cytokine.  These proteins are depicted by the prominent bands at 15 kDa.

    - LAB MEDIA: 51789_Espina_Figure5.tif.   Editors, please highlight the bands at 15 kDa in lanes U4 and U6 as the second half of the second sentence and the last sentence is narrated.

- Conclusion (said by authors on camera)

  - Ruben Magni:  After watching this video, you should have a good understanding of how hydrogel nanoparticles can be used to harvest, concentrate, and preserve low abundant biomarkers in biological fluids while simultaneously excluding unwanted abundant molecules, thus dramatically increasing the detection sensitivity of current analytical methods.

    - MED:  Ruben speaks toward camera, interview style.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

51789_Espina_Schematic_FINAL - Authors, please provide a higher resolution version of this image in which the pictures in P5 are clearer when zoomed in on.

# 51789_Espina_Figure1c.tif - Authors, please provide a separate version of this figure.

# 51789_Espina_Figure4.tif

# 51789_Espina_Figure5.tif

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.