Harris 51867 redos (6)

2.1b  This consists of a bronchoscope tube with a 6.3 mm diameter and  a 6.9 mm diameter on the distal end with a scope camera that has a 35-degree forward oblique angle view.

3.1  Begin by doing a pre-procedure surveillance bronchoscopy to clean the airways and rule out endobronchial lesions. (4:02, rewrite)

3.4b Move the probe up and down so that its (substernal thyroid’s) largest diameter is seen. (5:51, rewrite)

4.4a Release the needle lock and remember the needle exits the working channel at an angle of 20º. (7:44, rewrite)

4.5b Move the needle back and forth inside the lesion a total of at least 15-20 times. (8:24, rewrite)

4.6b Remove the EBUS (ee-bus) bronchoscope and continue with post-procedure surveillance conventional bronchoscopy to ensure hemostasis and remove remaining debris. (8:51, rewrite)