# Submission ID #: 51880

# Editor Name: Laifong Lee

# Videographer name:

# Film Date:

# Authors and Affiliations:

Viktoria Wollrab1,2, David Caballero1,2, Raghavan Thiagarajan1,2 and Daniel Riveline1,2

1Laboratory of Cell Physics

Institut de Science et d'Ingénierie Supramoléculaires (ISIS), CNRS and Université de Strasbourg, Strasbourg, France.

2Development and Stem Cells Program

Institut de Génétique et de Biologie Moléculaire et Cellulaire (IGBMC), CNRS and Université de Strasbourg,

Strasbourg, France.

# Title: Ordering single cells and single embryos in 3D confinement: a new device for high content screening

# Corresponding Author:

# Daniel Riveline

# Laboratory of Cell Physics ISIS/IGBMC,

# Université de Strasbourg and CNRS (UMR 7006), 8 allée Gaspard Monge, Strasbourg, 67083 France.

# riveline@unistra.fr

# TEL: +33 (0) 368 855 164.

Co-authors:

# Viktoria Wollrab

wollrab@unistra.fr

# David Caballero

caballero@unistra.fr

# Raghavan Thiagarajan

thiagara@igbmc.fr

Authors, please check the answers to the questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)___ No ______  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope:

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)__  No ______ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps using the step numbers listed in this document.

2.13-2.14. After 30 min gently ‘peel’ the stamp out of the coverslip in order to ‘liberate’ ‘eggcups’ (see Figure 1). Rinse thoroughly with ethanol and dry. If PDMS ‘eggcups’ are not well adhered on the glass coverslip (i.e. they detach during the ‘unpeeling’ step), consider adjusting the settings of the plasma cleaner and restart at step 2.8.

3.8. Introduce very gently the ‘eggcups’ inside the tube and parallel to the upper side of the plastic piece. Use sharp tweezers to hold the sample using the PDMS handle. Press gently the coverslip until it lies on top of the upper side of the plastic piece, until it is fully immersed (see Figure 2).

3.11 Remove the sample from the tube using the sharp tweezers holding the PDMS handle. Make sure to be careful in not ‘disturbing’ cells which are held in the ‘eggcups’ (see Figure 2).

5.1-5.2. Place the fixed sample with the EC and focus carefully using brightfield light (phase contrast or DIC) until the EC and cells are in the plane of observation.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list the steps using the step numbers listed in this document.

In the sample preparation steps 2.13-2.14  are critical, since the sample might break. Taking a lot of care in this step and some practice ensures success.

E.  Will the filming need to take place in multiple locations? (Y/N) _ No _If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Conceptual Narrative:

# Video editor: graphics are in 51880fig1highres.jpg; 51880_Riveline_FibronectinAddition.eps; 51880fig2highres.jpg; 51880_Riveline_Figure3c.tif; 51880_Riveline_Figure3d.tif; panels a and b of 51880fig6highres.jpg

The overall goal of the following experiment is to observe the morphology and dynamics of cellular organelles on an array of microcavities mimicking the 3D environment encountered in physiological conditions.  For cells with rigid walls such as fission yeast, cavities can organize and orient cellular structures. (Intro)

This is achieved by first fabricating an array of PDMS pillars from a master to obtain an array of PDMS microcavities, termed ‘eggcups’, by replica molding. [Video editor: panel a of ‘51880fig1highres.jpg’- start with the rightmost cartoon on the top row; animate the blue liquid PDMS being placed on top of the light blue stamp to form a top layer and the top layer turning light blue after curing. Then show the light blue stamp and the blue oval being plasma activated (add the orange lines) and animate the stamp being placed on top of the oval and pressure is applied (bonding). Finally animate the top half (the stamp) being peeled off the bottom half (don’t show the handle being added)] (P1)

As a second step, the ‘eggcups’ are functionalized with proteins of the extra-cellular matrix (Video editor: 51880_Riveline_FibronectinAddition.eps – animate the pipette depositing the red solution on the eggcups) and introduced into a tube with a cylindrical custom-made plastic piece, which supports the microcavity sample and allows the introduction of individual mammalian cells on each of the microcavities. (P2)  (Video editor: panel b of ‘51880fig2highres.jpg’- start with the rightmost top cartoon with the tube already filled with medium, animate the eggcups being placed on top of the plastic piece, the cells being transferred to the eggcups, the cap being placed on the tube, and the tube is centrifuged)

Next, the ‘eggcups’ filled with cells are removed and incubated with the drug or compound of interest in order to study the phenotype and dynamic processes of cells in a 3D confinement. (Video editor: last cartoon on bottomright of panel b of ‘51880fig2highres.jpg’- animate the tube being uncapped and the filled eggcups being removed from the tube)

Results are obtained that show differences in cell phenotype and novel dynamic structures observed when compared to standard 2D in vitro assays based on the orientation of cells. (Video editor: show 51880_Riveline_Figure3c.tif; 51880_Riveline_Figure3d.tif; panels a and b of 51880fig6highres.jpg) (P4)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Viktoria Wollrab: The main advantage of this technique over existing methods, like standard 2D cell culture assays, is that mammalian cells in ´eggcups´ experience a 3D environment similar to physiological microenvironments, but are arranged in an ordered and standardized way; order and orientation are also significant improvements in the case of fission yeast.

  - David Caballero: This method can help answer key questions in the cell cytoskeleton and drug discovery field, such as identifying new cellular features and anti-cancer drugs with high content screening.

  - Raghavan Thiagarajan: The implications of this technique extend toward diagnosis of multifactorial diseases, such as cancer, because drug screening assays can easily be performed and analyzed by means of ´eggcups´, making this method particularly interesting for personalized medicine.

  - Daniel Riveline: This method can provide insight into organelle structures and dynamics in individual mammalian cells and fission yeast cells, and it can also be applied to organise and study developing embryos such as C. elegans and Droshophila.

# Protocol (read by voice talent at JoVE):

- Microfabrication of ‘eggcups’

  - In this protocol, an array of microcavities, or ‘eggcups’, is patterned onto a thin polydimethylsiloxane, or PDMS, layer adhered on a coverslip replica molding. The first step is the fabrication of the master, which will not be shown but is described in the text protocol.

# Shots:

    - MED: Talent setting out the Petri dish containing the fabricated master.

    - CU: A shot of the 3’’ wafer with microstructures stored inside a polystyrene Petri dish.

  - Once the master has been made, the next step is to fabricate the PDMS replica. In a 50-ml tube, thoroughly mix the cross-linker and the pre-polymer in a 1:10 w/w or v/v ratio for a total of 30 grams.

# Shots:

    - MED: Talent adding cross-linker and the pre-polymer into a 50-ml tube and mixing.

  - Centrifuge the tube at 1800 x g for 5 minutes to remove air bubbles. (TEXT: 1800 x g; 5 min)

# Shots:

    - MED: Talent putting the 50-ml tube into the centrifuge and starting the spin.

  - Gently drop the PDMS on top of the master. If bubbles appear, degas the mix.

# Shots:

    - CU: PDMS being gently dropped on the master in the petri dish (from 2.1.)

    - Degas until bubbles disappear.

  - Place the sample in an oven at 65 °C for 4 hours. (TEXT: 65°C; 4 hr)

# Shots:

    - MED: Talent putting the sample into the oven.

  - After the PDMS is cured, use a scalpel to gently cut the area of interest of about 1 cm2, which includes approximately 105 microcavities or ‘eggcups’. Peel the PDMS stamp off gently.

# Shots:

    - MED: Talent using scalpel to cut the stamp.

    - CU: PDMS stamp being gently peeled off.

  - To begin the procedure for replica molding, activate the PDMS stamp by oxygen plasma treatment for 30 seconds. Store the activated stamp temporarily in a closed Petri dish to prevent deposition of dust.

# Shots:

    - MED: Talent putting the PDMS stamp into the oxygen plasma cleaner.

    - CU: Activated stamp being put into a Petri dish and cover is placed on.

  - Working in a fume hood, place the activated PDMS stamp with the side with the structures facing up, or “upside up,” in a Petri dish, next to a 15-ml cap. Fill the cap with 200 µl of Trimethylchlorosilane. Close the Petri dish and let the stamp silanize for 7 minutes.

# Shots:

    - MED: Talent approaching the fume hood with the petri dish containing the activated PDMS stamp.

    - CU: PDMS stamp is transferred to another petri dish that already has a 15-ml cap in it.

    - CU: Cap being filled with TMCS and then cover is placed on Petri dish.

  - Place the PDMS stamp on the spin-coater with the structures “upside up.” Put a small drop of liquid PDMS on top of the structures. Spin-coat at 1500 rpm for 30 seconds to deposit a thin layer of PDMS on top of the structures.

# Shots:

    - MED: Talent placing the PDMS stamp on the spin-coater with the structures “upside up.”

    - CU: 20 µl of liquid PDMS being placed on top of the structures.

    - MED/CU: Talent starting the spin-coating.

  - Place the stamp in the oven at 65°C for 4 hours to cure the deposited spin-coated PDMS layer.

# Shots:

    - MED: Talent placing the stamp into the oven.

  - Next activate the thin PDMS layer by placing the PDMS stamp “upside up,” together with a glass coverslip in an oxygen plasma cleaner for 30 seconds.

# Shots:

    - MED/CU: PDMS stamp and a glass coverslip being placed in an oxygen plasma cleaner.

  - Immediately place the stamp in contact with the glass coverslip and gently press all around the surface of the stamp with tweezers for the ‘bonding.’ After that keep a constant pressure on top of the stamp for around 10 seconds.

# Shots:

    - CU: Stamp being placed in contact with the glass coverslip and tweezers used to gently press all around the surface of the stamp.

    - CU: Constant pressure being placed on top of the stamp by pressing with a finger.

  - Thirty minutes later, gently ‘peel’ the stamp out of the coverslip in order to ‘liberate’ the ‘eggcups’. Be very careful not to break the sample. Rinse the ‘eggcups’ thoroughly with ethanol and dry.

# Shots:

    - CU: Stamp being gently and carefully peeled out of the coverslip.

    - CU: ‘eggcups’ being rinsed thoroughly with ethanol and then dried.

    - Talent – interview style to camera: “If PDMS ‘eggcups’ are not well adhered on the glass coverslip and detach during the ‘unpeeling’ step, consider adjusting the settings of the plasma cleaner and restarting the procedure for replica molding.”

  - To facilitate the manipulation of the sample later, it is recommended that a small piece of cured PDMS be glued at the edge of the coverslip.

# Shots:

    - LAB MEDIA: panel b of ‘51880fig1highres.jpg’

- Introducing cells into the ‘eggcups’

  - In the case of mammalian cells presented in this video, the PDMS surface must be functionalized with adhesion proteins of the extracellular matrix.  Hydrophylize the ‘eggcups’ in the oxygen plasma cleaner for 30 seconds.

# Shots:

    - MED: Talent putting the eggcups into the oxygen plasma cleaner.

  - After that, sterilize the eggcups with ultra violet light for 5 minutes.

# Shots:

    - MED: Talent putting the eggcups under UV light.

  - Deposit a small drop of fibronectin solution (TEXT: 20-50 µl of a 20 µg/ml bovine fibronectin in 1X PBS) to cover the entire eggcup area and incubate for 1 hour at room temperature. Protect the sample from drying.

# Shots:

    - CU: A drop of fibronectin solution being deposited onto the eggcups.

    - MED: Talent placing eggcup in a Petri dish and covering it with a lid that has a wet tissue inside.

  - Gently rinse the ‘eggcups’ with about 1 ml of PBS using a plastic dispense pipette. Repeat a total of 3 times. (TEXT: Rinse 3X with PBS)

# Shots:

    - CU: 1 ml of PBS being pipetted onto the eggcups and then removed.

    - CU: Another 1 ml of PBS being pipetted onto eggcups.

  - Next, place a custom-made cylindrical plastic piece (TEXT: height = 63 mm; external radius = 26 mm; internal radius = 7 mm) into a 50-ml tube.

# Shots:

    - MED: Talent placing the cylindrical plastic piece into a 50-ml tube.

  - Add 13 ml of cell culture medium to the tube.  The medium should reach at least 2 cm above the cylindrical piece to ensure complete immersion of the sample.

# Shots:

    - CU: 13 ml of cell culture medium being added to the tube to cover the cylindrical piece completely and reaching 2 cm above it.

  - Using sharp and straight tweezers to hold the sample by the PDMS handle, carefully place the ‘eggcups’  inside the tube, gently pressing the coverslip until it lies on top of the upper side of the plastic piece and is fully immersed.

# Shots:

    - CU: Tweezers being used to place the ‘eggcups’ inside the tube.

    - ECU: A shot of the eggcups on top of the plastic piece, immersed in medium.

  - The cells to be introduced into the eggcups should be cultured to 80 - 100% confluence and resuspended in 5 ml of culture medium. Pipette 200 µl of cells on top of the ‘eggcups,’ dropping cells as centered as possible on top of the ‘eggcups’, but avoiding physical contact. This will prevent breakage and/or damage of the sample.

# Shots:

    - MED: Talent setting down a tube of prepared cell suspension.

    - CU: Multiple takes from different angles of 200 µl of cells being pipetted on top of the ‘eggcups’ without touching the eggcups.  Shot will be repeated later.

  - Centrifuge the 50-ml tube at 1800 x g for 2 minutes. (TEXT: 1800 x g; 2 min)

# Shots:

    - MED: Multiple takes from different angles of talent putting the 50-ml tube into the centrifuge. Shot will be repeated later.

  - Pipette another 200 µl of cells on top of the ‘eggcups’ and centrifuge again at 1800 x g for 2 minutes. Repeat for a total of three times in order to optimize the filling percentage. After the last centrifugation, check the filling percentage of ‘eggcups’ with a microscope.

# Shots:

    - Use shot from 3.8.2.

    - Use shot from 3.9.1.

    - LAB MEDIA: 51880_Riveline_FillingPercentage.jpg

  - Using the tweezers to hold the PDMS handle, remove the sample carefully from the tube, without disturbing the cells in the ‘eggcups,’ and place the sample in a Petri dish with medium.

# Shots:

    - CU: Talent removing sample from tube and placing it in a Petri dish with medium.

  - To remove the excess cells that are not in the ‘eggcups’, rinse by gently pipetting up and down 3 times next to each side of the microstructure array.

# Shots:

    - CU: Gentle pipetting medium up and down 3 times on one side of the microstructure array.

  - Lastly, replace the medium with fresh medium to remove non-attached cells.

# Shots:

    - MED: Talent removing medium and then adding fresh medium to the Petri dish.

- Observation of fixed cellular organelles in ‘eggcups’

  - To observe fixed cellular organelles, place the eggcups with a fixed sample on the stage of an epifluorescence inverted microscope and select the 60X oil objective. In this example, the sample is NIH3T3 fibroblasts, where the Golgi apparatus, nucleus and actin fibers have been stained.

Shots:

    - MED: Talent placing place the eggcups with a fixed sample on the stage of an epifluorescence inverted microscope. 60X oil objective being selected. Small oil drop being deposited on top of the objective.

    - CU: 60X oil objective being selected. Talent placing place the eggcups with a fixed sample on the stage of an epifluorescence inverted microscope

  - Focus carefully using brightfield light until the eggcups and cells are in the plane of observation.

Shots:

    - LAB MEDIA: Figure 51880_Riveline_Figure3a.tif

  - Select and focus the region of interest, and start the image capture.

Shots:

    - MED/over the shoulder: talent starting image capture.

- Observation of active cellular dynamics in ‘eggcups’: cytokinetic ring closure

  - Begin this procedure by placing the ‘eggcups’ into a microscope holder and filling it with 1 ml of 10% FCS L-15 observation medium.  Install the holder on the stage of the microscope. To avoid evaporation, place a glass lid on top of the holder.

# Shots:

    - MED: Talent placing ‘eggcups’ into a microscope holder and then filling it with 1 ml of 10% FCS L-15 observation medium.

# 5.2.1. MED: Talent mounting the holder with ‘eggcups’ on microscope.

    - CU: A glass lid being placed on top of the holder.

  - Observe the cells with an epifluorescence inverted microscope equipped with a 60X oil objective. This example uses HeLa cells that express fluorescently tagged myosin and actin, two key molecules involved in the cytokinetic ring closure during mitosis.

# Shots:

# 5.2.0  [added] Talent at microscope.

    - MED: Talent mounting the holder with ‘eggcups’ on microscope.

    - CU:  60X oil objective being selected.

  - Select the region of interest and look for a cytokinetic ring using either the GFP or TxRed channel. Focus accurately.

# Shots:

    - MED: Talent looking for the cytokinetic ring under the microscope.

    - LAB MEDIA: first frame only (leftmost panel, time 00:00) of Fig6b.eps.

  - Run the automatic acquisition in both channels until the ring is completely closed.

# Shots:

    - MED/over the shoulder: talent starting the image acquisition.

    - LAB MEDIA: 51880_Riveline_CytokineticRing (1).avi  (Video editor: please use the movie that was uploaded on 6/4/14, not the older version)

- Results: ‘eggcups’ enable visualization of cellular organelles and study of dynamic cell processes

  - Scanning electron microscope images of ‘eggcups’ show that their shape and size are very regular.

# Shots:

    - LAB MEDIA: panel c of ‘51880fig1highres.jpg’

  - For cells with rigid walls such as fission yeast, the egg cups can orient the cytokinetic ring.

# Shots:

# 6.2.0. [added] Equivalent to 5.2.X, 5.3.X and 5.4.X in one single shot, replacing HeLa by fission yeast.

    - LAB MEDIA: 51880_Riveline_Yeast_in_eggcups.png

    - LAB MEDIA: 51880_Riveline_CytokineticRing_in_FissionYeast.eps (Time Lapse)

    - LAB MEDIA: 51880_Riveline_CytokineticRing_in_FissionYeast.avi (Movie)

  - For mammalian cells, a comparison between cells on 3D ‘eggcups’ and 2D flat surfaces reveals that the former form an ordered array with a homogeneous spherical-like phenotype, while the latter show a disordered and heterogeneous morphology.

# Shots:

    - LAB MEDIA: 51880_Riveline_Figure3a.tif

    - LAB MEDIA: 51880_Riveline_Figure3b.tif

  - Cells on ‘eggcups’ also show a reduction in the number of stress fibers, as indicated by the modest effect of treatment with Blebbistatin. (Video editor: add Figures 3c and 3d)

# Shots:

    - LAB MEDIA: 51880_Riveline_Figure3c. tif

    - LAB MEDIA: 51880_Riveline_Figure3d. tif

  - The Golgi apparatus on 2D cultures typically shows an extended phenotype, (Video editor: Figure 4a) whereas in ‘eggcups’ it shows a more compacted phenotype. (Video editor: Figure 4b) This was confirmed by a quantification of the Golgi phenotypes.  (Video editor: Figure 4c)

# Shots:

    - LAB MEDIA: 51880_Riveline_Figure4a. tif

    - LAB MEDIA: 51880_Riveline_Figure4b. tif

    - LAB MEDIA: 51880_Riveline_Figure4c. tif

  - Lastly, on 2D surfaces the cell nucleus is randomly oriented, (Video editor: Figure 5a) whereas on ‘eggcups’ it is orthogonally oriented on the XY plane in both wild-type (Video editor: Figure 5b) and Blebbistatin-treated cells. (Video editor: Figure 5c)

# Shots:

    - LAB MEDIA: 51880_Riveline_Figure5a. tif

    - LAB MEDIA: 51880_Riveline_Figure5b. tif

    - LAB MEDIA: 51880_Riveline_Figure5c. tif

  - A determination of nucleus sphericity values reveals that the ‘eggcups’ do not affect the normal sphericity of cells (Video editor: highlight WT flat and WT EC graphs).  However, the difference between wild-type and Blebbistatin-treated cells on eggcups (Video editor: highlight WT EC and Blebb EC graphs) suggests that the eggcups are revealing a real effect of the drug that is masked in 2D.

# Shots:

    - LAB MEDIA: 51880_Riveline_Figure5d.tif

  - Live cell studies using ‘eggcups’ enable the identification of novel active processes which are not visible in standard cultures. For example, periodic accumulations of myosin that move radially as the cytokinetic ring is closing during mitosis were observed in HeLa cells.

# Shots:

    - LAB MEDIA: 51880_Riveline_CytokineticRing-Confocal.tif

    - LAB MEDIA: 51880_Riveline_CytokineticRing(1).avi (Video editor: please use the movie that was uploaded on 6/4/14, not the older version)

- Conclusion (said by authors on camera)

  - Viktoria Wollrab: Once mastered, the ‘eggcups’ can be prepared from a replica in less than 6 hours and the filling with cells can be done in about 15 minutes.

  - David Caballero: While attempting this procedure, it’s important to adapt the size of the ´eggcups´ to the cells or model organism under study.

  - Raghavan Thiagarajan: This procedure can be further adapted to high-content-screening platforms in pharmaceutical companies for mass screening activities and also in personalized diagnostic assays of patients in assessing individual-specific treatments.

  - Daniel Riveline: After watching this video, you should have a good understanding of how to fabricate and use the ´eggcups´ microcavities. The ´eggcups´ standardize and generate order to a variety of cellular systems, ranging from individual cells without walls such as mammalian cells to systems with walls such as yeast and embryo.

# Provided Media

# 1A. 51880fig1highres.jpg; 51880_Riveline_FibronectinAddition.eps; 51880fig2highres.jpg; 51880_Riveline_Figure3c.tif; 51880_Riveline_Figure3d.tif; panels a and b of  51880fig6highres.jpg

# 2.14. panel b of ‘51880fig1highres.jpg’

# 3.10. 51880_Riveline_FillingPercentage.jpg

# 4.2. Figure 51880_Riveline_Figure3a.tif

# 5.3. first frame only (leftmost panel, time 00:00) of Fig6b.eps

# 5.4. 51880_Riveline_CytokineticRing(1).avi uploaded on 6/4/14

# 6.1 - panel c of ‘51880fig1highres.jpg’  – Scanning electron microscope images of PDMS ‘eggcups’, 25 m in diameter.

# 6.2. 51880_Riveline_Yeast_in_eggcups.png;

# 6.2. 51880_Riveline_CytokineticRing_in_FissionYeast.eps (Time Lapse)

# 6.2. 51880_51880_Riveline_CytokineticRing_in_FissionYeast.avi (Movie)

# 6.3. 51880_Riveline_Figure3a.tif – Cells on an array of 3D ‘eggcups’ at 25X.

# 6.3. 51880_Riveline_Figure3b.tif – Cells on 2D flat surfaces at 25X.

# 6.4. 51880_Riveline_Figure3c.tif – 3D reconstruction of cells on´eggcups´

# 6.4. 51880_Riveline_Figure3d.tif – 3D reconstruction of cells on a 2D surface

# 6.5. 51880_Riveline_Figure4a.tif – Golgi apparatus phenotype on 2D surface.

# 6.5. 51880_Riveline_Figure4b.tif – Golgi apparatus phenotype on 3D ´eggcups´

# 6.5. 51880_Riveline_Figure4c.tif – Golgi apparatus phenotype quantification

# 6.6. 51880_Riveline_Figure5a.tif – Orientation of cell nucleus on ´eggcups´

# 6.6. 51880_Riveline_Figure5b.tif – Orientation of cell nucleus on ´eggcups´ for WT cells.

# 6.6. 51880_Riveline_Figure5c.tif – Orientation of cell nucleus on ´eggcups´ for Blebbistatin-treated cells.

# 6.7. 51880_Riveline_Figure5d.tif - Nucleus sphericity of cells on´eggcups´ and flat surfaces.

# 6.8. 51880_Riveline_CytokineticRing-Confocal.tif - Sequence of cytokinetic ring closure of a HeLa cell on ´eggcups´(Confocal microscope)

# 6.8. 51880_Riveline_CytokineticRing(1).avi – movie of cytokinetic ring closure of a HeLa cell in ´eggcups´. uploaded on 6/4/14

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.