## Sheet1
Name of Equipment | Company | Catalog Number | Comments/Description
Spin-coater | Laurell Technologies corporation | WS-400B-6NPP/Lite | http://www.laurell.com/spin-coater/?model=WS-400-6NPP
Oxygen plasma cleaner | Diener Electronic | Zepto B | http://www.plasma-us.com/649-0--zepto-low-cost.html
Hot Plates | VWR International | - | https://fr.vwr.com/app/search/Search?searchOp=OR&stiboGroup=590336
| PI-KEM | 1000-1 Precision hot plate | http://pi-kem.co.uk/hot-plates
Mask aligner | SUSS MicroTec | MJB3 | http://www.suss.com/en.html
Use UV protection glasses
Nalgene Vacuum Dessicator | dominique Dutscher | 029289 | http://www.dutscher.com/frontoffice/home
Vacuum pump | KNF | N022AN.18 | http://www.knf.fr/dn_pompes_labo/
Oven | Memmert | - | http://www.memmert.com
Custom-made coverslip holder for imaging | - | - | Custom-made; For details, contact the corresponding author.
Custom-made cylinders | - | - | Custom-made (height: 63mm/External radius: 26mm/Internal radius: 7mm); For more details see reference 11 (Allen T.D et al) in the main text.
Centrifuge | eppendorf | 5810R | http://online-shop.eppendorf.fr/Centrifugation/Centrifugeuses/Centrifuge-5810-5810-R-PF-18809.html
Sonicator | Branson Ultrasonics | B200 | Available from many companies.
Phase contrast microscope | Nikon | TS 100 | http://www.nikoninstruments.com/en_FR/Products/Microscope-Systems/Inverted-Microscopes/Eclipse-TS100-TS100F
Epifluorescence microscope | Nikon | Eclipse Ti | http://www.nikoninstruments.com/en_EU/Products/Microscope-Systems/Inverted-Microscopes/Eclipse-Ti
NIS Elements Imaging software (Ar) | Nikon | 3.10, SP3, Hot fix (Build 644), LO. | http://www.nikoninstruments.com/en_EU/Products/Software/NIS-Elements-Ar-Microscope-Imaging-Software
CCD Camera | Photometrics | CoolSNAP HQ2 | http://www.photometrics.com/products/ccdcams/coolsnap_hq2.php
| Andor iQ | Andor iXon 897 BI | http://www.andor.com/scientific-cameras/ixon-emccd-camera-series
Confocal Microscopes | Leica TCS DMI 6000 | Yokogawa CSU 22 spinning head | http://www.yokogawa.com/scanner/products/discontinued.htm
|  | SP5-MP | http://www.leica-microsystems.com/products/confocal-microscopes/details/product/leica-tcs-sp5-mp-2/
|  | SP8-MP | http://www.leica-microsystems.com/products/confocal-microscopes/leica-tcs-sp8-configurable-confocal/details/product/leica-tcs-sp8-mp/
Spectrometer to measure optical density | Fisher Scientific | Cell density meter model 40. | https://webshop.fishersci.com/insight2_fr/getProduct.do?productCode=11899283

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=