## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Incubator - Model 818 | Thermo-Scientific | 3751 | 120V
Controlled environment room | Thermax Scientific | N/A | Walk-in controlled environment room built to custom specifications by Thermax Scientific Products. A larger alternative to an incubator. http://thermmax.com/
Cool Fluorescent bulb | Philips | 392183 | 4 Watt
Petri Dish 100mm x 20mm | Fisher | 08-772-E
Filter Paper 20.5cm | Fisher | 09-803-6J
9.5L Bucket | Plastican | Bway Products | http://www.bwayproducts.com/sites/portal/plastic-products/plastic-open-head-pails/117
Utility Fabric-Mosquito Netting White | Joann | 10173292 | http://www.joann.com/utility-fabric-mosquito-netting-white/10173292.html
Orthopedic stockings | Albahealth | 23650-040 | product no. 081420
Organic Raisins | Newman's Own | UPC: 884284040255
Oviposition cups (brown) | Fisher Scientific | 03-007-52 | The product is actually an amber 125 mL bottle that we saw the top off of.
Recycled Paper Towels | Seventh Generation | 30BPT120
Modular Mates Square Tupperware Set | Tupperware |  | http://order.tupperware.com/pls/htprod_www/coe$www.add_items
Glass Grinder | Corning Incorporated | 7727-2 | These Tenbroeck tissue grinders break the eggs and release RNA into the TRI Reagent.
TRI Reagent | Sigma Aldrich | T9424 | Apply 1ml TRI Reagent per 50-100mg of tissue. Caution - this reagent is toxic.
TURBO DNA-free | Ambion/Life Technologies | AM1907 | This kit generates greater yield than traditional DNase treatment followed by phenol/chloroform cleanup, and it is simpler to use.
RNaseZap | Ambion/Life Technologies | AM9782 | Apply liberally on the bench surfaces and any equipment that might be in contact with the RNA samples. The solution is slightly alkaline/corrosive, can cause irritation and is harmful when swallowed.
2100 Bioanalyzer | Agilent Technologies | G2939AA | Place up to 12 RNA samples on one chip.
Hemotek Membrane Feeder | Hemotek | 5W1 | This system provides 5 feeding stations that can be used simultaneously. Includes PS5 Power Unit and Power cord; 5 FUI Feeders + Meal Reservoirs and O-rings; Plastic Plugs, Hemotek collagen feeding membrane; Temperature setting tool; and Plug extracting tool. The company's mailing address is: Hemotek Ltd; Unit 5 Union Court; Alan Ramsbottom Way; Great Harwood; Lancashire, UK; BB6 7FD; tel: +44 1254 889 307.
Digital Thermometer and Probe | Hemotek | MT3KFU | MicroT3 thermometer and KFU probe. This is used to set the temperature of each FUI feeding unit.
Chicken Whole Blood, non-sterile with Sodium Citrate | Pel-Freez Biologicals | 33130-1 | The 500 ml of blood were frozen and stored in 20 ml aliquots at -80 degrees C for up to 1 year. Thaw blood at room temperature for at least 1 h before using.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=